Eskom Holdings SOC Ltd

Contract number ____________

Cable testing, repairs and or replace if necessary MV and LV cables for the period of five years at Kriel Power Station on an “as and when” required basis




	[image: image1.jpg]R Eskom






NEC3 Term Service Contract (TSC3)
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30)

	and


	[Insert at award stage]

(Reg No. ___________ )

	for


	Cable testing, repairs and or replace if necessary MV and LV cables for the period of five years at Kriel Power Station on an “as and when” required basis Insert title of the service

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	2-18

	Part C2
	Pricing Data
	19-20

	Part C3
	Scope of Work
	21-46

	
	
	

	CONTRACT No.
	[Insert at award stage]

	
	


	Documentation prepared by: 
	Sbusiso Masuku

	
	

	
	


PART C1:
AGREEMENTS & CONTRACT DATA

	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 

[to be inserted from Returnable Documents at award stage]
	3-5

	C1.2a
	Contract Data provided by the Employer
	6-11

	C1.2b
	Contract Data provided by the Contractor
[to be inserted from Returnable Documents at award stage]
	18-20

	C1.3
	Proforma Guarantees
	[●]


C1.1 Form of Offer & Acceptance

Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Cable testing, repairs and or replace if necessary MV and LV cables for the period of five years at Kriel Power Station on an “as and when” required basis 
The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

Delete the row for the Options which do not apply

	Options A 
	The offered total of the Prices exclusive of VAT is 
	R 

	
	Value Added Tax @ 15% is
	R 

	
	The offered total of the amount due inclusive of VAT is

	R 

	
	(in words) [●]



This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	Tenderer’s CIDB registration number: 
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work: Service Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).  

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Employer


	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Employer prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	[●]
	[●]

	2
	[●]
	[●]

	3
	[●]
	[●]

	4
	[●]
	[●]

	5
	[●]
	[●]

	6
	[●]
	[●]

	7
	[●]
	[●]

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Employer



	Signature


	
	
	

	Name
	
	
	

	Capacity


	
	
	

	On behalf of
	(Insert name and address of organisation)


	
	(Insert name and address of organisation)



	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 TSC3 Contract Data

Part one - Data provided by the Employer
	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for main Option: 
	

	
	
	A:

Priced contract with price list

	
	dispute resolution Option
	W1:
Dispute resolution procedure

	
	and secondary Options
	

	
	
	X1:

Price adjustment for inflation

	
	
	X2

Changes in the law

	
	
	X17:
Low service damages

	
	
	X18:
Limitation of liability

	
	
	X19:
Task Order

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Term Service Contract April 2013
 (TSC3)
	If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data

	10.1
	The Employer is (name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa
G Bonga

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	
	Tel No.
	017 615 2300

	
	Fax No.
	[●]

	10.1
	The Service Manager is (name): 
	S Masuku

	
	Address
	Kriel Power Station, Private Bag X5009, Kriel 2271

	
	Tel
	+27 17 615 2596

	
	Fax
	+27 86 218 3119 

	
	e-mail
	MasukuSu@eskom.co.za

	11.2(2)
	The Affected Property is
	MV and LV Cables

	11.2(13)
	The service is 
	Cable testing, repairs and or replace if necessary MV and LV cables for the period of three years at Kriel Power Station on an “as and when” required basis

	11.2(14)
	The following matters will be included in the Risk Register
	· Unprotected Strikes
· Late access due to permit issue, scaffold erection 
· Unavailability of authorised person from the Contractor as an Authorised Supervisor

	11.2(15)
	The Service Information is in 
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	· Within 2 working days during routine maintenance work 

· Emergency work – respond within 12 hours

· During Outages within 12 hours including weekends and public holidays

	2
	The Contractor’s main responsibilities
	Data required by this section of the core clauses is also provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data

	21.1
	The Contractor submits a first plan for acceptance within
	Level 3 at Contract Date

	3
	Time
	

	30.1
	The starting date is.
	01 April 2024

	30.1
	The service period is
	Five years

	4
	Testing and defects
	As per section X18 and section 4.3.2 

	5
	Payment
	

	50.1
	The assessment interval is 
	-
25th day of each successive month

-
Service manager may when deemed necessary request Bi-Weekly payment assessments or on the completion of work

	51.1
	The currency of this contract is the 
	South African Rand

	51.2
	The period within which payments are made is
	14 or 30 days as per Eskom Finance Procedures.

	51.4
	The interest rate is 


	the publicly quoted prime rate of interest (calculated on a 365 day year) charged by from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 

(ii) the LIBOR rate applicable at the time for amounts due in other currencies.  LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and  if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter (and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove.

	6
	Compensation events
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	7
	Use of Equipment Plant and Materials
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	8
	Risks and insurance
	

	80.1
	These are additional Employer's risks  
	1. [●]

	
	
	2. [●]

	
	
	3. [●]

	83.1


	The Employer provides these insurances from the Insurance Table
	as stated for “Format TSC3” available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 
(See Annexure A for basic guidance).

	83.1  


	The Employer provides these additional insurances
	as stated for “Format TSC3” available on 

http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 
(See Annexure A for basic guidance)

	83.1
	The Contractor provides these additional insurances:
	[●]

	83.1
	The minimum amount of cover for insurance against loss and damage caused by the Contractor to the Employer’s property is
	the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 

	83.1
	The insurance against loss of or damage to the works, Plant and Materials is to include cover for Plant and Materials provided by the Employer for an amount of
	[●]

	83.1
	The minimum amount of cover for insurance in respect of loss of or damage to property (except the Employer’s property, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Service for any one event is:
	whatever the Contractor deems necessary in addition to that provided by the Employer.

	83.1


	The minimum limit of indemnity for insurance in respect of death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract for any one event is: 
	As prescribed by the Compensation for Occupational Injuries and Diseases Act No. 130 of 1993 and the Contractor’s common law liability for people falling outside the scope of the Act with a limit of Indemnity of not less than R500 000 (Five hundred thousand Rands)..

	9
	Termination
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	10
	Data for main Option clause
	

	A
	Priced contract with price list
	

	20.5
	The Contractor prepares forecasts of the final total of the Prices for the whole of the Task Order at intervals no longer than 
	Weekly.

	11
	Data for Option W1
	

	W1.1
	The Adjudicator 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	W1.2(3)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the Institution of Civil Engineers (London) (see www.ice-sa.org.za ) or its successor body.

	W1.4(2)
	The tribunal is: 
	arbitration

	W1.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	[●] South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or

· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	12
	Data for secondary Option clauses
	

	X1
	Price adjustment for inflation
	

	X1.1
	The base date for indices is 
	Month before the contract award date.

	
	The proportions used to calculate the Price Adjustment Factor are:
	proportion
	linked to index for
	Index prepared by

	
	
	35
	Table G-1
	SEIFSA (Material Electrical Engineering)

	
	
	4
	Table L- 2(A)
	SEIFSA (Transport)

	
	
	46
	Table C-3
	SEIFSA (Labour)

	
	
	15
	non-adjustable
	

	
	
	1.00


	
	

	X2
	Changes in the law
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	X17
	Low service damages
	

	X17.1
	The service level table is in
	As per Annexure “B”

	X18
	Limitation of liability
	

	X18.1
	The Contractor’s liability to the Employer for indirect or consequential loss is limited to
	R0.0 (zero Rand)

	X18.2
	For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to
	the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 

	X18.3
	The Contractor’s liability for Defects due to his design of an item of Equipment is limited to
	The greater of 

· the total of the Prices at the Contract Date

and 

· the amounts excluded and unrecoverable from the Employer’s insurance (other than the resulting physical damage to the Employer’s property which is not excluded) plus the applicable deductibles in the Employer’s assets and works / maintenance policies available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 

	X18.4
	The Contractor’s total liability to the Employer, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to
	the total of the Prices other than for the additional excluded matters.

The Contractor’s total liability for the additional excluded matters is not limited. 

The additional excluded matters are amounts for which the Contractor is liable under this contract for

· Defects due to his design, plan and specification,

· Defects due to manufacture and fabrication outside the Affected Property, 

· loss of or damage to property (other than the Employer’s property, Plant and Materials),

· death of or injury to a person and

· infringement of an intellectual property right.

	X18.5
	The end of liability date is 
	12 months after the end of the service period.

	X19
	Task Order
	

	X19.5
	The Contractor submits a Task Order programme to the Service Manager within 
	· 5 days of receiving the Task Order

· Additional Emergency Conditions Apply

	Z
	The additional conditions of contract are
	Z1 to Z12 always apply.

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract.

	Z2.2
	Unless already notified to the Employer, the persons or organisations notify the Service Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf.

	Z2.3
	The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z3.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Service Manager within thirty days of the notification or as otherwise instructed by the Service Manager.

	Z3.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Service.

	Z3.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P4 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Service Manager.

	Z4.3
	In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the Affected Property or any portion thereof, in the course of Providing the Service and after the end of the service period, requires the prior written consent of the Service Manager.  All rights in and to all such images vests exclusively in the Employer.  

	Z4.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Service Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 27.4

	Z6.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor:

· accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property;

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and

· undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Service Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete the last paragraph of core clause 61.3 and replace with:

If the Contractor does not notify a compensation event within eight weeks of becoming aware of the event, he is not entitled to a change in the Prices.

	
	

	Z9
	Employer’s limitation of liability

	Z9.1
	The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Contractor’s entitlement under the indemnity in 82.1 is provided for in 60.1(12) and the Employer’s liability under the indemnity is limited to compensation as provided for in core clause 63 and X19.11 if Option X19 Task Order applies to this contract. 

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Ethics


For the purposes of this Z-clause, the following definitions apply:

Affected Party
means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

Coercive Action
means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

Collusive Action
means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

Committing Party
means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees, 

Corrupt Action
means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

Fraudulent Action
means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

Obstructive Action
means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action and

Prohibited Action
means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

Z 11.1 
A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. 

Z 11.2 
The Employer may terminate the Contractor’s obligation to Provide the Service if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Service for this reason.

Z 11.3 
If the Employer terminates the Contractor’s obligation to Provide the Service for this reason, the procedures and amounts due on termination are respectively P1, P2, P3 and P4, and A1 and A3.

Z 11.4 
A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation.

Z12             Contract Financial Commitments

	Z12.1
	Task orders will be issued by the Service Manager on an “as and when” required basis. The liability of the Employer is limited to the total of the Prices stated in the specific Task Order and not the total Price stated in the Service Information. The Employer is not obliged to issue any Task Order to the Contractor despite the Contractor being awarded the contract.


Annexure A:
Insurance provided by the Employer

These notes are provided as guidance to tendering contractors and the Contractor about the insurance provided by the Employer. The Contractor must obtain its own advice. Details of the insurance itself are available from the internet web link given below. 

1. Services provided in a TSC3 contract could include some element of construction or refurbishment as well as a continuous maintenance or operational service activity.  If an event occurs which causes loss or damage, a claim could be made either against the Employer’s “works” type policy which may be in place for the Employer’s portion of the Affected Property concerned or against the Employer’s assets policy which may be in place for the Employer’s portion of the Affected Property concerned, or both.

2. The cover provided and the deductibles under the works policy are different to those under the assets policy.   Each policy has a range of applicable deductibles depending on the location of the Affected Property and the nature of the insurable event.   

3. The Contractor is required in terms of Contract Data for clause 83 to provide cover for the deductibles in the insurance provided by the Employer.  This can be provided from his own resources on a ‘self insured’ basis or obtained by him from his own insurers.   In order to assess the extent of this cover, tendering contractors and their brokers should consult the internet web link given below and scroll to ‘Format TSC3’ to establish both the cover and the deductibles in relation to the service provided in terms of this contract.

4. Tendering contractors should note that cover provided by the Employer is only per the policies available on the internet web link listed below and may not be the cover required by the tendering contractor or as intended by each of the listed insurances in the left hand column of the Insurance Table in clause 83.2.  In terms of clause 83.1 “the Contractor provides the insurances stated in the Insurance Table except any insurance which the Employer is to provide”.  Hence the Contractor provides insurance which the Employer does not provide and in cases where the Employer does provide insurance the Contractor insures for the difference between what the Insurance Table requires and what the Employer provides.

5. If Marine Insurance is required the Contractor needs to obtain a copy of the latest edition of Eskom’s Marine Policies Procedures found at internet website given below.

6. Further information and full details of all Eskom provided policies and procedures may be obtained from: 

http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx 
Annexure B:  Table of low service damages (X17)
	· Low Service Damage Description
	· Value of Low Service Damages
	· Limit of Low Service Damage

	· Service delaying the Outage Critical Path (Delaying other Contractor(s) from starting/completing their work)
	· 1.5% of Task Order per day
	· Limited to 10% of the Task Order value

	· Service delays not finishing as per agreed upon Programme submitted to the Service Manger 
	· 1% of Task Order per day
	· Limited to 10% of the Task Order value

	· Submission of documents as per agreed upon CDSS in this service agreement
	· 0.5% of Task Order per day
	· Limited to 10% of the Task Order value

	· Rework due to poor workmanship.
	· 2% of Task Order per day
	· Limited to 10% of the Task Order value

	· Daily Progress Updated Programme
	· 0.5% of Task Order per day
	· Limited to 10% of Task Order Value

	· No response of NCR within 3 days
	· 1% of Task Order per day
	· Limited to 10% of Task Order Value


C1.2 Contract Data

Part two - Data provided by the Contractor
	Clause
	Statement
	Data

	10.1
	The Contractor is (Name):
	     

	
	Address
	     

	
	Tel No.
	     

	
	Fax No.
	     

	11.2(8)
	The direct fee percentage is
	     %

	
	The subcontracted fee percentage is
	     %

	11.2(14)
	The following matters will be included in the Risk Register
	     

	11.2(15)
	The Service Information for the Contractor’s plan is in:
	     

	21.1
	The plan identified in the Contract Data is contained in:
	     

	24.1
	The key people are:
	

	
	1

Name:
	     

	
	

Job:
	     

	
	

Responsibilities:
	     

	
	

Qualifications:
	     

	
	

Experience:
	     

	
	2

Name:
	     

	
	

Job
	     

	
	

Responsibilities:
	     

	
	

Qualifications:
	     

	
	

Experience:
	     

	
	
	     

	
	
	CV's (and further key person's data including CVs) are in      .

	A
	Priced contract with price list
	

	11.2(12)
	The price list is in
	     

	11.2(19)
	The tendered total of the Prices is
	R     

	C
	Target contract with price list
	

	11.2(12)
	The price list is in
	     

	11.2(20)
	The tendered total of the Prices is
	R     

	E
	Cost reimbursable contract
	

	11.2(12)
	The price list is in
	     


Part 2: Pricing Data

TSC3 Option A

	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions: Option A
	2

	C2.2
	The price list 
	[●]


C2.1 Pricing assumptions: Option A

How work is priced and assessed for payment

Clause 11 in NEC3 Term Service Contract (TSC3) core clauses and Option A states:

	Identified and defined terms
	11

11.2
	(12) The Price List is the price list unless later changed in accordance with this contract.



	
	
	(17) The Price for Services Provided to Date is the total of 

· the Price for each lump sum item in the Price List which the Contractor has completed and

· where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate.



	
	
	(19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate.




This confirms that Option A is a priced contract where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both.

Function of the Price List

Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not Provide the Service in accordance with the Price List.   The Price List is only a pricing document.  

Link to the Contractor’s plan

Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17). 

Preparing the price list
Before preparing the price list, both the Employer and tendering contractors should read the TSC3 Guidance Notes pages 14 and 15.  In an Option A contract, either Party may have entered items into the price list either as a process of offer and acceptance (tendering) or by negotiation depending on the nature of the service to be provided.  Alternatively the Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in the price list to be prepared and priced by him. 

It is assumed that in preparing or finalising the price list the Contractor:
· Has taken account of the guidance given in the TSC3 Guidance Notes relevant to Option A;

· Understands the function of the Price List and how work is priced and paid for;

· Is aware of the need to link operations shown in his plan to items shown in the Price List;

· Has listed and priced items in the price list which are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;
· Has priced work he decides not to show as a separate item within the Prices or rates of other listed items in order to fulfil the obligation to complete the service for the tendered total of the Prices. 
· Understands there is no adjustment to items priced as lump sums if the amount, or quantity, of work within that item later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the (lump sum) Prices is as a result of a compensation event. 

Format of the price list
(From the example given in an Appendix within the TSC3 Guidance Notes)

Entries in the first four columns in the price list in section C2.2 are made either by the Employer or the tendering contractor. 

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering contractor enters the amount in the Price column only, the Unit, Expected Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for an item of work which is the rate for the work multiplied by the quantity completed, the tendering contractor enters the rate which is then multiplied by the Expected Quantity to produce the Price, which is also entered.

If the Contractor is to be paid a Price for an item proportional to the length of time for which a service is provided, a unit of time is stated in the Unit column and the expected length of time (as a quantity of the stated units of time) is stated in the Expected Quantity column.

C2.2 the price list
	ITEM NO.
	DESCRIPTION
	Uom
	QUANTITY
	 Rate 
	 Amount 

	 
	PRELIMINARY & GENERALS 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	1
	Site Establishment( 3 containers incl office equipment and consumables)
	Item
	1
	
	

	2
	Health and Safety Requirements (Induction, PPE, Safety File, Medicals, etc)-out
	Item
	1
	
	

	3
	Accommodation (core crew only 4 off)
	Month
	12
	
	

	4
	Transport( 23 seater 2 off)
	Month
	12
	
	

	 
	LDV 1
	Days 
	392
	
	

	 
	Test Vehicle 
	Days 
	392
	
	

	5
	Site De-Establishment
	Once off
	1
	
	

	 
	 
	 
	 
	
	

	 
	 
	 
	 
	
	

	 
	 
	 
	 
	
	

	 
	LABOUR (NORMAL HOURS)
	 
	 
	
	

	 
	Project Manger
	hrs
	3285
	
	

	 
	Site Manager x 1
	hrs
	3285
	
	

	 
	Supervisor x 1
	hrs
	3285
	
	

	 
	Quantity Surveyor
	hrs
	3285
	
	

	 
	Technical Support x 2
	hrs
	6571
	
	

	 
	Administrator x 1
	hrs
	3285
	
	

	 
	Team leader x 2
	hrs
	6571
	
	

	 
	Skilled Electrician x 6
	hrs
	19712
	
	

	 
	Crane truck driver / rigger x 3
	hrs
	9856
	
	

	 
	Storeman x 1
	hrs
	3285
	
	

	 
	SHEQ Officer x 1
	hrs
	3285
	
	

	 
	SHE Rep x 1
	hrs
	3285
	
	

	 
	Semi-skilled worker x 8
	hrs
	26283
	
	

	 
	General worker x 6
	hrs
	19712
	
	

	 
	Driver 
	hrs
	3285
	
	

	 
	 
	 
	 
	
	

	 
	Weekday and Saturday Overtime
	 
	 
	
	

	 
	Project Manger
	hrs
	1191
	
	

	 
	Site Manager x 1
	hrs
	1191
	
	

	 
	Supervisor x 1
	hrs
	1191
	
	

	 
	Quantity Surveyor
	hrs
	1191
	
	

	 
	Technical Support x 2
	hrs
	2382
	
	

	 
	Administrator x 1
	hrs
	1191
	
	

	 
	Team leader x 2
	hrs
	2382
	
	

	 
	Skilled Electrician x 6
	hrs
	7146
	
	

	 
	Crane truck driver / rigger x 3
	hrs
	3573
	
	

	 
	Storeman x 1
	hrs
	1191
	
	

	 
	SHEQ Officer x 1
	hrs
	1191
	
	

	 
	SHE Rep x 1
	hrs
	1191
	
	

	 
	Semi-skilled worker x 8
	hrs
	9527
	
	

	 
	General worker x 6
	hrs
	7146
	
	

	 
	Driver 
	hrs
	1191
	
	

	 
	 
	 
	 
	
	

	 
	Sunday and Public Holiday Overtime
	 
	 
	
	

	 
	Project Manger
	hrs
	91
	
	

	 
	Site Manager x 1
	hrs
	91
	
	

	 
	Supervisor x 1
	hrs
	91
	
	

	 
	Quantity Surveyor
	hrs
	91
	
	

	 
	Technical Support x 2
	hrs
	91
	
	

	 
	Administrator x 1
	hrs
	91
	
	

	 
	Team leader x 2
	hrs
	91
	
	

	 
	Skilled Electrician x 6
	hrs
	366
	
	

	 
	Crane truck driver / rigger x 3
	hrs
	91
	
	

	 
	Storeman x 1
	hrs
	91
	
	

	 
	SHEQ Officer x 1
	hrs
	91
	
	

	 
	SHE Rep x 1
	hrs
	91
	
	

	 
	Semi-skilled worker x 8
	hrs
	549
	
	

	 
	General worker x 6
	hrs
	457
	
	

	 
	Driver 
	hrs
	91
	
	

	 
	 
	 
	 
	
	

	 
	Install new MV Cables including fixing materials
	 
	 
	
	

	 
	PILC  6.35/11kV
	 
	 
	
	

	1
	630mm2 x 1 core (EPL01XCV) 6.35kV/11kV  
	m
	200
	
	

	2
	500mm2 x 1 core (ESL01WCV) 6.35kV/11kV  
	m
	100
	
	

	3
	240mm2 x 3 core (EPW03TCV) 11kV/11kV
	m
	100
	
	

	4
	150mm2 x 3 core (ESW03RCV) 11kV/11 Kv
	m
	100
	
	

	5
	120mm2x 3 core (EPW03QCV) 11kV/11kV
	m
	150
	
	

	6
	95mm2x 3 core (EPW03PCV) 11kV/11kV
	m
	120
	
	

	7
	70mm2x 3 core (EPW03NCV) 11kV/11kV
	m
	100
	
	

	 
	XLPE  6.35/11kV
	 
	 
	
	

	1
	630mm2 x 1 core (EXE01XCV) 6.35kV/11kV  
	m
	100
	
	

	2
	500mm2 x 1 core (EXE01WCV) 6.35kV/11kV  
	m
	50
	
	

	3
	240mm2 x 3 core (EXE03TCV) 6.35kV/11kV
	m
	20
	
	

	4
	150mm2 x 3 core (EXE03RCV) 6.35kV/11 kV
	m
	50
	
	

	5
	120mm2x 3 core (EXE03QCV) 6.35kV/11kV
	m
	75
	
	

	 
	MEDIUM VOLTAGE TERMINATIONS
	 
	 
	
	

	 
	Termination complete, for 11KV indoor complete with earthing 650mm tails and Glands were require, Cleats else where
	 
	 
	
	

	 
	PILC  6.35/11kV
	 
	 
	
	

	1
	400- 630mm2 x 1 core, 6.35kV/11kV  
	no.
	100
	
	

	2
	185-300mm2 x 3 core, 6.35kV/11kV
	no.
	70
	
	

	3
	95-185mm2 x 3 core, 6.35kV/11 kV
	no.
	80
	
	

	4
	50- 95mm2 x 3 core, 6.35kV/11 kV
	no.
	100
	
	

	 
	XLPE 6.35/11kV
	 
	 
	
	

	1
	400- 630mm2 x 1 core, 6.35kV/11kV  
	no.
	50
	
	

	2
	185-300mm2 x 3 core, 6.35kV/11kV
	no.
	36
	
	

	3
	95-185mm2 x 3 core, 6.35kV/11 kV
	no.
	40
	
	

	4
	50- 95mm2 x 3 core, 6.35kV/11 kV
	no.
	50
	
	

	 
	MEDIUM VOLTAGE INLINE THROUGH JOINTS
	 
	 
	
	

	 
	Inline through joint complete for 11kV stranded copper cable
	 
	 
	
	

	 
	Cut and join cables  
	 
	 
	
	

	 
	PILC  6.35/11kV
	 
	 
	
	

	1
	400-630mm2 x 1 core, 6.35kV/11kV  
	no.
	40
	
	

	2
	185-300mm2 x 3 core, 6.35kV/11kV
	no.
	20
	
	

	3
	95-185mm2 x 3 core, 6.35kV/11 kV
	no.
	30
	
	

	4
	50- 95mm2 x 3 core, 6.35kV/11 kV
	no.
	20
	
	

	 
	Inline through joint complete for 11kV stranded copper cable
	 
	 
	
	

	 
	Cut and join cables TRANSITION JOINT – PILC/XLPE
	 
	 
	
	

	1
	400-630mm2 x 1 core, 6.35kV/11kV  
	no.
	20
	
	

	2
	185-300mm2 x 3 core, 6.35kV/11kV
	no.
	10
	
	

	3
	95-185mm2 x 3 core, 6.35kV/11 kV
	no.
	15
	
	

	4
	50- 95mm2 x 3 core, 6.35kV/11 kV
	no.
	10
	
	

	 
	Strapping of MV cables (on new cables only)
	 
	 
	
	

	1
	Cleats and support steel
	no.
	34
	
	

	 
	 
	 
	 
	
	

	 
	SUB-TOTAL SUPPLY AND INSTALL MEDIUM VOLTAGE CABLES 
	 
	 
	
	

	 
	 
	 
	 
	
	

	 
	SUPPLY AND INSTALL LOW VOLTAGE CABLES
	 
	 
	
	

	 
	LV Cables including fixing materials
	 
	 
	
	

	1
	35mm2 x 4 core (BVX04LCV)
	m
	200
	
	

	2
	70mm2 x 3 core (BVX03NCV)
	m
	30
	
	

	3
	70mm2 x 4 core (BVX04NCV)
	m
	50
	
	

	4
	95mm2 x 4 core (BVX04PCV)
	m
	100
	
	

	5
	150mm2 x 4 core (BVX04RCV)
	m
	100
	
	

	6
	185mm2 x 4 core (BVX04SCV)
	m
	50
	
	

	7
	240mm2 x 4 core (BVX04TCV)
	m
	50
	
	

	8
	500mm2 x 01 core (BVX01WCV)
	m
	20
	
	

	 
	SUB-TOTAL SUPPLY AND INSTALL LOW VOLTAGE CABLES & ASSOCIATED EQUIPMENT
	 
	 
	
	

	 
	 
	 
	 
	
	

	1
	Print and Install cable identification labels
	no
	2000
	
	

	 
	SUB-TOTAL LABELLING OF CABLES 
	 
	 
	
	

	 
	 
	 
	 
	
	

	 
	RACKING
	 
	 
	
	

	 
	SUPPLY AND INSTALL
	 
	 
	
	

	 
	CABLE TRAY AND ACCESSORIES
	 
	 
	
	

	 
	Cold drawn high tensile galvanized wire mesh cable
	 
	 
	
	

	 
	tray (O-L GRIDSPAN GS 50x50) fixed in all positions,
	 
	 
	
	

	 
	etc., to all heights above floor level, etc and to
	 
	 
	
	

	 
	all areas. Complete with splice clamp sets, hold down
	 
	 
	
	

	 
	brackets, bolts, nuts and washers, etc.
	 
	 
	
	

	1
	100mm x 75mm x 3m
	m
	22
	
	

	2
	150mm x 75mm x 3m
	m
	44
	
	

	3
	300mm x 75mm x 3m
	m
	33
	
	

	4
	600mm x 75mm x 3m
	m
	33
	
	

	 
	Cold drawn high tensile galvanized wire mesh cable
	 
	 
	
	

	 
	tray fittings / accessories normal bending radius
	 
	 
	
	

	1
	100mm Wide x 75mm 90 degree horizontal bend
	no
	1
	
	

	2
	100mm Wide x 75mm 90 degree external/int bend
	no
	1
	
	

	3
	150mm Wide x 75mm 90 degree horizontal bend
	no
	1
	
	

	4
	150mm Wide x 75mm 90 degree external/int bend
	no
	1
	
	

	5
	300mm Wide x 75mm 90 degree horizontal bend
	no
	1
	
	

	6
	300mm Wide x 75mm 90 degree external/int bend
	no
	1
	
	

	7
	600mm Wide x 75mm 90 degree horizontal bend
	no
	1
	
	

	8
	600mm Wide x 75mm 90 degree external/int bend
	no
	1
	
	

	 
	CABLE SUPPORT SYSTEM
	 
	 
	
	

	 
	Galvanized steel channel forming frame support complete with bolts, spring nuts, nuts and washers, fixed in all positions, etc., to all heights above
	 
	 
	
	

	 
	floor level, etc and to all areas.
	 
	 
	
	

	1
	41.3mm x 41.3mm x 2.5mm Thick (O-L 1000)
	m
	22
	
	

	2
	82.6mm x 41.3mm x 2.5mm Thick (O-L 1001)
	m
	11
	
	

	3
	41.3mm x 41.3mm x 2.5mm Thick (O-L 1000) - covers F1184
	m
	6
	
	

	 
	Galvanized steel single arm cantilever with tongue type bracket complete with bolts, spring nuts, nuts and washers, etc
	 
	 
	
	

	1
	650mm Long x 89mm high (O-L 251-650)
	no
	2
	
	

	 
	GALVANIZED CONDUIT
	 
	 
	
	

	 
	Surface mounted and fixed in all positions, etc., to all heights above floor level, etc and to all areas.
	 
	 
	
	

	1
	20mm Diameter
	m
	22
	
	

	2
	25mm Diameter
	m
	9
	
	

	3
	50mm Diameter
	m
	9
	
	

	 
	GALVANIZED THREADED ROD
	 
	 
	
	

	1
	12 mm Threaded rods with nuts and washers
	no
	1
	
	

	 
	WIRING CHANNELS
	 
	 
	
	

	 
	Galvanized steel channel complete with galvanized cover surface mounted and fixed in all positions, etc., to all heights above floor level, etc and to all areas
	 
	 
	
	

	1
	41.3 x 41.3 x 1.6mm Thick (O-L 2000)
	m
	2
	
	

	2
	76.2 x 76.2 x 2.1mm Thick (O-L 8000)
	m
	1
	
	

	 
	MISCELLANEOUS STEELWORK
	 
	 
	
	

	 
	Painted steel for support of racking, including all necessary fixing, bolts, nuts, washers, welding, etc and holes, notches, etc fixed in all positions, etc., to all heights above floor level, etc and to all areas.
	 
	 
	
	

	1
	25mm x 25mm x 5mm Angle section
	m
	6
	
	

	2
	50mm x 50mm x 6mm Angle section
	m
	2
	
	

	3
	76mm x 38mm x 6mm Channel  iron
	m
	4
	
	

	 
	SUB-TOTAL RACKING,SUPPLY AND INSTALL CABLE TRAY & ACCESSORIES
	 
	 
	
	

	 
	 
	 
	 
	
	

	 
	EARTHING
	 
	 
	
	

	 
	Earthing installation
	 
	 
	
	

	2
	50 x 3 mm Flat Cu +saddles
	m
	56
	
	

	3
	Terminations, Joints,cross overs, tee's
	no
	20
	
	

	4
	Kwena 70mm² Bare Braided  
	m
	56
	
	

	5
	Kwena 95mm² Bare Braided  
	m
	33
	
	

	 
	SUB-TOTAL EARTHING
	 
	 
	
	

	 
	 
	 
	 
	 
	 

	 
	BUILDER WORK
	 
	 
	 
	 

	 
	Earthworks
	 
	 
	 
	 

	1
	Re-excavation over existing cables, pipes and sleeves, etc. in soft material not exceeding 2000mm deep for cable trench, sleeve pipe, etc including risk of collapse, keeping free of water, river sand bed, backfilling, compacting and disposal of surplus material, all to the Engineer's specification
	m3
	12
	
	

	 
	CABLE MARKER, SLABS AND MARKER TAPE
	 
	 
	
	

	 
	Laid in ground (excavation elsewhere)
	 
	 
	
	

	1
	Danger tape
	m
	89
	
	

	2
	Cables slabs
	no
	1
	
	

	3
	Route markers
	no
	2
	
	

	4
	Road crossing 12M
	no
	0.44
	
	

	5
	PVC Sleeves 110 mm 
	m
	12
	
	

	 
	 
	 
	 
	
	

	 
	UNIT CABLE TESTING
	 
	 
	
	

	 
	 
	 
	 
	
	

	1
	Site establishment
	Per unit
	4
	
	

	2
	Online condition Assessment of MV Plant
	Per unit
	4
	
	

	 
	Inspection and Quality assurance of switchgear panels
	Per unit
	4
	
	

	2
	Offline VLF Tan/Delta PD mapping
	Per unit
	4
	
	

	3
	Pressure Test
	Per unit
	4
	
	

	5
	Partial Discharge Online Tests (After Outage)
	Per unit
	4
	
	

	 
	 
	 
	 
	
	

	 
	 
	 
	 
	 
	 

	 
	Total
	


Part C3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Employer’s Service Information
	23

	
	
	

	
	Total number of pages
	24


C3.1: Employer’s service Information

Contents

1Part 3: Scope of Work

C3.1: Employer’s service Information
2
1
Description of the service
4
1.1
Executive overview
4
1.2
Employer’s requirements for the service
4
1.3
Interpretation and terminology
4
2
Management strategy and start up.
5
2.1
The Contractor’s plan for the service
5
2.2
Management meetings
5
2.3
Contractor’s management, supervision and key people
6
2.4
Provision of bonds and guarantees
6
2.5
Documentation control
6
2.6
Invoicing and payment
6
2.7
Contract change management
6
2.8
Records of Defined Cost to be kept by the Contractor
7
2.9
Insurance provided by the Employer
7
2.10
Training workshops and technology transfer
7
2.11
Design and supply of Equipment
7
2.12
Things provided at the end of the service period for the Employer’s use
7
2.12.1
Equipment
7
2.12.2
Information and other things
7
2.13
Management of work done by Task Order
8
3
Health and safety, the environment and quality assurance
9
3.1
Health and safety risk management
9
3.2
Environmental constraints and management
9
3.3
Quality assurance requirements
9
4
Procurement
10
4.1
People
10
4.1.1
Minimum requirements of people employed
10
4.1.2
BBBEE and preferencing scheme
10
4.1.3
Accelerated Shared Growth Initiative – South Africa (ASGI-SA)
10
4.2
Subcontracting
10
4.2.1
Preferred subcontractors
10
4.2.2
Subcontract documentation, and assessment of subcontract tenders
10
4.2.3
Limitations on subcontracting
11
4.2.4
Attendance on subcontractors
11
4.3
Plant and Materials
11
4.3.1
Specifications
11
4.3.2
Correction of defects
11
4.3.3
Contractor’s procurement of Plant and Materials
11
4.3.4
Tests and inspections before delivery
11
4.3.5
Plant & Materials provided “free issue” by the Employer
12
5
Working on the Affected Property
13
5.1
Employer’s site entry and security control, permits, and site regulations
13
5.2
People restrictions, hours of work, conduct and records
13
5.3
Health and safety facilities on the Affected Property
13
5.4
Environmental controls, fauna & flora
13
5.5
Cooperating with and obtaining acceptance of Others
13
5.6
Records of Contractor’s Equipment
13
5.7
Equipment provided by the Employer
14
5.8
Site services and facilities
14
5.8.1
Provided by the Employer
14
5.8.2
Provided by the Contractor
14
5.9
Control of noise, dust, water and waste
14
5.10
Hook ups to existing works
14
5.11
Tests and inspections
14
5.11.1
Description of tests and inspections
14
5.11.2
Materials facilities and samples for tests and inspections
14
6
List of drawings
15
6.1
Drawings issued by the Employer
15


1 Description of the service
1.1 Executive overview 
To Disconnect, tan/delta test, Pressure test, Partial discharge tests, Insulation Resistance test and issue tests report. Repair and/or Replace if necessary and re-connect the MV and LV cables for the period of five years at Kriel Power Station
1.2 Employer’s requirements for the service
Service Information

Task orders will be issued by the Service Manager on an “as and when” required basis. The liability of the Employer is limited to the total of the Prices stated in the specific Task Order and not the total Price stated in the Service Information. The Employer is not obliged to issue any Task Order to the Contractor despite the Contractor being awarded the contract.

The Contractor will be notified by the Service Manager a minimum a month in advance if he becomes aware of any Outage dates that is delayed with 2months or brought forward. 

Emergency Task Orders may be given at any time by the Service Manager and different conditions needs to be adhered to as per 2.13 Management of work done by Task Order

WORKSCOPE

Switchgear Side Connections and Disconnections

Obtain the relevant category arc flash gear. The arc flash PPE needs to be worn before personnel enter and all the time while personnel are in a switch gear room. The appropriateness of arc flash for an area will be determined by the plant status and voltage levels and advised by the responsible person holding the permit for that work. Ensure that there is a permit to work and that the panel to be worked on is clearly identified, isolated and earth is applied. Open the back of the cable compartment of the panel to be worked on. Do a voltage measurement with a multimeter on the now exposed cable terminals to check for residual energy. Disconnect the cables terminals such that each cable terminals are individually accessible. The bolts, nuts and washers must be kept safely for later use. 

While testing is taking place appropriate warning notices must be fixed to protect anyone from inadvertently coming into contact with equipment under test. After testing, precautions must be taken to discharge any static and to remove the test connections before bolting up any cables and/or covers removed for testing. 
Bolt the medium voltage cable together with the cable connection terminal. Check the tightening torque of the bolted joint between the cable and the cable connection terminal. All torque settings should be agreed with and signed off by the employer’s engineer and/or quality officer. At least Megger testing must be carried out after the cables have been reconnected and according to the respective cable insulation level to ensure that the terminals are clear of foreign material or connections. The employer’s engineer and/or quality officer must witness this final test and sign it off on the quality plan. Phase rotation checks must be made before the cable compartment back plate is fixed back. Site PTM will do this activity. The contractor is responsible for notifying the outage coordinator who shall in turn ensure that PTM does the phase rotation check. Put the panel’s cable compartment back cover on its original position and orientation, secure it and bolt it properly. On completion of the work on a panel, the contractor must ensure that the top of the switchgear is free from all dirt, rubbish and any foreign material and/or objects.

Transformer Side Connections and Disconnections
Ensure that there is a permit to work and that the panel to be worked on is clearly identified, isolated and earth is applied. On transformers that are fitted with link boxes. Close the isolating valve between the transformer link box and main tank. Drain the oil in the link box of the transformer into a container. Unbolt the top lid of the link box. Disconnect the flexible conductor. The oil must be disposed into the dirty oil drums which are obtainable from the oil storage area at Kriel power station. New oil has to be used to top up the link box. Quality tests results should be produced with the oil. The contractor must supply the oil with the results. The oil has to comply to Eskom standard (32-406). On transformers such as service and unit transformers only disconnection is required. The contractor shall also reconnect the cables and flexibles where applicable. Check the tightening torque. Cut a proper size gasket and replace the old one. Put back the link box or terminal cover back and bolt properly. Top the transformer up and open the link box isolating valve, vent the link box properly. 
Megger Test:

Firstly ensure that the equipment to be tested and the work area is safe, e.g. equipment is de-energised and disconnected, all the relevant work permits have been approved and all locks / tags in place. 

Next, discharge capacitances on the cable with static discharge sticks or an IR tester with automatic discharging capabilities. 

The leads on the IR tester can then be connected to the conductive parts of the cable. For example, for a three-core and earth cable, the IR test would be applied between cores (Core 1 to Core 2, Core 1 to Core 3 and Core 2 to Core 3) and between each core and earth. 

Note that when applying an IR test to earth, it is good practice to connect the positive pole of the IR tester to earth in order to avoid any polarisation effects on the earth. 

Once connected, the IR tester is energised for typical test duration of 1 minute. The IR test measurements are recorded after 1 minute. 

When the IR test is finished, discharge capacitances again for a period of 4-5 times the test duration. 

Record the results with the ambient temperature observe the humidity and record your observations.

Perform Partial Discharge Tests according to the following standards:
IEC 60270:2000/BS EN 60270:2001 "High-Voltage Test Techniques – Partial Discharge Measurements"

IEC 61934:2006 "Electrical insulating materials and systems - Electrical measurement of PD under short rise time and repetitive voltage impulses"

Tan Delta or Dissipation Factor Test

The cable on which Tan Delta test or Dissipation Factor test to be conducted is first isolated from the system. A very low frequency (0.1 to 0.01 Hz) test voltage is applied across the equipment whose insulation is to be tested. First the normal voltage is applied. If the value of tan delta appears good enough, the applied voltage is raised to 1.5 to 2 times of normal voltage, of the equipment. The Tan Delta controller unit takes measurement of tan delta values. A loss angle analyser is connected with Tan Delta measuring unit to compare the tan delta values at normal voltage and higher voltages, and analyse the results.

During test it is essential to apply test voltage at very low frequency. 

1.1 High voltage VLF withstand tests
1.2 Pressure test all the MV cables according to IEC 60502-2:2014 Cables for rated voltages from 6 kV (Um = 7,2 kV) up to 30 kV (Um = 36 kV) (after laying tests on new cables).

UNITS 

A- BOARD 

B- TRANSFORMER

C- LOADS; EFP, LH FD FAN, LH ID FAN, RH FD FAN, RH ID FAN, EXTRACTION PUMP, CW PUMP, CIRCULATING PUMP, MILL, SLUICE PUMP, PA FAN

	SOURCE
	DESTINATION
	CABLE TYPE
	SCOPE

	NAME
	QUANTITY
	NAME 
	QUANTITY
	
	

	11 kV MAINTENANCE ISOLATOR BRD 4
	9
	11 kV  MAINTENANCE ISOLATOR BRD 2
	9
	ESL01WCV
	A – A 

	11 kV MAINTENANCE ISOLATOR BRD 4
	9
	11 kV MAINTENANCE ISOLATOR BRD 6
	9
	ESL01WCV
	A – A

	11 kV UNIT BRD A
	12
	11 kV MAINTENANCE ISOLATOR  BRD
	12
	ESL01WCV
	A – A  

	11 kV UNIT BRD A
	1
	11 kV UNIT BRD 4B PNL 1B
	1
	NONE
	A – A  

	11 kV UNIT BRD A
	1
	11 kV/ 380 V UNIT TRFR C
	1
	BVX02DCV/BVX04DCV
	A – B

	11 kV UNIT BRD A
	1
	11 kV/ 380 V UNIT TRFR A
	1
	ESW03RCV
	A – B

	11 kV UNIT BRD A
	2
	11/3.3 kV SERVICE TRFR C
	2
	ESW03RCV
	A – B

	11 kV UNIT BRD A
	3
	11/3.3 kV SERVICE TRFR A
	3
	ESL01WCV
	A – B

	11 kV UNIT BRD A
	1
	11 kV/ 380 V PRECIP 

TRFR A
	1
	ESW03RCV
	A – B

	11 kV UNIT BRD A
	2
	11 kV EFP A
	2
	ESW03RCV
	A – C

	11 kV UNIT BRD A
	9
	18/11 kV UNIT TRFR A
	9
	ESL01WCV
	A – B

	11 kV UNIT BRD B
	9
	18/11 kV UNIT TRFR B
	9
	ESL01WCV
	A – B

	11 kV UNIT BRD B
	2
	11 kV EFP B
	2
	ESW03RCV
	A – C

	11 kV UNIT BRD B
	1
	11 kV/ 380 V PRECIP 

TRFR B
	1
	ESW03RCV
	A – B

	11 kV UNIT BRD B
	1
	11 kV/ 380 V UNIT TRFR B
	1
	ESW03RCV
	A – B

	11 kV UNIT BRD B
	3
	11/3.3 kV SERVICE TRFR B
	3
	ESW03RCV
	A – B


	11 kV UNIT BRD B
	2
	11/3.3 kV SERVICE TRFR D
	2
	ESW03RCV
	A – B

	11 kV UNIT BRD B
	1
	11 kV/ 380 V UNIT TRFR D
	1
	ESW03RCV
	A – B

	11 kV UNIT BRD B
	1
	11 kV/ 380 V UNIT LIGHTING TRFR 
	1
	ESW03RCV
	A – B

	3.3 kV SERVICE BRD A
	2
	LH FD FAN 
	2
	EPW03TCV
	A – C

	3.3 kV SERVICE BRD A
	2
	LH ID FAN
	2
	EPW03TCV
	A – C

	3.3 kV SERVICE BRD A
	1
	MT CONDENSATE EXTRACTION PUMP A
	1
	EPW03QCV
	A – C

	3.3 kV SERVICE BRD A
	2
	CW PUMP A
	2
	EPW03QCV
	A – C

	3.3 kV SERVICE BRD A
	9
	11/3.3 kV SERVICE TRFR A
	9
	EPL01XCV
	A – B

	3.3 kV SERVICE BRD B
	9
	11/3.3 kV SERVICE TRFR B
	9
	EPL01XCV
	A – B

	3.3 kV SERVICE BRD B
	2
	RH FD FAN 
	2
	EPW03TCV
	A – C

	3.3 kV SERVICE BRD B
	2
	RH ID FAN 
	2
	EPW03TCV
	A – C

	3.3 kV SERVICE BRD B
	1
	MT CONDENSATE EXTRACTION PUMP B
	1
	EPW03QCV
	A – C

	3.3 kV SERVICE BRD B
	2
	CW PUMP B
	2
	EPW03QCV
	A – C

	3.3 kV SERVICE BRD B
	1
	CIRCULATING PUMP
	1
	FXX03QCV
	A – C


	3.3 kV SERVICE BRD C
	1
	SLUICE PUMP A
	1
	EPW03NCV
	A – C

	3.3 kV SERVICE BRD C
	1
	ASH PUMP A
	1
	EPW03NCV
	A – C

	3.3 kV SERVICE BRD C
	1
	PA FAN A
	1
	EPW03NCV
	A – C

	3.3 kV SERVICE BRD C
	1
	PA FAN B
	1
	EPW03NCV
	A – C

	3.3 kV SERVICE BRD C
	1
	PA FAN C
	1
	EPW03NCV
	A – C

	3.3 kV SERVICE BRD C
	1
	MILL A
	1
	EPW03NCV
	A – C

	3.3 kV SERVICE BRD C
	1
	MILL B
	1
	EPW03NCV
	A – C

	3.3 kV SERVICE BRD C
	1
	MILL C
	1
	EPW03NCV
	A – C

	3.3 kV SERVICE BRD C
	6
	11/3.3 kV SERVICE TRFR C
	6
	EPL01XCV
	A – B

	3.3 kV SERVICE BRD D
	6
	11/3.3 kV SERVICE TRFR D
	6
	EPL01XCV
	A – B

	3.3 kV SERVICE BRD D
	1
	SLUICE PUMP B
	1
	EPW03NCV
	A – C

	3.3 kV SERVICE BRD D
	1
	ASH PUMP B
	1
	EPW03NCV
	A – C

	3.3 kV SERVICE BRD D
	1
	PA FAN D
	1
	EPW03NCV
	A – C

	3.3 kV SERVICE BRD D
	1
	PA FAN E
	1
	EPW03NCV
	A – C

	3.3 kV SERVICE BRD D
	1
	PA FAN F
	1
	EPW03NCV
	A – C

	3.3 kV SERVICE BRD D
	1
	MILL D
	1
	EPW03NCV
	A – C

	3.3 kV SERVICE BRD D
	1
	MILL E
	1
	EPW03NCV
	A – C

	3.3 kV SERVICE BRD D
	1
	MILL F
	1
	EPW03NCV
	A – C

	Total number of cables 
	131
	
	131
	
	


Cable Work

· The work is the supply; delivery and installation of electrical cables and equipment as listed on an “as and when required basis” at all plant that is related to Kriel Power Station and its boundaries.

· Disconnect power cables as required with the scope as per but not limited to the cable schedules.

· Remove the redundant power cabling as per the requested that will be submitted.

· Design, supply and install all new cable racks and junction boxes and produce drawings when required. The cable racks design will depend on the route of the cable and the cable sizes as listed on the cable schedule.

· The supply of supports, beams, brackets, hooks, bolts, nuts and associated material necessary to make a sound and acceptable (to the employer) cable rack installation shall be the responsibility of the contractor. The drilling, welding, cutting, grinding, mounting, assembly, securing, erection etc. and the tools and equipment required to complete these shall be the responsibility of the contractor.

· Supply, deliver and install new cable joints and termination kits.

· Trace faults, test and repair cables of the scope in the cable schedule as per request that will be made.

· The contractor will be responsible for all excavation and/or earth moving required to install or repair a cable including burial of a cable and restoration of the site.

· The storage, transportation, handling and laying of the cables shall be according to first class practice, and the contractor shall have adequate and suitable equipment and labour to ensure that no damage is done to cables during such operations.

· The cable-trenches shall be excavated to a depth of 0,9m deep below ground level and shall be 450mm wide for one to three cables, and the width shall be increased where more than three cables are laid together so that the cables may be placed at least two cable diameters apart throughout the run.  The bottom of the trench shall be level and clean and the bottom and sites free from rocks or stones liable to cause damage to the cable.

· The Contractor must take all necessary precautions to prevent the trenching work being in any way a hazard to the personnel and public and to safeguard all structures, roads, sewage works or other property on the site from any risk of subsidence and damage.

· In the trenches the cables shall be laid on a 75mm thick bed of earth and be covered with a 150-mm layer of earth before the trench is filled in.

· All joints in underground cables and terminations shall be made either by means of compound filled boxes according to the best established practice by competent cable jointers using first class materials or by means of approved epoxy-resin pressure type jointing kits such as “Scotchcast”.  Epoxy-resin joints must be made entirely in accordance with the manufacturer’s instructions and with materials stipulated in such instructions.  Low tension PVCA cables are to be made off with sealing glands and materials designed for this purpose which must be of an approved make.  Where cables are cut and not immediately made off, the ends are to be sealed without delay.

· The laying of cables shall not be commenced until the trenches have been inspected and approved. The cable shall be removed from the drum in such a way that no twisting, tension or mechanical damage is caused and must be adequately supported at intervals during the whole operation.  Particular care must be exercised where it is necessary to draw cables through pipes and ducts to avoid abrasion, elongation or distortion of any kind.  The ends of such pipes and ducts shall be sealed to approval after drawing in of the cables.

· Backfilling (after bedding) of the trenches is to be carried out with a proper grading of the material to ensure settling without voids, and the material is to be tamped down after the addition of every 150mm.  The surface is to be made good as required.

· No cable is to be laid before the cable trench is approved and the soil qualification of the excavation is agreed upon by the contractor and employer.

· After the cable has been laid and before the cable trench is back-filled the employer representative must ensure that the cable is properly bedded and that there is no undesirable material included in the bedding layer.

· On each completed section of the laid and jointed cable, the insulation resistance shall be tested to approval with an approved “Megger”  type instrument of not less than 500 V for low tension cables.

· The contractor may be required to comply with legislation and/or Eskom’s environmental policy when performing excavation or earth moving activities on wetlands or other designated sites. The contractor shall ensure compliance and will carry the costs to do so.

· All cable jointing and the making off of the cables must only be carried out by qualified experienced cable jointers.  Helpers of the jointers may not saw, strip, cut, solder, etc.  The cable and other work undertaken by them must be carried out under the strict and constant supervision of the jointer.

· Before the Contractor allows the jointer to commence with the jointing work or making off of the cable (making off is recognized as half a joint) he must take care and ensure:

· That he has adequate and suitable material available to complete the joint properly and efficiently.  Special attention must be given to ensure the cable ferrules and cable lugs are of tinned copper and of sufficient size.  The length of the jointing lugs must be at least six times the diameter of the conductor,

· That the joint pit is dry and that all loose stones and material are removed,

· That the walls and banks of the joint pit are reasonable firm and free from loose material which can fall into the pit,

· That the necessary coffer-dams or retaining walls are made to stop the flow of water into the joint pit,

· That the joint pit is provided with suitable groundsheets so that the jointing work is carried out in clean conditions,

· That the necessary tents or sails are installed over the joint pit to effectively avert unexpected rainfall and that sufficient light or lighting is provided,

· That the necessary means are available to efficiently seal the jointing or cable end when an unexpected storm or cloudburst occurs, regardless of how far the work has progressed,

· That the cables and other materials are dry, undamaged and in all respects are suitable for the joint work or making off,

· That where applicable the heating of cable oil, cable compound, plumbers metal and solder is arranged that they are at the correct temperature when required so that the cable is not unnecessary exposed to the atmosphere and consequently the ingress of moisture (care must be taken not to of overheat)

· Before the paper-insulated cables are joined, they must be tested for the presence of moisture by the cable jointers test. 

· If the cable contains moisture or is found to be otherwise unsuitable for jointing or making off, the employer is to be notified immediately and he will issue the necessary instruction to cope with the situation.

· The joint or making off of paper insulated cables must not be commenced during rainy weather on an outdoor location.

· Once a joint is in progress the jointer must proceed with the joint until it is complete and before he/she leaves the site.

· The jointer must ensure that the material and his tools are dry at all times, reasonably clean and absolutely free from soil.

· All jointing must be carried out in accordance with recognized and tried techniques and comply strictly with the instructions given by the supplier of the jointing kit.

· The cables must be twisted by hand so that the cores can be joined according to the core numbers.  If necessary the cable is to be exposed for a short distance to accomplish this.  Under no circumstances may the cores in a joint be crossed so as to enable cores to be joined according to the core numbers.  If it is not possible to twist the cables so that the preceding requirements can be met, then cores are to be joined in the normal way without any consideration of the core numbers.

· All cables that have been worked on must be tested, the test results must be within the specification and the employer must accept the results before any work can continue.

· The test that can be requested are the Tan Delta, HV VLF withstand and Insulation Resistance Tests.

· The supplier will have their own testing equipment with valid and current calibration certification.

· The supplier needs to keep a fair contingency of cables and other material on site. This will be discussed and agreed with the employer and will be changed as per need changes.

· All cables, joints and terminations supplied, must be in accordance with all applicable standard and specification.

Contractor to adhere to the following documentation within the Service Information:

· ORHVS – Regulations – EPC – 32-846

· 36-681 Rev01 – Plant Safety Regulations

· RLR0037 – Management and control of the Declared Outage Permit

· Driven Machinery Regulations 1988
· Project Controls Requirements – 240-85065548
Electrical Installation Regulations to be adhered to, all electrical boards must be inspected and tested before connecting to a power supply and then a CoC must be issued
1.3 Interpretation and terminology

The following abbreviations are used in this Service Information:

	Abbreviation
	Meaning given to the abbreviation

	NEC
	New Engineering Contract

	TSC
	Term Service Contract

	CDSS
	Contractor Document Submission Schedule 

	
	

	
	

	
	

	
	


2 Management strategy and start up.

2.1 The Contractor’s plan for the service
The Contractor will submit a plan to the Service Manager for acceptance within the period stated in the service agreement.

Requirements which are to be incorporated into the Contractor’s plan:

· Document 240-85065548 requirements (project controls for contractors)
· Level 4 programme when Task Order is provided to the Contractor 
2.2 Management meetings

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Risk register and compensation events
	Discussions to take place as soon as a risk is notified
	Service Manager’s office
	Contractor, Service Manager, Co-ordinator  and Contracts Supervisor

	Overall contract progress and feedback
	Weekly basis during Outages Thursdays 14:00-15:00
	Service Manager’s office
	Service Manager, Contractor, Co-ordinator and Contracts supervisor

	Daily Outage Progress
	Daily 10:00am during outages 
	Outage Boardroom
	Outage Execution Manager, Planner, Service Manager, Co-ordinator and Contract Supervisors

	Daily Safety Toolbox Talks
	Daily before work starts on site with signed attendance registers by Contractor’s employees and signed off minutes by the Contractor’s Site Manager
	Contractors Yard
	Contractor and his employees

	Contractor Weekly Safety Meeting
	Wednesdays during Outages 11:00-12:00
	Outage Boardroom
	Safety Officers, Supervisors, Outage planners and Co-ordinators 

	Plant Safety Walk down 
	Tuesdays 08:00am and Thursdays 08:00am during Outages
	Outside the unit on Outage shutter door
	Safety Officers, Supervisors, Outage planners and Co-ordinators

	Contractors Meeting
	Daily 15:00pm during outages
	Service Manager’s office
	Outage Co-ordinator, Contractor, Contractor Planner and Supervisor 


If the Contractor can’t attend any meeting his feedback should be formally communicated through to the Service Manager.

The Contractor will provide a detailed feedback report on a daily basis during Outages providing accurate feedback on the status of service carried out by the Contractor. This report should indicate accurate progress of service and if any constraints are experienced, the Contractor to communicate with the Service Manager and mitigate the risks with action plans.

Meetings of a specialist nature may be convened as specified elsewhere in this Service Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the service.  Records of these meetings shall be submitted to the Service Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

2.3 Contractor’s management, supervision and key people

The Contractor to provide a key list of personnel who will carry out the work on site with their qualifications attached. A company organogram will be needed by the Service Manager to communicate accordingly to comply with the NEC3 Term Services Contract communication structures. Contractor to refer to Kriel Power Station Contractor SHE Requirements RSR0001

2.4 Plant Safety Regulations Permits
It is the sole responsibility of the Contractor to ensure at all times there is an authorised Responsible Person to take out permits for the execution of the service. The Employer will provide all training necessary for the selected Contractor’s personnel to be authorised on Eskom Plant Safety Regulation.
2.5 Provision of bonds and guarantees

Not Applicable

2.6 Documentation control

Documentation requirements covers the life cycle of the project from the initial engineering stages through to installation and commissioning including operating, maintenance and the training stages of the project. Not only must these documents be comprehensive and complete but comply with strict document control and revision procedures. 

The Contractor is responsible to plan the supply of the documentation during the various project stages and to provide the documentation in accordance with the Contractor Document Submission Schedule (CDSS). A document is thus any written or pictorial information describing, defining, specifying or certifying activities, requirements, procedures or results. 

All the drawings issued by the Employer for this contract is copyright protected and are not to be copied by the Contractor.

It is the responsibility of the Contractor to update any drawings that may have changed due to modifications on the plant. These drawings should be submitted and registered correctly by the Contractor to the drawing office at Kriel Power Station.

The Contractor submits all documentation on a formal transmittal form to the Service Manager. 

All manuals, documents, drawings and engineering documentation shall be presented in British English in both software and hardware.

All Communications will be filed and kept on site at all times as it is crucial to have the correct communication structures. These communication documents should at all times adhere to the NEC 3 Term Service Contract communication requirements.

Contractor Document Submission Schedule (CDSS)
	Document Name/Description
	Date/Time documents to be submitted

	A programme in Primavera format as referred to document number (240-85065548)
	One week after receipt of task order

	Baseline risk assessment
	A month before start of the work

	QCP’s 
	A month before start of the work

	Contractor’s Safety file
	Two week before start of work

	Inspection report 
	24 hours after stripping activity

	Daily progress report 
	After Every Shift

	Technical report and data pack 
	Within 14 days of completion of the services


2.7 Invoicing and payment

Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Service Manager’s payment certificate.  

The Contractor shall address the tax invoice to:

Eskom Holdings SOC Ltd

Reg. No. 2002/015527/30

Accounts Payable

Email to: Invoiceseskomlocal@eskom.co.za
The Contractor keeps records of all invoices submitted and paid up to the end of the project, as well as details of Actual Costs.

All invoices are hand delivered to the Kriel Finance Department (Account payables) and include on each invoice the following information:

Name and address of the Contractor and the Service Manager; 

The contract number and title;

Contractor’s VAT registration number;

The Employer’s VAT registration number 4740101508;

Description of service provided for each item invoiced based on the Price List;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT

Contractor is required to follow the correct process to ensure the payment is effected in accordance with contractual payment terms.

Contractor is required to follow the correct process to ensure payment is effected in accordance with contractual payment terms:

2.6.1 Service related invoices

a) Once the service have been delivered/completed both parties have to agree that the service has been delivered/completed successfully prior to invoicing

b) An assessment payment certificate must be completed between the Contractor and Service Manager according to the service performed. Both parties have to sign the assessment/certificate

c) A copy of assessment/payment certificate must be obtained by the Contractor to enable the creation of an invoice and to prevent any discrepancies. A copy of the assessment/payment certificate must be attached to the original invoice

d) Service Manager performs a service entry and Goods Receipt on the SAP system. (Assessment/Payment Certificate issued as a source document for Service Entry Goods Receipt)

e) Service Manager will the forward the Service entry and Goods Receipt Note number to the Contractor within 3 working days after the service has been rendered and the Assessment/Payment certificate signed

f) Contractor must forward the original invoices together with a copy of the Assessment/Payment certificate to the Eskom Documentation Centre.

2.6.2 Goods Delivered Invoices 

a) Once the Goods are delivered, the Service Manager preforms a Goods Receipt on the SAP system. (The delivery note is used as source document for Goods Receipt. The invoice should not be used as a delivery note)

b) Service Manager will then forward the Goods Receipt note to the Vendor immediately or within 3 working days after the Goods are delivered.

c) Vendors must then forward the Invoices together with a copy of the Assessment/Payment certificate to the Eskom Documentation Centre

2.6.3 Invoices linked to commodity prices

a) The requirements are the same as for Goods Delivered Invoices.

b) Invoices which are linked to commodity prices will result in CPA (Contract Price Adjustment).

c) Attach a copy of the material invoice that has been previously paid to the CPA invoice, as well as the calculation sheet and all indices attached other than SEIFSA.

d) The relevant Eskom Department will then complete the CPA calculation sheet and forwards it to the Eskom Documentation Centre.

2.6.4 Retention Invoices 

a) The requirements are the same as for Goods Delivered and service related Invoices. 

b) Where Retention is applicable on the contract, the Eskom SAP system will automatically create the Retention, and the amount deducted from the invoiced amount.

c) Invoices related to retentions release require a defect or completion certificate and a retention release certificate from the Service Manager and must be attached to the original invoice.  The original invoice for the retention to be released must be accompanied by the approved and signed completion/defect certificate and retention release certificate and forwarded by the Service Manager to the Documentation Centre to effect payment.

2.6.5 Foreign exchange Invoices

a) The requirements are the same as for Goods Delivered and service related Invoices.

b) The following has to be attached to the Invoice before it will be processed:  Commercial invoice.  Bill of entry (SAD500), SARS release notification, Customs worksheet, Bill of Lading or Airway Bill and approved Exchange Control Approval (EXCON).

2.6.6 General Information related to Eskom Invoices

a) Contractor must ensure that the Service Entry and Goods Receipt Note number appears on the invoice.  (It can be printed or hand written on the invoice).

b) Eskom Purchase Order number must appear on invoice.

c) Invoices must be VAT compliant in line with the VAT Act requirements.

d) Invoices submitted must reflect the bank account details.  A once off copy of the banking details may be forwarded to the Documentation Centre and it will be attached to each scanned invoice.

e) Invoices must be original or certified as an original in line with the VAT Act.  No electronic invoices will be accepted.

f) Eskom’s correct name “Eskom Holdings SOC Limited” must appear on the invoice.

g) The Eskom VAT registration number: 4740 101 508 must appear on the invoice.

h) No pro-forma invoices will be accepted.

i) Contractor cannot be utilized by Eskom for more than 3 times without a contract being established.

Note:

1. Invoices must be delivered to the Eskom Documentation Centre, as this will speed up the payment process and ensure that invoices are not lost and payments delayed.  There is no need for Service Manager to sign invoices as they perform Goods Receipt in the system.  The assessment certificate and Goods Receipt serves as the approval of payment.

2. Eskom Documentation Centre will review invoices according to a checklist and on completion scan the documentation into Accounts Payable processing system (Documentation can only be scanned where the Purchase order no. and Goods Receipt Note no. is reflected on the invoice, and the invoice complies with the VAT Act).

Invoices are processed and released for payment by Accounts Payable Section only where the source documentation is 100% correct)

2.8 Contract change management 

Any change of the Contractor’s company ownership should be communicated through to the Service Manager. Failing to do this may lead to contract termination with legal consequences. 

The correct processes and procedures will be communicated through to the Contractor by the Service Manager.

If the Employer’s Service Manager change the Contractor will be notified by the Employer as soon as possible to ensure that the Contractor follow the correct communication channels.

2.9 Records of Defined Cost to be kept by the Contractor
In order to substantiate the Defined Cost of Compensation Events, the Employer may require the Contractor to keep records of amounts paid by him for people employed by the Contractor, Plant and Materials, work subcontracted by the Contractor and Equipment. 

The Contractor’s Site Manager will complete the site daily log and this will be submitted to the Service Manager for his signature before 12 am of the following morning barring weekends. The Friday and weekend logs will be submitted before 12 am Mondays. The log will include but not be limited to the following:

•
Date and day.

•
Weather.

•
Site Conditions.

•
Work Done.

•
People who are employed by the Contractor
•
Work sub-contracted by the Contractor
•
Any incidents during that period.

Any communication and documentation during this service agreement to be filed in the contract file. This file is in the possession of the Service Manager at all times.

2.10 Insurance provided by the Employer
As stated in Contract Data and as per Annexure A within this Service Agreement.

2.11 Training workshops and technology transfer

The Service Manager may request a detailed workshop or bar charts which fit into the logic and time span of the Accepted Programme, and reflects the required manufacturing completion dates.

The Contractor should create a programme for training on the plant for the Employer’s nominated employees if required from the Service Manager.

This training should be relevant for the Employer’s employees to perform front line fault finding or maintenance.

2.12 Design and supply of Equipment

Details of the design of Equipment is shared with the Service Manager, not necessarily for his acceptance but, as an assurance that the Equipment will be able to allow the Contractor to Provide the Service efficiently and without delay.  

Also the Employer may wish to exercise constraints or include witness and hold points during manufacture, assembly or delivery of such Equipment.   

The Contractor submits particulars of the design of an item of equipment to the Service Manager for acceptance when the Service Manager instructs him to. A reason for not accepting is that the design of the item will not allow the Contractor to provide the service in accordance with the Service Information, accepted plan or the applicable law.

2.13 Things provided at the end of the service period for the Employer’s use

2.13.1 Equipment

The Contractor is to hand over a serviceable plant to the Employer by the end of this contract.

2.13.2 Information and other things

The Contractor has the right to use Equipment, Plant, and Materials as stated in this Service Information provided by the Employer to provide the service.

At the end of the service period the Contractor returns all Equipment and surplus materials to the Employer. Provides items of equipment for the Employer’s use as stated in the Service Information and provides information and other things as stated in the Service Information.

2.14 Management of work done by Task Order

A Task is work within the service which the Service Manger may instruct the Contractor to carry out within a stated period of time.

A signed Task Order is the Service Manager’s instruction to carry out a Task.

Task Completion is when the Contractor has done all the work in the Task and corrected Defects which would have prevented the Employer or Others from using the Affected Property and Others from doing their work.

Task Completion Date is the date for completion stated in the Task Order unless later changed in accordance with this contract.

A Task Order includes:

· A detailed description of the work in the Task

· A priced list of items of work in the Task in which items taken from the Price List are identified.

· The starting and completion dates for the Task

· Conditions of the service agreement is in accordance with the Task Order issued

The Service Manager consults the Contractor about the contents of a Task Order before he issues it.

The Prices for items in the Task price list which are not taken from the Price List are assessed in the same way as compensation events.

No Task Order is issued after the end of the service period.

Work will not commence on site without the Contractor receiving a signed detailed task order that has been agreed upon by the Service Manager and the Contractor.

It is the Contractors responsibility to provide the Service Manager a detailed Task Order programme for acceptance within the period stated in the Contract Data.

Only when the Task Order programme is accepted and agreed upon by the Service Manager and the Contractor will any work commence on site.

When any emergencies do arise, it is required from the Contractor to adhere to the following terms:

· The Contractor will be informed of emergencies when the Service Manager first becomes aware of it. 

· Response time within 2 hours for any communication when the Contractor acknowledges the emergency.

· Provide a programme within 8 hours after Task Order provided to the Contractor
· Mobilise within 5 hours after Task Order have been accepted by both parties.

3 Health and safety, the environment and quality assurance

3.1 Health and safety risk management

	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor:

accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2003 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property;

warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and

undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.


3.2 Environmental constraints and management

All service providers appointed to render any services within Eskom Kriel Power Station are required to comply with the station’s Environmental Management System requirements. 

NB: Before commencing with any work, the service providers are required to visit the station’s environmental section for evaluation. The station’s environmental practitioner will evaluate the services to be rendered by the service provider and therefore allocate relevant legal and other requirements documents which the Contractor shall comply with during the works. The service provider together with Eskom’s Environmental practitioner shall sign in the Environmental Agreement Register to indicate that the agreement is reached. 

The service provider shall then commence with the works but paying inordinate attention towards implementing the relevant legal and other requirements measures as agreed in the register. Failure to comply with this agreement may ultimately lead to the termination of this contract. This requirement shall also be clearly stipulated in the NEC contracts between Eskom Kriel Power Station and any service providers. 

It should always be noted that Kriel Power Station is ISO14001 certified and therefore promotes Integrated Environmental Management (IEM) philosophy which aims to achieve a desirable balance between conservation and development. All activities taking place within Kriel Power Station must consider section 28 of the National Environmental Management Act (107 of 1998) which makes provision for the duty of care approach. The contractor’s team must commit to review and to continually improve environmental management, with the objective of improving overall environmental performance. The Contractor must consult with Kriel Environmental section on a regular basis for on-going assistance and advices.

The EMS shall clearly cover the following areas as per ISO 14001;

· Environmental policy

· Environmental legal and other requirements

· Risk Assessments/Aspects & Impacts Register

· Improved management of monitoring and measurement documentation( e.g. devices calibration certificates)  

· Provision of necessary resources (e.g. computers, adequate human resource) and allocation of roles and responsibility (through clear appointments) to achieve effective implementation of the EMS. 

· Continuous commitment towards complying with operational controls such as work instructions, operational procedures, etc. (either provided by the Contractor or by Service Manager) as well as emergency preparedness and response procedures/plans.  

· The contractor shall continually evaluate the compliance to legal requirements (e.g. sewage treatment plant permits and other applicable legislation); this should also be documented within the monthly environmental site inspections reports.

· Kriel Power Station’s procedure for non-conformity, corrective action and preventive actions shall be followed in case of the environmental incidents.

· Contingency plans.

Environmental Management Programmes

· Environmental Management Programmes shall be established and maintained to ensure that objectives and targets are achieved.

Audits

Audits covering various Environmental aspects, Safety, Operational, IBI and Maintenance Management at the plant shall be carried out within an acceptable interval to ensure compliance with statutory requirements and Eskom’s policies, Directives, procedures etc.
3.3 Quality assurance requirements

The Contractor shall be required to demonstrate by means of a Contract Quality Plan (CQP) that this organisation is so structured that all the requirements of the specification will be properly monitored and controlled. The Contract Quality Plan (CQP), which must include the Quality Control Plan (QCP), is to be drafted in accordance with QM-58 and the Supplier Contract Quality Requirement Specification (QM58). The Quality documents are to be submitted for approval to the Project Manager within thirty (30) days after a contract has been awarded to the Contractor.
No work may commence unless the Contract Quality Plan and Quality Control Plan documents have been approved in writing and a copy submitted to the Project Manager. The Contractor, in conjunction with the Project Manager must sign off all Quality Control documents after completing all work as per the agreed scope. The Contractor to submit a copy of the final signed off documents/data packages to the Project Manager within one (1) week after completion of work.

The Contractor shall be required to read and fully understand the contents of the Supplier Contract Quality Requirement Specification (QM58) and a copy is to be kept in possession or on premises.

The Contractor shall comply with all Employer’s requirements as set out in QM-58 (Supplier Contract Quality Specification).  .

The Contractor further ensures that the subcontractor’s programmes comply with the requirements of the Service Information.

The Contractor notifies the Service Manager of any changes to the Quality System and obtains agreement prior to implementation on existing orders and contracts, or sub orders and sub contracts.

The Supplier Contract Quality Requirement Specification (QM58) shall remain applicable in the event of the contract being extended or modified for reasons permitted.

By signature and acceptance of this contract the Contractor acknowledges and agrees to comply with and adhere to Eskom’s policies and procedures (current and/or latest revisions) including the Supplier Contract Quality Requirement Specification (QM58).

3.3.1 Contract Quality Management Plan Requirement

The Contractor prepares a contract quality management plan that, where appropriate, indicates the following:

· Indicates the interface with the Contractors quality system and applicable documents such as procedures and work instructions

· Establishes communication channels between the Contractor and the Service Manager in respect of quality and the integration of such with the prescribed contract communication channels

· Indicates how specific subcontractors will be monitored 

· Identifies items or activities for which quality control plans will be prepared 

· Identifies the specifications, drawings and acceptance criteria for material for which quality control plans are not required

· Identifies the areas or processes requiring special controls

· Identifies the Contractor’s Management Representative and personnel responsible for the control of quality activities and their relationship to the Contractor’s management structure

· Identifies the documents which are to be submitted to the Service Manager
· Indicates the Contractor’s quality monitoring programme

The Contractor periodically updates the contract quality management plan to reflect changes in any of the above details. The frequency of such updates is determined by the Service Manager but will not be greater than one year.

3.3.2 Quality Control Plan 

The Contractor’s or Subcontractor’s quality control plans cover inspection and test proposals for items or activities to be supplied as part of the service.

The quality control plan indicates the following as appropriate:

· The identification of the item.

· A list of the sequence of operations including inspections and tests.

· The identification of the specification, drawings or procedures for each operation.

· The acceptance criteria with reference to the appropriate technical specification, in-house, national or international standard and relevant clause number.

· The inspections and tests the Contractor has nominated for hold and witness points.

· Provision for inspections and tests nominated by the Service Manager.

· Provision for inspection status indication.

· Inspection and test records which are generated by the Contractor.

· Competence of the people-Level II welding inspector, Coded welders, N3 Fitters /Boiler makers

· Personnel qualifications from approved training and accredited institute 

· ITPs and welding procedures

· Material certificates

· Organogram indicating the quality person and his/her duties

· Adhere to the QM58

· Follow the Eskom welding  rule book

The quality control plans are reviewed by the Service Manager to allow for insertion of his specific requirements, including hold and witness points, prior to commencement of work. The Contractor does not commence work until the Service Manager accepts.

The Contractor shall comply with:

a)
 The Occupational Health and Safety Act, 1993, and all Regulations made there under.

b)   All Employer Safety and Operating Procedures, which are attached hereto.

The Contractor acknowledges that he is fully aware of the requirements of all the above and undertakes to employ only people who have been duly authorised in terms thereof and who have received sufficient safety training to ensure that they can comply therewith.

The Contractor undertakes not to do, or not to allow anything to be done which will contravene any of the provisions of the Act, Regulations or Safety and Operating Procedures.

The Contractor shall appoint a person who will liaise with the Employer Safety Officer responsible for the premises relevant to this contract.  The person so appointed shall on request:

a) Supply the Employer Safety Officer with copies of minutes of all Health and Safety Committee meetings, whenever he is required to do so.

b) 
Supply the Employer Safety Officer with copies of all appointments in respect of employees employed on this contract, in terms of the Act and Regulations and shall advise the Employer Safety Officer of any changes thereto.

Employer may, at any stage during the currency of this agreement be entitled to:

a)  Do safety audits at the Contractor's premises, its work places and on its employees.

b)
Refuse any employees, sub-Contractor or agent of the Contractor access to its premises if such person has been found to commit any unlawful act or any unsafe working practice or is found to be not authorised or qualified in terms of the Act.

c) Issue the Contractor with a work stoppage order or a compliance order should Employer become aware of any unsafe working procedures or conditions or any non-compliance with the Act, Regulations and Procedures by the Contractor or any of its Employees, sub-Contractors or agents. Stoppages of this nature will not constitute a compensation event.

List of minimum statutory appointments required (where applicable), as required by the OHS Act:

OHS Act, Section 16(2) - Employer
OHS Act, GMR 2(1) - Supervision of Machinery

OHS Act, GMR 2(7) - Assist the designated person

OHS Act, CR 6(1) – Construction Supervisor (Authorised Supervisors and Responsible Persons must be appointed as Construction Supervisor)

OHS Act, CR 6(2) – Assistant Construction Supervisor

OHS Act, Section 17 - Health and Safety Rep

OHS Act, GAR 9 – Incident investigation 

OHS Act, CR 12 – Demolition work

OHS Act, CR 19 – Explosive Powered Tools

OHS Act, CR 22 – Electrical installations and machinery

OHS Act, GSR 3 – First Aiders

4 Procurement

4.1 People

4.1.1 Minimum requirements of people employed

It is the Contractor’s sole responsibility to ensure all its employees have permits to perform work in the Republic of South Africa.

4.1.2 BBBEE and preferencing scheme

Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Employer within thirty days of the notification or as otherwise instructed by the Employer.

Where, as a result, the Contractor’s B-BBEE status has decreased since the starting date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to provide the service.
Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination will be dealt with according to the NEC3 TSC penalty/termination clauses
4.1.3 Accelerated Shared Growth Initiative – South Africa (ASGI-SA) 

N/A

4.2 Subcontracting

4.2.1 Preferred subcontractors

The Employer may list which subcontractors or suppliers the Contractor is required to enter into subcontracts with.

If the Contractor subcontracts work, he is responsible for providing the Service as if he had not subcontracted. This contract applies as if a Subcontractor’s employees and equipment were the Contractor’s.

4.2.2 Subcontract documentation, and assessment of subcontract tenders

When the Contractor uses a Subcontractor he needs to engage with him on a NEC basis. The Subcontractor needs adhere to all processes, policies and procedures of Eskom as service should be provided as if not subcontracted to Eskom.

All reporting will happen based on the NEC standard forms or as agreed upon in the Kick off meeting.

4.2.3 Limitations on subcontracting

The Contractor submits the name of each proposed Subcontractor to the Service Manager for acceptance. A reason for not accepting the Subcontractor is that the appointment will not allow the Contractor to Provide the Service.

The Contractor does not appoint a Subcontractor until the Service Manager accepted them.

4.2.4 Attendance on subcontractors

The Subcontractor should attend all morning feedback Outage meetings to provide accurate feedback on the progress of service. Assessment meetings between Service Manager and the Contractor should be avoided by the Subcontractor. 

4.3 Plant and Materials

4.3.1 Specifications

Plant and Materials are defined as items intended to be included in the Affected Property.  This will refer to replacement of worn or defective parts, routine replacement as part of regular preventative maintenance and supply of spare parts.  

4.3.2 Correction of defects

The Service Manager arranges for the Employer to allow the Contractor access if it is needed for correcting a Defect.

The Contractor needs to correct a Defect within one day or when the first available opportunity arises.

4.3.3 Contractor’s procurement of Plant and Materials

The Contractor will do all procurement of materials according to own procurement processes. All materials purchased by the Contractor to be installed to Affected Property will be kept and preserved according to the storage relevant specification. The Contractor may at any point be requested by the Service Manager to submit the storage and preserving specification for any material or plant. All plant and material to be stored at an area demarcated by the Service Manager and it is the responsibility of the Contractor to prepare the area and make it comply with the storage and preserving specification.

4.3.4 Tests and inspections before delivery

The Contractor does not deliver those Plant and Materials which the Service Information states are to be tested or inspected before delivery until the Service Manager has notified the Contractor that they have passes the test or inspection.

All holding points on QCP should have been adhered to and signed off by both parties before accepting any material or goods on site.

4.3.5 Plant & Materials provided “free issue” by the Employer
The Employer has service air operating at 600 kPa that the Contractor is allowed to use. Other facilities provided by the Employer can be seen in Section 5.8 of this contract.

5 Working on the Affected Property

5.1 Employer’s site entry and security control, permits, and site regulations

· The Contractor applies for temporary access permits (Contractor’s Permit) at the Security gate, prior to the Possession Date.  

· The Contractor personnel are required to be in possession of a Contractor’s Permit at all times.

· All Contractor personnel are issued with a temporary access permit (Contractor’s Permit) which contains the following information:

· Name

· ID Number

· Company

· Validity date

· All Contractors’ permits are submitted to Protective Services when the workers leave the site after completion of the works.

· In order to assist Protective Services with the issuing of permits and the identification of personnel on site, the Contractor supplies a list of all personnel that he intends using on site, at least 24 hours prior to entry of the Security Area.  

· This list is delivered to Protective Services, or is faxed to (017) 615 2602  

· The list, identified with the Contractor’s name, contains the following information:

· Employee Name

· Employee ID Number

· Eskom Safety Co-ordinator signature

· Service Manager signature

· Copy of the first page of the ID book of every employee of the 
Contractor, photocopied to reduce the size to 65%.

· To speed up the process of gaining access to the site, the Contractor compiles detailed lists of all tools and equipment to be taken on site before arriving at the Power Station Security gate.  

· A special Tool List form is available at Protective Services.  

· An authorised copy of this list is retained to be used again when the tools and equipment is removed from site after the completion of the works.

· The Contractor's visitors and all personnel conform at all times to the security arrangements in force at the site.  

· Application forms for visitors are filled in by the Contractor's Site Manager and approved by the Employers Representative, one day before the visit and submitted to the Employer’s Protective Services office. 

· Visitors are not allowed on site if the necessary forms are not in the possession of security staff.

· The Chief of Protective Services may, with valid cause, remove any of the Contractor's personnel from the site, either temporarily or permanently,
without any prejudice. He may deny access to the site to any person whom, in the opinion of the said Chief of Protective Services, constitutes a security risk.

· No unauthorised vehicles are allowed on site.  

· Only Contractor’s vehicles with displayed Contract Vehicle Permits disks  are allowed on site. 

· Contract Vehicle Applications are directed to the Employers Representative.

· The Contractor is restricted to the working areas associated with his place of work.  

· The Contractor is forbidden to enter any other areas, and must ensure that his employees abide by these regulations.

· Parking inside the power station is strictly forbidden, except for loading purposes.

· No recruiting of casual labour is done on Eskom premises, including the area outside the Power Station Security Gate.

5.1.2 Eskom Life Saving Rules:

Five Life Saving Rules have been developed that will apply to all Eskom employees, agents, consultants and contractors.

Rule 1:   Open, Isolate, Test, Earth, Bond, And / Or Insulate before touch - that is any plant operating above   1 000 V.

Rule 2:
Hook up at heights - no person may work at height where there is a risk of falling.

Rule 3:
Buckle up – no person may drive any vehicle on Eskom business and/or on Eskom premises: unless the driver and all passengers are wearing seat belts.

Rule 4:
Be sober (no person is allowed to work under the influence of drugs and alcohol.)

Rule 5:
Use a permit to work – where an authorization limitation exists, no person shall work without the required permit to work.

· Kriel Power Station Health and Safety Standards 

· Specifications for Contractors attached to the Invitation to Tender. This procedure will be handed over during tender enquiry and will enable the successful Tenderer to compile a Health & Safety plan that has to be approved by the Employer prior to commencement of work.

· Compliance with Eskom & Kriel No Smoking Policy

· Adhere to the OHS Act 85 of 1993

· All staff will undergo Safety Induction, presented by Kriel Risk Management Department

· Employer’s site regulations, covering the following:

· Clean lines

· Storage of material

· Safety precautions and fire prevention

· Permits to work

· Other Contractor's work

· Representation of sub-contractors

· Constant Supervision for hot work 

· Handing over of works
· Contractor's Site

· Disposal of waste, oil residue and sludge  

· Hot Work permit for welding

· Working at heights

· Working in and around an area that contains flammable substances

· Testing for combustible gases

· Availability of fire extinguishers when working in an area that contains flammable 

· Substances

5.2 People restrictions, hours of work, conduct and records

The Contractor provides the necessary resources to carry out the service as stated in the Service Information.
The Contractor provides everything to carry out the Service Information of this contract unless where otherwise stated in this Service Agreement. Everything that should be provided by the Employer is stated in this Service Agreement, anything not stated in the Service Agreement should be provided by the Contractor to execute the work as stated in the Service Information

It is very important that the Contractor keeps records of his people working on the Affected Property, including those of his Subcontractors.  The Service Manager shall have access to all records of the Contractor and Subcontractor at any time when deemed necessary.  

5.3 Health and safety facilities on the Affected Property

Any emergency equipment or fire suppression systems to be utilized by the Contractor when an emergency arise

Please refer to SHE Requirements for Contractors – Refer to RSR0001 Heading 8.1

5.4 Environmental controls, fauna & flora

General environmental requirements referred to in section 3 above, Kriel Power Station ISO14001
5.5 Cooperating with and obtaining acceptance of Others

This sub-paragraph could be used to deal with two issues. 

1) The cross reference from core clause 25.1 about cooperation generally as well as details about Others with whom the Contractor may be required to share the Affected Property. See clause 11.2(9) for the definition of Others. 

2) Requirements for liaison with and acceptance from statutory authorities or inspection agencies.

5.6 Records of Contractor’s Equipment

The Contractor will at all times keep record of his equipment on site with relevant inspections carried out. Inspection reports should be accessible by the Service Manager at any given time when he deems necessary. 

All equipment or tools signed in by the Contractor should strictly adhere to the gate access rules and procedures.

All Equipment including hired should be inspected and approved before accepted on site. 

The Contractor will keep records of all hired Equipment to execute the Service Information

5.7 Equipment provided by the Employer
It is the responsibility of the Contractor to provide his Equipment list to the Service Manager with all calibration certificates etc. 

The Employer provides Equipment as stated in the Service Information, anything not stated in the Service Information the Contractor have to provide and already accounted for in the Price List.

5.8 Site services and facilities

5.8.1 Provided by the Employer
The Employer will provide in the way of water, waste disposal, ablutions, fire protection and lighting (etc) on the Affected Property. Power will be provided by the Employer the Contractor needs to ensure his own cabling, connections, DB Boards and CoC certificates of installations and connections.

Refuse Disposal

The Employer provides special colour coded bins for refuse disposal.  These bins are emptied by the Employer free of charge.

The Contractor ensures that all workers under his control strictly adhere to the correct use of refuse bins as stated in the Plant.

Supply of Electricity

· Employer will make available to the Contractor 220/230-volt electrical supply free of charge from the closest existing point of supply. 

· The Contractor is to make provision for the necessary extensions and plug points.

· All Electrical boards must be inspected and tested before connecting to a power supply and then a CoC must be issued by the Contractor 

· The Contractor will adhere to the Electrical Installation Regulations of 1992
Medical Facilities

· The Contractor provides a First Aid service to his employees and subcontractor.  In the case where these prove to be inadequate, like in the event of a serious injury, the Employer’s Medical Centre and facilities are available.

· Outside the Employer’s office hours, the Employer’s First Aid Services are only available for serious injuries and life threatening situations.

· The Employer is entitled, however, to recover the costs incurred, in the use of the above Employer’s facilities, from the Contractor.

Toilet Facilities

The Employer provides the Contractor access to toilet facilities.  

Temporary chemical toilets are provided by the Contractor where deemed necessary.

5.8.2 Provided by the Contractor
· The Contractor shall provide, for his own use adequate size offices. 

· A cleaning service must also be provided.  

· Domestic rubbish will be removed free of charge.  

· The Contractor shall dismantle and clear off site all such infrastructure at the discretion of the Service Manager on completion of the contract.

· No such dismantling and clearance work shall be carried out without prior approval by the Service Manager.
· Any electrical equipment or appliances used by the Contractor shall conform to the applicable South African Safety standards and Kriel standard PSR 010, and shall be maintained in safe and proper working condition.  

· The Employer shall have the right to stop the Contractor’s use of any electrical equipment or appliance, which in the Employer’s opinion does not conform to the foregoing.

· Site Location

· The boundary of the site is within the Power Station boundary fences. 

· The Contractor is to mark the boundaries of his site clearly. 

· The Contractor is to ensure that all his material and equipment is always within the boundaries of his site. 

· A site for the Contractor will be provided if needed.  (The exact position will be determined on site).  

· The Contractor will ensure further treatment of the yard area to keep all neat and tidy at all times.  

· The Contractor shall also include for such items as security, watch and access arrangements to his yard area.

· The Contractor shall not occupy any site area other than that located to him

· On completion of the service on Site, all areas allocated to the Contractor shall be re-instated to their former condition to the satisfaction of Employer
Contractor’s site requirements

· The Contractor supplies, installs, properly maintains and removes all temporary construction facilities and utilities necessary for the complete performance of the service
· Including the following: 

· The Contractor’s yard should adhere to sound housekeeping, failing with this the Employer may use another Contractor to clean up the Contractor’s yard. These costs will be carried by the Contractor.

· Any damage to installed lighting is repaired at the Contractor’s expense.

· The reticulation of electricity, water and any other services required by the Contractor from a supplied central distribution point.

· Hazardous Substances to be contained as per Eskom requirements. 

· Transportation on and off site 

· Telephone connections may be available and the Contractor applies via the Services Manager for a connection. Connection fees and calls are for the Contractor’s account.

· Compressed air and gases

· Maintenance of lay-down and storage areas

· Electric panels and distribution wiring for erection and within Contractor's yard

· Security of Contractor's yard

· Temporary lighting to ensure safe working conditions.

Accommodation

The provision of accommodation for Contractor's personnel is the responsibility of the Contractor.

The Contractor or any of his employees or subcontractors is not allowed to use the Employer’s dining facilities. The shop next to the main office building may be utilized by the Contractors.

5.9 Control of noise, dust, water and waste .
All waste introduced to and/or produced on Employer’s Premises by the Contractor for this order, must be handled in accordance with the minimum requirements for the Handling and Disposal of hazardous waste in terms of Government Legislation as proclaimed by the Department of Water Affairs and Forestry 1994 Ref.: BN0621-16296-5. (A copy of this document is available at the Power Station for reference purposes).

Provide sufficient storage containers, labelled depicting general or hazardous waste and store in a designated storage area

No hazardous waste may be stored for a period of more than 90 days on the Kriel Power Station’s premises

Ensure that all hazardous waste is disposed of at a licensed Class H disposal site. A copy of the hazardous waste disposal certificate must be submitted to the Service Manager.
Ensure that the Contractor’s site does comply with the general good housekeeping practices. Redundant material will be removed to allocated sites. No scrap shall be stored in the Contractor’s yard. Scrap is to be cleared from Site daily.

5.10 Hook ups to existing works

Any work performed at heights, must adhere to the correct safety standards, procedures and specifications stated in the Health and safety risk management of Kriel Power Station. Refer to RSR0001 heading 5.7

5.11 Tests and inspections

5.11.1 Description of tests and inspections

The Contractor gives at least 48 hours in advance notification to the Supervisor or the Authority for inspection/test and hold or witness points, which require their attendance. The Contractor confirms readiness for inspection at least 24 hours prior to the test.

The Contractor ensures that all work has been fully inspected, accepted and documented prior to requesting any inspection by the Supervisor.

The Contractor and the Employer provide materials, facilities and samples for tests and inspections as stated in the Service Information.

5.11.2 Materials facilities and samples for tests and inspections 

The Contractor shall ensure that surfaces to be protected are inspected in order to evaluate extent of surface preparation for which he will be responsible. All inspection arrangements with Kriel Power Station Engineering Department will be made 24 hours in advance.

6 List of drawings

6.1 Drawings issued by the Employer
This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

	Drawing  number
	Revision
	Title

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


C4:  Site Information

Part 4: Site Information

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C4
	Site Information
	2

	
	
	

	
	Total number of pages
	3


Part 4: Site Information

General description
The Kriel Power Station is situated approximately half way between Bethal and Ogies on the R545, being just over 30 km from each town and 10 km north-west of Kriel town.

Kriel Power Station is situated in a summer rainfall area with an average annual precipitation of about 750 mm falling almost entirely during the months of October to April.  The average rainfall per month generally exceeds 40 mm during this period, although drought periods do occur which can last for 20 days or longer.  Drought periods occur most frequently during the months of October/November and March/April.  January is statistically the highest rainfall month with an average monthly rainfall of about 130 mm.  June has the lowest rainfall with an average monthly rainfall of about 7 mm.

Approximately 85% of the annual rainfall occurs in the summer months and heavy falls of 125 to 150 mm occasionally occur in a single day.  The annual average number of thunderstorms is about 75.  These storms are often violent with severe lightning and strong (but short-lived) gusty winds and are sometimes accompanied by hail.  This region has among the highest hail frequencies in South Africa; about 4 to 7 occurrences (depending mainly on altitude) may be expected annually.

January is normally the hottest month with an average daily maximum temperature of 27°C with a mean daily temperature in winter being about 16°C.  Winter average daily temperatures vary from 18, 5°C maximum to -1°C minimum.  The extreme temperatures recorded range from 34, 7°C to minus 12, 4°C for the period 1920 - 1984.  (Source: Weather Bureau, Pretoria)

Winds are generally light to moderate except during thunderstorms.  Generally the prevailing wind directions are from the North West during the day and from the east at night.  During daytime, the prevailing winds are from the north-western direction.  During night-time, the prevailing winds are from the north-eastern direction.  The highest recorded average wind speed is 17, 6 km/hour.  The average wind velocity over the year is 14, 5 km/hour.

(Source: Brewer & Conlin, 1996, Reference 4, page 2.5.)

Existing buildings, structures, and plant & machinery on the Site

Not applicable. The Contractor to specify any information required if necessary.
Subsoil information

Not applicable. The Contractor to specify any information required if necessary.

Hidden services 

All known services will be brought to the attention of the Contractor by Employers Representative. Should the Contractor encounter any other services in the work area, he will immediately bring them to the attention of the Employers Representative who will issue instructions as to what actions are to be taken.

The protection of all pipes, gauges and plant is of extreme importance. Should any damage take place, which is due to the Contractors negligence, another Contractor will be brought onto site to affect repairs.  All costs will be to the account of the Contractor who caused damage.

Other reports and publicly available information

The assumed 1 in 10 year rainfall figures are:

	Month
	Cumulative rain (mm)
	No of days with rainfall > 10mm

	January
	200
	6

	February
	150
	6

	March
	120
	5

	April
	110
	4

	May
	40
	3

	June
	20
	2

	July
	30
	2

	August
	30
	2

	September
	60
	3

	October
	140
	6

	November
	160
	7

	December
	170
	6


� This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902 � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 







Part C1: Agreements and Contract Data
PAGE 19
C1.2b tsc3 Contract Data Part 2


