**Maintenance of Fence specification**

Erect new fence to replace old fence at ARC-Addo Research station, Addo,Eastern Cape.

\*\*All materials supplied quote is on labour only.

Fence of 385 meters, poles 2.6m long, secured with concrete 800mm in to the ground, poles 3 meters apart.

Attach 7 horizontal wires, 30cm apart.

Attach wire mesh (1m high) to bottom half.

Attach 2 rows of flat wrap razor wire to top half.