# SCOPE OF WORK

Supply, install and connect a step up 380V/575V, 200KVA AC transformer to supply a 1900KVA, 575V AC Inductotherm furnace, during power failure the furnace hold the material in temperature using about 105KW, the step up transformer will be supplied by a 380V, 380KVA emergency generator which is currently installed.  If it is possible can you please supply the cabling from the emergency generator through the step up transformer to the inductotherm furnace.  A site visit is compulsory for correct specifications at Denel PMP Brass Foundry, 150 Steel Road, Pretoria West, Pretoria.