Concrete repair work, GH8

Concrete floor repair

Clean and remove all loose concrete and apply SikaQuick®-2500 (or similar approved) concrete

repair motor according to manufacturer's specifications and application instruction.

Grouting

Clean all loose material and apply SikaGrout®-212 (or similar approved) on window sills and make it

water tight between aluminum frame and brickwork overall width not exceeding 115mm and

height not exceeding 100mm. Note the grouting must slope away from frame.

Area: