|  | Strategy | Engineering |
| --- | --- | --- |

| Title: | Tender Technical Evaluation Strategy for Transducers’ Spares Supply at Medupi Power Station |  | Unique Identifier: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Alternative Reference Number: |  |  |  |
|  |  |  | Area of Applicability: |  | Engineering |  |
|  |  |  | Documentation Type: |  | Strategy |  |
|  |  |  | Revision: |  | 1 |  |
|  |  |  | Total Pages: |  | 12 |  |
|  |  |  | Next Review Date: |  | N/A |  |
|  |  |  | Disclosure Classification: |  | CONTROLLED DISCLOSURE |  |
| Compiled by |  | Functional Responsibility |  | Authorised by |  |
| ………………………………….. |  | ………………………………….. |  | ………………………………….. |  |
| K. Shebe Senior Engineer – C&I |  | L. Sehume Manager Maintenance – C&I |  | N. Mashigo Manager Engineering – C&I |  |
| Date: …………………………… |  | Date: …………………………… |  | Date: …………………………… |  |

# CONTENTS

Page

1. Introduction	3

2. Supporting Clauses	3

2.1 Scope	3

2.1.1 Purpose	3

2.1.2 Applicability	3

2.2 Normative/Informative References	3

2.2.1 Normative	3

2.2.2 Informative	3

2.3 Definitions	4

2.3.1 Classification	4

2.4 Abbreviations	4

2.5 Roles and Responsibilities	4

2.6 Process for monitoring	4

2.7 Related/Supporting Documents	4

3. Tender Techncial Evaluation Strategy	5

3.1 Technical Evaluation METHOD	5

3.2 Technical Evaluation Threshold	6

3.3 TET memberS	6

3.4 Manadatory Technical Evaluation Criteria	7

3.5 Qualitative Technical Evaluation Criteria	7

3.6 TET Member Responsibilities	10

3.7 Foreseen Acceptable / Unacceptable Qualifications	11

3.7.1 Risks	11

3.7.2 Exceptions / Conditions	11

4. Authorisation	12

5. Revisions	12

6. Development team	12

7. Acknowledgements	12

# TABLES

Table 1: Scoring Method	5

Table 2: TET Members	6

Table 3: Mandatory Technical Evaluation Criteria	7

Table 4: Qualitative Technical Evaluation Criteria	7

Table 5: TET Member Responsibilities	10

Table 6: Acceptable Technical Risks	11

Table 7: Unacceptable Technical Risks	11

Table 8: Acceptable Technical Exceptions / Conditions	11

Table 9: Unacceptable Technical Exceptions / Conditions	11

# Introduction

The reliability and availability of the Transducers in general, is a concern for Medupi Power station due to unplanned downtime, and it has contributed to many production risks on the Units.  Initiatives to improve the reliability and availability of the Transducers amongst others includes, placing spares supply contracts with predictable turnaround times.

# Supporting Clauses

## Scope

This scope of this document is limited to mandatory and qualitive technical evaluation criteria that will be used to evaluate proposals/tenders received from interested parties.

### Purpose

The purpose of this tender technical evaluation strategy is to define the Mandatory Evaluation Criteria, Qualitative Evaluation Criteria and TET member responsibilities for tender technical evaluation. The technical evaluation strategy serves as basis for the tender technical evaluation process.

### Applicability

This document applies to the Medupi Power Station Tender Evaluation Team for Transducers in accordance with the authorised procurement strategy.

## Normative/Informative References

Parties using this document shall apply the most recent edition of the documents listed in the following paragraphs.

### Normative

- 240-168966153: Generation Tender Technical Evaluation Procedure

241-202279: Medupi Power Station Scope of Work for the supply of Transducers

### Informative

- 32-1034 Eskom Procurement Policy

## Definitions

| Definition | Description |
| --- | --- |
| Product | All the transducers listed as part of scope of works in document 241-202279: Medupi Power Station Scope of Work for the supply of Transducers [2]. |
| Requirements | All requirements as specified in document 241-202279: Medupi Power Station Scope of Work for the supply of Transducers [2]. |

### Classification

###### Controlled Disclosure: Controlled Disclosure to external parties (either enforced by law, or discretionary).

## Abbreviations

| Abbreviation | Description |
| --- | --- |
| OEM | Original Equipment Manufacturer |
| TET | Technical Evaluation Team |

## Roles and Responsibilities

- N/A as per 240-48929482: Tender Technical Evaluation Procedure

## Process for monitoring

N/A

## Related/Supporting Documents

N/A

# Tender Techncial Evaluation Strategy

## Technical Evaluation METHOD

The basic steps for a technical evaluation must be followed as per the Tender Technical Evaluation Procedure [1].

A two stage Technical Evaluation Strategy is set out.

Stage 1: Mandatory Technical Evaluation Criteria (gatekeepers) are ‘must meet’ criteria. These criteria shall not be weighted or point scored, but shall be assessed on a Yes/No basis as to whether or not the criteria are met. An assessment of ‘No’ against any criterion shall technically disqualify the tenderer and shall not be further evaluated against Qualitative Criteria.

Stage 2: Qualitative Technical Evaluation Criteria are weighted evaluation criteria used to identify the highest technically ranked tenderer after determining that all the Mandatory Evaluation Criteria have been met. The Qualitative Evaluation Criteria are weighted to reflect the relevant importance of each criterion. The minimum weighted final score (threshold) required for a tender to be considered from a technical perspective is 70%.

A weighted score-card approach is used to evaluate the technical compliance of the tenders against the specifications. The evaluation of the tender submission will be based on the tenderer’s ability to meet the requirements.

Table 1: Scoring Method

| SCORE | PERCENTAGE | DESCRIPTION |
| --- | --- | --- |
| 5 | 100 | COMPLIANT - Meet technical requirement(s)/AND; - No foreseen technical risk(s) in meeting technical requirements. |
| 4 | 80 | COMPLIANT WITH ASSOCIATED QUALIFICATIONS - Meet technical requirement(s) with; - Acceptable technical risk(s) AND/OR; - Acceptable exceptions AND/OR; - Acceptable conditions. |
| 2 | 40 | NON-COMPLIANT - Does not meet technical requirement(s) AND/OR; Unacceptable technical risk(s) AND/OR; - Unacceptable exceptions AND/OR; - Unacceptable conditions. |
| 0 | 0 | TOTALLY DEFICIENT OR NON-RESPONSIVE |

## Technical Evaluation Threshold

The minimum weighted final score (threshold) required for a tender to be considered from a technical perspective is 70%.

## TET memberS

Table 2: TET Members

| TET number | TET Member Name | Designation |
| --- | --- | --- |
| TET 1 | Kgaugelo Shebe | Senior Engineer |
| TET 2 | Lucky Mmadihlaba | Senior Advisor Engineering |
| TET 3 | Tankiso Mbepe | Snr Supervisor Technician |
| TET 4 | Nare Senama | Snr Supervisor Technician |

## Manadatory Technical Evaluation Criteria

Table 3: Mandatory Technical Evaluation Criteria

|  | Mandatory Technical Criteria Description | Reference to Technical Specification / Tender Returnable | Motivation for use of Criteria |
| --- | --- | --- | --- |
|  | OEM Support of Products | Authorisation Letter from at least 1 OEM; Or Letter or Certificate of Support of Tenderer from OEM or relevant manufacturer | To ensure Tenderer is authorized to supply and has support of OEM. |

## Qualitative Technical Evaluation Criteria

Table 4: Qualitative Technical Evaluation Criteria

|  | Qualitative Technical Criteria Description | Reference to Technical Specification / Tender Returnable | Criteria Weighting (%) | Criteria Sub Weighting (%) |
| --- | --- | --- | --- | --- |
|  | Product Data Sheets and certificates per line item | Tenderer to provide Product Data Sheets and Certificates per line item of tables listing the transducers in document 241-202279: Medupi Power Station Scope of Work for the supply of Transducers [2]. | 40% | COMPLIANT Score = 5 (100%) All (10) data sheets submitted COMPLIANT WITH ASSOCIATED QUALIFICATIONS Score = 4 (80%) Only (9) data sheets submitted NON-COMPLIANCE Score = 2 (40%) Only (8) data sheets or less submitted TOTALLY DEFICIENT Score = 0 (0%) Deficient and non-responsive |
|  | Delivery and Lead times | Tenderer to provide a signed letter with commitments on their lead-times for all transducers listed in document 241-202279: Medupi Power Station Scope of Work for the supply of Transducers [2]. | 30% | COMPLIANT Score = 5 (100%) Delivery within 96 hours after an order; COMPLIANT WITH ASSOCIATED QUALIFICATIONS Score = 4 (80%) Delivery within 168 hours after an order; NON-COMPLIANCE Score = 2 (40%) Delivery after 168 hours after an order; TOTALLY DEFICIENT Score = 0 (0%) Deficient and non-responsive |
|  | Product Transportation, Storage and Packaging | Tenderer to provide their Typical Method Statement or Quality Plan that detail how transportation, Storage and Packaging of products will be done to ensure compliance to Requirements and industry best practices. Method statement / Quality Plan should detail below information as a minimum: - Transportation - Storage - Packaging - Defect resolution including details of turnaround times with respect to quality issues or defects – e.g. when incorrect or defected product is identified, what will lead time for replacement be. | 30% | COMPLIANT Score = 5 (100%) Typical Method Statement or Quality Plan covers as a minimum all 4 required items (namely: transportation, storage, packaging and defect resolution) plus addresses all associated risks with these 4 items. COMPLIANT WITH ASSOCIATED QUALIFICATIONS Score = 4 (80%) Typical Method Statement or Quality Plan covers as a minimum any 3 of the required items (namely: transportation, storage, packaging and defect resolution) which must include defect resolution in the 3 described. NON-COMPLIANCE Score = 2 (40%) Typical Method Statement or Quality Plan covers less than 3 of the required items (namely: transportation, storage, packaging and defect resolution) TOTALLY DEFICIENT Score = 0 (0%) Deficient and non-responsive |
|  |  |  | TOTAL: 100% |  |

## TET Member Responsibilities

Table 5: TET Member Responsibilities

| Mandatory Criteria Number | TET 1 | TET 2 | TET 3 | TET 4 |
| --- | --- | --- | --- | --- |
| 1 | X | X | X | X |
| Qualitative Criteria Number | TET 1 | TET 2 | TET 3 | TET 4 |
| 1 | X | X | X | X |
| 2 | X | X | X | X |
| 3 | X | X | X | X |

## Foreseen Acceptable / Unacceptable Qualifications

### Risks

Table 6: Acceptable Technical Risks

| Risk | Description |
| --- | --- |
|  | N/A |

Table 7: Unacceptable Technical Risks

| Risk | Description |
| --- | --- |
|  | Mandatory criteria 1 not evaluated and/or satisfied. |

### Exceptions / Conditions

Table 8: Acceptable Technical Exceptions / Conditions

| Risk | Description |
| --- | --- |
|  | Declining to provide technical details accurately deemed intellectual proprietary |

Table 9: Unacceptable Technical Exceptions / Conditions

| Risk | Description |
| --- | --- |
|  | Deviation without technical qualification not accepted. |

# Authorisation

This document has been seen and accepted by:

| Name | Designation | Signature |
| --- | --- | --- |
| Lucky Mmadihlaba | Senior Advisor Engineering |  |
| Tankiso Mbepe | Snr Supervisor Technician |  |
| Nare Senama | Snr Supervisor Technician |  |

# Revisions

| Date | Rev. | Compiler | Remarks |
| --- | --- | --- | --- |
| May 2023 | 1 | K Shebe |  |

# Development team

The following people were involved in the development of this document:

Lebo Pebane

# Acknowledgements

Lebo Pebane