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	Work sequence Order as per SOW
	Job Plan No.
	Work Description
	Bay or Equip
	MAXIMO Equipment / Bay Description
	MAXIMO Equipment / Bay No
	Start Job Between

	
	
	
	
	
	
	Date 1
	Date 2

	
	
	
	
	
	
	
	

	
	300000050
	COMMISSION NEW CAPACITOR BAY
New 22kV Capacitor 1
	Bay
	22kV Capacitor 1 (3MVAr)
	
	 
	 

	
	300000050
	COMMISSION NEW CAPACITOR BAY
New 22kV Capacitor 2
	Bay
	22kV Capacitor 2 (3MVAr)
	
	 
	 

	
	300000033

	MINOR COMMISSIONING 110V DC DB

	Equip
	110V DC DB
	
	
	

	
	
	MINOR COMMISSIONING AC DB
	Equip
	AC Distribution Board
	
	
	

	
	300000019

	MINOR COMMISSIONING – D20 @ MAKHATINI SS
	Equip
	D20
	
	
	


Note: Work Sequence can be renegotiated with the Project Engineer and Project Coordinator
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