Eskom Holdings SOC Ltd

Contract No. _________

project & Contract title




	[image: image1.jpg]R Eskom






NEC3 Engineering & Construction Contract
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30) 

	and


	[Insert at award stage]
(Reg No. ___________ )

	for


	Ankerlig Simulator Upgrade



	
	

	Contents:


	
	

	Part C1
	Agreements & Contract Data
	

	Part C2
	Pricing Data
	

	Part C3
	Scope of Work
	

	Part C4
	Site Information
	

	
	
	

	Enquiry No.
	

	
	

	
	

	
	


Part C1: Agreements & Contract Data
	Contents:


	
	

	C1.1
	Form of Offer and Acceptance 


	

	C1.2a
	Contract Data provided by the Employer
	

	C1.2b
	Contract Data provided by the Contractor

	

	C1.3
	Proforma Guarantees
	


C1.1 Form of Offer & Acceptance

Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

                  Ankerlig Simulator Upgrade

The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

	Options A 
	The offered total of the Prices exclusive of VAT is 
	R [●]

	
	Sub total
	R [●]

	
	Value Added Tax @ 15% is
	R [●]

	
	The offered total of the amount due inclusive of VAT is

	R [●]

	
	(in words) [●]



This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	Tenderer’s CIDB registration number (if applicable) 
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work: Works Information

Part C4

Site Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy signed between them of this document, including the Schedule of Deviations (if any).  

Unless the tenderer (now Contractor) within five working days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the Parties.

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Employer

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Employer prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	[●]
	[●]

	2
	[●]
	[●]

	3
	[●]
	[●]

	4
	[●]
	[●]

	5
	[●]
	[●]

	6
	[●]
	[●]

	7
	[●]
	[●]

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Employer


	Signature


	
	
	

	Name
	
	
	

	Capacity


	
	
	

	On behalf of
	(Insert name and address of organisation)


	
	(Insert name and address of organisation)



	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 ECC3 Contract Data

Part one - Data provided by the Employer
[Instructions to the contract compiler: (delete these two notes in the final draft of a contract)
1. Please read the relevant clauses in the conditions of contract before you enter data.  The number of the clause which requires the data is shown in the left-hand column for each statement however other clauses may also use the same data.  

2. Some ECC3 options are always selected by Eskom Holdings SOC Ltd.   The remaining ECC3 options are identified by shading in the left-hand column.  In the event that the option is not required select and delete the whole row.  Where the following symbol is used “[●]” - data is required to be inserted relevant to the specific option selected.]

Completion of the data in full, according to the Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for main Option 
	

	
	
	A:

Priced contract with activity schedule

	
	dispute resolution Option
	W1:
Dispute resolution procedure

	
	and secondary Options 
	

	
	
	

	
	
	X2

Changes in the law

	
	
	X7:

Delay damages

	
	
	X13:
Performance Bond

	
	
	X15:
Limitation of Contractor’s liability for design to reasonable skill and care

	
	
	X16:
Retention

	
	
	X18:
Limitation of liability 

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Engineering and Construction Contract, April 2013 (ECC3)
	If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data

	10.1
	The Employer is (Name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state-owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	10.1
	The Project Manager is: (Name)
	Babalwa Nomatiti 

	
	Address
	15 Pasita Street Rosepark, Tygervalley 

	
	Tel
	021 941 5835

	
	e-mail
	nomatibj@eskom.co.za  

	10.1
	The Supervisor is: (Name)
	Babalwa Nomatiti  

	
	Address
	15 Pasita Street Rosepark, Tygervalley

	
	Tel No.
	021 941 5806

	
	e-mail
	nomatibj@eskom.co.za


	11.2(13)
	The works are 
	The Contractor is responsible for the supply, delivery, design, transport, delivery, installation, and commissioning and handover of the works. 

The Contractor provides everything required to fulfil the works, except where specifically stated otherwise.  

The Contractor decommissions the existing OGS, removes and disposes of the existing equipment, except where the Employer indicates that some decommissioned equipment remains on site.

	11.2(14)
	The following matters will be included in the Risk Register
	All early warning matters notified by the Project Manager or the Contractor 

	11.2(15)
	The boundaries of the site are 
	Move the location of the new simulator cubicle to the Ankerlig 1 equipment room. The trainee and instructor stations however remain in the existing allocated rooms inside the training building.

	11.2(16)
	The Site Information is in 
	Part 4: Site Information

	11.2(19)
	The Works Information is in  
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	2 (Two) weeks prior site installation and 24 hours during installation 

	2
	The Contractor's main responsibilities
	Data required by this section of the core clauses is provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. 

	3
	Time
	

	11.2(3)
	The completion date for the whole of the works is
	31 March 2025.

	11.2(9)
	The key dates and the conditions to be met are:
	Condition to be met
	key date

	
	
	1

2

	Detailed Design 
Site Construction
	 31 December 2024
 15 February 2025

	
	
	3

	Commissioning 
 
	 31 March 2025


	
	
	
	
	

	30.1
	The access dates are:
	Part of the Site
	Date

	
	
	1

	Site construction 

	15 February 2025


	
	

	31.1
	The Contractor is to submit a first programme for acceptance within 
	2 (Two) weeks of the Contract Date.

	31.2
	The starting date is
	04 November 2024

	32.2
	The Contractor submits revised programmes at intervals no longer than 
	2 (Two) weeks.

	35.1
	The Employer is not willing to take over the works before the Completion Date.
	

	4
	Testing and Defects
	

	42.2
	The defects date is 
	52 weeks after Completion .

	43.2
	The defect correction period is 
	2 (Two) weeks

	5
	Payment
	

	50.1
	The assessment interval is 
	between the 25th day of each successive month.

	51.1
	The currency of this contract is the 
	TBC.

	51.2
	The period within which payments are made is 
	30 days after receipt of acceptable Tax Invoice and all relevant supporting documentation.

	51.4
	The interest rate is 
	the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 

(ii) the LIBOR rate applicable at the time for amounts due in other currencies.  LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove.

	6
	Compensation events
	Applicable as per Section 6 of the NEC 3 ECC (April 2013)

	60.1(13)
	The place where weather is to be recorded is:
	The South African Weather Bureau 

	
	The weather measurements are supplied by
	The contractor to obtain the one in ten year return weather data from South African Weather Bureau   

	7
	Title
	Applicable as per Section 7 of the NEC 3 ECC (April 2013).

	8
	Risks and insurance
	

	80.1
	These are additional Employer's risks  
	N/A
 

	9
	Termination
	Applicable as per Section 9 of the NEC 3 ECC (April 2013).

	10
	Data for main Option clause
	

	A
	Priced contract with activity schedule
	Refer to part 2: Pricing Data of this contract.

	11
	Data for Option W1
	

	W1.1
	The Adjudicator is 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	

	W1.2(3)
	The Adjudicator nominating body is:
	the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the London Institution of Civil Engineers. (See www.ice-sa.org.za ) or its successor body.

	W1.4(2)
	The tribunal is: 
	arbitration.

	W1.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	Johannesburg, South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	12
	Data for secondary Option clauses
	

	X2
	Changes in the law
	Applicable as per secondary option Clause X2.



	
	
	

	X7
	Delay damages (but not if Option X5 is also used)
	

	X7.1
	Delay damages for Completion of the whole of the works are
	R19 200●] per day up to a limit of R[1 200 000●]

	X15
	Limitation of the Contractor’s liability for his design to reasonable skill & care
	Applicable as per secondary clause X15

	X16
	Retention 
	

	X16.1
	The retention free amount is 
	R0.00 (Zero Rand).

	
	The retention percentage is
	10% of the Prices will be released after the Defects Certificate has been issued.  

	X18
	Limitation of liability
	

	X18.1
	The Contractor’s liability to the Employer for indirect or consequential loss is limited to:
	R0.0 (zero Rand)

	X18.2
	For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to:
	the amount of the deductibles relevant to the event described in the insurance policy format selected in the data for clause 84.1 above, which is available on request from Eskom Group Insurance. 

	X18.3
	The Contractor’s liability for Defects due to his design which are not listed on the Defects Certificate is limited to
	The greater of 

· the total of the Prices at the Contract Date 

and 

· the amounts excluded and unrecoverable from the Employer’s assets policy for correcting the Defect (other than the resulting physical damage which is not excluded) plus the applicable deductible as at contract date.

	X18.4
	The Contractor’s total liability to the Employer for all matters arising under or in connection with this contract, other than excluded matters, is limited to:
	the total of the Prices other than for the additional excluded matters.

The Contractor’s total liability for the additional excluded matters is not limited. 

The additional excluded matters are amounts for which the Contractor is liable under this contract for

· Defects due to his design which arise before the Defects Certificate is issued,

· Defects due to manufacture and fabrication outside the Site,

· loss of or damage to property (other than the works, Plant and Materials),

· death of or injury to a person and 

· infringement of an intellectual property right.

	X18.5
	The end of liability date is 
	(i) 1 (one) year after the defects date for latent Defects and 
(ii) the date on which the liability in question prescribes in accordance with the Prescription Act No. 68 of 1969 (as amended or in terms of any replacement legislation) for any other matter.

A latent Defect is a Defect which would not have been discovered on reasonable inspection by the Employer or the Supervisor before the defects date, without requiring any inspection not ordinarily carried out by the Employer or the Supervisor during that period. 

If the Employer or the Supervisor do undertake any inspection over and above the reasonable inspection, this does not place a greater responsibility on the Employer or the Supervisor to have discovered the Defect.

	Z
	The Additional conditions of contract are
	Z1 to Z15 always apply.

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract.

	Z2.2
	Unless already notified to the Employer, the persons or organisations notify the Project Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf.

	Z2.3
	The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z3.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Project Manager within thirty days of the notification or as otherwise instructed by the Project Manager.

	Z3.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Works.

	Z3.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Project Manager.

	Z4.3
	In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the works or any portion thereof, in the course of Providing the Works and after Completion, requires the prior written consent of the Project Manager.  All rights in and to all such images vests exclusively in the Employer.  

	Z4.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Project Manager, the Supervisor, or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 27.4

	Z6.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor:

· accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Site;

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and

· undertakes, in and about the execution of the works, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Contractor, in and about the execution of the works, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Works Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete from the last sentence in core clause 61.3, “unless the Project Manager should have notified the event to the Contractor but did not”.

	
	

	Z9
	Employer’s limitation of liability

	Z9.1
	The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Contractor’s entitlement under the indemnity in 83.1 is provided for in 60.1(14) and the Employer’s liability under the indemnity is limited.

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Addition to secondary Option X7 Delay damages (if applicable in this contract)

	Z11.1
	If the amount due for the Contractor’s payment of delay damages reaches the limits stated in this Contract Data for Option X7 or Options X5 and X7 used together, the Employer may terminate the Contractor’s obligation to Provide the Works using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table.

	
	


	Z12
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractor or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z12.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z12.2
	The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason.

	Z12.3
	If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z12.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation.

	
	

	Z13
	Insurance

	Z 13.1
	Replace core clause 84 with the following:


	Insurance cover
	84
	

	
	
	

	
	84.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force.

	
	
	

	
	84.2
	The Contractor provides the insurances stated in the Insurance Table A.

	
	
	

	
	84.3
	The insurances provide cover for events which are at the Contractor’s risk from the starting date until the earlier of Completion and the date of the termination certificate.

	
	
	

	
	
	INSURANCE TABLE A
Insurance against
Minimum amount of cover or minimum limit of indemnity
Loss of or damage to the works, Plant and Materials
The replacement cost where not covered by the Employer’s insurance
The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance
Loss of or damage to Equipment
The replacement cost
Liability for loss of or damage to property (except the works, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) caused by activity in connection with this contract
Loss of or damage to property

Employer’s property

The replacement cost where not covered by the Employer’s insurance
The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance
Other property

The replacement cost

Bodily injury to or death of a person 

The amount required by applicable law
Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract
The amount required by the applicable law


	
	
	

	Z 13.2
	
	Replace core clause 87 with the following:
The Employer provides the insurances stated in the Insurance Table B.

	
	
	

	
	
	

	
	
	

	
	
	INSURANCE TABLE B
Insurance against or name of policy
Minimum amount of cover or minimum limit of indemnity

Assets All Risk

Per the insurance policy document

Contract Works insurance

Per the insurance policy document

Environmental Liability

Per the insurance policy document
General and Public Liability

Per the insurance policy document
Transportation (Marine)

Per the insurance policy document
Motor Fleet and Mobile Plant

Per the insurance policy document
Terrorism

Per the insurance policy document
Cyber Liability

Per the insurance policy document

Nuclear Material Damage and Business Interruption
Per the insurance policy document
Nuclear Material Damage Terrorism
Per the insurance policy document



	Z14
	Nuclear Liability

	Z14.1
	The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS.

	Z14.2
	The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z14.3
	Subject to clause Z14.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z14.4
	The Employer does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter.

	Z14.5
	The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned.

	
	

	Z15
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e., a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means occupational exposure limit.

	Parallel Measurements
	means measurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z15.1
	The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z15.2
	Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z15.3
	The Employer manages asbestos and ACM according to the Standard.

	Z15.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe.

	Z15.5
	The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z15.6
	The Contractor continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001.

	Z15.7
	Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation.


C1.2 Contract Data

Part two - Data provided by the Contractor
[Instructions to the contract compiler:  (delete this notes before issue to tenderers with an enquiry)
Whenever a cell is shaded in the left hand column it denotes this data is optional.  If not required select and delete the whole row, otherwise insert the required Data.]

Notes to a tendering contractor:

1. Please read both the NEC3 Engineering and Construction Contract (April 2013) and the relevant parts of its Guidance Notes (ECC3-GN)
 in order to understand the implications of this Data which the tenderer is required to complete.  An example of the completed Data is provided on pages 156 to 158 of the ECC3 (April 2013) Guidance Notes.

2. The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

3. Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	10.1
	The Contractor is (Name):
	     

	
	Address
	     

	
	Tel No.
	     

	
	Fax No.
	     

	11.2(8)
	The direct fee percentage is
	     %

	
	The subcontracted fee percentage is
	     %

	11.2(18)
	The working areas are the Site and
	     

	24.1
	The Contractor's key persons are:
	

	
	1
Name:
	     

	
	
Job:
	     

	
	
Responsibilities:
	     

	
	
Qualifications:
	     

	
	
Experience:
	     

	
	2
Name:
	     

	
	
Job
	     

	
	
Responsibilities:
	     

	
	
Qualifications:
	     

	
	
Experience:
	     

	
	
	CV's (and further key persons data including CVs) are appended to Tender Schedule entitled     .

	11.2(3)
	The completion date for the whole of the works is
	     

	11.2(14)
	The following matters will be included in the Risk Register
	     

	11.2(19)
	The Works Information for the Contractor’s design is in:
	     

	31.1
	The programme identified in the Contract Data is
	     

	A
	Priced contract with activity schedule
	

	11.2(20) 
	The activity schedule is in
	     

	11.2(30)
	The tendered total of the Prices is 
	      (in figures) 

      (in words), excluding VAT 

	
	Data for Schedules of Cost Components
	Note “SCC” means Schedule of Cost Components starting on page 60, and “SSCC” means Shorter Schedule of Cost Components starting on page 63 of ECC3 (April 2013).

	A
	Priced contract with activity schedule
	Data for the Shorter Schedule of Cost Components

	61 in SSCC
	The hourly rates for Defined Cost of design outside the Working Areas are
	Category of employee
	Hourly rate

	
	Note:  Hourly rates are estimated ‘cost to company of the employee’ and not selling rates.  
	     
	     

	
	Please insert another schedule if foreign resources may also be used
	     
	     

	
	
	     
	     

	
	
	     
	     

	62 in SSCC
	The percentage for design overheads is
	     %

	63 in SSCC
	The categories of design employees whose travelling expenses to and from the Working Areas are included in Defined Cost are:
	     

	44 in SCC
	The percentage for Working Areas overheads is:
	:
     %

	51 in SCC
	The hourly rates for Defined Cost of manufacture or fabrication outside the Working Areas are
	Category of employee


	Hourly rate

	
	Note:  Hourly rates are estimated ‘cost to company of the employee’ and not selling rates
	     
	     

	
	Please insert another schedule if foreign resources may also be used
	     
	     

	
	
	     
	     

	
	
	     
	     

	52 in SCC
	The percentage for manufacture and fabrication overheads is
	     %


C1.3 Forms of Securities 

Pro formas for Bonds & Guarantees

For use with the NEC3 Engineering & Construction Contract 

[Note to contract compiler:

Once it has been decided which securities are required for this contract delete from this file the ones not required, revise the notes below accordingly and delete this note.]
The conditions of contract stated in the Contract Data Part 1 include the following Secondary Options:

Option X13:
Performance Bond

Each of these secondary Options requires a bond or guarantee “in the form set out in the Works Information”.    Pro forma documents for these bonds and guarantees are provided here for convenience but are to be treated as part of the Works Information.

Option X16:
Retention (not used with Option F)

The Contractor may provide a Retention Money Guarantee in the form stated here.  When the Employer receives and accepts a Retention Money Guarantee exactly in the form stated he will instruct the Project Manager not to assess any amount be retained in terms of secondary Option X16.
The organisation providing the bond / guarantee does so by copying the pro forma document onto his letterhead without any change to the text or format and completing the required details.  The completed document is then given to the Employer within the time stated in the contract.  

Pro forma Performance Bond – Demand Guarantee (for use with Option X13)

(to be reproduced exactly as shown below on the letterhead of the Contractor’s Parent Company)
	Eskom Holdings SOC Ltd

Megawatt Park

Maxwell Drive

Sandton

Johannesburg
	Date:
	


Dear Sirs

Reference No. [●] [Drafting Note: Bank reference number to be inserted]
Performance Bond – Demand Guarantee: [Drafting Note: Name of Contractor to be inserted]
Project [  ] Contract Reference: …… [Drafting Note: Contractor contract reference number to be inserted]
In this Guarantee the following words and expressions shall have the following meanings:-

1.1 “Bank” - means [●], [●] Branch, (Registration No. [●]); [Drafting Note: Name of Bank to be inserted]

1.2 “Bank’s Address” - means [●]; [Drafting Note: Bank’s physical address to be inserted]

1.3 “Contract” – means the written agreement relating to the Project, entered into between Eskom and the Contractor, on or about the [●] day of [●] 200[●] (Contract Reference No. [.]as amended, varied, restated, novated or substituted from time to time; [Drafting Note: Signature Date and Contract reference number to be inserted]

1.4 “Contractor” – means [●] a company registered in accordance with the laws of [●] under Registration Number [●]. [Drafting Note: Name and details of Contractor to be inserted]

1.5 “Eskom” - means Eskom Holdings SOC Ltd, a company registered in accordance with the laws of the Republic of South Africa under Registration Number 2002/015527/30].

1.6 “Expiry Date” - means the date on which the Defects Certificate is issued in terms of the Contract.

1.7 “Guaranteed Sum” - means the sum of R [●] ([●] Rand); 

1.8 “Project” - means [insert if applicable.].

2. At the instance of the Contractor, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of Eskom, as security for the proper performance by the Contractor of all of its obligations in terms of and arising from the Contract and hereby undertake to pay to Eskom, on written demand from Eskom received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

3. A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

3.1 be signed on behalf of Eskom by a Group Executive, Divisional Executive, Senior General Manager, General Manager  or its delegate;

3.2 state the amount claimed (“the Demand Amount’);

3.3 state that the Demand Amount is payable to Eskom in the circumstances contemplated in the Contract.

4. Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

4.1 is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

4.2 is not, and shall not be construed to be, accessory or collateral on any basis whatsoever. 

5. The Bank’s obligations in terms of this Guarantee:

5.1 shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

5.2 shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed, by the fact that a dispute may exist between Eskom and the Contractor.

6. Eskom shall be entitled to arrange its affairs with the Contractor in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release or compromise granted to the Contractor or any variation under or to the Contract. 

7. Should Eskom cede its rights against the Contractor to a third party where such cession is permitted under the Contract, then Eskom shall be entitled to cede to such third party the rights of Eskom under this Guarantee on written notification to the Bank of such cession.

8. This Guarantee:

8.1 shall expire on the Expiry Date until which time it is irrevocable;

8.2 is, save as provided for in 7 above, personal to Eskom and is neither negotiable nor transferable;

8.3 shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof;

8.4 shall be regarded as a liquid document for the purpose of obtaining a court order; and

8.5 shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the jurisdiction of the Courts of the Republic of South Africa. 

8.6 Any claim which arises or demand for payment received after expiry date will be invalid and unenforceable.

9. The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

Signed at _____________________

Date ____________________________

For and behalf of the Bank

Bank Signatory: ___________________

Bank Signatory: ___________________

Witness: ________________________

Witness: _________________________

Bank’s seal or stamp

Pro forma Retention Money Guarantee (may be used when Option X16 applies)

(to be reproduced exactly as shown below on the letterhead of the Bank providing the Guarantee)
	Eskom Holdings SOC Limited

Megawatt Park

Maxwell Drive

Sandton

Johannesburg 
	Date:
	


Dear Sirs

Reference No. [●] [Drafting Note: Bank reference number to be inserted]
Retention Money Guarantee: [Drafting Note: Name of Contractor to be inserted]
Project [  ] : Contract Reference:  [Drafting Note: Contractor contract reference number to be inserted]
1. In this Guarantee the following words and expressions shall have the following meanings:-

1.1 “Bank” - means [●], [●] Branch, (Registration No. [●]); [Drafting Note: Name of Bank to be inserted]

1.2 “Bank’s Address” - means [●]; [Drafting Note: Bank’s physical address to be inserted]

1.3 “Contract” – means the written agreement relating to the Project, entered into between Eskom and the Contractor, on or about the [●] day of [●] 200[●] (Contract Reference No. ………. as amended, varied, restated, novated or substituted from time to time; [Drafting Note: Signature Date and Contract reference number to be inserted]

1.4 “Contractor” – means [●] a company registered in accordance with the laws of [●] under Registration Number [●]. [Drafting Note: Name and details of Contractor to be inserted]

1.5 “Eskom” - means Eskom Holdings SOC Limited, a company registered in accordance with the laws of the Republic of South Africa under Registration Number 2002/015527/30

1.6 “Expiry Date” - means the date on which the Defects Certificate is issued in terms of the Contract.

1.7 “Guaranteed Sum” - means the sum of R [●] ([●] Rand); [Drafting Note: Insert amount of Retention Money Guarantee.].

1.8 “Project” - means the…………………………………..

2. At the instance of the Contractor, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of Eskom, as security for the proper performance by the Contractor of all of its obligations in terms of and arising from the Contract and hereby undertake to pay to Eskom, on written demand from Eskom received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

3. A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

3.1 be signed on behalf of Eskom by a director of Eskom or his authorised delegate.

3.2 state the amount claimed (“the Demand Amount’);

3.3 state that the Contractor has failed to carry out his obligation(s) to rectify certain defect(s) for which he is responsible under the Contract (and the nature of such defect(s)) alternatively that the Demand Amount is payable to Eskom in the circumstances contemplated in the Contract.

4. Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

4.1 is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

4.2 is not, and shall not be construed to be, accessory or collateral on any basis whatsoever. 

5. The Bank’s obligations in terms of this Guarantee:

5.1 shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

5.2 shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed by the fact that a dispute may exist between Eskom and the Contractor.

6. Eskom shall be entitled to arrange its affairs with the Contractor in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release or compromise granted to the Contractor or any variation under or to the Contract. 

7. Should Eskom cede its rights against the Contractor to a third party where such cession is permitted under the Contract, then Eskom shall be entitled to cede to such third party the rights of Eskom under this Guarantee on written notification to the Bank of such cession.

8. This Guarantee:

8.1 shall expire on the Expiry Date until which time it is irrevocable;

8.2 is, save as provided for in 7 above, personal to Eskom and is neither negotiable nor transferable;

8.3 shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof;

8.4 shall be regarded as a liquid document for the purpose of obtaining a court order; and

8.5 shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the jurisdiction of the Courts of the Republic of South Africa.

8.6 Any claim which arises or demand for payment received after expiry date will be invalid and unenforceable.

9. The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

Signed at _____________________

Date ____________  Bank’s seal or stamp

For and behalf of the Bank

Bank Signatory: ___________________

Bank Signatory: ___________________

Witness: ________________________

Witness: _________________________

(to be reproduced exactly as shown below on the letterhead of the Bank providing the Guarantee)
	Eskom Holdings Limited

Megawatt Park

Maxwell Drive

Sandton

Johannesburg
	Date:
	


Dear Sirs

Reference No. [●] [Drafting Note: Bank reference number to be inserted]
Pro-Forma ASGI-SA  Guarantee: [Drafting Note: Name of Contractor to be inserted]
Project [  ] Contract Reference: [●] [Drafting Note: Contractor contract reference number to be inserted]
Part 2: Pricing Data

ECC3 Option A

	Document reference
	Title
	

	C2.1
	Pricing assumptions: Option A
	

	C2.2
	The activity schedule  
	


C2.1 Pricing assumptions: Option A

1. How work is priced and assessed for payment

Clause 11 in NEC3 Engineering and Construction Contract, (ECC3) Option A states:

	Identified and defined terms
	11

11.2
	(20) The Activity Schedule is the activity schedule unless later changed in accordance with this contract.



	
	
	(27) The Price for Work Done to Date is the total of the Prices for 

· each group of completed activities and

· each completed activity which is not in a group.

A completed activity is one which is without Defects which would either delay or be covered by immediately following work.



	
	
	(30) The Prices are the lump sum prices for each of the activities on the Activity Schedule unless later changed in accordance with this contract.




This confirms that Option A is a lump sum form of contract where the work is broken down into activities, each of which is priced by the tendering contractor as a lump sum.   Only completed activities are assessed for payment at each assessment date; no part payment is made if the activity is not completed by the assessment date. 

2. Function of the Activity Schedule

Clause 54.1 in Option A states: “Information in the Activity Schedule is not Works Information or Site Information”.  This confirms that specifications and descriptions of the work or any constraints on how it is to be done are not included in the Activity Schedule but in the Works Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Works in accordance with the Works Information”. Hence the Contractor does not Provide the Works in accordance with the Activity Schedule.  The Activity Schedule is only a pricing document.  

3. Link to the programme

Clause 31.4 states that “The Contractor provides information which shows how each activity on the Activity Schedule relates to the operations on each programme which he submits for acceptance”.  Ideally the tendering Contractor will develop a high level programme first then resource each activity and thus arrive at the lump sum price for that activity both of which can be entered into the activity schedule.  

4. Preparing the activity schedule
Generally it is the tendering Contractor who prepares the activity schedule by breaking down the work described within the Works Information into suitable activities which can be well defined, shown on a programme and priced as a lump sum.

The Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in his activity schedule and be priced accordingly. 

It is assumed that in preparing his activity schedule the Contractor:
· Has taken account of the guidance given in the ECC3 Guidance Notes pages 19 and 20;

· Understands the function of the Activity Schedule and how work is priced and paid for;

· Is aware of the need to link the Activity Schedule to activities shown on his programme;

· Has listed and priced activities in the activity schedule which are inclusive of everything necessary and incidental to Providing the Works in accordance with the Works Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;
· Has priced work he decides not to show as a separate activity within the Prices of other listed activities in order to fulfil the obligation to complete the works for the tendered total of the Prices. 
· Understands there is no adjustment to the lump sum Activity Schedule price if the amount, or quantity, of work within that activity later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event. 
Activity Schedule
	Item

No.
	Programme Reference
	Activity description
	Price

	1.
	
	Detailed Design & Engineering
	

	1.1
	
	Design Submission by the contractor 
	

	1.2
	
	Design Approval – Once design is approved by Eskom  
	

	
	
	
	

	1.3
	
	Project Management 
	

	2
	
	Manufacturing and Supply of Materials
	

	3
	
	Factory Acceptance Test 
	

	3.1
	
	Off-site configuration and testing 
	

	4
	
	Fixed Preliminary and General
	

	5
	
	Site Establishment 
	

	5.2
	
	Decommissioning
	

	6
	
	Installation 
	

	6.1 
	
	Technician (s) - Rate x Hrs (show durations and quantities)  
	

	6.2
	
	Engineer - Rate x Hrs x No of hours   
	

	6.3
	
	General Worker - Rate x Hrs x No of hours   
	

	6.4
	
	Safety officer 
	

	6.5
	
	Accommodation (show resources, hourly rate, durations, and quantities)  
	

	6.5.1
	
	Technician (s)
	

	6.5.2
	
	Engineer
	

	6.5.3
	
	Safety officer
	

	6.5.4
	
	General Worker
	

	6.6
	
	Living out allowance (show resources, hourly rate, durations, and quantities)  
	

	6.6.1
	
	Technician (s)
	

	6.6.2
	
	Engineer
	

	6.6.3
	
	Safety officer
	

	6.6.4
	
	General Worker
	

	6.7
	
	Transportation of Employees (Number of people, kilometres, Days, and rate per kilometres)
	

	7
	
	Commissioning
	

	7.1
	
	Technician - Rate x Hrs x No of hours   
	

	7.2
	
	Engineer - Rate x Hrs x No of hours   
	

	7.3
	
	Accommodation (show resources, durations and quantities)  
	

	7.4
	
	Living out allowance (show resources, durations, and quantities)  
	

	8.
	
	Health, Safety & Environmental
	

	8.1
	
	Prepare, submit, and obtain approval of safety plan/file and lodge same on site
	

	8.2
	
	Personal Protective equipment
	

	9
	
	Training and maintenance manuals
	

	9.1
	
	
	

	10.
	
	Site De-establishment "Dismantle" (Remove Contractor’s site establishment on Completion)
	

	10.1
	
	
	

	11
	
	Spares 
	

	12
	
	Other (Specify)
	


C2.2 the activity schedule
Use this page as a cover page to the Contractor’s activity schedule or provide the schedule here

	Item

No.
	Programme Reference
	Activity description
	Price

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	Part 3: Scope of Work
(This cover or signature page)
	1

	C3.1
	Employer ’s Works Information
	40

	C3.2
	Contractor’s Works Information

(insert at award stage or delete if not applicable)
	1

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	42


C3.1: Employer ’s Works Information

Contents

Part 3: Scope of Work
0
C3.1: Employer ’s Works Information
1
1
Description of the works
4
1.1
Executive Overview
4
1.2
Employer ’s objectives and purpose of the works
4
1.3
Interpretation and Terminology
6
2
Management and start-up
7
2.1
Management meetings
7
2.2
Documentation control
8
2.3
Health and Safety Risk Management
8
2.4
Environmental constraints and management
8
2.5
Quality assurance requirements
8
2.5.1
Quality Plan
9
2.5.2 Work Packages
9
2.6
Programming constraints
9
2.7
Contractor’s management, supervision, and key people
10
2.8
Invoicing and payment
10
2.9
Insurance Provided by the Employer
12
2.10
Contract change management
12
2.11
Provision of bonds and guarantees
12
2.12
Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor
12
2.13
Training workshops and technology transfer
12
3
Engineering and the Contractor’s design
14
3.1
Employer ’s design
14
3.2
Parts of the Works which the Contractor is to design
14
3.2.1
Operational User Requirements
14
3.2.2
Technical Operational User Requirements
17
3.2.3
Physical design
18
3.2.4
Modelling
20
3.2.5
Exclusions and variances from Standards
22
3.2.6
Network Cabinets Requirements
23
3.2.7
General Cable Specifications
24
3.2.8
Process for submission of documents
24
3.2.9
General documentation requirements for acceptance of the Contractor’s design
25
3.2.10
Basic design documentation requirements for acceptance of the Contractor’s design
26
3.3
Use of Contractor’s design
27
3.4
Design of Equipment
27
3.5
Equipment required to be included in the works
27
3.6
As-built drawings, operating manuals, and maintenance schedules
27
3.6.1
Pre-implementation documentation requirements
27
3.6.2
Engineering changes during site implementation
27
3.6.3
Post-implementation documentation requirements
27
3.6.4
Documentation Control
28
3.6.5
Technical Documentation Index
28
4
Procurement
28
4.1
People
28
4.1.1
Minimum requirements of people employed on the Site
29
4.1.2
BBBEE and referencing scheme
29
4.2
Subcontracting
29
4.2.1
Preferred SubContractors
29
4.2.2
Subcontract documentation, and assessment of subcontract tenders
29
4.3
Plant and Materials
29
4.3.1
Quality
29
4.3.2
Guarantee inspection
30
4.3.3
Contractor’s Procurement of Plant and Materials
30
4.3.4
Spares and Consumables
30
4.4
Tests and inspections before delivery
31
4.5
Marking Plants and Materials outside the Working Areas
31
4.6
Contractor’s Equipment (including temporary works).
31
4.7
Cataloguing Requirements by the Contractor
31
5
Construction
31
5.1
Temporary works, Site services & construction constraints
31
5.1.1
Employer's Site Entry and Security Control, Permits, Site Regulations
31
5.1.2
Restrictions to access on Site, roads, walkways, and barricades
31
5.1.3
People restrictions on Site; hours of work, conduct, and records
32
5.1.4
Health and Safety Facilities on Site
32
5.1.5
Environmental controls, fauna & flora, dealing with objects of historical interest
34
5.1.6
Title to materials from demolition and excavation
34
5.1.7
Cooperating with and obtaining acceptance from others
34
5.1.8
Publicity and Progress Photographs
34
5.1.9
Contractor’s Equipment
34
5.1.10
Equipment Provided by the Employer
34
5.1.11
Site services and facilities
34
5.1.12
Facilities Provided by the Contractor
35
5.1.13
Existing premises, inspection of adjoining properties, and checking work of others
36
5.1.14
Survey control and setting out of the works
36
5.1.15
Excavations and associated water control
36
5.1.16
Underground services, other existing services, cable and pipe trenches, and covers
36
5.1.17
Control of noise, dust, water, and waste
36
5.1.18
Sequences of construction or installation
36
5.1.19
Giving notice of work to be covered up
36
5.1.20
Hook-ups to existing works
36
5.2
Completion, testing, commissioning, and correction of Defects
36
5.2.1
Work to be done by the Completion Date
36
5.2.2
Use of the Works before Completion has been certified
37
5.2.3
Materials facilities and samples for tests and inspections
37
5.2.4
Commissioning
37
5.2.5
Start-up procedures required to put the Works into operation
37
5.2.6
Take over procedures
37
5.2.7
Access is given by the Employer for the correction of Defects
37
5.2.8
Performance Tests After Completion
37
5.2.9
Operational Maintenance after Completion
37
6
Plant and Materials standards and workmanship
38
6.1
Investigation, survey, and Site clearance
38
6.2
Building works
38
6.3
Civil engineering and structural works
38
6.4
Electrical engineering works
38
6.5
Control & Instrumentation works
38
6.6
Other Employer  Specifications And Standards
39
7
List of drawings
40
7.1
Drawings Issued by the Employer
40
C3.2
Contractor’s Works Information

List of tables

6Table 1: Definitions:


7Table 2: Abbreviations


7Table 3: Management meetings


12Table 4: Defined Cost of compensation events


22Table 5: Gas Turbine Fidelity Requirements


36Table 6: Electrical Speciications


37Table 7: Control & Instrumentation Speciications


38Table 8: Specifications and standards


39Table 9: Development Team





Description of the works
Executive Overview 

The purpose of the work is to replace the OGS (Operator Guidance Simulator) that is located at Ankerlig 1 Power Station. This OGS is used to train both Ankerlig and Gourikwa Power Stations operating personnel. It is important that the operator interface for the OGS exactly matches the operator interface of the reference plant, thus it is a requirement that the same version of the Siemens SPPA-T3000 software is used as the reference plant. 

The new replacement simulator incorporates improvements identified from the existing OGS. This includes moving the simulator cubicle location to a more appropriate location and connecting it with the existing DCS DMZ infrastructure to perform patching and updates on the new replacement simulator. The Works is limited to the replacement OGS and require modification of the existing DCS DMZ to accommodate the new replacement simulator. There is no change required to the existing instructor or trainee rooms.

The Contractor notes that Ankerlig and Gourikwa Power Stations have already undertaken scheduled partial control system upgrades and the objective is for the OGS to match the software and hardware of the post-upgraded plants.

1.1.1. High-level scope of work

a) The Contractor is responsible for the supply, delivery, design, transport, delivery, installation, and commissioning and handover of the works. 

b) The Contractor provides everything required to fulfil the works, except where specifically stated otherwise.  

c) The Contractor decommissions the existing OGS, removes and disposes of the existing equipment, except where the Employer  indicates that some decommissioned equipment remains on site.

Employer ’s objectives and purpose of the works
The Contractor provides a new SPPA-T3000-based operator training simulator at Ankerlig Power Station to train operators on the Siemens SGT5-2000E open cycle gas turbine plant specific to the reference plant. 

The new simulator accurately depicts the operation of the reference plant. The reference plant is one Ankerlig Power Station OCGT unit with SCO capabilities and one without SCO capabilities (thus with only generating capability). 

The Employer uses the simulator to train the operators on all plant functionality as is available on the SPPA-T3000 HMIs in the control room of the reference plant. The simulator therefore accurately depicts the operation of the entire OCGT power station, including the electrical switching and all interfacing plant, such as Balance of Plant. Gourikwa Power Station Plant B consists of two units thus the electrical configuration and fuel forwarding plant can serve as an example of the Balance of Plant systems.

The operator interface on the simulator exactly matches the reference plant, and therefor also exactly matches the SPPA-T3000 version of the reference plant.

This new simulator completely replaces the existing simulator, addressing the hardware and software obsolescence. This necessitates the replacement of all hardware components.

It is required to move the location of the new simulator cubicle to the Ankerlig 1 Power Station equipment room. However, the trainee and instructor stations remain in the existing allocated rooms inside the training building.

The Contractor supplies a NAS (Network Attached Storage) along with the required backup software that creates automatic periodic backups of all the simulator computers. The required restoration software is provided and all backup-related software matches that of the reference plant. The requirement is for the system to make an automatic full backup every three months. Provision is made for space management on the NAS and backups older than five years can be automatically deleted when space becomes problematic.

The Contractor provides a UPS for the simulator cubicle that triggers an automatic safe system shutdown on a loss of supply.

The Contractor supplies and uses the same hardware, operating system, and other software as used on the reference plant. Application server redundancy is however not required.

Interpretation and Terminology

	Definitions 
	The meaning given to the definition 

	As-built 
	Final, as-commissioned and accepted by the Employer 

	Balance of Plant 


	It is a standalone device or group of devices that is independent of the plant’s main control system or DCS. The black box may perform process interface, control, and/or supervision tasks; all of which are performed independently of the plant’s main control system or DCS.

	Control System 


	It is an electronic-based system to control and operate process plants. It is a system that responds to inputs from the process and/or from an operator and generates outputs that cause the process to operate in the desired manner. 

	Emulation 
	 A software solution that exactly mimics the hardware and software of the reference plant's actual control system. It is a complete replication of the actual plant’s control system. 

Fully emulated systems use an emulation of both the control logic and the operator interface. Emulation is achieved by translating the plant control logic and graphics into the simulator environment, effectively reproducing the functional operation of the actual controls and the graphic interface of the HMI. 

With an emulated solution, the simulation vendor uses the actual proprietary plant software code and data file from the DCS vendor to create the solution in the simulator. This produces the highest fidelity simulator solution possible. With a simulated solution, a software engineer will produce a lower fidelity, simplified functional model based on a functional description of the plant system.

	Fidelity 
	The degree of both physical and functional realism.

	Instructor 
	It is the appointed simulator training facilitator that is responsible for providing simulator training to the trainee.

	KVM Switch 
	A KVM switch (with KVM being an abbreviation for "keyboard, video, and mouse") is a hardware device that allows a user to control multiple computers from one or more sets of keyboards, video monitors, and mice. 

	Replicate 
	To imitate the reference plant in such a way as to copy hardware, processes, and data, but not to the point of making substitution possible. 

	Simulation 
	The mathematical representation/modeling of physical processes and control systems. 

	Trainee 
	It is the person receiving training on the simulator. 


Table 1: Definitions
The following abbreviations are used in this Works Information:

	Abbreviation
	Meaning given to the abbreviation

	AGC 
	Automatic Generation Control 

	DCS 
	Distributed Control System 

	CEMS 
	Continuous Emission Monitoring System 

	C&I 
	Control and Instrumentation 

	DMZ 
	De-militarized Zone 

	HMI 
	Human Machine Interface 

	IT 
	Information Technology 

	NAS 
	Network Attached Storage 

	OCGT 
	Open Cycle Gas Turbine 

	OGS 
	Operator Guidance Simulator 

	OT 
	Operational Technology 

	SCO 
	Synchronous Condenser Operation 

	SPPA 
	Siemens Power Plant Automation 

	UPS
	Uninterruptible Power Supply

	ESP
	Electronic Secure Perimeter


Table 2: Abbreviations
Management and start-up

Management meetings

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Risk register and compensation events
	As required
	MS Teams/On-Site
	Project Manager, Contractor, Project co-ordinator

	Overall contract progress and feedback
	As required
	MS Teams/On-Site
	Project Manager, the Contractor

	Installation progress meetings
	Daily
	On-site
	Project Co-ordinator, the Contractor


Table 3: Management meetings
Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, the nature, and the progress of the works. Records of these meetings are submitted to the Project Manager by the person convening the meeting within five days of the meeting.  

All meetings are recorded using minutes or a register prepared and circulated by the person who convened the meeting. Such minutes or registers are not used to confirm actions or instructions under the contract as these are done separately by the person identified in the conditions of the contract to carry out such actions or instructions.  

Documentation control 

a) All contractual communications are through formal compiled letters or forms on the company’s letterhead

b) The formal letters and or forms are attached to e-mails and not as a message in the e-mail itself

c) The receiver of the formal letters or forms signs off an acknowledgement of receipt of the communication and returns the acknowledgement of receipt to the sender of the formal communication

Health and Safety Risk Management

The Contractor complies with the health and safety requirements contained in Annexure A to this Works Information.

The Contractor shall comply with the health and safety requirements contained in OHS Specification and the approved safety file. Eskom reserves the right to review the OHS Specification to address the Operational risks and the contractor shall comply with the latest SHE Specification as amended at no cost.

The 37-2 agreement must be signed by Contractor and Employer representatives. 

The Contractor OHS professional must conducts internal audits at planned intervals to monitor compliance to the contractual health and safety requirements.

The Service Manager/Contract Manager must conduct inspections at planned intervals to monitor compliance to the contractual health and safety and legal requirements. 

The Contractor may be selected during internal and/or external Peaking Power Station audits to verify compliance to legal and contractual OHS requirements. The Contract Manager/Service Manager will communicate this at relevant time periods and the contractor shall avail themselves for this audit.

In addition to the requirements of the applicable laws governing the occupational health and safety, Peaking Power Station OHS requirements particular to the service and the Affected Property for this contract shall be adhered to for the duration of the contract.

The minimum requirements for the Contractor to gain access to Peaking Power Station include the following but not limited to:

i. Valid Medical fitness certificate

ii. Police clearance from SAPS or accredited supplier/service provider linked to SAPS AFIS system not older than thirty (30) days 

iii. Identification document (RSA ID or equivalent)

iv. National Drivers Licence (applicable to drivers)

v. Adherence to the Eskom Life-saving rules 3 and 4, Be Sober and Buckle up

	Rule
	Description of rule

	3
	BUCKLE UP

No person may drive any vehicle on Eskom business and/or on Eskom premises:

Unless the driver and all passengers are wearing seat belts

	4
	BE SOBER

No person is allowed to be under the influence of intoxicating liquor or drugs while on duty


vi. Applicable risk based PPE

vii. Valid letter of good standing at all times (COIDA or equivalent). Access to site to perform work will be denied should the Letter of good standing not be valid.

viii. The contractor/supplier/consultant who is working alone and not eligible to register with the compensation fund, shall provide Eskom with the member benefit statement of the insurance cover which include life and disability cover to the minimum fund of R500 000.Note: Induction will only after the above documents have been submitted and accepted by Eskom.

2.3.2 Key Performance Indicators

Contractor/supplier Management Key Performance Indicators (KPI’s)

a) Maintain Health and Safety file and compliance to the health and safety plan, Eskom OHS specification and applicable legislation as amended. 
b) Always maintain good housekeeping where the task is being executing and/or within the area of responsibility.

c) Contractor must develop, Implement and monitor near miss reporting strategy / programme (reporting of near misses). 

d) Comply to Planned Job Observation programmes.

e) Maintain Zero Fatalities for the duration of the contract.

f) At any given point, the OHS performance must be within the lost time injury (LTI) tolerance level as amended.

g) All incidents must be reported immediately or before the end of shift that the incident took place.

h) All incident investigations shall be completed within 30 days of the occurrence of an incident.

i) Incident investigation recommendations shall be closed within the recommended time frame recorded in the Incident investigation report.

j) Close audit findings as per the recommended time frames as per audit report or action raised in SAP QIM.

k) Close Non-conformance as per the recommended time frames in SAP QIM.

Note: Monitoring of the above mentioned KPI’s will take place through regular audits and inspection.

2.3.3 Contract completion and sign off

On completion of the project/contract, Eskom team (led by the Service/Contract Manager) involved in the project together with the Contractor shall conduct the final meeting to identify the gaps prior to the contract close out. Before the final invoice is paid/processed, the Service/Contract Manager shall ensure that the below requirements are met:

a. Close all incidents and audit findings.

b. Clean the respective yard and ensure good housekeeping where the contractor was working.

c. Contractor shall submit safety statistics and a safety file to Eskom BU Safety department for   closeout and filling. 

d. Completion of a closeout report (Annexure D form as per 32-726) to close the contractual work.

Environmental constraints and management

a) The Employer ’s goal is to ensure zero harm to the environment and to ensure that any possible impact is mitigated or managed. The Duty of Care and implementation of best practices are critical during operations, and full communication between the Parties on environmental issues is required at all times.

b) The Contractor complies with all National and Local legislation requirements as well as the Employer’s procedures and policies.

c) A method statement/ operational plan for the management of waste material is developed by the Contractor and accepted by the Project Manager within two weeks of the Contract Date.

d) The method statement on waste management includes the identification of possible waste streams, temporary storage and disposal options for each waste type, and contingency plans if any environmental incident occurs.

e) A Safety Data Sheet is supplied to the Project Manager for all chemical or hazardous / potentially hazardous material brought onto the site.

f) All processes will be subject to environmental review throughout the contract.
Quality assurance requirements

a) The Contractor complies with all quality requirements as set out in 240-105658000 (QM-58) Supplier Quality Management Specification. 

b) The Contractor complies with the latest version of the ISO 9001 Quality Management System Requirements.
c) The Contractor defines the level of QA/QC or inspection imposed on his Sub-Contractors and Contractor’s.

d) The programming of inspections, hold and witness points are agreed between Employer and the Contractor prior to undertaking any work.

e) All implementation documentation are submitted to the Employer for acceptance 2 months prior to the works.

Quality Plan

The Quality Plan manages the overall quality of the project’s main activities/milestones. It lists detailed activities in order of execution, where each activity is described and references the associated work packages or specifications with witness, hold, and verification points. The QCPs provide signatures indicating the Contractor's completion and the Employer 's acceptance at the end of each activity.

a) The Contractor provides a Quality Plan, signed off after completing a task.

b) QCPs to list the following minimum hold points for acceptance when completed: (The Contractor can also add additional points as per their format):

c) Basic Design Freeze. 

d) Detail Design Freeze. 

e) Engineering Training. 

f) Factory Acceptance Testing. 

g) Implementation Approval. 

h) Site Acceptance and Commissioning. 

i) Training of Operating and Maintenance Staff. 

j) Project Completion & Handover

2.5.2 Work Packages

The Contractor must submit a work package for all site-related work before any work can commence on the Employer's plant. The required format of the work package is in accordance with template 167A/158-A, and the Contractor provides a signed copy after the Employer has reviewed and accepted the Work Package as final before any work.

The quality assurance for this contract is managed in accordance with The Simulator Technical Requirements standard [240-154243686 Technical requirements for Power Plant Simulators Standard - Rev 1]. Where the requirements during the execution strategy for a replacement simulator is contained in Appendix A; the testing requirements are contained in Appendix B and the document submittal schedule are contained in Appendix C.

Programming constraints 

a) The Contractor submits a bar chart program (in MS Project format *.MPP or Primavera P6 format *.XER) detailing how the Works are executed within the stipulated dates, including weekends and public holidays.

b) The Contractor submits the program, which indicates the start, Completion Date, duration, and dependencies of each activity.

c) The Contractor notifies the Employer of any changes made to the updated program.

d) The Contractor submits the program within two (2) weeks after the contract award.

e) The program is updated and submitted weekly to the Employer for Acceptance.

f) The program indicates each activity's start date, Completion Date, and duration.

g) The program is updated and submitted every four (4) weeks during the manufacturing process

h) The program is updated daily during Site implementation or sooner, depending on the urgency of the matter.

i) The Contractor submits the program, reflecting the agreed shift-sensitive durations per activity. 
j) Activities are not longer than a shift as defined by the Employer.  
k) Where activities are longer than a shift, it needs to be broken down into shorter milestones.
Contractor’s management, supervision, and key people

a) The Contractor provides an organogram depicting the resources on-site and their lines of authority and communication.

b) The Contractor does not modify any plant or materials unless accepted by the Employer prior to implementation.

c) The Contractor notifies the Employer at least two days in advance of a Hold or Witness point on the Works.
d) The Contractor informs the Employer  of any defect found and notifies the Employer  at least two (2) days in advance of a Hold or Witness point on the Works
e) The Contractor does not operate any Equipment on Site unless specific authorization is obtained from the Employer.
Invoicing and payment

a) Within one (1) week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor submits a tax invoice to the Employer, showing the amount due for payment equal to that stated in the Project Manager’s payment certificate.

b) The Project Manager is to be copied on all emailed electronic invoices.

c) Failure to submit the invoice to the correct address could delay payment.

d) The Contractor’s Tax Invoices comply with the requirements stated in clause Z7 of the Contract Data.

e) Invoices are submitted electronically to:

i. Local Invoices 

- invoiceseskomlocal@eskom.co.za
ii. Foreign Invoices 
- invoiceseskomforeign@eskom.co.za
f) Details required when submitting invoices and additional data:

ix. The subject line of your email should contain your vendor number.

x. Each invoice in PDF should be named with your invoice number only.

xi. All electronic invoices must be sent in PDF format only.

xii. Attach the proof of delivery to your invoice for items delivered to the site with the acceptance signature.

xiii. Where applicable, supporting documents must be attached to the scanned PDF invoice as one attachment.

xiv. A copy of the signed assessment certificate.

xv. CPA (Contract Price Adjustment) calculation sheet.

xvi. Retention Certificate where it is a retention invoice.

xvii. Any other appropriate documents, e.g.

g) For shipping invoices, please ensure the following documents are included:

i. The Invoice (this should only reflect the shipping cost).

ii. The commercial invoice.

iii. The delivery note.

iv. Your shipping costs calculation is relevant to that invoice – not a generic calculation (The amount of the shipping costs calculation must balance on the amount on the invoice.).

v. The forwarding agent’s invoice.

vi. The customs document.

vii. Please do not attach unnecessarily as this will make the file too large.

h) For foreign invoices, suppliers will still be required to physically deliver hard copies of original documents to the respective Document Management centers even though the invoices have been submitted electronically.

i) Ensure compliance with the tax requirements for submitting invoices electronically.

j) Each PDF should contain only one credit note, one debit note, or one credit note. More than one invoice can be submitted per email.

k) Any applicable CPA must be invoiced separately so that if there are issues with the CPA, the rest of the invoices can be paid while the CPA issues are resolved.

l) Include the following information on the Invoice:

i. Name and address of the Contractor and the Project Manager.

ii. The contract number and title,

iii. Contractor’s VAT registration number,

iv. The Employer ’s VAT registration number is 4740101508,

v. The total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT,

vi. Contractor’s company registration number, if applicable,

vii. The Contractor’s banking details,

viii. Name and address of the recipient,

ix. Tax invoice number and date of issue,

x. Description of goods/services provided,

xi. Quantity or volume of goods/services,

xii. Period time for which the Tax Invoice is being rendered,

xiii. Relevant Task Order Number (commencing with a 45 prefix),

xiv. Relevant line-item number,

xv. Statement whether value-added tax is included or excluded.

 Insurance Provided by the Employer 
Insurance by the Employer  is managed in accordance with section 87 of the core clauses in ECC3.

Contract change management 

a) Contract change management is managed in accordance with section 6 of the core clauses in ECC3. 

b) The Project Manager assesses the quotation and instructs in writing to the Contractor.

Provision of bonds and guarantees

a) The form in which a bond or guarantee required by the conditions of the contract (if any) is to be provided by the Contractor is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.  

b) The Employer may withhold payment of amounts due to the Contractor until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Contractor by the Project Manager to receive and accept such bond or guarantee. Such withholding of payment due to the Contractor does not affect the Employer’s right to termination stated in this contract. 

c) The Contractor provides the bonds and guarantees as agreed to within 2 weeks after the Contract Date

Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor
In order to substantiate the Defined Cost of compensation events, the Employer requires the Contractor to keep records of amounts paid by him in the following format:

	Type of cost
	Type of Record

	People employed by the Contractor (labour)
	Signed timesheets

	Plant
	Running hours for Plant

	Materials
	Register of materials used

	Work subcontracted by the Contractor
	SubContractor’s costs

	Equipment
	Register of Equipment used


Table 4: Defined Cost of compensation events

Training workshops and technology transfer

The Contractor provides training to the instructors that use the simulator as well as the maintenance technicians and engineering staff that support it as part of the contract on Completion of the works. 

The required training is specified in the technical requirements standard [240-154243686 revision 1 Technical Requirements for Power Plant Simulators Standard] as well as the operation training requirement specification [240-158191826 revision 1 Generation Operating Training Requirements for Power Plant Simulators].

The Employer ’s resources that require training are as follows: 

a) 2 x instructors 

b) 2 x technicians 

c) 2 x engineers

Engineering and the Contractor’s design

Employer ’s design

The Employer does not provide a design for the works.

Parts of the Works which the Contractor is to design

a) The Contractor designs and constructs the simulator for the Employer. 

b) The Contractor designs, constructs, installs, and tests according to the requirements set out in this document as well as the standards referenced in the works.

c) The Contractor installs a new SPPA-T3000-based operator training simulator at Ankerlig Power Station to train operators on the Siemens SGT5-2000E open cycle gas turbine plant specific to the reference plant.

d) The new simulator accurately depicts the operation of the reference plant. 

e) The reference plant is one OCGT unit with SCO capabilities and one without SCO capabilities (thus with only generating capability) located respectively at Ankerlig 1 and 2 Power Stations.

Operational User Requirements

a) The simulator caters to the full functionality available in the control room. 

b) This allows it to fulfill the purpose of fully training plant operators as well as to perform refresher training for existing plant operators. 

c) All possible modes, conditions, and alarms are catered for to match the reference plant. This includes normal, abnormal, and emergency conditions. It is also required that the interfacing plant, such as the Balance of Plant, is an accurate reflection of the reference plant.

d) The instructor can produce any alarm available on the production plant by manipulating a value to produce the alarm on the simulator. 

e) Furthermore, it is possible to manipulate the actual models to indicate any possible adverse functioning of the plant. 

f) Thus, the functionality ranges from something as simple as simulating a bearing temperature to be too high and stretches all the way to a process affecting value such as a single turbine outlet temperature being lower than the rest.

g) The Employer standard for operation training requirements [240-158191826 revision 1 Generation Operation Training Requirements Specification for Power Plant Simulator] is followed for the basic operational requirements, but various additions to these requirements are provided in this section.

Normal Operations

The minimum normal operations that the Simulator is capable of but not limited to:

a) Ready to start state 

b) Operation in premix and diffusion modes (at any load) 

c) Turning gear to minimum load 

d) Turning gear to maximum load 

e) Gen mode to turning gear 

f) Gen mode to SCO 

g) SCO to Gen mode 

h) SCO to turning gear 

i) Turning gear to SCO 

j) Turning gear to compressor wash and return to turning gear 

k) Standstill to turning gear 

l) Turning gear to standstill 

m) Tripping from any condition, including SCO, Gen mode (premix and diffusion modes), or turning gear on any valid condition to do so

n) All other interfacing systems are modelled to represent the plant in any state. This includes the fuel forwarding plant, ignition gas plant, CEMS plant, and all electrical systems (feeds, breakers, etc.).

Simulator abnormal conditions

For training purposes, the instructor can force any signal to create a condition that the operator needs to respond to.

Some examples of these types of scenarios are listed below:

a) High bearing temperature or high vibrations 

b) Simulate a spike in combustion burner temperatures (flashback condition) 

c) Simulate Humming monitoring activating 

d) Hotspots and cold spots on turbine outlet temperatures and overall high or low temperature 

e) Simulate high emissions 

f) Pump, valve, motor, or any equipment failure 

g) Low ignition gas pressure 

h) Fuel supply issue 

i) High filter differential pressure on any filters 

j) Filling valve failure 

k) Drain valve failure 

l) Inlet Guide Vane faults, including a branch fault, an associated start-up failure, or even load swings 

m) Blow-off valve fault 

n) Premix trip fault 

Other Functions

The other minimum functionality that the Simulator is required to be capable of:

a) Change-over to standby plant (pumps, fans, etc.) 

b) Chop-over of electrical equipment 

c) Compressor wash 

d) Unit Emissions – from normal to high conditions 

e) All Electrical Operations – The operator is able to perform all electrical operations as available on the control room HMI of the reference plant. The entire site’s electrical operation does not need to be represented, but only a representative version to train an operator on. Thus, representation of multiple units is not required, but each different section needs to be represented. 

f) 6.6kV fast change-over device (or automated bus transfer system) – full functionality available for operator intervention if automatic change-over fails 

g) Synchroscope – operator to observe synchronisation in the control room and be able to reset the auto-paralleling device if the unit fails to synchronise 

h) Generator Capability Chart – values in the chart to correspond with simulation for meaningful interpretation of the generator response 

i) Unit Power Control – Ability to adjust the unit power factor and reactive power settings 

j) Unit operating on supervisory control and AGC 

k) Black Start functionality from Diesel Generators 

Plant Malfunctions

The instructor can force any condition (as per a model) or any signal itself in order to create a condition that the operator needs to respond to. 

Examples of some of these type of malfunction scenarios are listed below:

a) Gas turbine reduced to house load (load rejection) due to a fault on the HV side (a fault on the 400 kV line, HV breaker trip, etc.)

b) Gas turbine trip – automatic shutdown from DCS activated by the logic due to a system fault

c) Manual gas turbine trip – Gas turbine trip from the control desk or fire protection trip activated

d) Fuel oil failure – loss of suction pressure or other fuel forwarding plant fault (such as high filter differential pressure)

e) Failure to start – unburned fuel oil due to drain valve fault

f) Failure of the 400V AC supply 

g) Failure of turning gear 

h) Flame-out 

i) Speed monitoring equipment failure 

j) Overspeed condition 

k) Blow-off valve faulty operation – during run-up or valve opens while gas turbine is in operation 

l) Failure of essential C&I Equipment – 24 V loss or redundancy loss

m) Instrument or C&I card failure 

n) Flush water for change over to fuel oil premix mode – if the timing is incorrect 

o) High combustion chamber acceleration 

p) Mode Change Failure – standstill to Gen Mode 

q) Mode Change Failure – standstill to SCO Mode 

r) Mode Change Failure – Gen to SCO Mode 

Operator electrical switching

a) A representative configuration of the entire unit and station LV, MV, and HV as well as DC and essential supply (as controlled from the control room HMI) needs to be catered for. 

b) All breakers, unit boards, station boards, essential boards, and the HV yard need to be represented.

c) The simulator is required to model two units and therefore a representative version of the electrical configuration that only encompasses two units is adequate. 

d) Gourikwa Power Station Plant B can serve as an example of a configuration with just two units. 

e) Alternatively, a four (Ankerlig 1 Power Station) or five (Ankerlig 2 Power Station) unit configuration can be used with the rest of the units not being completely modelled but instead just modelled to the level to make the electrical reticulation realistic.

Required new features

This section lists requirements that are not available on the current OGS. 

a) A synchroscope, as found on the control desk, is provided. It is possible to reset the auto-paralleling device if the unit fails to synchronise, just as on the unit itself. The Contractor provides priced options for both a physical synchroscope and a synchroscope represented on an additional HMI screen. 
b) Emergency stop pushbuttons, as found on the control desk, is provided. The Contractor provides priced options for both physical emergency stop pushbuttons and emergency stop pushbuttons represented on an additional HMI screen. 

c) Allow for the simulation of fuel forwarding plant faults such as low tank levels, blocked filters, fuel flow, or pressure fluctuations for operator response training. 

d) Simulate various external conditions that can trigger a trip e.g. operation of the fire system 

e) Alarm response procedures are loaded to the HMI project so that it is available on the SPPA-T3000 for the trainee as per the referenced plant.

f) The simulator provides for training the operator on both a unit with SCO capabilities and thus with a Synchro-Self-Shifting clutch and one with just generating capabilities. 

Technical Operational User Requirements

Software

a) The operating system on all systems matches that of the reference plant B.

b) The version of Siemens SPPA-T3000 and its accompanying software matches that of the reference plant.

Hardware

a) The simulator workstation and server hardware match that of the control system on the plant.  

b) The simulator does not require a redundant application server 

c) The required KVM switches/extenders as well as fiber optic cable, and fiber optic converters for the KVM connections that allow the instructor and trainee stations to be placed remotely, are supplied by the Contractor.  

DMZ, Backups and Updates

a) The simulator is connected to the Employer’s Siemens DCS DMZ via its own firewall, as supplied by the Contractor, and in accordance with the Employer’s DMZ and cybersecurity standards. 

b) The Contractor changes the Employer’s DMZ and other required equipment to ensure that the required functionality of the simulator is provided. 

c) The simulator is configured to receive SPPA-T3000, operating systems, and antivirus updates and patches from the Employer ’s terminal server in the same manner as the reference plant.   

d) The Contractor supplies a NAS along with the required backup software that creates automatic periodic backups of all the simulator computers. 

e) The required restoration software is provided so that the backup-related software matches that of the control system in the plant.

f) The requirement is for the system to make an automatic full backup every three months. 

g) Provision is made for space management on the NAS so that backups older than five years can be automatically deleted when space becomes problematic.  

Plant software and hardware details

The basic software and hardware information of the reference plant is stated below.

Application server

· HP ProLiant DL360 Gen10 Server 

· With Microsoft Server 2016 

· Siemens SPPA-T3000 R8.2 

Workstations

· Lenovo P340 SFF workstation 

· With Microsoft Windows 10 

· 2 x HP 24 inch E24i G4 WUXGA monitors per workstation. 

Physical design

The new simulator cubicle is installed in the Ankerlig 1 Power Station equipment room. The instructor and trainee stations remain in the existing allocated rooms in the training building. The instructor and trainee stations are linked to the simulator cubicle via a fiber connection. The equipment in the simulator cubicle is connected to the Employer ’s Siemens DMZ via its own firewall. The Employer ’s terminal server of the DMZ is also located in the same Ankerlig 1 Power Station equipment room. 

Exclusions from the Contractor’s scope:

•
The Siemens DMZ and terminal server is part of the existing plant.

Simulator cubicle

a) The new simulator cubicle is installed in the Ankerlig 1 Power Station equipment room.

b) The cubicles contain all computers and server hardware including switches, firewalls, media converters, KVMs, etc.

c) The cubicle provides for the interface to the remote instructor and trainee stations. 

d) The cubicle provides for the interface to the Employer ’s Siemens DCS DMZ and terminal server via a firewall. 

e) A distribution board (supplied from the station board) is available in the Ankerlig 1 Power Station equipment room. The Contractor installs a new circuit breaker in this distribution board as well as the power supply cable to the simulator cubicle. The Contractor is responsible for the power distribution inside the cubicle from this supply.

f) The cubicle is fitted with an UPS that causes an automatic safe shut down of the simulator equipment when power is lost. 

g) The cubicle contains a NAS for storage of the simulator backups. 

h) All equipment installed in the equipment room is housed inside the simulator cubicle, thus no simulator equipment is installed in any of the existing cubicles or cabinets in the equipment room. 

Training Area

a) The old simulator equipment is removed. The physical training area remains as is and thus the layout and furniture remain unchanged. 

b) The instructor and trainee stations are connected to the simulator cubicle with KVM equipment. 

c) Each instructor and trainee station consists of the required KVM equipment, keyboard, mouse, and two screens.

d) Note that two trainee stations are required - one per unit. Each instructor and trainee station requires two screens. 

e) A colour printer is provided and configured by the Contractor. 

f) Power in the training area is supplied from the local normal 230V AC plugs located in the rooms.

g) The Contractor is responsible for installing a small cabinet in the training building. This cabinet will house the fiber patch panel, media converter as well as all other related equipment.

Connection between the simulator cubicle and training area

a) The simulator cubicle and the training area equipment is connected with a fiber, thereby electrically isolating the equipment in the Ankerlig 1 equipment room. 

b) The Contractor provides and installs the required fiber cable between the Ankerlig 1 Power Station equipment room and the training building. It is envisioned that this will be a multimode fiber with a minimum of 8 cores.

c) The total fiber cable route is just over 300 meters, of which the first 260 meters will use the existing cable trench (with existing racking) and cable sleeves. For the last 40 meters, a new cable sleeve will be installed. Hand excavation is recommended for the installation of the sleeve. There is no heavy equipment movement in the area and thus there is no special consideration for above-ground weight. 

d) The Contractor is responsible for installing patch panels on both the Ankerlig 1 Power Station equipment room side and training building side as well as for terminating the fiber to these patch panels. The patch panel in the Ankerlig 1 equipment room is housed in the new simulator cubicle. The patch panel in the training building is housed in the new cabinet. 

DMZ interface

a) The simulator cubicle is connected to the plant DMZ via its own firewall. This connection is envisioned to be an Ethernet connection as it is in the same equipment room. 

b) The firewall is located in and powered by the simulator cubicle. 

c) The firewall is configured to the Siemens standard for these firewalls connecting the plant side to a Siemens DMZ.

Modelling
a) The simulator is used for training on all aspects of the reference plant, this includes the Siemens gas turbine and generator as well as all unitised and common plant systems required for the operation of the gas turbine. 

b) The expected accuracy/performance criteria of the models are stated in the respective operation [240-158191826 revision 1 Generation Operation Training Requirements Specification for Power Plant Simulator] and technical [240-154243686 revision 1 Technical Requirements for Power Plant Simulators Standard] requirement standards. Note that the technical requirement standard does not provide the minimum fidelity for a gas turbine simulator and therefore is specified in this section.

Minimum plant model fidelity

The simulator plant models are required to satisfy the minimum fidelity requirements according to Table 5: Gas Turbine Fidelity Requirements. The table provides the minimum fidelity requirement per plant system as per the following three model categories.

1.
Category 1

First-principle models that conserve mass, energy, and, where applicable, mechanical energy and angular momentum as constrained by the laws of physics.

2.
Category 2

Limited-scope models that incorporate less-detailed, lumped models and engineering observations, which at no time violate governing physical laws. All models include ambient losses, losses to enclosures, elevation effects, and friction pressure losses, where applicable.

3.
Category 3

Logical models which only simulate notable effects in a representative fashion. Where this is fixed static values, the instructor is required to still be able to adjust it. This category is usually assumed to be very simple relationships or even just fixed values. Where it is agreed to be a fixed value, no mathematical model is required and thus a change in one property does not require relating properties to automatically adjust according to a function, characteristic curve, or simple logic.

	System 
	Minimum Fidelity

	
	Category 1
	Category 2
	Category 3

	Gas turbine system 
	
	
	

	Gas turbine compressor, combustion chamber, and turbine 
	X
	
	

	Air Intake System 
	X
	
	

	Exhaust Gas System 
	X
	
	

	Fuel Oil System (including Purge Water System) 
	
	X
	

	Lubricating and Lifting Oil System (including cooling system) 
	
	X
	

	Control Fluid Systems / Hydraulic Supply Skid
	
	X
	

	Blow-Off Valve System 
	
	X
	

	Turbine bearing and vibration monitoring 
	
	X
	

	Ignition Gas System 
	
	X
	

	Synchronous Condenser Clutch 
	
	X
	

	Turbine Protection System (GT hardwired trip system) 
	X
	
	

	Generator 
	
	
	

	Generator 
	X
	
	

	SEE (Static Excitation Equipment) & AVR (Automated Voltage Regulator) 
	
	X
	

	SFC (Static Frequency Converter) 
	
	X
	

	Synchronization System 
	X
	
	

	Generator Control and Protection System 
	X
	
	

	Generator bearing and vibration monitoring 
	
	X
	

	Generator Cooling System 
	
	X
	

	Unit auxiliaries 
	
	
	

	Enclosure Ventilation System 
	
	
	X

	Unitised Fire Detection and Protection System 
	
	
	X

	Electrical reticulation 
	
	
	

	400kV Connection 
	
	
	X

	Unit Auxiliary Transformers 
	
	
	X

	6.6 kV Unit Switchgear 
	
	
	X

	6.6 kV Service Switchgear 
	
	
	X

	6.6 kV Fast change over the device (automated bus transfer system) 
	
	
	X

	400V GT MCCs 
	
	
	X

	400V Common switchgear 
	
	
	X

	400V Emergency Switchgear 
	
	
	X

	220V DC GT Switchgear 
	
	
	X

	220V DC Common Switchgear 
	
	
	X

	 24V DC I&C supply 
	
	
	X

	230V AC Uninterrupted Power Distributions 
	
	
	X

	Emergency Power Supply 
	
	
	X

	Balance of Plant / Plant Auxiliary Systems (“Black-box interfaces”) 
	
	
	

	AGC (Automatic Generation Control) and Supervisory Control 
	
	X
	

	CEMS 
	
	X
	

	Fuel Forwarding (including fuel storage) 
	
	X
	

	Ignition Gas Plant 
	
	
	X

	Fire water system 
	
	
	X

	Black Start Diesel Generators 
	
	
	X


Table 5: Gas Turbine Fidelity Requirements

Exclusions and variances from Standards 

The works, and hence the design, adhere to the Employer’s standards that are listed in section 6 Plant and Materials standards and workmanship. Note however that the Simulator specific operation [240-158191826] and technical [240-154243686] standards are predominantly developed for coal-fired power stations and thus areas not relevant to gas turbine plants can be ignored. All applicable functional and non-functional requirements as per the technical requirements standard [240-154243686] however remain as requirements. Adherence to all OT security-related standards (Cyber security, DMZ, remote access, etc.) is crucially important. 

Some specific exclusions and variances from the technical requirements standard [240-154243686] are listed below: 

a) An audio and video recording system is not required. 
b) The training area remains unchanged and is reused with its existing layout and furniture. 
c) The architecture of the simulator can deviate from the standard to allow for the use of the embedded emulation functionality available for the SPPA-T3000 from version 8.2. 
d) Dependant on the complexity and risk, it is not an absolute requirement that the simulator is synchronised to the plant’s GPS clock. If it is decided that it is not synchronised to the plant GPS clock, then the application server is set as the master clock with the rest of the NTP setup and configuration remaining the same as per the reference plant. 
e) Automated backups to the NAS are not required to be daily but three monthly and must be full backups (not incremental backups). Provision is made for space management on the NAS and backups older than five years can be automatically deleted when space becomes problematic. 
f) The fidelity requirements for gas turbine power stations are provided in 3.2.4 Modelling. The technical requirements standard [240-154243686] does not provide this for a gas turbine power station. 
g) A sound generator to mimic plant sounds and noises is not required. 
h) Only one printer is required. 
i) The simulator is not allowed to be connected to either the automation or application networks of the Employer’s plant. The only network connection allowed is the connection to the Employer’s DMZ via a firewall. 
Network Cabinets Requirements 

 All servers and rack-mounted workstations are housed in 19" network cabinets.

The following type of equipment needs to be in network cabinets: 

a) Servers 
b) Workstations 
c) Operating and engineering network equipment 
d) ESP and Firewall equipment 
Separate network cabinets are provided for each C&I system. 

Network cables and power cables are the bottom entry into the network cabinets. 

Any cable cut-outs in the network cabinet are sealed to prevent air leakage using raised floor grommets. 

Each network cabinet has the following characteristics: 

e) Front and rear access via double cabinet doors. 
f) Front and rear server cabinet doors that allow for adequate airflow for cooling purposes. 
g) There are no open spaces between the rails and sides of the rack enclosure. This ensures the network cabinet airflow is managed correctly. 
h) Blanking panels are installed on all unused slots to manage airflow efficiency and reduce hot spot temperature in the network cabinet. 
i) Flexible brushes or shields are used to prevent air leakage from cables via cable entries. 
j) Internal cable management systems are used for both horizontal and vertical cable management. 
k) Network cabinets have sufficient depth to allow free airflow around cables in the rear. 
The server cabinets utilise one rack mount monitor, keyboard, and mouse drawer including KVM switching ability to access all servers and clients within the associated cabinets. 

Rack-mounted environmental monitoring device for remote monitoring of the network cabinet environment via the instructor workstation. 
General Cable Specifications 

a) All field cables and network cables are earthed (grounded). The cables are earthed at one end or both ends depending on the interference signal and comply with an overall recognized earthing arrangement. 

b) Network cables and power cables are the bottom entry into the network cabinets. 

c) Boxed trunking is provided for all network cabling 

d) The boxed trunking used for network cabling will be dedicated to the network cabling and is not used for any other cabling 

e) The cable schedule is provided inclusive of origin, location details, revision, target, type, size, and termination details. 

Process for submission of documents

The Contractor is made aware that all documentation or designs (including drawings’ requirements) submitted for review to the Employer for acceptance require a process of review as stipulated in the Engineering Change Management Procedure. The review process consists of:

a) Basic Design Review

b) Detail Design Review

c) FAT Documentation review

d) Implementation/ Execution Documentation review

e) Ad-hoc reviews due to updates

The Contractor submits all documentation according to the accepted engineering management plan. The process for the submission of documentation is described below and applicable to each end-of-phase design review:

f) The Contractor submits the documents/drawings to the Project Manager with the appropriate reference Design Review Template.
g) The Employer’s Document Controller registers the documents. 
h) The Employer’s Document Controller supplies the documents/drawings to all relevant parties within the Employer’s project team.

i) The Employer’s project team reviews the documents/drawings and submits all comments or inputs to the Project Manager and the Project Manager submits to the Contractor for consideration.

j) The Contractor revises the design, documents, and/or drawings to address the Employer’s comments and resubmit to the Project Manager.

k) Once all the Employer’s comments have been addressed and no major deficiencies are found, the Contractor arranges a Design Review session.

l) If no fundamental errors are found in the design during the Design Review session, the Contractor compiles the Design Review minutes or report and submits it to the Project Manager.
m) The Employer’s Document Controller registers the report.

n) The Employer’s project team reviews the Contractor’s report/minutes. If the report/minutes are not acceptable, the Contractor revises the report/minutes and resubmits to the Project Manager.
o) The Project Manager accepts the Contractor’s design once the report/minutes are accepted by the Employer’s project team.

p) After the acceptance of the full Basic Design, the Contractor proceeds with the Detail Design.

q) After the Detail Design has been accepted by the Employer, the Contractor proceeds with manufacturing of the equipment based on the accepted Detail Design.

r) The Contractor submits all technical documentation and drawings for acceptance by the Employer before manufacture.
s) The Contractor submits his design to the Project Manager for acceptance before manufacturing starts. 

t) The list of all submissions as required for the basic engineering and detail engineering is stipulated in Appendix C of the simulator technical standard [240-154243686].

General documentation requirements for acceptance of the Contractor’s design

a) The Contractor provides documentation in the electronic media using Microsoft Office, unless otherwise stated.

b) Documentation is supplied in South African English and SI units are used.

c) The Employer does not accept scanned electronic copies of documentation or drawings.

d) The Contractor provides the electronic copies of drawings in Bentley MicroStation Ver. 8 in *DGN. 

e) Multilayer drawings are not acceptable.

f) All documents and drawing submissions are prepared and signed off by suitably qualified personnel.

g) The drawings reflect all reference drawings and include descriptions.

h) The Employer allocates numbers to the documentation and drawings which the Contractor indicates on the documentation and drawings.

i) The Contractor uses the pre-approved templates provided by the Employer for documentation and drawings. The drawings make provision for the Eskom border.

j) All documentation (Drawings, Manuals, Procedures) reflects the KKS coding that has been applied.

k) The pin-out diagram, designation, and description of components are shown including accurate referencing of the contacts and coils.

l) All documentation required at the various acceptance stages is submitted in a PDF format during design phases and on request in DGN format. For the final handover of drawings. (See schedule A & B)

m) The Contractor is responsible for updating the documentation until after the guarantee inspection of the works. The Contractor provides an updated version of the documentation after each update.

n) Implementation approval documentation is required at least 60 days before the commencement of the Works.

o) The Contractor implements a comprehensive document control of all documents, their revision status, and the document status of the 'as built' and 'as designed' commonly known as “Approved for Construction” plant status. In this regard, the Contractor ensures that the documentation supplied by the Project Manager as tie-in information accurately reflects the Contract requirements.

p) The Contractor Submits all documentation throughout the design phases of the project in electronic format to the Project Manager
q) The Contractor submits the final documentation on a formal transmittal form to the Project Manager. All correspondence is sequentially numbered. (Refer to Schedule A & B)

r) The Contractor adheres to the Employer's Documents and Record Management Procedure (240-53114186) for all documents submitted.

s) Documentation is of good quality, prepared by suitably qualified personnel, and contains the general arrangement drawings, installation drawings, instructions, and operating and maintenance instructions for all components.

 Basic design documentation requirements for acceptance of the Contractor’s design

a) The Contractor provides a detailed operating philosophy document on the operation of the equipment including the operating sequence thereof. The philosophy document includes a comprehensive system technical description and functional descriptions.

b) Single line diagram indicating the new equipment, voltage, current, ratio, and apparent power ratings of equipment.

c) Block diagram of the installed schemes and plant interfaces.

d) Physical layout drawings indicating the dimensions for the panels, to allow the Employer to evaluate if the installation can be accommodated, both in terms of rigging and space.

e) Overall cubicle layout and panel design drawings indicate the weight and dimensions of the respective sections.

f) Bill of proposed materials/components including datasheets of all components.

g) Type test certificates of all equipment, components, and/or assemblies.

h) Communication network basic design which includes the basic design of the unit SCADA system.

i) Drawings indicating the basic designs for the power supply distribution, the AC and DC power circuit, and tripping.

j) Documentation detailing the usage of the existing panels including proposed modifications and refurbishments.

Use of Contractor’s design

The Employer may use the Contractor’s design for any purpose at the Employer installations. The Contractor notes that all drawings and other documentation supplied to the Employer become the property of the Employer upon Completion of the works.

Design of Equipment

Not applicable as there is no temporary Works required.

Equipment required to be included in the works

The Contractor provides all the equipment and consumables for the fulfilment of the Works and the spares required.

As-built drawings, operating manuals, and maintenance schedules

The Contractor provides the required documentation as set out in Appendix C of the Simulator technical requirements standard [240 -154243686] for as-built, operating manuals and maintenance schedules.

Pre-implementation documentation requirements

The Contractor submits all documentation at least two months before implementation, for the Project Manager’s acceptance, such as:

a) Method Statements.
b) Testing Procedure during installation
c) Quality Control Plans and Check sheets
d) Safety File
 Engineering changes during site implementation 

Project Engineering Change Management Procedure 240-53114026.

Post-implementation documentation requirements

The Contractor provides documentation as follows in addition to Appendix C of the Technical Requirements for Power Plant Simulators Standard [240 -154243686] to the Project Manager for review and acceptance one month after the takeover of the works. 

a) Signed-off test certificates

b) Signed off Quality Control Plan and check sheets

c) Signed As-built drawings

The Contractor submits three hardcopies plus one electronic version of the following documentation one month after acceptance of the above documents. 
Documentation Control

a) The Contractor provides comprehensive document control of all documents is provided for the duration of the works. 

b) The document control system implemented, as a minimum contains the revision status of all documents to the 'As required' and 'As-built' plant status. 

c) Procedures, document control, and indexes are included in this system. 

d) The documentation register contains the following information and is submitted according to the agreed timeframe, in a Microsoft Excel format, to the Project Manager: 

· Employer  document and Contractor document number 

· Revision

· Transmittal number 

· Date of 1st submission by the Contractor 

· Date of acceptance by the Employer  

· Documentation description 

Technical Documentation Index

a) As a minimum, the technical documentation index follows the VDSS requirements as per Appendix C of the Simulator technical requirements standard [240-154243686]. 

b) The technical documentation index is a comprehensive index and hierarchical view of the entire documentation package provided as part of the works.

· Several documents may be provided for each document type listed. 

· All composite documents and document sets contain a list of documents within them that defines the documents that make up the composite document and/or document set. 

c) The technical documentation index provides a clear indication of its content and consists of documentation that is specific to this project. 

Procurement

People

Minimum requirements of people employed on the Site

a) All personnel, especially foreigners, working on the Site need to have the applicable required work permits.

b) All personnel have completed the relevant training for their specific job output.

c) At the end of each month, the Contractor provides the Employer details

i. Names and identity numbers of Contractors working on site for the contract

ii. Number of hours each Contractor has worked per day. 

iii. Start and end times of Contractors per day.

BBBEE and referencing scheme

a) The Contractor complies with and fulfils the Contractor’s obligations in respect of the Broad-Based Black Economic Empowerment (as per clause Z3 of NEC3 ECC).

b) The Contractor provides valid B-BBEE certificates to the Project Manager on an annual basis of himself as well as his subContractors.

Subcontracting

Preferred SubContractors

    Not applicable. 

Subcontract documentation, and assessment of subcontract tenders

The Contractor submits the proposed conditions of contract for each Subcontract to the Project Manager for acceptance unless

a) an NEC contract is proposed or

b) The Project Manager has agreed that no submission is required.

The Contractor does not appoint a subContractor on the proposed subcontract conditions submitted until the Project Manager has accepted them. A reason for not accepting them is that they will not allow the Contractor to Provide the Works or they do not include a statement that the parties to the subcontract will act in a spirit of mutual trust and co-operation. 
Plant and Materials

Quality
Engineering quality is managed in every step, from technical clarifications, design freeze, manufacturing, and acceptance tests to installation and commissioning of the Simulator. The simulator technical requirements standard [240-154243686] states the execution strategy for a replacement simulator in Appendix A, Appendix B contains the testing requirements and Appendix C contains the document submittal schedule.

 Guarantee inspection

a) The Contractor provides a warranty as specified in schedule A&B on the supplied equipment and workmanship from the date of handover. If during this guarantee period, the Employer is dissatisfied with the goods or with any part/s thereof on account of materials being faulty, inferior quality, or poor workmanship, or on account of the goods not being in strict accordance with the specification, the Contractor immediately remedies the said defect at no additional cost to the Employer.

b) The Contractor plans for an inspection of the installed equipment at a time suitable to the Employer, before the warranty period is over.

c) The Contractor the Employer inspects each unit and provides the Employer with an inspection report. The warranty inspection includes but is not limited to:

i. General inspection of equipment for hotspots or signs of failure,

ii. Tightness checks of wiring and equipment, and

iii. Repairing or correcting of defects.

d) The guarantee also serves as a defect correction period for each installed equipment. Defects related to system design, functionality, installation, and/or commissioning, as well as any defects arising due to damage to the system for which the Contractor is responsible, that occurring during the defect period is rectified by the Contractor at no additional cost to the Employer.

e) In cases where defects need to be corrected, the Contractor does not attend to the defects alone but is accompanied by an Employer’s representative at all times.

f) The defects period is stipulated in the contact data. Should the Contractor delay remedial work, the Employer may have such remedial work executed at the Contractor’s expense, without any impact on guarantees and warranties.

g) If changes are made to the designs by the Contractor during the contract period, the previously installed system is back-fitted to match the new design, at the Contractor’s expense, without any impact on guarantees and warranties. This includes changes made to system software, firmware, and hardware.

Contractor’s Procurement of Plant and Materials

The Contractor provides all plant and materials to provide the works.
Spares and Consumables

a) The design uses the same equipment as the reference plant (as stated in section 3.2.2. Technical Operational User Requirements). Where the same equipment is used no additional spares are required. If different equipment is used for some of the more minor applications (or that does not match the physical plant), the Contractor stipulates this equipment and recommends the spares holding and supplies these spares as part of the works.

b) The Contractor recommends spare holding requirements. 

c) The Contractor supplies a spares list with associated pricing.

Tests and inspections before delivery

Simulator technical requirements standard [240-154243686 Technical requirements for Power Plant Simulators Standard - Rev 1] dictates the tests and inspections before delivery, with Appendix B providing the requirements for pre-FAT and FAT.

Marking Plants and Materials outside the Working Areas

Not applicable

Contractor’s Equipment (including temporary works).

Not applicable

Cataloguing Requirements by the Contractor

The design uses the same equipment as the reference plant (as stated in section 3.2.2. Technical Operational User Requirements). Where the same equipment is used, no additional cataloguing is required. If different equipment is used for some of the minor applications (or that does not match the physical plant), the Contractor provides all information required for cataloguing the equipment. 

Construction

Temporary works, Site services & construction constraints

Employer's Site Entry and Security Control, Permits, Site Regulations

a) The Contractor is informed of the access procedures through Site regulations and that such procedures may change depending on the prevailing security situation. 

b) The Contractor complies with all Site regulations and instructions. The onus is on the Contractor to ensure his familiarity with the Employer’s Site regulations and inspections. 

c) Before work starts on the Site, a Site inaugural meeting is held between the Contractor and the Employer, where details of the Works are discussed and clarified. 

d) The Contractor’s Site Supervisor is on Site for the entire duration of the work. 

e) General access to the power station is controlled and Site induction is completed before work is allowed to start. 

f) The Contractor must adhere to all security regulations in force during the period of the contract. 

g) Ad-hoc alcohol breathalyzer test may be performed which needs to be passed. This is enforcing one of the five Life-saving Rules to which the Contractor is required to always adhere to.

Restrictions to access on Site, roads, walkways, and barricades

a) The Contractor satisfies himself and complies with the Site conditions presented during induction. 

b) The Contractor is required to comply with all Site restrictions of the Site’s roads, walkways, and barricades.

People restrictions on Site; hours of work, conduct, and records

Normal working hours are as follows: 

Monday to Thursday  

07:30 – 16:45 

Fridays 

07:30 – 12:30

Health and Safety Facilities on Site 

The health and safety facilities on Site are discussed in detail during the Site induction.

Environmental controls, fauna & flora, dealing with objects of historical interest 

Nothing in addition to section 2.4

Title to materials from demolition and excavation

The Contractor has no title to plant and/or materials resulting from him carrying out the works.

Cooperating with and obtaining acceptance from others

None

Publicity and Progress Photographs 

No notice boards, advertising rights, media relations, photography, and progress photographs will be allowed without appropriate authorization.

Contractor’s Equipment

a) The Contractor provides all the necessary tools and equipment to fulfil the work. 

b) The Contractor provides the Employer  with a complete list of materials, tools, Equipment, and or machinery before bringing it onto the Site 

c) The Contractor provides and maintains all test and measuring Equipment required for all tests to the required accuracy. The accuracy of test Equipment is required to be better than ± 0.1 % 

d) The type and class of Equipment used is subject to the Acceptance by the Employer  
e) The Contractor’s measuring Equipment is accompanied by valid calibration certificates from an accredited authority 

f) The Project Manager may at any stage during the Contract require such Equipment to be checked by an accredited laboratory or the South African Bureau of Standards 

Equipment Provided by the Employer 
The Employer does not provide any equipment.

Site services and facilities

Electricity Supply

· All points of supply are provided in terms of availability and location. 

· The Employer indicates which supply points may be used.

· 230V supply is available 
Water Supply

· All points of supply are provided in terms of availability and location. 

· The Employer indicates which supply points may be used.

Overhead Crane

· An 8-ton crane is available in the station. It is the Contractor’s responsibility to ensure that all necessary arrangements and preparations are made for the use of this crane

· The Contractor ensures that the crane is capable of handling the loads to be lifted and any limitations to height and operation.

· The crane is to be operated by the Employer  only

Compressed Air Supply

· All points of supply are provided in terms of availability and location 

· The Employer indicates which supply points may be used. 

· The Contractor verifies air compression hose requirements 

Area for Site Establishment and Storage

· The Employer indicates an area for site establishment. 

· The Employer indicates an area for storage. 

· The area allocated to the Contractor is reinstated to its former condition on takeover of the works.

Sanitary facilities

· The Contractor makes use of the Employer’s facilities in the power station.

· The Employer  can provide ablution facilities for a maximum of five people 

Facilities Provided by the Contractor
a) The Contractor verifies and provides the electrical extension leads and matching plug requirements

b) The Contractor should make provision for kitchen, office space (mobile container), ablution, and office equipment for a number exceeding five personnel

c) Security of the Contractor’s storage and office area is the responsibility of the Contractor.

d) Telephone connections are not available. The Contractor makes provision for his Telecommunication requirements.

e) The Contractor removes all this equipment and waste that was generated during the installation and commissioning within 2 days after successful commissioning

Notwithstanding the above, the Contractor provides all the required facilities to execute the works.

Existing premises, inspection of adjoining properties, and checking work of others

Not applicable

Survey control and setting out of the works
Not applicable

Excavations and associated water control

Not Applicable

Underground services, other existing services, cable and pipe trenches, and covers

Where trench covers are removed, the Contractor needs to re-instate and where applicable reseal the covers. 

Control of noise, dust, water, and waste 

The Contractor arranges for the disposal of waste

Sequences of construction or installation

As per Accepted Programme

Giving notice of work to be covered up

Not Applicable

Hook-ups to existing works

The one interface to the existing site infrastructure is the connection to the Employer’s DMZ. This interface is comprehensively explained in sections 3.2.2 Technical Operational User Requirements and 3.2.3 Physical Design.

Completion, testing, commissioning, and correction of Defects

Work to be done by the Completion Date

On or before the Completion Date the Contractor has done everything required to provide the Works. The Project Manager cannot certify Completion until all the work has been done and is free of Defects, which would have, in her opinion, prevented the Employer from using the Work and others from doing their work.

Use of the Works before Completion has been certified

The Employer takes over the Works while the finalisation of as-built drawings and documentation is in progress before Completion can be certified

Materials facilities and samples for tests and inspections 

Not applicable

Commissioning

The below-stated acceptance tests are required, as per Appendix B of the Simulator technical requirements standard [240-154243686]. The same Appendix B provides details on the requirements for each acceptance test.

a) Site Acceptance Test (SAT)

b) Site Integration Test (SIT) 

c) As-Built Acceptance Test (ABAT)

d) Verification Acceptance Test (VAT)

Start-up procedures required to put the Works into operation

a) The Contractor and Employer sign a Safety Clearance Certificate before the start of commissioning of the works. 

b) When it is necessary for work to be carried out on the Works or a sanction for the test is in progress, the plant is isolated, and a permit to work is issued following the Employer’s Permit To Work system and Plant Safety Regulations.

Take over procedures

The Employer takes over the work on completion on-site. Any defects are included on the takeover certificate.

Access is given by the Employer for the correction of Defects

Access is granted by the Employer to correct Defects

Performance Tests After Completion

Not Applicable

Operational Maintenance after Completion

The Employer does not require the Contractor to perform certain duties after Completion and take over which relate to maintenance of the works before the defects date.  

Plant and Materials standards and workmanship

Investigation, survey, and Site clearance

Not Applicable

Building works

Not Applicable

Civil engineering and structural works

Not Applicable

Electrical engineering works

Materials and workmanship comply with the following specifications. Specifications applicable to all electrical work include:

	Title
	Date or revision
	Tick if publicly available

	240-56356396: Earthing Lighting Protection Standard
	Rev 1
	Available on request

	240-56227443 Requirement for Control and Power cables for Power Stations Standard
	Rev 1
	Available on request


Table 6: Electrical Specifications
*Available on request

Control & Instrumentation works

The Contractor is responsible for the entire works, which mostly comprises OT equipment, materials, and workmanship that comply with the following specification 

	Title
	Date or revision
	Tick if publicly available

	240-129014618: Generation Cyber Security Compliance Guideline
	Rev 1
	Available on request

	32-373: Information Security - IT/OT and Third-Party Remote Access Standard
	Rev 5
	Available on request

	240-55410927: Cyber Security Standard for Operation Technology
	Rev 2
	Available on request

	240-79669677: Demilitarized Zone (DMZ) Designs For Operational Technology 
	Rev 2
	Available on request

	240-56355815: Control & Instrumentation Field Enclosures and Cable Termination Standard
	Rev 2
	Available on request

	240-86973501: Eskom Engineering Drawing Standards – Common Requirements 
	Rev 1
	Available on request 

	240-54179170: Classification and designation of technical documentation 
	Rev 2
	Available on request

	240-158191826: Generation Operation Training Requirements Specification for Power Plant Simulator 
	Rev 1
	Available on request

	240-154243686: Technical requirements for Power Plant Simulators Standard 
	Rev 1
	Available on request


Table 7: Control & Instrumentation Specifications
*Available on request

Other Employer  Specifications And Standards

	Title
	Date or revision
	Tick if publicly available

	Health and Safety requirements
	
	

	OHS Act
	No 85 of 1993
	· 

	OHSAS 18001 Occupational Health and Safety Management Systems
	2000
	· 

	R1010: Construction Regulations
	2014
	· 

	The Compensation for Occupational Injuries and Diseases Act No.130 of 1993,
	As amended by government notices to 30 April 2004 or Equivalent
	· 

	General Specifications:
	
	

	GGR 0992 Eskom Plant Safety Regulations
	
	*

	GNR 1031General Safety Regulations
	1986
	*

	Environmental requirements
	
	

	ISO 14001 Environmental Management System
	2000
	· 

	Site regulations and access control
	
	

	32/421 Eskom Life Saving Rules
	
	· 

	The Employer specifications include:
	
	

	GGS 0315 Standard drawing practice
	
	*

	GGS 0441 Drawing record system
	
	*

	240-105658000- Supplier Quality Management Specification (QM58) – Rev 2
	
	*

	474-190 Eskom design Base Standard
	
	*

	167A/49 Eskom documentation process procedure
	
	*

	240-53113685 Design Review Procedure – Rev 3
	
	*

	240-93576498 KKS Coding Standard – Rev 3
	
	*

	240-71432150 Plant Labelling Standard – Rev 3
	
	*

	240-53114002 Engineering Change Management Procedure – Rev 4
	
	*

	SANS 10142-1 The Wiring of Premises Part 1 Low Voltage Installations
	
	*


Table 8: Specifications and standards

*Available on request

List of drawings

Drawings Issued by the Employer 

None

APPENDICES

APPENDIX A 
240-158191826 Generation Operation Training Requirements Specification for Power Plant Simulator

APPENDIX B 
240-154243686 Technical Requirements for Power Plant Simulators Standard

Part 4: Site Information
	Document reference
	Title
	No of pages

	
	This cover page
	1

	C4
	Site Information
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C4. Site Information

Ankerlig Power Station: is located on Neil Hare road in the Atlantis Industrial area in the Western Cape that is situated approximately 40 kilometres north of Cape Town between the West Coast road (R27) and the West Coast National Road (N7). Access to the Power Station is possible through the well maintained network of National, Provincial and Local tarred roads in the area. The proposed access route to the Power Station is Dassenberg Drive (R307) off the R27 (West Coast Road past Koeberg Power Station). An alternative route would be to utilise the R304 off the National Road N7 to reach Dassenberg Drive (R307). Once on Dassenberg Drive, Charel Uys can be used to reach Neil Hare Road which is adjacent to the Power Station.
C4.1
Information about the site at time of tender which may affect the work in the contract
1. Access Limitations


Access to the Power Station is restricted to authorized personnel only.  All Contractor’s staff will be required to be cleared by security.  Contractor gives 24hrs notice to the Employer of his intention to enter security-controlled areas.


All contractor personnel will be tested for the use of alcohol.  Any person/s found to be above the legal limit will not be allowed on site.

2. Ground conditions in areas affected by work in this contract

N/A
3. Hidden and other services within the site

N/A

� This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008, Fax 011 803 3009 or see � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 







DOCUMENT C2.1
PAGE 1
PRICING DATA




Part C2: Pricing Data
PAGE 30
C2 ecc3/a Cover

