Lids for tissue culture bottles   specification

Magenta B-caps for tissue culture bottles, autoclavable, 51 mm (top width)x59mm (bottom width)x16 mm (height)