{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":59,"n_cols":6,"rows_kept":59}
["Taung Campus "]
[]
["Hospitality Lab upgrades / renovations "]
[]
["A: Preliminaries and General "]
["No ","Description ","Unit ","Qty ","rate ","Amount "]
[]
["A1.1","Contractor Site establishment,  \nSite clearing and \nOHS compliance ",1,1]
[]
[null,"Subtotal A"]
[]
["B: Doors, Windows and  Glazing "]
[]
["B1.1","Supply and Install internal Meranti doors and apply vanish with new locksets","Unit ",3]
[]
["B1.2 ","Supply and fit Glasses for all cracked or broken windows ","Unit ",1,null,"rate only"]
[]
["B1.3","Supply and apply Putty to all window frames and paint with white paint","M²",1,null,"rate only"]
[]
[null,"Subtotal B"]
[]
["C: Finishes "]
[]
["C1.1","Supply and instal new Curtain rails - High end ","m",12]
[]
["C1.2","Paint ceiling  - 2 coats ( White paint)","m","200m²"]
[]
["C1.3","Paint Internal walls - Midsheet / stain resistant / washable paint maching existing colour","m","216m²"]
[]
["C1.4","Supply and install new ceramic titles 600x600","m","190m²"]
[]
["C1.5","Remove exist vinal flooring /tiles and prepare floor for installation of tiles","m","190m²"]
[]
["C1.6","Paint all existing area steel window frames and doors","m",null,"Rate only"]
[]
["C1.7","Remove all existing bulb fitting not working and replace with new florescental bulb fittings and LED lights","each",6]
[]
["C1.8 ","Supply and install New Airconditioners 24000BTU","each",2]
[]
["C1.8","Provision for Electrical works and issue Coc after commissioning C1.7 & C1.8 inclusive of testing ","each"]
[]
["C1.9","Supply and  install Wooden Cabinets with Doors and trays 2m   x 3m ","each ",2]
[]
[null,"Subtotal C"]
[]
[]
[null,"Subtotal  A",null,null,"A"]
[null,"Subtotal  B",null,null,"B"]
[null,"Subtotal  C",null,null,"C"]
[null,"VAT "]
[null,"Total Amount "]
[]
[]
[null,"Price must be inclusive of VAT @ 15%"]
[]
[null,"VAT Number :_________________________________________________"]
[null,"CSD Number:MAAA___________________________________________"]
[null,"CIDB number _________________________ CIDB Grading"]
[null,"Signature:____________________________________________________"]