Bid Specification

| RFB No: ERP No | RFB 3294- 2026 RFB 516014 |
| --- | --- |
| Description | APPOINTMENT OF A SPECIALIST SERVICE PROVIDER FOR ELECTRICAL AND MECHANICAL MAINTENANCE, REPAIRS, SUPPLY OF MATERIALS AND EQUIPMENT FOR A PERIOD OF SIXTY (60) MONTHS – SITA OFFICES |
| Briefing Session | Compulsory Briefing Session will be held as follows: Date: 12 October 2026 Time: 11:00 – 12H00 (South African Time) Join: https://teams.microsoft.com/meet/370676623586367?p=QhxegUrfyDJ6MZYVFL Meeting ID: 370 676 623 586 367 Passcode: N3Bh3oq6 |
| Bid Response Submission Address | SITA-ERP-Link: https://suppliers.sita.co.za/OA_HTML/OA.jsp?page=/oracle/apps/pos/onboard/webui/ProspRegPG&OAHP=POS_GUEST_REG_HP&OASF=POS_SUPPREG_REGISTER&OAPB=POS_ISP_BRAND&ouid=CB0FA7C16C8D33F8 Vendor/Supplier Registration Queries: scmvendormanagement@sita.co.za ERP Queries: Scmerpqueries@sita.co.za |
| RFB Validity Period | 120 Days from the closing date |

TECHNICAL, PRICING AND PREFERENCE POINTS

# Contents

1.	Introduction and background	3

1.1.	Purpose	3

1.2.	Background	3

2.	Scope of Bid	3

2.1.	Scope of Work	3

2.1.1.	Onsite Support	3

2.1.2.	Electrical and Mechanical Infrastructure Support and Critical Repairs	3

2.1.3.	PPE	4

2.2.	Delivery address	4

3.	Requirements	5

3.1.	Detailed Requirements	5

4.	Bid Evaluation Stages	7

4.1.	Mandatory Administrative responsiveness (Stage 1)	8

4.1.1.	Attendance of briefing session	8

4.1.2.	Registered Bidder	8

4.1.3.	Bid Submission Instructions	8

4.2.	Technical returnable documents	8

4.2.1.	Instruction and evaluation criteria	8

4.2.2.	Technical mandatory requirements (Stage 2)	8

4.3.	Special Conditions of Contract Verification (Stage 3)	12

4.3.1.	Special Conditions of Contract	13

4.3.2.	Declaration of compliance and acceptance SCC	22

4.4.	Costing and Preference Points Evaluation (Stage 4)	22

4.4.1.	Costing and Preference Evaluation	22

4.4.2.	Costing and Pricing Conditions	22

4.4.3.	Bid Pricing Schedule	23

4.5.	Declaration of Acceptance	23

4.6.	Preference Requirements	23

Annex A: Bidder substantiating evidence	28

5.	Technical Mandatory Requirement Evidence	28

5.1.	Bidder Certification / Affiliation Requirements	28

5.2.	Bidder Experience and Capability Requirements	28

5.3.	CIDB Registration Requirements	29

5.4.	Installation Electrician Requirement	29

5.5.	HVAC refrigeration Trade Test	30

5.6.	Mechanical Trade test	30

5.7.	Special Conditions of Contract	30

5.8.	Preference Points Preferential Goals Evidence	30

Annex B: CIDB Registration Requirement	32

Annex C: CIDB BASIC GUIDE GENERAL CONDITIONS OF CONTRACT FOR CONSTRUCTION WORKS (GCC 2004)	33

# Introduction and background

## Purpose

The purpose of this RFB is to invite Bidders (hereinafter referred to as “bidders”) to submit bids for the “Appointment of a Specialist Service Provider for Electrical and Mechanical Maintenance, Repairs, Supply of Materials and Equipment for a Period of Sixty (60) Months at SITA Gauteng offices and as and when required at the SITA regional Offices.”

## Background

SITA requires the appointment of a qualified Electrical and Mechanical contractor to provide infrastructure maintenance support, corrective repairs, and the supply of electrical and mechanical equipment and materials at SITA Pretoria sites.

The electrical and mechanical infrastructure at these sites dates to the late 1980s and now requires frequent repairs as well as continuous 24/7/365 maintenance support on an as-and-when-required basis.

To ensure operational continuity, the SITA Gauteng offices required response times are as follows:

- Emergency callouts: attendance within 90 minutes

- Normal callouts: response within 24 hours

- Regional Offices: Response time will be negotiated.

The maintenance of electrical and mechanical infrastructure in buildings is essential to ensure a safe, functional, and reliable working environment. Proper maintenance supports uninterrupted operation of building systems such as lighting, ventilation, power supply, and other essential equipment.

Sustaining this reliability requires consistent maintenance support and a rapid response to any electrical or mechanical faults that may disrupt daily operations. The level of technical expertise and specialized services required for this work are not available within SITA and therefore need to be outsourced.

The scope of service will include both preventative maintenance and corrective maintenance for all electrical and mechanical systems installed across SITA buildings.

# Scope of Bid

## Scope of Work

The high-level scope of work for the sites allocated to the appointed contractor under this contract comprises, but is not limited to, the following activities:

### Onsite Support

Provision of on-site technical support services on an as-and-when-required basis to ensure the availability, safety and reliability of all electrical and mechanical infrastructure.

### Electrical and Mechanical Infrastructure Support and Critical Repairs

The contractor will be responsible for maintenance, repair, and replacement works on electrical and mechanical infrastructure. including but not limited to:

- Maintenance support and repairs on low-voltage distribution boards, power reticulation, and distribution systems.

- Maintenance support and repairs on mechanical infrastructure, including HVAC systems, refrigeration, and extraction fans in cafeteria and office areas.

- Support and replacement of lighting fittings and bulbs, including those located above 15 meters in height.

- Safe collection and disposal of fused fluorescent tubes and energy saving bulbs in accordance with environmental regulations.

- Procurement, supply, and installation of electrical and mechanical equipment and materials as when required. The contractor must obtain three quotations from suppliers for each procurement, and a handling fee not exceeding 15% may be applied to the awarded quotation.

- Maintenance, repair, and functional testing of all electrical systems to ensure continued compliance and operational reliability.

- Availability on a 24/7/365 basis throughout the contract period.

- Isolation, lock-out, and safe recommissioning of electrical systems during maintenance and repair work.

### PPE

Supply personal protective equipment (PPE) required to perform maintenance and repair work for SITA personnel.

The services described under this scope will be required for a period of sixty (60) months. Service delivery will be work order-based for known corrective maintenance requirements and call-out-based (followed by a work order) for emergency incidents requiring immediate response.

No fixed monthly retainer fee will apply to this contract. The services will be rendered purely on a work order and call-out basis, with costs determined according to the approved contractual unit rates.

## Delivery address

Table 1: SITA Pretoria Addresses

| Province | City | Physical Address |
| --- | --- | --- |
| KWA-ZULU NATAL | Durban | 17 Kosi Place, Umgeni Business Park Springfield Durban |
|  | Pietermaritzburg | Department of Health Natalia Building, 330 Langalibalele, Pietermaritzburg |
|  | Newcastle | 79 Harding street, Block B, Ground floor, NEWCASTLE KZN |
|  | Ulundi | Legislature Building (closed) |
| EASTERN CAPE | Port Elizabeth | Shop 7, Beacon Bay Crossing, c/o N2 & Bonza Bay Rd, Beacon Bay East London, 5200 |
|  | Mthatha | Room 261 PRD 11 Building, 12th Floor, Sutherland, Umtata (Office Closed) |
|  | Mthatha | Room 261 PRD 11 Building, 12th Floor, Sutherland, Umtata (Office Closed) |
|  | East London | Switching centre |
|  | East London | Office (closed) |
|  | Bhisho | Office (closed) |
|  | Bhisho | Switching centre/Data centre |
| NORTHWEST | Mafikeng | SABC Building, cnr James Moroka and Albert Luthuli Drive, (MMABATHO) Mafikeng |
|  | Potchefstroom | Office (closed) |
|  | Potchefstroom (DOD) |  |
|  | Rustenburg | Landbank, 169 Fatima Bhayat Street, Rustenburg, 2999 |
| NOTHERN CAPE | Kimberley | Monridge Office Park 2 Keke Wich Drive, Monuments Heights, Kimberly, 8301 |
| WESTERN CAPE | Cape Town | Black Riverpark Office Park Fir Street, Observatory, Cape Town, 7925 |
|  | George | WCCN SCKNC (Western Cape College of Nursing) 1 Herrie Street, Dormhelsdrift, George |
| LIMPOPO | Polokwane | Moolpark,31 Market Street, Polokwane, 0699 |
|  | Modimolle | Switching Centre |
| MPUMALANGA | Nelspruit | 16 Nel Street, Bateleur Building Ground Floor, Nelspruit |
|  | Nelspruit | The Pinnacle, 1 Parkin Street, 5th Floor, Nelspruit, 1200 |
|  | Middleburg | 133 Cowen Ntuli Drive, Middelburg |
|  | Middleburg | 134 Cowen Ntuli Drive, Middelburg (closed) |
| GAUTENG | Erasmuskloof | 459 Tsitsa Street, Erasmuskloof, Pretoria, Gauteng |
|  | Centurion | 1108 Apple Turn, John Voster Drive, Centurion |
|  | Beta | 222 Johannes Ramokhoase, Sita Building, Pretoria |
|  | Numerus | 35 Hamilton Street, Arcadia, Pretoria,0157 |

NOTE: The delivery and service addresses listed in this bid represent the primary SITA sites and are not exhaustive. During the contract period, the successful bidder may be required, on an as-and-when-required basis, to provide contracted services and deliver equipment and materials to additional SITA facilities across South Africa.

# Requirements

## Detailed Requirements

The Contractor shall provide electrical and mechanical maintenance and repair services at SITA offices in accordance with the following technical and operational requirements:

(a) General Service Obligations

i. The Contractor shall provide suitably qualified and competent personnel with appropriate trade certifications and experience in electrical and mechanical maintenance.

ii. The Contractor shall ensure availability of tools, testing equipment, lifting equipment, access equipment and specialised instruments required to execute the works safely and efficiently.

iii. The Contractor shall provide full supervisory control over all maintenance activities and shall ensure compliance with statutory and regulatory requirements.

(b) Maintenance and Repair Services

The Contractor shall perform, but not be limited to, the following:

i. Fault finding diagnostics and rectification of electrical distribution systems, including low-voltage distribution boards, cabling, breakers and protection devices.

ii. Maintenance and repair of HVAC systems, extraction systems, pumps and associated mechanical equipment.

iii. Replacement of defective or failed components including lighting fittings, lamps, switches, contactors, relays and related accessories.

iv. Isolation, lock-out, testing and safe recommissioning of systems following maintenance or repair work.

v. Functional testing of repaired systems to confirm operational reliability prior to handover.

(c) Materials and Equipment

i. All materials supplied shall be new, unused and compliant with applicable SANS standards.

ii. Materials and components shall match existing installations unless otherwise approved.

iii. No material procurement shall proceed without written approval where required through the work order process.

iv. All replaced components shall be disposed of in accordance with environmental regulations or returned to SITA where requested.

(d) Work Order and Call-Out Control

i. All work shall be performed under an authorised SITA work order or logged emergency call.

ii. The Contractor shall maintain a job card system recording:

- time of call logging

- time of arrival

- fault description

- corrective action taken

- materials used

- time of completion

iii. No additional work beyond the approved instruction shall be undertaken without written authorisation.

(e) Compliance and Safety

i. All works shall comply with:

- Occupational Health and Safety Act

- National Building Regulations

- Applicable SANS codes

- Electrical Installation Regulations

ii. Lock-out and safety procedures shall be applied prior to commencement of work on live systems.

iii. Work areas shall be secured and reinstated to a safe and operational condition upon completion.

(f) Reporting and Documentation

i. A monthly maintenance report shall be submitted detailing:

- call-outs attended

- response times achieved

- faults rectified

- materials supplied

- outstanding defects

ii. The Contractor shall maintain a maintenance history record for major equipment.

(g) Warranty

i. The Contractor shall provide a workmanship warranty for all repairs undertaken.

ii. Manufacturer warranties shall apply to all supplied materials and components.

# Bid Evaluation Stages

The bid evaluation process consists of four (4) stages, according to the nature of the bid. A bidder must qualify for each stage to be eligible to proceed to the next stage of the evaluation.

The stages are:

Table 2: Bid Evaluation Stages

| Stage | Description | Applicable for this bid YES/NO |
| --- | --- | --- |
| Stage 1 | Mandatory Administrative responsiveness | YES |
| Stage 2 | Technical Mandatory Responsiveness | YES |
| Stage 3 | Special Conditions of Contract verification | YES |
| Stage 4 | Price and Preference points | YES |

## Mandatory Administrative responsiveness (Stage 1)

### Attendance of briefing session

- A Compulsory Virtual Briefing session will be held. The bidder has to sign the briefing session attendance register using the same information (bidder company name, bidder representative person name and contact details) as submitted in the bidder’s response document.

Note (1):

A non-compulsory site visit will be arranged on request.

Note (2):

Any bidder who fails to attend the compulsory virtual briefing session will be disqualified.

### Registered Bidder

- Only responses from bidders registered as a Bidder on National Treasury’s Central Bidder Database (CSD) in terms of National Treasury’s Instruction Note 4A of 2016/17 will be considered for award on this RFB.

- In the case of joint ventures or consortiums, the bidder must demonstrate that at least one of the parties to the bid response attended the briefing session.

- Bidders need to complete all the SBD documents which needs to be submitted as stated in the Invitation to Bid Document.

### Bid Submission Instructions

- Bids to be submitted as stated in the Invitation to Bid Document.

## Technical returnable documents

### Instruction and evaluation criteria

- The bidder must comply with ALL the requirements as per the Technical Mandatory Requirements below by providing substantiating evidence in the form of documentation or information, failing which it will be regarded as “NOT COMPLY”.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response.

- The bidder must comply with ALL the TECHNICAL MANDATORY REQUIREMENTS for the bid response to proceed to the next stage of the evaluation.

### Technical mandatory requirements (Stage 2)

Table 3:  Technical Mandatory Requirements

| Mandatory Requirements | Substantiating evidence of compliance (used to evaluate bid) | Evidence reference (to be completed by bidder) |
| --- | --- | --- |
| 1. Bidder Certification/ Affiliation Requirements |  |  |
| The Bidder must be registered as an Electrical Contractor with the Department of Labour. | Attach to ANNEX A, a copy of valid letter from the Department of Labour as evidence that the bidder is registered as an Electrical Contractor. The letter must clearly indicate: - The name of the registration authority (i.e. Department of Labour). - The name of the registered bidder. - That the bidder is an Electrical contractor. - Letter must be in writing, dated, signed and on a letterhead of the entity that issued it. NOTE (1): SITA reserve the right to verify information provided. | <provide a unique reference to locate substantiating evidence in the bid response – see Annex A, par 5.1> |
| 2. Bidder Experience and Capability Requirements |  |  |
| The bidder must have executed at least two (2) projects for the Installation of Primary Indoor Medium Voltage Switchgear and Infrastructure at a Data Centre or equivalent High Availability Environment (Health Facility, Airport, Bank, Industrial Plant, Power Utility, Municipality or similar High Availability Environments to at least two (2) customers/projects in the past ten (10) years from publication date of this Bid. | The bidder must complete Table 9 by providing reference details and/or provide a reference letter/s from at least two (2) organisations where similar electrical and mechanical maintenance support services were provided within the last ten (10) years from publication date of this Bid. The submitted experience must include both electrical and mechanical building infrastructure as described below: Electrical Systems 1. Maintenance of low-voltage distribution boards and power reticulation systems 2. Maintenance of lighting systems within operational buildings 3. Fault finding and corrective maintenance of electrical installations 4. Testing, compliance verification, and safe recommissioning of electrical systems Mechanical Systems 1. Maintenance of HVAC systems or ventilation/extraction systems 2. Maintenance of pumps, motors, or electro-mechanical equipment 3. Mechanical fault diagnosis and corrective maintenance NOTE (1): The Bidder must provide the following information when completing table 9 : - Company name; and - Reference Person Name, Tel and/or email; and - Project Scope of Work; and - Project Start and End-date. NOTE (2): The reference letter/s should be on the referees’ company letterhead and include all of the following information: - Company name; and - Reference Person Name, Tel and/or email; and - Project Scope of Work; and - Project Start and End-date. NOTE 3: Failure to submit reference letter/s and/or to complete Table 9 fully as indicated above will result in disqualification. NOTE (4): SITA reserves the right to verify information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex A, par 5.2, table 9> |
| 3.CIDB Registration Requirement |  |  |
| The bidder must be registered with the Construction Industry Development Board (CIDB) and have a minimum rating of 7EB, or 7ME or higher. | The Bidder must complete and sign ANNEX B as evidence that the bidder is registered with the CIDB with a minimum rating or higher of 7EB or 7ME or higher NOTE (1): SITA reserves the right to verify the information provided. | <provide a unique reference to locate substantiating evidence in the bid response – see Annex A, par 5.3 and Annex B> |
| 4.Installation Electrician Requirement |  |  |
| The Bidder must provide at least one (1) qualified Installation Electrician registered in terms of the Electrical Installation Regulations, holding a valid of 3 phase Wireman’s License. The Installation Electrician must have a minimum of five (5) years’ post-registration experience in electrical maintenance and repair of building electrical systems. | Attach to ANNEX A: a) A copy of the valid Wireman’s License with a minimum of five (5) years’ post-registration b) A copy of the Electrical Trade Test Certificate with a minimum of five (5) years’ post-registration c) Curriculum Vitae (CV) clearly indicating years of experience after registration. NOTE (1): SITA reserves the right to verify the information provided. NOTE (2): SITA reserves the right to confirm consent of submission from the electrician person | <provide unique reference to locate substantiating evidence in the bid response – see Annex A, section 5.4> |
| 5.HVAC refrigeration Trade Test |  |  |
| The Bidder must provide at least one (1) qualified Refrigeration Mechanic Technician holding a valid Trade Test Certificate in Refrigeration OR Air Conditioning. The Technician must have a minimum of five (5) years’ post-qualification experience in maintenance and repair of HVAC and mechanical building systems. | Attach to ANNEX A : a) A copy of the Trade Test Certificate (Refrigeration OR Air Conditioning) with a minimum of five (5) years’ post-registration b) Curriculum Vitae (CV) clearly indicating a minimum of five (5) years’ post-registration experience in HVAC and mechanical maintenance NOTE (1): SITA reserves the right to verify the information provided NOTE (2): SITA reserves the right to confirm consent of submission from the technician person | <provide unique reference to locate substantiating evidence in the bid response – see Annex A, section 5.5> |
| 6.Mechanical Trade test |  |  |
| The bidder must provide a trade test of a qualified fitter and turner technician with five (5) years or longer post certificates | Attach to ANNEX A copy of Trade test Certificate and a CV indicating that the Technician is qualified with Five (5) years of experience or a longer post certification. NOTE (1): SITA reserves the right to verify the information provided | <provide unique reference to locate substantiating evidence in the bid response – see Annex A, section 5.6 |
| 7. Special Conditions of Contract |  |  |
| Bidder must accept ALL the Special Conditions of contract. | The Bidder must accept ALL the Special Conditions of Contract by completing and signing the declaration of Acceptance in the Declaration of Compliance and acceptance under the Special Conditions (Section 4.3.2). Note (1): Failure to accept ALL the Special Conditions of Contract will result in disqualification. | <provide unique reference to locate substantiating evidence in the bid response – see Annex A, section 5.7 |

## Special Conditions of Contract Verification (Stage 3)

- The successful Bidder will be bound by Government Procurement: General Conditions of Contract (GCC) as well as this Special Conditions of Contract (SCC), which will form part of the signed contract with the successful Bidder. However, SITA reserves the right to include or waive the condition in the signed contract.

- SITA reserves the right to:

  - Negotiate the conditions; or

  - Automatically disqualify a bidder for not accepting these conditions; or

  - Award to multiple bidders; or

  - Not to award; or

  - To do a partial award.

- In the event that the bidder qualifies the proposal with own conditions and does not specifically withdraw such own conditions when called upon to do so, SITA will invoke the rights reserved in accordance with subsection 4.3. (b) above.

### Special Conditions of Contract

#### Contracting Conditions

- Formal Contract - The Bidder must enter into a formal written contract (agreement) with SITA.

- Right of Award - SITA reserves the right to award the contract for required goods or services to multiple Bidders.

- Right to Audit - SITA reserves the right, before entering into a contract, to conduct or commission an external service provider to conduct a financial audit or probity to ascertain whether a qualifying bidder has the financial wherewithal or technical capability to provide the goods and services as required by this tender.

#### Delivery Address

- The Bidder must deliver the required products or services at as indicated in Section 2.2, Delivery Address

#### Delivery Schedule

The scope of work (Section 2.1) and Section 3 (Requirements) will be over a period of 60 months.

#### Services and Performance Metrics

  - During the Sixty Month (60) maintenance periods, the Bidder is responsible to provide the following services as specified in the Service Breakdown Structure (SBS):

Table 4: Service Breakdown Structure

| SBS | Service Element | Service Level |
| --- | --- | --- |
|  | Emergency Contact during warranty and maintenance periods | 24h x 7days x 52weeks |
|  | Incident Response during warranty and maintenance periods | Maximum 90 minutes |

#### Service Level Requirements, Warranties and Penalties

All Service Level timelines indicated below are relevant at any time of day or year during the contract period.

The following SLA time windows apply to this contract:

  - The Change Control windows will be planned by both parties (SITA and the bidder), and practical timeslots (which must not exceed the specified maximum number of timeslots or the specified maximum duration of each timeslot) and dates will be agreed to. The scope of work to be executed and completed for each Change Control window will be agreed to by both SITA and the bidder.

  - SITA will notify the bidder telephonically that a problem is experienced at the (in scope) site and that he needs to attend to the site immediately. The bidder shall provide the number of his emergency contact details, or representative that needs to be contacted for this purpose. The bidder shall have a qualified technician on-site within 90 minutes from the first telephonic call/call attempt (unless SITA agrees to an alternative response time with the bidder during the call). Plant / Infrastructure repairs shall start within 90 minutes from the first telephonic call/call attempt (unless SITA agrees to an alternative response time with the bidder during the call or on-site inspection). The 90-minute requirement will be heavily dependent on the severity of the incident. SITA will settle for slightly longer response times if the incident is less severe. SITA will be the judge of the incident severity. Should the Support Bidder’s response time to the site exceed the specified 90 minutes (or alternative duration as agreed to by SITA), an equivalent penalty fee will be applied per incident.

  - Penalties shall be applied at SITA’s discretion following the breach of a Service Level Agreement. The bidder shall have the opportunity to provide a report within seven (7) calendar days following the incident or SITA’s notice of penalty indicating why the bidder deems the penalty not to be applied. SITA shall consider this, but SITA’s decision shall be final and shall deduct penalty values from the outstanding invoices.

  - Only genuine OEM (Original Equipment Manufacturer) filters, parts, spares, and components shall be utilised during the completion of maintenance activities. Should the Bidder opt to use alternative or non-OEM components at any point during the maintenance process, they shall bear full responsibility for rectifying the work by replacing such components with original OEM parts at no additional cost to SITA. Furthermore, the Bidder shall be held accountable for any damage or complications arising from the use of non-original or non-OEM filters, parts, spares, and components.

  - The Bidder must perform the Services in a professional, competent, and workmanlike manner, by industry best practices and the high standards expected of well-managed operations providing similar services. Failure to meet these standards due to poor workmanship will result in penalties. Furthermore, the Bidder shall be held fully accountable for any damages, delays, or complications arising from such workmanship, and shall bear all costs associated with any required rework or remediation, at no additional cost to the SITA.

  - Emergency Maintenance & Call Outs: The activity involved with restoring, repairing or replacing on a non-scheduled maintenance basis. This maintenance activity would result from a service affecting or possible service affecting defect resulting in the loss of operation or potential loss of operation of any part or component of the electrical installation at the listed sites.

  - Emergency Maintenance action shall be required at any time day or night including weekends and holidays. The Support Bidder shall have enough available staff to react on a 24/7/365 basis for the contract term. The Emergency maintenance response times shall meet or exceed the Service Level Agreements timelines set within this document.

  - During Emergency Maintenance, the Support bidder’s objective shall always be to prevent a site or service failure using all reasonable and professional means available.

  - The Bidder must take care during their operations not to activate and discharge the automatic fire suppression system. If the bidder requests it, SITA will place the system into Manual mode during the bidder’s work on-site. Should the bidder or his sub bidder (s) manage to activate and discharge the automatic fire suppression system, the refill of the suppression gas/agent shall be for the bidder’s account.

#### Bidder Performance Reporting

- Quarterly meetings to be scheduled between SITA/ and the bidder during the Sixty (60) months maintenance period.

- The Bidder is required to generate regular reports as outputs during the maintenance and support cycle within the following service levels (the report type will drive the service level agreement; the definition of the content of each report type will be finalised at the time of concluding the contracted service level agreement).

#### Certification, Expertise and Qualification

- The Bidder must provide a qualified Electrician –with 3 phase Wiremans Licence with five (5) years’ experience or longer post registration.

- The Bidder must provide at least one (1) qualified Refrigeration Mechanic Technician holding a valid Trade Test Certificate in Refrigeration OR Air Conditioning. The Technician must have a minimum of five (5) years’ post-qualification experience in maintenance and repair of HVAC and mechanical building systems.

- The bidder must provide a trade test of a qualified fitter and turner technician with five (5) years or longer post certificates

- The Bidder represents that,

  - it has the necessary expertise, skill, qualifications and ability to undertake the work required in terms of the Statement of Work or Service Definition and;

  - it is committed to provide the Products or Services; and

  - perform all obligations detailed herein without any interruption to the SITA customers.

- The Bidder must provide the service in a good and workmanlike manner and in accordance with the practices and high professional standards used in well-managed operations performing services similar to the Services.

- The Bidder must perform the Services in the most cost-effective manner consistent with the level of quality and performance as defined in the Statement of Work or Service Definition;

- The Bidder must be able to utilise Original Equipment Manufacturer (OEM) as and when required for:

  - Any preventative work or service on the generators that will require detailed diagnostics and identification of potential risks associated with following the diagnosis.

  - Accessing the generator’s engine control unit for service diagnostics and possible repairs.

#### Logistical Conditions

- Hours of work: 24/7/365

- Provision to be made for work which will be Saturday and Sunday.

- SITA Sites are live and downtimes are limited. All site services must be restored at the end of the scheduled downtime.

- All the work that requires downtime of services or has the potential to cause unplanned downtime will have to be approved before commencing. The approval will have to follow the SITA change management process

- The repairs that does not require downtime can be completed during hours 7(a) and 7(b).

- If SITA grants the Supplier permission to access SITA's Environment, including hardware, software, internet facilities, data, telecommunication facilities and/or network facilities remotely, the Supplier must adhere to SITA's relevant policies and procedures (which policy and procedures are available to the Supplier on request) or in the absence of such policy and procedures, in terms of, best industry practice.

- In the event of an unforeseen incident which may occur, where an appointed bidder might damage SITA property during installation, it will be the appointed bidder`s responsibility to repair/replace the damaged property at their cost. The appointed appointed bidder must submit proof of public liability cover on appointment of the contract.

- Tools of Trade. The Supplier must bring the necessary tools of trade to perform their duties adequately.

- On-site and Remote Support. The Supplier must provide both on-site and remote support, and only when off-site support is not sufficient will on-site support be required upon approval by the SITA representative.

- Support and Help Desk. After-hours helpdesk support is required for the  duration of the contract per site during weekdays, including weekends and public holidays.

- Scheduled Maintenance: This includes site travel, labour, material/spares, tools, consumables, and the specified service pack.

- Emergency Maintenance & Call Outs: The activity involved with restoring, repairing or replacing on a non-scheduled maintenance basis. This maintenance activity would result from a service-affecting or possible service-affecting defect resulting in the loss of operation or potential loss of operation of any part or component of the electrical installation at the listed sites.

  - Emergency maintenance action shall be required at any time, day or night, including weekends and holidays. The Emergency maintenance response times shall meet or exceed the Service Level Agreements timelines set within this document.

  - During emergency maintenance action, the bidder's objective shall always be to prevent a site or service failure using all reasonable and professional means available

- The Bidder must ensure that the following prescribed  by the Occupation Health and Safety Act (Act 85 of 1993 as amended), Electrical Regulations 2009 and Mechanical and Refrigeration including:

  - The standard of work for Electrical installations conforms to:

    - The standard of work conforms to SANS 10142-1: The Code of Practice for the Wiring of Premises and all other applicable national standards and regulations governing electrical installations.

    - SANS 10228 (handling of hazardous substances – often referenced for safe handling)

  - The standard of work for mechanical, HVAC and refrigeration installations conforms to:

    - SANS 10147 – Ventilation of buildings (natural and mechanical ventilation requirements)

    - SANS 10375 – Machinery safety (general safe use of machinery

  - Any Electrical and Mechanical installation or alteration is certified after completion of work by means of a Certificate of Compliance.

#### Skills Transfer and Training

- The Bidder must ensure that the SITA and Client technical staff receives the required training to ensure the safe operation of the solution.

- The in-post training provided must include the possible primary cause and solutions to all the alarm events that can be encountered on the new solution.

- Free In-post training must be provided on an on-going basis to ensure that the responsible SITA technical staff is acquainted with the safe operation of the solution and interpretation of all alarm conditions.

- The bidder must provide the required free in-post training material i.e., instruction manual to the responsible SITA technical staff.

#### Regulatory, Quality and Standards

The Bidder must ensure that the following prescribed  by the Occupation Health and Safety Act (Act 85 of 1993 as amended), Electrical Regulations 2009 and Mechanical and Refrigeration including:

- The standard of work for Electrical installations conforms to:

- The standard of work conforms to SANS 10142-1: The code of practice for wiring of premises

- SANS 10228 (handling of hazardous substances – often referenced for safe handling)

- The standard of work for mechanical, HVAC and refrigeration installations conforms to:

- SANS 10147 – Ventilation of buildings (natural and mechanical ventilation requirements)

- SANS 10375 – Machinery safety (general safe use of machinery

Any Electrical and Mechanical installation or alteration is certified after completion of work by means of a Certificate of Compliance.

- The Bidder must for the duration of the contract ensure compliance with General Quality Standards, ISO 9001.

#### Company and Personnel Security Clearence Requirements

- Company security screening: The Bidder may be required to undergo a company security screening conducted by the State Security Agency (SSA). Should the SSA find the supplier not suitable after the conduct of the security screening, the business relationship will be terminated. The following documentation will be required for the company security screening process to be conducted:

  - Copy of company registration documentation;

  - Copy(ies) of identity documentation of Director(s), Member(s) or Trustee(s);

  - Copy of valid tax clearance certificate.

- Security suitability check for individuals: SITA may, at its own discretion and in line with its policies and procedures, require employees of the supplier to be subjected to a security suitability check before commencement of a project or delivering of a service. The security suitability check is conducted by SITA in order to ensure that individuals meet the minimum-security requirements and also to verify personal information. The supplier will be required to replace any employee(s) who is found to be not suitable after the conduct of the security screening. The following documentation will be required for the security suitability check:

  - Copy of identity document;

  - Copy(ies) of qualification(s) if SITA requires verification thereof;

  - Fingerprints – will be taken electronically;

  - Signed consent form for the conduct of background checks.

- Security clearance: A security clearance, issued by either the SSA or Defence Intelligence (DI) is required if any employee of the supplier will have or may gain access to classified information throughout the duration of the project or in the process of delivering a service. The level of security clearance required – Confidential, Secret or Top Secret, will be determined at the sole discretion of SITA. The supplier will have to replace any employee who do not qualify for a security clearance or is found not suitable by the SSA or DI. The following documentation will be required for the security clearance process:

  - Completed Z204 or DD1057 security clearance application form;

  - Fingerprints;

  - Personal documentation of the applicant, including but not limited to, identity document, passport, marriage certificate (if applicable), divorce order (if applicable), qualifications, salary advice and bank statements.

#### Confidentiality and non -disclosure conditions

- The Bidder, including its management and staff, must before commencement of the Contract, sign a non-disclosure agreement regarding Confidential Information

- Confidential Information means any information or data, irrespective of the form or medium in which it may be stored, which is not in the public domain and which becomes available or accessible to a Party as a consequence of this Contract, including information or data which is prohibited from disclosure by virtue of:

  - the Promotion of Access to Information Act, 2000 (Act no. 2 of 2000);

  - being clearly marked "Confidential" and which is provided by one Party to another Party in terms of this Contract;

  - being information or data, which one Party provides to another Party or to which a Party has access because of Services provided in terms of this Contract and in which a Party would have a reasonable expectation of confidentiality;

  - being information provided by one Party to another Party in the course of contractual or other negotiations, which could reasonably be expected to prejudice the right of the non-disclosing Party;

  - being information, the disclosure of which could reasonably be expected to endanger a life or physical security of a person;

  - being technical, scientific, commercial, financial and market-related information, know-how and trade secrets of a Party;

  - being financial, commercial, scientific or technical information, other than trade secrets, of a Party, the disclosure of which would be likely to cause harm to the commercial or financial interests of a non-disclosing Party; and

  - being information supplied by a Party in confidence, the disclosure of which could reasonably be expected either to put the Party at a disadvantage in contractual or other negotiations or to prejudice the Party in commercial competition; or

  - information the disclosure of which would be likely to prejudice or impair the safety and security of a building, structure or system, including, but not limited to, a computer or communication system; a means of transport; or any other property; or a person; methods, systems, plans or procedures for the protection of an individual in accordance with a witness protection scheme; the safety of the public or any part of the public; or the security of property; information the disclosure of which could reasonably be expected to cause prejudice to the defence of the Republic; security of the Republic; or international relations of the Republic; or plans, designs, drawings, functional and technical requirements and specifications of a Party, but must not include information which has been made automatically available, in terms of the Promotion of Access to Information Act, 2000; and information which a Party has a statutory or common law duty to disclose or in respect of which there is no reasonable expectation of privacy or confidentiality;

- Notwithstanding the provisions of this Contract, no Party is entitled to disclose Confidential Information, except where required to do so in terms of a law, without the prior written consent of any other Party having an interest in the disclosure;

- Where a Party discloses Confidential Information which materially damages or could materially damage another Party, the disclosing Party must submit all facts related to the disclosure in writing to the other Party, who must submit information related to such actual or potential material damage to be resolved as a dispute;

- Parties may not, except to the extent that a Party is legally required to make a public statement, make any public statement or issue a press release which could affect another Party, without first submitting a written copy of the proposed public statement or press release to the other Party and obtaining the other Party's prior written approval for such public statement or press release, which consent must not unreasonably be withheld.

#### Guarantee and Warranties

The Bidder warrants that:

- as at Commencement Date, it has the rights, title and interest in and to the Product or Services to deliver such Product or Services in terms of the Contract and that such rights are free from any encumbrances whatsoever;

- the Product is in good working order, free from Defects in material and workmanship, and substantially conforms to the Specifications, for the duration of the Warranty period;

- during the Warranty period and Extended Warranty periods any defective item or part component of the Product be repaired or replaced within 3 (three) days after receiving a written notice from SITA;

- the Products is maintained during its Warranty Period and Extended Warranty periods at no additional expense to SITA;

- the Product possesses all material functions and features required for SITA’s Operational Requirements;

- the Product remains connected or Service is continued during the term of the Contract;

- all third-party warranties that the Bidder receives in connection with the Products including the corresponding software and the benefits of all such warranties are ceded to SITA without reducing or limiting the Bidder’s obligations under the Contract;

- no actions, suits, or proceedings, pending or threatened against it or any of its third-party Bidders or sub-bidders that have a material adverse effect on the Bidder’s ability to fulfil its obligations under the Contract exist;

- SITA is notified immediately if it becomes aware of any action, suit, or proceeding, pending or threatened to have a material adverse effect on the Bidder’s ability to fulfil the obligations under the Contract;

- any Product sold to SITA after the Commencement Date of the Contract remains free from any lien, pledge, encumbrance or security interest;

- SITA’s use of the Product and Manuals supplied in connection with the Contract does not infringe any Intellectual Property Rights of any third party;

- the information disclosed to SITA does not contain any trade secrets of any third party, unless disclosure is permitted by such third party;

- it is financially capable of fulfilling all requirements of the Contract and that the Bidder is a validly organized entity that has the authority to enter into the Contract;

- it is not prohibited by any loan, contract, financing arrangement, trade covenant, or similar restriction from entering into the Contract;

- the prices, charges and fees to SITA as contained in the Contract are at least as favourable as those offered by the Bidder to any of its other customers that are of the same or similar standing and situation as SITA; and any misrepresentation by the Bidder amounts to a breach of Contract

#### Intellectual Property Rights

  - SITA retains all Intellectual Property Rights in and to SITA's Intellectual Property. As of the Effective Date, the Bidder is granted a non-exclusive license, for the continued duration of this Contract, to perform any lawful act including the right to use, copy, maintain, modify, enhance and create derivative works of SITA's Intellectual Property for the sole purpose of providing the Products or Services to SITA pursuant to this Contract; provided that the Bidder must not be permitted to use SITA's Intellectual Property for the benefit of any entities other than SITA without the written consent of SITA, which consent may be withheld in SITA's sole and absolute discretion. Except as otherwise requested or approved by SITA, which approval is in SITA's sole and absolute discretion, the Bidder must cease all use of SITA's Intellectual Property, at of the earliest of:

    - termination or expiration date of this Contract;

    - the date of completion of the Services; and

  - the date of rendering of the last of the Deliverables.

  - If so required by SITA, the Bidder must certify in writing to SITA that it has either returned all SITA Intellectual Property to SITA or destroyed or deleted all other SITA Intellectual Property in its possession or under its control.

  - SITA, at all times, owns all Intellectual Property Rights in and to all Bespoke Intellectual Property.

  - Save for the license granted in terms of this Contract, the Bidder retains all Intellectual Property Rights in and to the Bidder’s pre-existing Intellectual Property that is used or supplied in connection with the Products or Services.

  - Provide SITA with the compliant safety file.

#### General

- The parties in this Agreement agree that the offer price of all the equipment shall be at the wholesale price or below wholesale price as agreed with the OEM. Should, at any time during the existence of the agreement that the offered price which is higher than the wholesale price or as agreed with the OEM, SITA client shall be entitled to such wholesale price with the exclusion of the mark-up which the reseller may have charged”.

NOTE: These conditions will form part of the contract obligations and Bidders are expected to comply in order for SITA to conclude an agreement with the potential Bidders. Failure to comply during finalisation of a contract may result to disqualification.

#### Counter Conditions

- Bidders’ attention is drawn to the fact that amendments to any of the Bid Conditions or setting of counter conditions by bidders may result in the invalidation of such bids.

#### Fronting

- The SITA supports the spirit of Broad Based Black Economic Empowerment and recognizes that real empowerment can only be achieved through individuals and businesses conducting themselves in accordance with the Constitution and in an honest, fair, equitable, transparent and legally compliant manner. Against this background the SITA will not condone any form of fronting.

- The SITA, in ensuring that bidders conduct themselves in an honest manner will, as part of the bid evaluation processes, conduct or initiate the necessary enquiries/investigations to determine the accuracy of the representation made in bid documents. Should any of the fronting indicators as contained in the Guidelines on Complex Structures and Transactions and Fronting, issued by the Department of Trade and Industry, be established during such enquiry/investigation, the onus will be on the bidder / bidder to prove that fronting does not exist. Failure to do so within a period of 14 days from date of notification may invalidate the bid / contract and may also result in the restriction of the bidder/bidder to conduct business with the public sector for a period not exceeding ten (10) years, in addition to any other remedies SITA may have against the bidder/bidder concerned.

#### Business Continuity and Disaster Recovery Plans

- The bidder confirms that they have written business continuity and disaster recovery plans that define the roles, responsibilities and procedures necessary to ensure that the required services under this bid specification is in place and will be maintained continuously in the event of a disruption to the bidder’s operations, regardless of the cause of the disruption.

#### Bidder Due Diligence

- SITA reserves the right to conduct Bidder due diligence prior to final award or at any time during the Contract period and this may include pre-announced / non-announced site visits. During the due diligence process the information submitted by the bidder will be verified and any misrepresentation thereof may disqualify the bid or Contract in whole or parts thereof.

#### Preference Goal Requirements conditions

- The Bidder’s commitment for the Preference Goal Requirements in this tender will be legally binding and the Bidder needs to perform against their commitment for the duration of the contract which will form part of the Contractual Agreement.

- The Bidder must sustain, or improve the company’s BBBEE Level for the duration of the contact which will form part of the Contractual Agreement.

- Performance of Preference Goal Requirements will be determined annually. Bidders must submit their Preference status report indicating progress against the Bidder’s Preferential commitments within 30 days of the yearly anniversary of the contract.

- Bidders need to keep auditable substantive records / evidence and upon request by SITA/Department must be made available for audit and, or due diligence purposes.

- SITA reserves the right to require from a Bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim with regards to preferences, in any manner required by SITA.

- SITA reserves the right to verify information / evidence provided by the Bidder.

- SITA reserves the right to introduce a penalty of 1% of the overall annual year spent by SITA for the prior year if the Bidder fails to comply to paragraphs (a), (b) and (c) above.

### Declaration of compliance and acceptance SCC

I (we), the bidder hereby declare that I (we) accept ALL the Special Conditions of Contract as specified in par 4.3.1 above and shall comply with all stated obligations:

Name of Bidder: _____________________________	Signature: _________________________

Date: ______________

## Costing and Preference Points Evaluation (Stage 4)

### Costing and Preference Evaluation

- In terms of the SITA Preferential Procurement Policy (PPP), the following preference point system is applicable for this Bid:

  - the 80/20 system (80 Price, 20 Specific Goals) for requirements with a Rand value of up to R50 000 000 (all applicable taxes included);

- Points will be allocated for each of the Preferential Goal Requirements for this tender as indicated in table 6 dependant on paragraph 1.

- Points for this tender shall be awarded for:

  - Price; and

  - Preference points for specific goals.

- The maximum points for this tender will be allocated as follows, subject to paragraphs 3 above:

Table 6: Points allocation

| Description | Points Table 7 |
| --- | --- |
| Price | 80 |
| Preference points for specific goals | 20 |
| Total points for Price and preference points for specific goals | 100 |

### Costing and Pricing Conditions

- South African Pricing

# The total price must be VAT inclusive and be quoted in South African Rand (ZAR).

- Total Price

  - All quoted prices are the total price for the entire scope of required services and deliverables to be provided by the bidder.

  - All additional costs as well as cost of delivery, labour, S&T, overtime, etc. must be included in this bid.

  - All services, accessories, upgrades and options required by the solution or specified by the client must be included in the quoted price. If not included, Bidders will be required to supply these accessories at no cost to the client.

  - All maintenance service costs are inclusive of traveling, labour, material, spares, tools, accessories and consumables. The Rate must include the specified service pack, and to perform the specified services.

  - All the maintenance services will be on work order basis and actual quantities might change.

  - The indicative corrective maintenance unit rates will be used for payments of corrective/remedial maintenance.

  - Percentage mark-up on materials, spares, equipment and outsourced services to be purchased for corrective/remedial maintenance during Sixty (60) months maintenance period may not exceed 15%.

  - SITA reserves the right to negotiate pricing with the successful bidder prior to the award as well as envisaged quantities

- These conditions will form part of the Contract between SITA and the bidder. However, SITA reserves the right to include or waive the condition in the Contract.

- The bidder must complete the declaration of acceptance as per par 4.5 below by marking with an “X” either “ACCEPT ALL”, or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified.

### Bid Pricing Schedule

  - Bidders must complete the bid pricing schedule in the Excel spreadsheet format provided and upload this as part of their submission. The Excel spreadsheet consist of one (1) Sheets:

    - Sheet 1: Pricing Schedule 01: Sixty (60) Months Period

Note:

Bidders must complete and submit bid pricing in the provided Excel spreadsheet format, and any pricing schedule submitted in a different format will not be considered.

## Declaration of Acceptance

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The bidder declares to ACCEPT ALL the Costing and Pricing conditions as specified in par 4.4.2 above by indicating with an “X” in the “ACCEPT ALL” column, or - The bidder declares to NOT ACCEPT ALL the Costing and Pricing Conditions as specified in par 4.4.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and; - Provide reason and proposal for each of the condition not accepted. |  |  |
| Comments by bidder: Provide the condition reference, the reasons for not accepting the condition. |  |  |

## Preference Requirements

- The bidder must complete in full all the PREFERENCE requirements.

- Allocation of points per requirements: The points allocation of bidders’ responses to the requirements will be determined by the completeness, relevance and accuracy of substantiating evidence.

- Points will be allocated for each PREFERENCE requirement as per the criteria set in table 8 based on the offer submitted by the Bidder.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response. During evaluation, SITA reserves the right to treat substantiation evidence that cannot be located in the bid response, as “NOT COMPLY”. The evidence needs to be attached to Annex A.

- Preference Goal Requirements

  - The applicable Preference Point system for this tender and points claimed is 80/20.

  - The specific Preferential Goal Requirements for this tender is indicated in Table 7 below.

  - Failure on the part of a bidder to complete 80/20 preference point systems and submit proof or documentation required in terms of this tender to claim preference points for the Preference Goal Requirements, will be interpreted to mean that preference points for specific goals are not claimed.

  - The Bidder must indicate how they claim points for each of the preference points.

  - Failure on the part of a bidder to submit proof or documentation required in terms of this tender to claim preference points for the Preference Goal Requirements for this tender, will be interpreted to mean that preference points are not claimed.

  - The Bidder’s commitment for the Preference Goal Requirements in this tender will be legally binding and the Bidder needs to perform against their commitment for the duration of the contract which will form part of the Contractual Agreement.

  - The Bidder must sustain, or improve the company’s BBBEE Level for the duration of the contact which will form part of the Contractual Agreement.

  - Performance of Preference Goal Requirements will be determined annually. Bidders must submit their Preference status report indicating progress against the Bidder’s Preferential commitments within 30 days of the yearly anniversary of the contract.

  - Bidders need to keep auditable substantive records / evidence and upon request by SITA must be made available for audit and, or due diligence purposes.

  - SITA reserves the right to require from a Bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim with regards to preferences, in any manner required by SITA.

  - SITA reserves the right to verify information / evidence provided by the Bidder.

  - SITA reserves the right to introduce a penalty of 1% of the overall annual year spent by SITA for the prior year if the Bidder fails to comply to paragraphs (g), (h) and (i) above.

Table 7: Preference Goal Requirements (Specific Goals)

| Preference Goal Requirement # | Preferential Goal Requirements | Preferential Goal Requirements |  |
| --- | --- | --- | --- |
|  | Preferential Goal Requirements allocated for this tender | Substantiating evidence and evidence reference to be completed by bidder. Evaluation per requirement: Each requirement indicated in the table below must be completed and points will be allocated based on the evidence required below | Evidence Reference |
|  | B-BBEE Requirements |  |  |
| 1) | B-BBEE Requirements Promotion of Transformational Objectives. | Evidence: The Bidder must provide a copy of the following relevant evidence for the Preferential Goal points which the Bidder qualifies for: - Columns A, B, C and D in table 8 Copy of relevant proof of the following to confirm the B-BBEE status of the contributor as defined in the Broad-Based Black Economic Empowerment Act: - B-BBEE certificate (from a SANAS Accredited Agency); or Sworn affidavit in the format provided by CIPC - Applicable to EMEs and QSEs only; and/ or - Column D in table 8 Copy of South African Identification Document (ID); and/ or - Column E in table 8 Copy of Medical Certificate clearly indicating the disability in line with the B-BBEE status claimed as defined in the Broad-Based Black Economic Empowerment Act. Note: The CIPC (Companies and Intellectual Property Commission) registration documents will also be used as evidence to confirm compliance to the Preferential procurement requirements as part of the evaluation process. Points allocation: Points will be allocated for bidders that meets the requirements as indicated in either table 8 in section 4.6 | <provide unique reference to locate substantiating evidence in the bid response – Annex A, section 5.8> |

Table 8: B-BBEE Points as part of the Preference Goal requirements (Preferential Goal Requirements for (80/20) system)

Note: Bidder to select the section for points they wish to claim (Mark as Y=Yes) in the table below.

|  |  |  |  | Ownership |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Reference # | Contributor Level as defined in the Broad-Based Black Economic Empowerment Act | EME/QSEs | Black Owned (BO) (51% or more) | Black Woman Owned (BWO) (More than 30%) | Youth Owned | Owned by People living with disabilities | Score | Bidder to select the section for points they wish to claim (Mark as Y= Yes) |  |
|  |  |  | (A) | (B) | (C) | (D) | (E) | (F) |  |  |
|  | 1 | Level 1 | 6 | 4 | 4 | 4 | 2 | 20 |  |  |
|  | 2 | Level 1 | 6 | 4 | 4 | 4 | 0 | 18 |  |  |
|  | 3 | Level 1 | 6 | 4 | 4 | 0 | 0 | 14 |  |  |
|  | 4 | Level 1 | 6 | 4 | 0 | 0 | 0 | 10 |  |  |
|  | 5 | Level 2 and 3 | 4 | 2 | 1 | 1 | 1 | 9 |  |  |
|  | 6 | Level 2 and 3 | 4 | 2 | 1 | 1 | 0 | 8 |  |  |
|  | 7 | Level 2 and 3 | 4 | 2 | 1 | 0 | 0 | 7 |  |  |
|  | 8 | Level 2 and 3 | 4 | 2 | 0 | 0 | 0 | 6 |  |  |
|  | 9 | Level 4 and 5 | 2 | 1 | 0,5 | 0,5 | 0,5 | 4,5 |  |  |
|  | 10 | Level 4 and 5 | 2 | 1 | 0,5 | 0,5 | 0 | 4,5 |  |  |
|  | 11 | Level 4 and 5 | 2 | 1 | 0,5 | 0 | 0 | 3,5 |  |  |
|  | 12 | Level 4 and 5 | 2 | 1 | 0 | 0 | 0 | 3 |  |  |
|  | 13 | Level 6 | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | 14 | Level 7 | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | 15 | Level 8 | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | 16 | Non-Contributor | 0 |  | 0 | 0 | 0 | 0 |  |  |
|  | Total Maximum Score Allocation: |  | 20 |  |  |  |  |  |  |  |
|  | F= A+B+C+D+E |  |  |  |  |  |  |  |  |  |

Bidder substantiating evidence

# Technical Mandatory Requirement Evidence

## Bidder Certification / Affiliation Requirements

Attach a copy of valid letter from the Department of Labour as evidence that the bidder is registered as an Electrical Contractor.

The letter must clearly indicate:

- The name of the registration authority (i.e. Department of Labour).

- The name of the registered bidder.

- That the bidder is an Electrical contractor.

- Letter must be in writing, dated, signed and on a letterhead of the entity that issued it.

NOTE (1):

SITA reserves the right to verify the information provided.

## Bidder Experience and Capability Requirements

The bidder must complete Table 9 by providing reference details and/or provide a reference letter/s from at least two (2) organisations where similar electrical and mechanical maintenance support services were provided within the last ten (10) years from publication date of this Bid.

The submitted experience must include both electrical and mechanical building infrastructure as described below:

Electrical Systems

- Maintenance of low-voltage distribution boards and power reticulation systems

- Maintenance of lighting systems within operational buildings

Mechanical Systems

- Maintenance of HVAC systems or ventilation/extraction systems

- Maintenance of pumps, motors, or electro-mechanical equipment

NOTE (1):

The Bidder must provide the following information when completing table 9 :

  - Company name; and

  - Reference Person Name, Tel and/or email; and

  - Project Scope of Work; and

  - Project Start and End-date.

NOTE (2):

The reference letter/s should be on the referees’ company letterhead and include all of the following information:

  - Company name; and

  - Reference Person Name, Tel and/or email; and

  - Project Scope of Work; and

  - Project Start and End-date.

NOTE 3:

Failure to submit reference letter/s and/or to complete Table 9 fully as indicated above will result in disqualification.

NOTE (4):

SITA reserves the right to verify information provided.

Table 9: References

| No | Company Name | Contact person, telephone and/or e-mail address | Project Scope of Work | Project start and end date |
| --- | --- | --- | --- | --- |
| 1 | <Company name> | <Person Name> <Tel> or <email> | < Provide scope details> provide reference details from at least two (2) organisations where similar electrical and mechanical maintenance support services were provided within the last ten (10) years from the date this bid is advertised. | Start Date: End Date: |
| 2 | <Company name> | <Person Name> <Tel> or <email> | < Provide scope details> provide reference details from at least two (2) organisations where similar electrical and mechanical maintenance support services were provided within the last ten (10) years from the date this bid is advertised. | Start Date: End Date: |

## CIDB Registration Requirements

The Bidder must complete and sign ANNEX B as evidence that the bidder is registered with the CIDB with a minimum rating or higher of 7EB or 7ME or higher attach it here.

NOTE (1): SITA reserves the right to verify the information provided.

## Installation Electrician Requirement

Attach to ANNEX A :

a) A copy of the valid Wireman’s License with a minimum of five (5) years’ post-registration 
b A copy of the Electrical Trade Test Certificate with a minimum of five (5) years’ post-registration
c) Curriculum Vitae (CV) clearly indicating years of experience after registration.

NOTE (1):

SITA reserves the right to verify the information provided.

NOTE (2):

SITA reserves the right to confirm consent of submission from the electrician person

## HVAC refrigeration Trade Test

Attach to ANNEX A :

- A copy of the Trade Test Certificate (Refrigeration OR Air Conditioning) with a minimum of five (5) years’ post-registration

- Curriculum Vitae (CV) clearly indicating a minimum of five (5) years’ post-registration experience in HVAC and mechanical maintenance

NOTE (1):

SITA reserves the right to verify the information provided

NOTE (2):

SITA reserves the right to confirm consent of submission from the technician person

## Mechanical Trade test

Attach to ANNEX A copy of Trade test Certificate and a CV indicating that the Technician is qualified with Five (5) years of experience or a longer post certification.

NOTE (1):

SITA reserves the right to verify the information provided

## Special Conditions of Contract

The Bidder must Accept all the Special Conditions of Contract by completing and signing the declaration of Acceptance in Declaration of compliance and acceptance under the Special Conditions (Section 4.3.2).

NOTE (1): Failure to accept ALL the Special Conditions of Contract will result in disqualification.

## Preference Points Preferential Goals Evidence

The Bidder must:

      - Preference Goal Requirements:

          - Bidder to select the section for points they wish to claim (Mark as Y=Yes) in table 7 in section 4.6, dependant on which preference system the Bidder selects in line with section 4.6; and

          - Provide a copy of the following relevant evidence for the Preferential Goal points which the Bidder qualifies for as set out in table 7 in section 4.6 and attach it here:

    - Columns A, B, C and D in table 7:

Copy of relevant proof of the following to confirm the B-BBEE status of the contributor as defined in the Broad-Based Black Economic Empowerment Act:

- B-BBEE certificate (from a SANAS Accredited Agency);

or

- Sworn affidavit in the format provided by CIPC - Applicable to EMEs and QSEs only;

and/ or

    - Column D in table 7:

Copy of South African Identification Document (ID):

and/ or

    - Column E in table 7:

Copy of Medical Certificate clearly indicating the disability in line with the B-BBEE status claimed as defined in the Broad-Based Black Economic Empowerment Act.

- Indicate their commitment to claim points for each of the preference points by signing relevant section in the Invitation to Bid document.

NOTE (1):

Failure on the part of a bidder to comply to paragraphs (1) and (2) above, will be interpreted to mean that preference points are not claimed.

CIDB Registration Requirement

The Bidder needs to complete and sign ANNEX B to confirm that the Bidder, is registered with the Construction Industry Development Board (CIDB) with a minimum rating or higher of 7EB, or 7ME.

      - The Bidder needs to indicate the CIDB rating by ticking next to the relevant CIDB rating in the table below:

| Service and Support (Milestones) | CIDB Rating | Bidder to Indicate the Bidder’s rating here |
| --- | --- | --- |
| CIDB Rating | 7EB |  |
|  | 7ME |  |
|  | Higher |  |

      - The Bidder needs to provide the Bidder’s CRS number in the space in the table below:

| Requirement | Bidder’s CRS Number |
| --- | --- |
| Bidder CRS number relating to the minimum rating of 7EB |  |
| Bidder CRS number relating to the minimum rating of 7ME |  |
| Bidder’s CRS number relating to the higher rating of EB or ME |  |

      - The Bidder confirms and will ensure compliance to the CIDB Basic Guide General Conditions of Contract for Construction Works (GCC 2004) as referred to in Annex C for the Bid Specification Scope of work for the duration of the contract.

NOTE 1:

SITA reserves the right to verify the information.

I, the Supplier (Full names) …………………………………………………. Representing (company name) …………………………………………………………….. hereby confirm that the Bidder is registered with Construction Industry Development Board (CIDB) and understand that it will form part of the contract and is legally binding.

Thus, done and signed at ……………………………………. On this………day of……………….20….

__________________

Signature

Designation:

CIDB BASIC GUIDE GENERAL CONDITIONS OF CONTRACT FOR CONSTRUCTION WORKS (GCC 2004)

Refer to Attached document.