Eskom Holdings SOC Ltd

Contract No. _________

Burner Fuel oil Pneumatic Cylinder supply and refurbishment




	[image: image1.jpg]R Eskom






NEC3 Term Service Contract (TSC3)
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30)

	and


	[Insert at award stage]

(Reg No. ___________ )

	for


	Burner Fuel oil Pneumatic Cylinder supply and refurbishment
Insert title of the service

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	16

	Part C2
	Pricing Data
	4

	Part C3
	Scope of Work
	12

	
	
	

	CONTRACT No.
	

	
	

	
	

	
	


PART C1:
AGREEMENTS & CONTRACT DATA

	Contents:


	
	No of pages

	C1.2a
	Contract Data provided by the Employer
	11

	C1.2b
	Contract Data provided by the Contractor
	1

	
	
	


C1.1 Form of Offer & Acceptance

Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Burner Fuel oil Pneumatic Cylinder supply and refurbishment
The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

Delete the row for the Options which do not apply

	Options A 
	The offered total of the Prices exclusive of VAT is 
	R 

	
	Sub total
	R 

	
	Value Added Tax @ 15% is
	R 

	
	The offered total of the amount due inclusive of VAT is

	R 

	
	(in words)



This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	Tenderer’s CIDB registration number: 
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work: Service Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).  

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Employer


	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Employer prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	[●]
	[●]

	2
	[●]
	[●]

	3
	[●]
	[●]

	4
	[●]
	[●]

	5
	[●]
	[●]

	6
	[●]
	[●]

	7
	[●]
	[●]

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Employer



	Signature


	
	
	

	Name
	
	
	

	Capacity


	
	
	

	On behalf of
	(Insert name and address of organisation)


	
	(Insert name and address of organisation)



	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 TSC3 Contract Data

Part one - Data provided by the Employer
	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for main Option: 
	

	
	
	A:

Priced contract with price list

	
	dispute resolution Option
	W1:
Dispute resolution procedure

	
	and secondary Options
	

	
	
	X1:

Price adjustment for inflation

	
	
	X2

Changes in the law

	
	
	X17:
Low service damages

	
	
	X18:
Limitation of liability

	
	
	X19:
Task Order

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Term Service Contract April 2013
 (TSC3)
	If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data

	10.1
	The Employer is (name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	10.1
	The Service Manager is (name): 
	

	
	Address
	Medupi Power Station, Steenbokpan road, Lephalale

	
	Tel
	

	
	e-mail
	

	11.2(2)
	The Affected Property is
	Medupi Power Station

	11.2(13)
	The service is 
	Burner Fuel oil Pneumatic Cylinder supply and refurbishment

	11.2(14)
	The following matters will be included in the Risk Register
	· Force Majeure 
· Community or industrial strikes 

· Inclement Weather (rain)


	11.2(15)
	The Service Information is in 
	Part 3: Scope of Work and all documents to which it makes reference.

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	5 working days

	2
	The Contractor’s main responsibilities
	Data required by this section of the core clauses is also provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data

	21.1
	The Contractor submits a first plan for acceptance within
	As per task order

	3
	Time
	

	30.1
	The starting date is.
	TBC

	30.1
	The service period is
	60 Months

	4
	Testing and defects
	

	40.3
	Contractor notifies the Service Manager 
in time for a test or inspection
	7 days before doing work

	5
	Payment
	

	50.1
	The assessment interval is 
	between the 25th day of each successive month or Continuous assessment upon safe delivery and having met all the required standard and signed off

	51.1
	The currency of this contract is the 
	South African Rand

	51.2
	The period within which payments are made is
	30 days for contract value of less than R 50 million/ 60 days for contract value of more than R 50 million

	51.4
	The interest rate is 


	the publicly quoted prime rate of interest (calculated on a 365 day year) charged by from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands 

	6
	Compensation events
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	7
	Use of Equipment Plant and Materials
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data

	8
	Risks and insurance
	

	80.1
	These are additional Employer's risks  
	1. Force Majeure

2. Labour strike and Community Unrest
3. Lead time of material
4. Wrong material delivered
5. Preservation

6. Early warning will be used by both Parties for new risks

	9
	Termination
	The contract will end if the total contract value is depleted or at the end date of the contract whichever comes first.

	10
	Data for main Option clause
	

	A
	Priced contract with price list
	

	20.5
	The Contractor prepares forecasts of the final total of the Prices for the whole of the service at intervals no longer than 
	4 weeks.

	11
	Data for Option W1
	

	W1.1
	The Adjudicator 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	W1.2(3)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the Institution of Civil Engineers (London) (see www.ice-sa.org.za ) or its successor body.

	W1.4(2)
	The tribunal is: 
	arbitration

	W1.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	The Republic of South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	12
	Data for secondary Option clauses
	

	X1
	Price adjustment for inflation
	

	X1.1
	The base date for indices is 
	Base date is one month prior to the tender closing date

	
	The proportions used to calculate the Price Adjustment Factor are:
	proportion
	linked to index for
	Index prepared by

	
	
	5%
	Transport (Road freight- L1(A)
	SIEFSA 

Table L-1(A)

	
	
	40%

40%
	Material (Plates, HR, Grade, S355JR- E-EEX)

Labour (All hourly-paid employees)
	SIEFSA
Table E-EX
SEIFSA Table C-3(A)

	
	
	15%
	non-adjustable
	

	
	
	100%

	
	

	X2
	Changes in the law
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	X17
	Low service damages
	

	X17.1
	The service level table is in
	Performance level

Amount

Defective spares delivered

If the incorrect spares are delivered, the spares will have to be replaced with the correct spares at the Contractor cost.  This includes transport and delivery.


	X18
	Limitation of liability
	

	X18.1
	The Contractor’s liability to the Employer for indirect or consequential loss is limited to
	R0.0 (zero Rand)

	X18.2
	For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to
	the amount of the deductibles relevant to the event 

	X18.3
	The Contractor’s liability for Defects due to his design of an item of Equipment is limited to
	The greater of 

· the total of the Prices at the Contract Date

and 

· the amounts excluded and unrecoverable from the Employer’s insurance (other than the resulting physical damage to the Employer’s property which is not excluded) plus the applicable deductibles

	X18.4
	The Contractor’s total liability to the Employer, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to
	the total of the Prices other than for the additional excluded matters.
The Contractor’s total liability for the additional excluded matters is not limited. 

The additional excluded matters are amounts for which the Contractor is liable under this contract for
· Defects due to his design, plan and specification,
· Defects due to manufacture and fabrication outside the Affected Property, 

· loss of or damage to property (other than the Employer’s property, Plant and Materials),

· death of or injury to a person and
· infringement of an intellectual property right.

	X18.5
	The end of liability date is 
	12 months after the end of the service period.

	X19
	Task Order
	

	X19.3
	The delay damages in a Task Order
	Task completion date as per the task order

the amount of delay damages for the late completion of the Task,
Supply of spares: No delay damages apply 
the Contractor pays delay damages at 2% of the total amount of the item per day to a maximum of 20% in the Task Order from the Task Completion Date until Task Completion.
Refurbishment: No delay damages apply
the Contractor pays delay damages at 2% of the total amount of the refurbish item per day to a maximum of 20% in the Task Order from the Task Completion Date until Task Completion.



	X19.5
	The Contractor submits a Task Order programme to the Service Manager within 
	5 days of receiving the Task Order

	Z
	The additional conditions of contract are
	Z1 to Z14 always apply.

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract.

	Z2.2
	Unless already notified to the Employer, the persons or organisations notify the Service Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf.

	Z2.3
	The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z3.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Service Manager within thirty days of the notification or as otherwise instructed by the Service Manager.

	Z3.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Service.

	Z3.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P4 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Service Manager.

	Z4.3
	In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the Affected Property or any portion thereof, in the course of Providing the Service and after the end of the service period, requires the prior written consent of the Service Manager.  All rights in and to all such images vests exclusively in the Employer.  

	Z4.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Service Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 27.4

	Z6.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor:

· accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property;

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and

· undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Service Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete the last paragraph of core clause 61.3 and replace with:

If the Contractor does not notify a compensation event within eight weeks of becoming aware of the event, he is not entitled to a change in the Prices.

	
	

	Z9
	Employer’s limitation of liability

	Z9.1
	The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Contractor’s entitlement under the indemnity in 82.1 is provided for in 60.1(12) and the Employer’s liability under the indemnity is limited to compensation as provided for in core clause 63 and X19.11 if Option X19 Task Order applies to this contract. 

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z11.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z11.2
	The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason.

	Z11.3
	If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z11.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation.


Z12

Insurance
Z _12_.1
Replace core clause 83 with the following:
	Insurance cover
	83
	

	
	83.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force.



	
	83.2
	The Contractor provides the insurances stated in the Insurance Table A from the starting date until the earlier of Completion and the date of the termination certificate. 
INSURANCE TABLE A
Insurance against
Minimum amount of cover or minimum limit of indemnity
Loss of or damage caused by the Contractor to the Employer’s property
The replacement cost where not covered by the Employer’s insurance.

The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.
Loss of or damage to Plant and Materials
The replacement cost where not covered by the Employer’s insurance.

The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.
Loss of or damage to Equipment
The replacement cost where not covered by the Employer’s insurance.

The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.
The Contractor’s liability for loss of or damage to property (except the Employer’s property, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Service
Loss of or damage to property

The replacement cost

Bodily injury to or death of a person

The amount required by the applicable law.

Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract
The amount required by the applicable law



	
	
	

	
	
	


Z __12.2
Replace core clause 86 with the following:

	Insurance by the Employer
	86
	

	
	86.1
	The Employer provides the insurances stated in the Insurance Table B

	
	
	

	
	
	INSURANCE TABLE B
Insurance against or name of policy

Minimum amount of cover or minimum limit of indemnity

Assets All Risk

Per the insurance policy document

Contract Works insurance

Per the insurance policy document

Environmental Liability

Per the insurance policy document

General and Public Liability

Per the insurance policy document

Transportation (Marine)

Per the insurance policy document

Motor Fleet and Mobile Plant

Per the insurance policy document

Terrorism

Per the insurance policy document

Cyber Liability

Per the insurance policy document

Nuclear Material Damage and Business Interruption

Per the insurance policy document

Nuclear Material Damage Terrorism

Per the insurance policy document




	Z13
	Nuclear Liability

	Z13.1
	The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS.

	Z13.2
	The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z13.3
	Subject to clause Z13.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z13.4
	The Employer does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter.

	Z13.5
	The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned.

	
	

	Z14
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means occupational exposure limit.

	Parallel Measurements
	means measurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means  airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z14.1
	The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z14.2
	Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z14.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z14.3
	The Employer manages asbestos and ACM according to the Standard.

	Z14.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe.

	Z14.5
	The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z14.6
	The Contractor continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001.

	Z14.7
	Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation.


C1.2 Contract Data

Part two - Data provided by the Contractor
	Clause
	Statement
	Data

	10.1
	The Contractor is (Name):
	     

	
	Address
	     

	
	Tel No.
	     

	
	Fax No.
	     

	11.2(8)
	The direct fee percentage is
	     %

	
	The subcontracted fee percentage is
	     %

	11.2(14)
	The following matters will be included in the Risk Register
	     

	11.2(15)
	The Service Information for the Contractor’s plan is in:
	     

	21.1
	The plan identified in the Contract Data is contained in:
	     

	24.1
	The key people are:
	

	
	1

Name:
	     

	
	

Job:
	     

	
	

Responsibilities:
	     

	
	

Qualifications:
	     

	
	

Experience:
	     

	
	2

Name:
	     

	
	

Job
	     

	
	

Responsibilities:
	     

	
	

Qualifications:
	     

	
	

Experience:
	     

	
	
	     

	
	
	CV's (and further key person's data including CVs) are in      .

	A
	Priced contract with price list
	

	11.2(12)
	The price list is in
	     

	11.2(19)
	The tendered total of the Prices is
	R     


Part 2: Pricing Data

TSC3 Option A

	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions: Option A
	2

	C2.2
	The price list 
	[●]


C2.1 Pricing assumptions: Option A

1. How work is priced and assessed for payment

Clause 11 in NEC3 Term Service Contract (TSC3) core clauses and Option A states:

	Identified and defined terms
	11

11.2
	(12) The Price List is the price list unless later changed in accordance with this contract.



	
	
	(17) The Price for Services Provided to Date is the total of 

· the Price for each lump sum item in the Price List which the Contractor has completed and
· where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate.


	
	
	(19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate.




This confirms that Option A is a priced contract where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both.

2. Function of the Price List

Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not Provide the Service in accordance with the Price List.   The Price List is only a pricing document.  

3. Link to the Contractor’s plan

Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17). 

4. Preparing the price list
Before preparing the price list, both the Employer and tendering contractors should read the TSC3 Guidance Notes pages 14 and 15.  In an Option A contract, either Party may have entered items into the price list either as a process of offer and acceptance (tendering) or by negotiation depending on the nature of the service to be provided.  Alternatively the Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in the price list to be prepared and priced by him. 

It is assumed that in preparing or finalising the price list the Contractor:
· Has taken account of the guidance given in the TSC3 Guidance Notes relevant to Option A;

· Understands the function of the Price List and how work is priced and paid for;

· Is aware of the need to link operations shown in his plan to items shown in the Price List;

· Has listed and priced items in the price list which are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;
· Has priced work he decides not to show as a separate item within the Prices or rates of other listed items in order to fulfil the obligation to complete the service for the tendered total of the Prices. 
· Understands there is no adjustment to items priced as lump sums if the amount, or quantity, of work within that item later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the (lump sum) Prices is as a result of a compensation event. 
4.1. Format of the price list
(From the example given in an Appendix within the TSC3 Guidance Notes)

Entries in the first four columns in the price list in section C2.2 are made either by the Employer or the tendering contractor. 

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering contractor enters the amount in the Price column only, the Unit, Expected Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for an item of work which is the rate for the work multiplied by the quantity completed, the tendering contractor enters the rate which is then multiplied by the Expected Quantity to produce the Price, which is also entered.

If the Contractor is to be paid a Price for an item proportional to the length of time for which a service is provided, a unit of time is stated in the Unit column and the expected length of time (as a quantity of the stated units of time) is stated in the Expected Quantity column.

C2.2 the price list
	Item
	Material nr
	Description
	Unit
	Expected Quantity
	Rate
	Price

	1
	0722142
	PNEUMATIC CYLINDER SPARE KIT.

KIT: TYPE: SPARE PART; APPLICATION: PNEUMATIC CYLINDER; COMPRISING: 2X CLAMPING LEVER,COVER STRIP,O-RING,2XSEAL(ITEM6),2X SEAL(ITEM8),WIPER,GREASE); SPECIFICATION:QM/146080/88; OEM P/N: QM/146080/88*
Upon Delivery the valve shall come with manufacturing data
	EA


	180
	
	

	2


	0724828
	PNEMATIC CYLINDER.

CYLINDER ASSEMBLY, ACTUATING LINEAR: TYPE: M/146080/STROKE SPECIAL; BORE DIAMETER: 80 MM; STROKE: 500 MM; PRESSURE RATING: 8 BAR; SPECIFICATION: ASSEMBLY OF FITTING ACC DIN 3859; OEM P/N: M/146080/STROKE SPECI
Upon Delivery the valve shall come with manufacturing data
	EA


	30
	
	

	3
	N/A
	PNUEMATIC CYLINDER REFURBISHMENT

OVERHAUL

THE REFURBISHMENT OF THE CYLINDER, INCLUDE REPLACING SEALS,CYLINDER INTERNAL COMPONENTS, FUCTION TESTING ETC.
Certificate of compliance, Pressure test certificate and Databook after refurbishment
	EA
	135
	
	

	4
	N/A
	Cylinder Repair only seals
	EA
	270
	
	

	5
	N/A
	Cylinder Repair Pressure Test only
	EA
	270
	
	


	The total of the Prices
	


Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Employer’s Service Information
	

	C3.2
	Contractor’s Service Information

(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Employer’s service Information

Contents


Part 3: Scope of Work
23
C3.1: Employer’s service Information
24
1
Description of the service
26
1.1
Executive overview
26
1.2
Employer’s requirements for the service
26
1.2.1
Supply of Spares and refurbishment
26
1.2.2
Employer anticipated quantity
26
1.3
Interpretation and terminology
26
2
Management strategy and start up.
27
2.1
The Contractor’s plan for the service
27
2.2
Management meetings
27
2.3
Contractor’s management, supervision and key people
27
2.4
Documentation control
27
2.5
Invoicing and payment
27
2.6
Insurance provided by the Employer
28
2.7
Design and supply of Equipment
28
2.8
Things provided at the end of the service period for the Employer’s use
28
2.8.1
Information and other things
28
2.9
Management of work done by Task Order
28
3
Health and safety, the environment and quality assurance
29
3.1
Health and safety risk management
29
3.1.1
Reporting of Incidents
29
3.1.2
Fire Precaution
29
3.2
Environmental constraints and management
29
3.3
Quality assurance requirements
30
4
Procurement
30
4.1
People
30
4.1.1
Minimum requirements of people employed
30
4.1.2
BBBEE and preferencing scheme
30
4.1.3
Social Development Localization and Industrialization (SDL&I)
30
4.2
Subcontracting
30
4.2.1
Preferred subcontractors
30
4.2.2
Subcontract documentation, and assessment of subcontract tenders
31
4.2.3
Limitations on subcontracting
31
4.2.4
Attendance on subcontractors
31
4.3
Plant and Materials
31
4.3.1
Specifications
31
4.3.2
Correction of defects
31
4.3.3
Contractor’s procurement of Plant and Materials
31
4.3.4
Tests and inspections before delivery
31
4.3.5
Plant & Materials provided “free issue” by the Employer
32
4.3.6
Cataloguing requirements by the Contractor
32
5
Working on the Affected Property
32
5.1
Employer’s site entry and security control, permits, and site regulations
32
5.2
People restrictions, hours of work, conduct and records
32
5.3
Health and safety facilities on the Affected Property
33
5.4
Environmental controls, fauna & flora
33
5.5
Cooperating with and obtaining acceptance of Others
33
5.6
Records of Contractor’s Equipment
33
5.7
Equipment provided by the Employer
33
5.8
Site services and facilities
33
5.8.1
Provided by the Employer
33
5.8.2
Provided by the Contractor
33
5.9
Control of noise, dust, water and waste
34
5.10
Hook ups to existing works
34
5.11
Tests and inspections
34
5.11.1
Description of tests and inspections
34
5.11.2
Materials facilities and samples for tests and inspections
34
6
List of drawings
34
6.1
Drawings issued by the Employer
34


1 Description of the service
1.1 Executive overview 

The reliability and availability of the Burner system, in general, is a concern for Medupi Power station due to unplanned downtime, and it has contributed to production risks on the Units.  Initiatives to improve the reliability and availability of the Boiler Plant, burner system amongst others includes, placing spares supply and refurbishment contracts to ensure continuous improvement of the Energy Availability Factor(EAF).The pneumatic cylinders(1-6 HJA11-56 AS001) form part of the combustion safety equipment therefore such equipment should be maintained and spares should be available at all material times to minimise plant downtime. The pneumatic cylinders form part of combustion equipment as per FFFR therefore its reliability is essential.
1.2 Employer’s requirements for the service
1.2.1 Supply of Spares and refurbishment 
Refer to pricelist on C2.2.  
1.2.2 Employer anticipated quantity 

The estimated quantities the Employer anticipates will be required for the duration of this contract.  This value will be used with other estimates to determine the overall contract value. It should be noted that this is just an estimate, and it does not mean that the Employer will consume the spares in the duration of the contract.  These quantities are therefore not fixed, and the Contractor will only supply spares when instructed by a task order, from the Employer, to do so
The refurbishment will be done as and when required during the contract period.

Medupi has 6 boilers, and each boiler is equipped with 30 Pneumatic cylinder which totals to 180 cylinders for Medupi.
1.3 Interpretation and terminology

	Definition
	Explanation

	Contractor
	Service provider contracted for the supply of spares and various services on the machines

	Employer
	Eskom Medupi Power Station


The following abbreviations are used in this Service Information:

	Abbreviation
	Meaning given to the abbreviation

	SHE
	Safety Health and Environmental

	SHEQ
	Safety Health Environmental and Quality

	FFFR
	Fossil Fuel Firing Regulations


2 Management strategy and start up.
2.1 The Contractor’s plan for the service
The Contractor shall provide refurbishment plan after receipt of the task order from the Service Manager. The plan shall include all activities and timelines for the scope until delivery of the item to Medupi Power Station. 
The Contractor shall provide delivery schedule of spares after receipt of the purchase order from the Service Manager. This plan shall include design, manufacturing, transportation, and delivery to Medupi power station.
2.2 Management meetings

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Risk register and compensation events
	Monthly
	MS Teams
	Employer, Contractor

	Overall contract progress and feedback
	Monthly 
	MS Teams
	Employer, Contractor 


Meetings of a specialist nature may be convened as specified elsewhere in this Service Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the service.  Records of these meetings shall be submitted to the Service Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

2.3 Contractor’s management, supervision and key people

The Contractor shall submit organogramme showing his people and their lines of authority / communication.
2.4 Documentation control

All contractual communications will be in the form of properly compiled letters, forms attached to emails and a message in the email itself.  
All letters must have unique identifier for control of documents. 
2.5 Invoicing and payment
Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Service Manager’s payment certificate.  
The Contractor shall address the tax invoice to 

INVOICESESKOMLOCAL@ESKOM.CO.ZA.

and include on each invoice the following information:

· Name and address of the Contractor and the Service Manager; 

· The contract number and title;

· Contractor’s VAT registration number;

· The Employer’s VAT registration number 4740101508;

· Description of service provided for each item invoiced based on the Price List;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

Note: The Contractor shall only submit an invoice after receipt of Goods Receipt (GR) number from the Service Manager
2.6 Insurance provided by the Employer
Herein contact details for persons capable of being able to answer any insurance related queries the Contractor may have:
	Names & Surname
	Contact details
	e-mails address

	Mr Krishan Chaithoo
	+27 11 800 4455
	ChaithK@eskom.co.za


2.7 Design and supply of Equipment

Employer wish to exercise constraints witness and hold points during manufacture, assembly of cylinders at the Contractors premises as and when required. The Employer will conduct quality control and testing of the equipment during delivery.
The Contractor must provide maintenance and operating manuals for all their equipment on site.
Any modification on the plant shall be approved by the Employer’s engineer and the documents (including drawings) must be the property of the Employer.

For any Equipment purchase during this contract, the liability for design supply and use of the Equipment remains with the Contractor
2.8 Things provided at the end of the service period for the Employer’s use

2.8.1 Information and other things

Drawings, modifications designs and related documents for the cylinder shall be provided to the Employer at the end of this contract.
2.9 Management of work done by Task Order

A Task Order starting with 45* series number will be issued to the Contractor for any work to be executed. Refurbishments service shall be handled by Task Order. No refurbishment work shall comment before the receipt of the signed Task Order.

In the case of emergency repairs outside the SOW started in this contract, different Task Order will be sent to the Contractor for the works. Respond to the issued Task Order must be dealt with as per secondary option X19 of the agreement.

The purchase order will be issued for procuring of new spares. Spares should be delivered with agreed lead time stated on the purchase order.

3 Health and safety, the environment and quality assurance

3.1 Health and safety risk management

· The Contractor shall comply with the health and safety requirements of ISO 45001:2015.
· The Contractor will adhere to the Eskom Lifesaving rules.

· The Contractor will not be allowed to transport any of its workers in open vehicles to and from site as prescribed in the Eskom safety policy. 

· The Contractor shall ensure compliance to Occupational Health and Safety Act of 1993, Standard 32-136: Standard Contractor Health and Safety requirement, Health and safety specifications: 32-1188 

· All vehicles must be driven with due consideration for personnel and property. A maximum speed limit of 40 kilometres per hour will always be adhered to on the premises. Always obey speed limit.
· The Contractor will provide all his personnel with the required personal protective equipment
· Risk Assessments, Pre-Job Briefs, Post – Job Briefs & Job Observations will be conducted for all jobs.
· As far as housekeeping is concerned, the Contractor shall only be responsible for clearing up any mess, debris, spills that which comes about from their activity’s resultant from the Contractor ’s own actions. Contractor shall ensure that good housekeeping is always maintained.
· The Contractor is subjected to safety auditing at any point in time during the life of the contract and should be available for that audit.

3.1.1 Reporting of Incidents 
· The Employer follows an accident prevention policy that includes the investigation of all accidents involving personnel and property. This is done with the intention of introducing control measures to prevent a recurrence of the same incidents. 

· The Contractor is expected to fully co-operate to achieve this objective. The Safety Manager must be informed immediately of any incidents and any damage to property or equipment must be reported within 24 hours.
· NOTE! This report does not relieve the Contractor of his legal obligation to report certain incidents to the Department of Labour, or to keep records in terms of the Occupational Health and Safety Act, and Compensation for Occupational Injuries and Diseases Act.

3.1.2 Fire Precaution 
· Any tampering with the Employer's fire equipment is strictly forbidden.
· All exit doors, fire escape routes, walkways, stairways, stair landings and access to electrical distribution boards must be kept free of obstruction, and not be used for work or storage at any time. Firefighting equipment must always remain accessible.
· In case of a fire, report the location and extent of the fire to the Electrical Operating Desk at extension 6490/1 or Eskom Emergency at 6911.
· Take the necessary action to safeguard the area to prevent injury and spreading of the fire.

3.2 Environmental constraints and management

· The Contractor should adhere to the Medupi Power Station Environmental Management System that must meet the requirements of ISO 14001:2015.
· The Contractor will be responsible for complying to any new environmental requirements, relevant to the Works Information, that may come into effect as part of Medupi Power Station’s EMS for the duration of this contract.
· The Contractor shall ensure compliance to Environmental legislation, Eskom standard and procedures.
· The Contractor is subjected to environmental auditing at any point in time during the life of the contract and should be available for that audit.

3.3 Quality assurance requirements

· The Contractor shall ensure compliance to Quality Management system requirements, ISO 90012015
· The Employer may, by arrangement, inspect completed work. If, in opinion of the Employer, the work does not comply with the quality requirements expected from the Contractor, the Employer shall instruct the Contractor to rectify the faults. The Contractor will comply with the instructions.
· The Contractor shall develop Quality Control Plans (QCPs) and ensure that such are submitted to the Employer prior to any work execution. The principle of “no QCP, no work shall apply”. All intervention points such as witness, hold and inspection points shall be strictly adhered to. Any Eskom intervention point waived by Eskom shall be in writing.
· Data books, reviews, reports and diagrams/drawings shall be submitted to Employer after the completion of respective work.
· The Contractor to ensure that all measuring and test equipment are calibrated at all times & proof thereof must be readily available.
· The Contractor will ensure that the required OEM specifications and standards are met
· The Contractor is subjected to quality auditing at any point in time during the life of the contract and should be available for that audit.

4 Procurement
4.1 People

4.1.1 Minimum requirements of people employed
The Contractor shall employ competent people to Provide the Services. The qualifications and curriculum vitae maybe be required by the Employer of employees involved on this contract. 
4.1.2 BBBEE and preferencing scheme

The company shall maintain or improve upon their current B-BBEE Contribution level for the duration of the contract. The supplier will be required to submit a new B-BBEE certificate within 3 months, should ownership of the company change during the life of the contract.
4.1.3 Social Development Localization and Industrialization (SDL&I)
The Contractor complies with and fulfils the Contractor’s obligations in respect of the SD&L requirements in accordance with and as provided for in the Contractor’s SD&L Compliance Schedule. The Contractor to provide proposed skill development target on the table below

	Skills
	Eskom Targets
	Outputs
	Contractor Proposal

	
	
	
	

	
	
	
	


The Contractor shall keep accurate records and provide the Service Manager with reports on the Contractor’s actual delivery against the above stated SD&L criteria. The Contractor shall submit monthly/quarterly SD&L report to the Service Manager.  The SD&L report template will be provided to the Contractor by Service Manager.
The Contractor’s failure to comply with his SD&L obligations constitutes substantial failure on the part of the Contractor to comply with his obligations under this contract. The Contractor shall submit a bond equivalent to 2.5% of the Contract Value and shall only be released to the Contractor upon fulfilment of all SDL&I Obligations
4.2 Subcontracting
4.2.1 Preferred subcontractors

The Contractor may not use a Subcontractor unless a written request is made to the Employer and approval is given.  All terms and conditions applicable to the Contractor, will also apply to the approved Subcontractors e.g. legal requirements, appointments, authorisations, safety, quality and therefore all relevant documentation must be submitted for the Employer to consider the Subcontractor for approval.

Additionally, the prices listed in the price list will remain unchanged if any Subcontractors are used.

4.2.2 Subcontract documentation, and assessment of subcontract tenders

NOTE 1: Tenders shall submit the following Mandatory Returnable for Subcontracting: 
1. Subcontracting agreement (signed by both parties) with subcontractor company registration documents (CK, CSD, B-BBEE certificate or sworn affidavit).

2. Copies of sub-contracting contracts (agreements) or copies of letters from the tenderer to the sub-contractors, stating the intent to sub-contract. Both documents should be signed by the Tenderer and the Sub-contractor(s) earmarked.

3. B-BBEE certificate from SANAS accredited rating agency or Sworn Affidavit from National Treasury / DTI certified by commissioner of oath will be used to verify supplier’s status 

4.2.3 Limitations on subcontracting

Contractor shall not subcontract more than 25% of the scope for the whole contract.  

4.2.4 Attendance on subcontractors

N/A
4.3 Plant and Materials

4.3.1 Specifications
Plant and Materials provided by the Contractor and, the preventative maintenance thereof will be the responsibility of the Contractor.
The Plant and Materials to be used at Affected Property is Forklift and overhead crane

4.3.2 Correction of defects

This will be governed by as per core clause 4, testing and defects.

4.3.3 Contractor’s procurement of Plant and Materials

Replacement materials/components will be kept as the Employer’s Inventory/stock and issued as stock items when required. The Contractor must inform the Employer immediately of any constraints experienced during the procurement process of Plant and Materials whenever required to procure any materials. All Plant and Material procured during this contract will be provided to the Employer at the end of the service.
4.3.4 Tests and inspections before delivery

· It is the Contractor’s responsibility to ensure the machinery and equipment intended for use on this contract are inspected, tested and certified prior to delivery to site.

· Regular inspections can be carried out by the Employer on an as and when required basis.

· The Contractor and the Employer must maintain communication regarding the test and inspections that must be done and give feedback on the result obtained. The Contractor must inform the Employer in time for a test or inspection to be arranged and done before doing the work that will obstruct the test or inspection.
4.3.5 Plant & Materials provided “free issue” by the Employer
Both parties shall agree if there is any Plant and Material that the Contractor require to execute work. All other Plant and Materials are to be provided by the Contractor.
The Employer will provide Forklift and overhead crane if required by the Contractor.
4.3.6 Cataloguing requirements by the Contractor
N/A
5 Working on the Affected Property

5.1 Employer’s site entry and security control, permits, and site regulations
Medupi Power Station is declared a Nation Key Point (NKP), all regulations, Laws and procedures related to NKP must be strictly adhered to.

Acceptance of this tender is subject to the condition that both the contracting company’s management and its employees will provide Eskom with a clear criminal record not older than thirty (30) days from a reputable screening company. If the principal contractor appoints a subcontractor, the same provisions and measures will apply to the subcontractor. Acceptance of the tender is also subject to the condition that the contractor will implement all such security measures for the safe performance of the work as required in the scope of the contract.

The Entry to site is only approved once the following is adhered to: 

1. The Contractor’s Safety file is to be approved by the Employer’s Safety department.

2. All personnel must undergo screening for Criminal records. For the purpose of clarity, contractors who was previously found guilty of offences in terms of the National Road Traffic Act 93 of 1996 and/or has paid guilt admission fines, will be exempted and be allowed to access site.

3. Site-specific induction is to be done by all personnel.

4. Covid-19 screening to be done at the entrance

5. All contract employees must have permits to have access to site 
5.2 People restrictions, hours of work, conduct and records

5.2.1 People restrictions
Contractor’s employees are restricted to the Affected Property only
5.2.2 Hours of work

· All work will be coordinated by the Employer. Working times can be subject to change, the Employer will inform The Contractor well in advance.

· The Contractor will align his operating shifts to that of the Employer’s shift cycle.

1. Normal delivery hours:

a. Monday to Thursday 
07:00 - 16:15(Lunch 12:00-12:30)
b. Fridays


07:00 - 12:00 (No lunch break)
5.2.3 Conduct
a) The Contractor and his employees are always required to maintain professional and ethical conduct, that upholds the Eskom values to the highest standard

b) Should the Contractor’s employees be found to contravene the Eskom values, lifesaving rules, and/or any of the regulations, the Contractor must institute disciplinary action, which may include removal from site, until the disciplinary process is concluded.
5.2.4 Records

The Contractor is expected to keep appropriate and sufficient records of the employees, including:

a) Any other required records as communicated by the Employer
5.3 Health and safety facilities on the Affected Property

There is a medical station on site and a fire and rescue service for assistance with serious incidents and treatment of all serious injuries during normal working hours.  Emergency services are available during normal working hours by dialling this phone number 078 100 5614/ 014 762 2555 (fire and rescue) and also available after hours or else contacting the Electrical Operating Desk (EOD) at 014 762 6491   However, the Contractor is expected to handle all minor incidents in-house by providing a first aider and a first aid kit.  

The Contractor must familiarise themselves with the emergency procedure which will be provided by the Employer. The Service Manager will inform the Contractor will inform the Contractor of the emergency preparedness (EP) procedure, and the Contractor must ensure that EP procedure is shared with the employees.
All other requirements and/or facilities will be communicated by the Employer to the Contractor.

5.4 Environmental controls, fauna & flora

The Contractor shall comply with the environmental criteria and constraints applicable to ISO 14001:2015.
5.5 Cooperating with and obtaining acceptance of Others

Proper co-ordination and work planning must be done when working in any area where others are performing work or activities.  Should the Contractor request any interfaces with Others, it will be coordinated by the Employer. Refer to clause 27.2.
5.6 Records of Contractor’s Equipment

a) The Contractor to declare all equipment and tools via a pre-set-up list at the main entrance, where removal permit will be issued by Security personnel.

b) Contractor needs to have a list of inventories of their equipment on site.  

c) Proof of site entrance needs to be provided before equipment can be removed from

d) A copy of the equipment list must be submitted to the Employer. The list must be regularly updated by the Contractor when there are changes.

5.7 Equipment provided by the Employer
Equipment provided by the Employer is to be signed out on the tools register and returned in a serviceable condition. The Contractor will be responsible for replacement of the Employer equipment in case is lost or damaged. 

The Employer will provide overhead cranes and lifting equipment 
5.8 Site services and facilities
5.8.1 Provided by the Employer
Sanitary services, water, compressed air, workshop facilities and electricity shall be provided by Eskom at fixed points on the plant. There is also a tuck-shop on site, only operate on weekdays and are for the Contractor’s own cost.
5.8.2 Provided by the Contractor
The Contractor is to supply all the personal protective equipment, transport, accommodation, tools, equipment, cell phones, stationery, and consumables to perform all the required tasks. And any other equipment to provide the service to the Employer.
5.9 Control of noise, dust, water and waste 

The Contractor will always be required to use appropriate PPE to mitigate and minimise exposure to noise and dust. Ear protection shall be worn whenever Contractor enters a plant with a noise level of 80db and above or working with machines that produce noise level of 80 db. The Contractors must always wear dust musk whenever they work in the dust environment. The Contractor must treat water as scarce resource and recycle where possible. The Employer advocates the appropriate disposal of waste to enhance recycling. 
5.10 Hook ups to existing works

Hooking up on heights is a non-negotiable lifesaving rule of Eskom, Medupi Power Station applies Zero Tolerance to non-compliance of the rule or any other lifesaving rule. The same disciplinary process and procedure will be followed when any of the lifesaving rules have been breached.
5.11 Tests and inspections

5.11.1 Description of tests and inspections
The test and inspection to be carried out by the Contractor. The tests and inspections will be determined by the Contractor and communicated to the Employer for approval.
5.11.2 Materials facilities and samples for tests and inspections 
The materials facilities and samples for test and inspection to be carried out by the Contractor.  The Materials facilities and samples for tests and inspections will be determined by the Contractor and communicated to the Employer for approval.

6 List of drawings

6.1 Drawings issued by the Employer
This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

	Drawing  number
	Revision
	Title

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


� This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902 � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 







CONTRACT
PAGE 2





CONTRACT
PAGE 1
TSC3

