|  |
| --- |
| **40L Shaker Bath**  Ambient +7°C to 100°C  120minute timer with infinity override position for continuous operation  Fitted with drain taps for easy maintenance  Tank dimensions: 640 x 350 x 170 (mm)  RPM: 10-250 |