|  |
| --- |
|  **40L Shaker Bath** Ambient +7°C to 100°C 120minute timer with infinity override position for continuous operation Fitted with drain taps for easy maintenance Tank dimensions: 640 x 350 x 170 (mm) RPM: 10-250  |