{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Cover sheet","Workstation Schedule"],"not_rendered":{"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"Cover sheet","index":0,"n_rows":19,"n_cols":11,"rows_kept":19,"merged":[[1,0,6,11],[7,0,9,11],[10,0,10,11],[11,0,14,11],[15,0,15,2],[15,3,15,5],[15,6,15,8],[15,10,15,11],[16,0,16,2],[16,3,16,5],[16,6,16,8],[16,10,16,11]]}
[]
["Eskom"]
[]
[]
[]
[]
[]
["MATIMBA POWER STATION C&I REPLACEMENT PROJECT"]
[]
[]
[]
["Workstation Schedule"]
[]
[]
[]
["Document Type:",null,null,"Document Status:",null,null,"Document Nr:",null,null,"Rev.","Date"]
["Project Documentation",null,null,"Complete",null,null,"TBA",null,null,1,"2021-02-02"]
["Created by:",{"$nulls":7},"Approved by:"]
["CJ Nel",{"$nulls":7},"J. Mathobela"]

{"sheet":"Workstation Schedule","index":1,"n_rows":55,"n_cols":13,"rows_kept":55}
["Index","KKS","DESCRIPTION","ABBREVIATION","FINAL LOCATION OF SCREEN KEYBOARD AND MOUSE","TEMPORARY LOCATION OF SCREEN KEYBOARD AND MOUSE","ROOM LOCATION OF COMPUTER","DESK LOCATION OF SCREEN, KEYBOARD AND MOUSE","C&I SYSTEM","APPLICABLE WORKSTATION SPECIFICATION","REMOVABLE MEDIA ALLOWED?\n(USB OPEN & DVD WRITER)","OPERATING SCREENS","KVM MODULE"]
[1,null,"Unit 1 Operator Station 1","UOS101","Unit 1 Control Room","N/A","Unit 1 Equipment Room","Operator Desk 1","POWER ISLAND 1","Operator Workstation","No",4,"Yes"]
[2,null,"Unit 1 Operator Station 2","UOS102","Unit 1 Control Room","N/A","Unit 1 Equipment Room","Operator Desk 1","POWER ISLAND 1","Operator Workstation","No",4,"Yes"]
[3,null,"Unit 1 Operator Station 3","UOS103","Unit 1 Control Room","N/A","Unit 1 Equipment Room","Operator Desk 1","POWER ISLAND 1","Operator Workstation","No",4,"Yes"]
[4,null,"Unit 1 Operator Station 4","UOS104","Unit 1 Control Room","N/A","Unit 1 Equipment Room","Operator Desk 2","POWER ISLAND 1","Operator Workstation","No",4,"Yes"]
[5,null,"Unit 2 Operator Station 1","UOS201","Unit 2 Control Room","N/A","Unit 2 Equipment Room","Operator Desk 1","POWER ISLAND 2","Operator Workstation","No",4,"Yes"]
[6,null,"Unit 2 Operator Station 2","UOS202","Unit 2 Control Room","N/A","Unit 2 Equipment Room","Operator Desk 1","POWER ISLAND 2","Operator Workstation","No",4,"Yes"]
[7,null,"Unit 2 Operator Station 3","UOS203","Unit 2 Control Room","N/A","Unit 2 Equipment Room","Operator Desk 1","POWER ISLAND 2","Operator Workstation","No",4,"Yes"]
[8,null,"Unit 2 Operator Station 4","UOS204","Unit 2 Control Room","N/A","Unit 2 Equipment Room","Operator Desk 2","POWER ISLAND 2","Operator Workstation","No",4,"Yes"]
[9,null,"Unit 3 Operator Station 1","UOS301","Unit 3 Control Room","N/A","Unit 3 Equipment Room","Operator Desk 1","POWER ISLAND 3","Operator Workstation","No",4,"Yes"]
[10,null,"Unit 3 Operator Station 2","UOS302","Unit 3 Control Room","N/A","Unit 3 Equipment Room","Operator Desk 1","POWER ISLAND 3","Operator Workstation","No",4,"Yes"]
[11,null,"Unit 3 Operator Station 3","UOS303","Unit 3 Control Room","N/A","Unit 3 Equipment Room","Operator Desk 1","POWER ISLAND 3","Operator Workstation","No",4,"Yes"]
[12,null,"Unit 3 Operator Station 4","UOS304","Unit 3 Control Room","N/A","Unit 3 Equipment Room","Operator Desk 2","POWER ISLAND 3","Operator Workstation","No",4,"Yes"]
[13,null,"Unit 4 Operator Station 1","UOS401","Unit 4 Control Room","N/A","Unit 4 Equipment Room","Operator Desk 1","POWER ISLAND 4","Operator Workstation","No",4,"Yes"]
[14,null,"Unit 4 Operator Station 2","UOS402","Unit 4 Control Room","N/A","Unit 4 Equipment Room","Operator Desk 1","POWER ISLAND 4","Operator Workstation","No",4,"Yes"]
[15,null,"Unit 4 Operator Station 3","UOS403","Unit 4 Control Room","N/A","Unit 4 Equipment Room","Operator Desk 1","POWER ISLAND 4","Operator Workstation","No",4,"Yes"]
[16,null,"Unit 4 Operator Station 4","UOS404","Unit 4 Control Room","N/A","Unit 4 Equipment Room","Operator Desk 2","POWER ISLAND 4","Operator Workstation","No",4,"Yes"]
[17,null,"Unit 5 Operator Station 1","UOS501","Unit 5 Control Room","N/A","Unit 5 Equipment Room","Operator Desk 1","POWER ISLAND 5","Operator Workstation","No",4,"Yes"]
[18,null,"Unit 5 Operator Station 2","UOS502","Unit 5 Control Room","N/A","Unit 5 Equipment Room","Operator Desk 1","POWER ISLAND 5","Operator Workstation","No",4,"Yes"]
[19,null,"Unit 5 Operator Station 3","UOS503","Unit 5 Control Room","N/A","Unit 5 Equipment Room","Operator Desk 1","POWER ISLAND 5","Operator Workstation","No",4,"Yes"]
[20,null,"Unit 5 Operator Station 4","UOS504","Unit 5 Control Room","N/A","Unit 5 Equipment Room","Operator Desk 2","POWER ISLAND 5","Operator Workstation","No",4,"Yes"]
[21,null,"Unit 6 Operator Station 1","UOS601","Unit 6 Control Room","N/A","Unit 6 Equipment Room","Operator Desk 1","POWER ISLAND 6","Operator Workstation","No",4,"Yes"]
[22,null,"Unit 6 Operator Station 2","UOS602","Unit 6 Control Room","N/A","Unit 6 Equipment Room","Operator Desk 1","POWER ISLAND 6","Operator Workstation","No",4,"Yes"]
[23,null,"Unit 6 Operator Station 3","UOS603","Unit 6 Control Room","N/A","Unit 6 Equipment Room","Operator Desk 1","POWER ISLAND 6","Operator Workstation","No",4,"Yes"]
[24,null,"Unit 6 Operator Station 4","UOS604","Unit 6 Control Room","N/A","Unit 6 Equipment Room","Operator Desk 2","POWER ISLAND 6","Operator Workstation","No",4,"Yes"]
[25,null,"Unit 1 Engineering Station 1","UES101","Unit 1 Control Room (Printer room)","N/A","Unit 1 Equipment Room","Engineering Desk","POWER ISLAND 1","Engineering Workstation","No",2,"Yes"]
[26,null,"Unit 1 Engineering Station 2","UES102","Unit 1 Equipment Room (Computer Room)","N/A","Unit 1 Equipment Room (Computer Room)","Engineering Desk","POWER ISLAND 1","Engineering Workstation","Yes",2,"No"]
[27,null,"Unit 1 Maintenance Station 1","UES103","Unit 1 Equipment Room (Computer Room)","N/A","Unit 1 Equipment Room (Computer Room)","Engineering Desk","POWER ISLAND 1","Engineering Workstation","Yes",2,"No"]
[28,null,"Unit 2 Engineering Station 1","UES201","Unit 2 Control Room","N/A","Unit 2 Equipment Room","Operator Desk","POWER ISLAND 2","Engineering Workstation","No",2,"Yes"]
[29,null,"Unit 2 Engineering Station 2","UES202","Unit 2 Equipment Room (Computer Room)","N/A","Unit 2 Equipment Room (Computer Room)","Engineering Desk","POWER ISLAND 2","Engineering Workstation","Yes",2,"No"]
[30,null,"Unit 2 Maintenance Station 1","UES203","Unit 2 Equipment Room (Computer Room)","N/A","Unit 2 Equipment Room (Computer Room)","Engineering Desk","POWER ISLAND 2","Engineering Workstation","Yes",2,"No"]
[31,null,"Unit 3 Engineering Station 1","UES301","Unit 3 Control Room","N/A","Unit 3 Equipment Room","Operator Desk","POWER ISLAND 3","Engineering Workstation","No",2,"Yes"]
[32,null,"Unit 3 Engineering Station 2","UES302","Unit 3 Equipment Room (Computer Room)","N/A","Unit 3 Equipment Room (Computer Room)","Engineering Desk","POWER ISLAND 3","Engineering Workstation","Yes",2,"No"]
[33,null,"Unit 3 Maintenance Station 1","UES303","Unit 3 Equipment Room (Computer Room)","N/A","Unit 3 Equipment Room (Computer Room)","Engineering Desk","POWER ISLAND 3","Engineering Workstation","Yes",2,"No"]
[34,null,"Unit 4 Engineering Station 1","UES401","Unit 4 Control Room","N/A","Unit 4 Equipment Room","Operator Desk","POWER ISLAND 4","Engineering Workstation","No",2,"Yes"]
[35,null,"Unit 4 Engineering Station 2","UES402","Unit 4 Equipment Room (Computer Room)","N/A","Unit 4 Equipment Room (Computer Room)","Engineering Desk","POWER ISLAND 4","Engineering Workstation","Yes",2,"No"]
[36,null,"Unit 4 Maintenance Station 1","UES403","Unit 4 Equipment Room (Computer Room)","N/A","Unit 4 Equipment Room (Computer Room)","Engineering Desk","POWER ISLAND 4","Engineering Workstation","Yes",2,"No"]
[37,null,"Unit 5 Engineering Station 1","UES501","Unit 5 Control Room","N/A","Unit 5 Equipment Room","Operator Desk","POWER ISLAND 5","Engineering Workstation","No",2,"Yes"]
[38,null,"Unit 5 Engineering Station 2","UES502","Unit 5 Equipment Room (Computer Room)","N/A","Unit 5 Equipment Room (Computer Room)","Engineering Desk","POWER ISLAND 5","Engineering Workstation","Yes",2,"No"]
[39,null,"Unit 5 Maintenance Station 1","UES503","Unit 5 Equipment Room (Computer Room)","N/A","Unit 5 Equipment Room (Computer Room)","Engineering Desk","POWER ISLAND 5","Engineering Workstation","Yes",2,"No"]
[40,null,"Unit 6 Engineering Station 1","UES601","Unit 6 Control Room","N/A","Unit 6 Equipment Room","Operator Desk","POWER ISLAND 6","Engineering Workstation","No",2,"Yes"]
[41,null,"Unit 6 Engineering Station 2","UES602","Unit 6 Equipment Room (Computer Room)","N/A","Unit 6 Equipment Room (Computer Room)","Engineering Desk","POWER ISLAND 6","Engineering Workstation","Yes",2,"No"]
[42,null,"Unit 6 Maintenance Station 1","UES603","Unit 6 Equipment Room (Computer Room)","N/A","Unit 6 Equipment Room (Computer Room)","Engineering Desk","POWER ISLAND 6","Engineering Workstation","Yes",2,"No"]
[42,null,"Portable Maintenance/Commisioning Station 1","UES001","N/A","N/A","N/A","Engineering Desk","N/A","Engineering Workstation","Yes",2,"No"]
[43,null,"Common Engineering Station 1","TCEC001","Unit x Equipment Computer Room (First unit refurbished)","N/A","Unit x Equipment Computer Room (First unit refurbished)","Engineering Desk","COMMON","Engineering Workstation","Yes",2,"Yes"]
[44,null,"Common Engineering Station 2","TCEC002","Unit x + 1 Equipment Computer Room (Second unit refurbished)","N/A","Unit x + 1 Equipment Computer Room (Second unit refurbished)","Engineering Desk","COMMON","Engineering Workstation","Yes",2,"Yes"]
[1,null,"Simulator Operator Station 1","USOS01","Temporary Simulator training room","Simulator Traning room","Temporary Simulator training room","Operator Desk","SIMULATOR","Operator Workstation","No",4,"Yes"]
[2,null,"Simulator Operator Station 2","USOS02","Temporary Simulator training room","Simulator Traning room","Temporary Simulator training room","Operator Desk","SIMULATOR","Operator Workstation","No",4,"Yes"]
[3,null,"Simulator Operator Station 3","USOS03","Temporary Simulator training room","Simulator Traning room","Temporary Simulator training room","Operator Desk","SIMULATOR","Operator Workstation","No",4,"Yes"]
[4,null,"Simulator Operator Station 4","USOS04","Temporary Simulator training room","Simulator Traning room","Temporary Simulator training room","Operator Desk","SIMULATOR","Operator Workstation","No",4,"Yes"]
[4,null,"Instructor Operator Station 1","UIOS01","Temporary Simulator training room","Simulator Traning room","Temporary Simulator training room","Instructor Desk","SIMULATOR","Engineering Workstation","Yes",4,"Yes"]
[4,null,"Instructor Operator Station 2","UIOS02","Temporary Simulator training room","Simulator Traning room","Temporary Simulator training room","Instructor Desk","SIMULATOR","Engineering Workstation","Yes",4,"Yes"]
[4,null,"Instructor Operator Station 3","UIOS03","Temporary Simulator training room","Simulator Traning room","Temporary Simulator training room","Instructor Desk","SIMULATOR","Engineering Workstation","Yes",2,"Yes"]
[4,null,"Simulator Engineering Station 1","UES001","Temporary Simulator training room","Simulator Traning room","Temporary Simulator training room","Instructor Desk","SIMULATOR","Engineering Workstation","Yes",2,"Yes"]
[4,null,"Engineering Simulator","UES002","Temporary Simulator training room","Simulator Traning room","Temporary Simulator training room","Instructor Desk","SIMULATOR","Engineering Workstation","Yes",2,"Yes"]