MINIMUM SPECIFICATIONS FOR THE SUPPLY OF STOMACHER CIRCULAR PADDLE BLENDER AT BACTERIOLOGY

- Suitable for volume sample sizes from 80ml – 400ml

- Efficiently blend solid (Feed and food) or liquid samples

- Programmable process time and paddle speeds for consistent results

- Easy to use and simple to set up

- Digital control panel

- Easy to clean

- Must be functional under backup power

- Lead time of at least 4-8 weeks

- Delivery location will be to the Feed and Food Bacteriology Laboratory.

- Stomacher will be used for feed and food processing

- Brochure must be sent together with the quotation

Preferred brand is the Seward Stomacher ® 400 Circulator or equivalent

Please complete the checklist below by indicating with a yes/no

| Specification Requirements | Yes/No |
| --- | --- |
| Is the equipment new? |  |
| Is the equipment able to blend food and feed or liquid sample? |  |
| Is the equipment programmable? |  |
| Is the equipment able to function under backup power? |  |