{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["SettingsRequestForm Rev1"],"not_rendered":{"external_links":1,"defined_names":3},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"SettingsRequestForm Rev1","index":0,"n_rows":15,"n_cols":13,"rows_kept":15,"merged":[[9,0,11,0],[9,1,11,1],[9,2,11,2],[9,3,11,3],[9,4,11,4],[9,6,10,6],[9,7,11,7],[9,8,11,8],[9,9,11,9],[9,10,11,10],[9,11,11,11],[9,12,11,12],[12,0,14,0],[12,1,14,1],[12,2,14,2],[12,3,14,3],[12,4,14,4],[12,6,13,6],[12,7,14,7],[12,8,14,8],[12,9,14,9],[12,10,14,10],[12,11,14,11],[12,12,14,12]],"flags":["formulas_cached_only"]}
["Protection Setting Request for ",null,"Makhatini","S/S"]
[]
["Project ID:","ET-STM-1712-4443-01"]
["Project No:","CDE05366.D"]
["Date:","2022-09-28"]
["Rev:","0"]
[]
[]
["Plant","Comments","Scheme","Breaker","Voltage (kV)","Element","Relay","CT Ratio(s)",null,"Cable Length (km)","O/H Length (km)","Bundle Length (km)","Phase Cond."]
["Capacitor Bank-1","Capacitor Bank Protection","5CBXX00","ABB (Single Pole Breakers)",22,"Includes but not limited to:\n· Unbalance protection\n· Cascading failure protection\n· Voltage differential protection\n· IDMTL and Instantaneous and Phase overcurrent and Earth Fault Protection\n· Overload protection including effects due to harmonics\n· Undercurrent protection\n· System Over Voltage protection\n· System Under Voltage protection","1) Main Protection C70 Relay                                                   ",null,null,"-","-","-","-"]
[{"$nulls":5},"· Automatic Voltage Control (AVC) "]
[{"$nulls":5},"· Point-on-Wave Switching","ABB F236 Relay"]
["Capacitor Bank-2","Capacitor Bank Protection","5CBXX00","ABB (Single Pole Breakers)",22,"Includes but not limited to:\n· Unbalance protection\n· Cascading failure protection\n· Voltage differential protection\n· IDMTL and Instantaneous and Phase overcurrent and Earth Fault Protection\n· Overload protection including effects due to harmonics\n· Undercurrent protection\n· System Over Voltage protection\n· System Under Voltage protection","1) Main Protection C70 Relay                                                   ",null,null,"-","-","-","-"]
[{"$nulls":5},"· Automatic Voltage Control (AVC) "]
[{"$nulls":5},"· Point-on-Wave Switching","ABB F236 Relay"]