ARC Infruitec-Nietvoorbij

Private Bag X5026, Stellenbosch, 7599, South Africa

Tel: (021) 809 3172

Fax: (021) 809 3400/3592

OFFICE OF SUPPLY CHAIN MANAGEMENT

- DESCRIPTION OF SERVICE: SUPPLY & DELIVER – MICROSCOPE SLIDE AND GLASS COVER SLIDES

Scope of Work, Conditions for Supply & Deliver at Infruitec campus, Helshoogte road, Stellenbosch for attention of Prof F. Halleen

| - MICROSCOPE SLIDE AND GLASS COVER SLIDES |  | Quantity | If No, Please Indicate Deviation |
| --- | --- | --- | --- |
| 1. Specific Description | Compliance to Specification (Yes/No) *Describe If Specification Differs |  |  |
| - Microscope slides, 25 or 26 mm X 75 or 76 mm, 1.0 mm to 1.2 mm thick, frosted end, 50 slides/box |  | 250 boxes |  |
| - Glass Cover Slides, 22 mm X 22 mm, 0.13 mm to 0.17 mm thick, 100 pieces/pack 25 0000 cover slides in total |  | 250 boxes |  |
| 2. General |  |  |  |
| 2.1 Prices to include delivery cost |  |  |  |

Contact: Prof F Halleen – Email address- HalleenF@arc.agric.za or 021 8093040 for any enquiries.