[image: image1.png]OJBP

ONDERSTEPOORT

BIOLOGICAL PRODUCTS



BLUE RA4 paP—0-]Q
Enquiries:







ONDERSTEPOORT BIOLOGICAL PRODUCTS LTDPRIVATE BAG X7, ONDERSTEPOORT 0110


Ms. Mr, Dr.………………….............................. .
Kindly provide the quotation for the following:  OBP  318/2023/24
Compulsory Site briefing:

Date: 7th September 2023
Time: 11h00
Place OBP (EMU Department)
Address: 100 old Soutpan road

Onderstepoort
Pretoria
	Compulsory Document Requirements
	Yes/No

	CSD Report (With a Tax Compliant status that is current)
	

	Declarations SBD4 (Completed, signed & submitted)
	

	References of previous or similar work done (minimum 2)
	

	Certified Electrician (Provide valid certificate)
	

	On completion you must be qualified to issue an Electrical Certificate of Compliance. (Submit qualification documents)
	

	Register with CIDB: must submit proof of CIDB account is active.
	

	CIDB Grading 

· It is estimated that tenderers must have a CIDB contractor grading designation of EB02 or EB02 not higher EB04 or EB04.
CRS Number 

Status 

Grading 

Expiry Date 

-----------------------

   -----------------------
------------------------

------------------------


	

	
	


NB: Please note that if any of the above requirements is not submitted with the quote it will be an immediate disqualification.

	Quantity
	Product/Item Code
	Specification

	To appoint a Service Provider to supply and install lights in and around the plant as per list below.


	1. 30
	2. 01
	Supply and install lights in block I

SPECIFICATION

LED 4Ft Double open channel with tubes

T8 ,18W, cool white, 4000k

3. 

	4. 24        
	5. 02
	Supply and install lights in block R (PLANT)

SPECIFICATION

LED 5Ft Double open channel with tubes

T8 ,18W, cool white, 4000k

6. 

	7. 31
	8. 03
	Supply and install lights in block R (labs)

specification

LED 4 Ft Double open channel with tubes

T8 ,18W, cool white, 4000k
9. 

	10. 30
	11. 04
	Supply and install lights in block M.
specification

LED 4 Ft Double open channel with tubes

T8 ,18W, cool white, 4000k
12. 

	13. 45
	14. 05
	Supply and install lights in block O

specification

LED 4 Ft Double open channel with tubes

T8 ,18W, cool white, 4000k
15. 

	16. 54
	17. 06
	Supply and install lights in block L

specification

LED 4 Ft Double open channel with tubes

T8 ,18W, cool white, 4000k
18. 

	19. 30
	20. 07
	Supply and install lights in block K

specification

LED 4 Ft Double open channel with tubes

T8 ,18W, cool white, 4000k
21. 

	22. 44
	23. 08
	Supply and install lights in block J

specification

LED 4 Ft Double open channel with tubes

T8 ,18W, cool white, 4000k
24. 

	25. 18
	26. 09
	Supply and install lights in generators and substation rooms.
specification

LED 4 Ft Double open channel with tubes

T8 ,18W, cool white, 4000k
27. 

	28. 51
	29. 10
	Supply and install lights in QC.
specification

LED 4 Ft Double open channel with tubes

T8 ,18W, cool white, 4000k
30. 

	31. 193
	32. 11
	Supply and install lights in EA small animal.
specification

LED 5Ft Double open channel with tubes

T8 ,18W, cool white, 4000k
PVC plug top 5A 3pin white and 3M cab tire 1,5MMX 3 core for each light
33. 

	34. 61
	35. 12
	Supply and install lights in EA large animal.

specification

LED 4 Ft Double open channel with tubes

T8 ,18W, cool white, 4000k
36. 

	37. 43
	38. 13
	Supply and install lights in block A&B

specification

LED 4 Ft Double open channel with tubes

T8 ,18W, cool white, 4000k
39. 

	40. 11
	41. 14
	Supply and install lights in distribution.

specification

LED 4 Ft Double open channel with tubes

T8 ,18W, cool white, 4000k
42. 

	43. 70
	44. 15
	Supply and install lights in STORES.

specification

LED 4 Ft Double open channel with tubes

T8 ,18W, cool white, 4000k
45. 

	46. 10
	47. 16
	Supply and install lights in reception, canteen, and CEO offices.

specification

60X60cm LED ceiling flat panel, Wattage 45W, Colour 4000K (cool white)
48. 

	49. 10
	50. 17
	Supply and install lights in reception, canteen, and CEO offices.

specification

120 X 30cm LED ceiling flat panel, 45W 60W colour 4000K
51. 

	52. 200
	53. 18
	Supply and install lights in reception, canteen, and CEO offices.

specification

Led ceiling down light, 86mm diameter 6W 10W COLOUR 4000K(cool white)
54. 

	55. 69
	56. 19
	Supply and install light in EMU.

SPECIFICATION

LED 4 Ft Double open channel with tubes

T8 ,18W, cool white, 4000k

57. 

	58. 90
	59. 20
	Supply and install light in cold rooms.

SPECIFICATION

LED 4ft vapour proof double open channel with tubes T8 18W cool white 4000K IP65

60. 

	61. 03
	62. 21
	Supply and install lights in coal banker.

specification

 PEN925/200W Aluminium and Tempered Glass UFO High-Bay, IP65

63. 

	64. 74
	65. 22
	Supply and install security lights.

specification

LED Flood Light 150W 6500K black frame IP65 & day night (photocell)switch for each light
66. 

	67. 42
	68. 23
	Supply and install lights in block Q, P&S

specification
LED 4 Ft Double open channel with tubes

T8 ,18W, cool white, 4000k
69. 

	70. 53
	71. 24
	Supply and install lights in packaging.

specification
LED 4 Ft Double open channel with tubes

T8 ,18W, cool white, 4000k
72. 

	73. 35
	74. 25
	supply and install lights in filling and capping machine.

specification
LED 4 Ft tubes T8 ,18W, cool white, 4000k and rewire 3 slots Led Recessed Parabolic Light Fitting
75. 

	76. 02
	77. 
	supply and install lights in filling and capping machine.

specification
LED 2Ft tubes T8 ,18W, cool white, 4000k and rewire 3 slots Led Recessed Parabolic Light Fitting
78. 

	79. 01
	80. 26
	81. CHERRY PICKER – Required for installation of lights

	Supplier Technical Requirements: 

Must have experience, competence, and expertise in electrical installation and rewiring requirements (provide a minimum of 2 references for similar work successfully completed within the last six months)

Safety Requirements:

Supplier must submit a hardcopy safety file for review by OBP before they render their service. 

Supplier must provide necessary PPE (e.g., Gloves, Safety Shoes, Overalls etc.)



	Requirements from the supplier (To be used to select the contractor)  
· Attendance of site briefing on 7th September @ 11h00
· Correct quotation and competency to deliver.

· Ability to conduct rewiring where necessary.
· Project plan and timelines must be submitted. 

· Lead time not more than 5 days after issuing of an order.

· Capital to deliver on the scope.
· References of previous or similar work done (minimum 2)
· 12 months guarantee on equipment and workmanship



SBD 4
BIDDER’S DISCLOSURE

1. PURPOSE OF THE FORM

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process. 

2. Bidder’s declaration

2.1 
Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest
 in the enterprise, 


employed by the state?





YES/NO


2.1.1
If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.
	Full Name
	Identity Number
	Name of State institution

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


2.2
Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution? YES/NO


                                          

2.2.1     If so, furnish particulars:

………………………………………………………………………………

………………………………………………………………………………

2.3 
Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?



YES/NO
2.3.1 If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

3 DECLARATION

I, the undersigned, (name)……………………………………………………………………. in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

3.1 
I have read, and I understand the contents of this disclosure.
3.2
I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect.

3.3 
The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement, or arrangement with any competitor. However, communication between partners in a joint venture or consortium
 will not be construed as collusive bidding.

3.4 
In addition, there have been no consultations, communications, agreements, or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.
3.4
The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

3.5 
There have been no consultations, communications, agreements, or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

3.6 I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT. 

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.  

………………………………
 ..…………………………………………… 



Signature
                          Date

………………………………
………………………………………………
---------------------------------                           ---------------------------------------

Position 
Name of bidder

Terms and Conditions:
-Submission should be no later than           (14 September 2023, 15H00)  
-Please indicate your offer validity and lead time:


-All prices must be VAT exclusive, (Vat vendor please indicate as such) if no indication, prices will be evaluated as exclusive
-Quotation must be on a company letter head and strictly on a PDF format    
-Quotations sent on Word or Excel format will not be accepted  
-Quotations must be emailed back to: purchasing@obpvaccines.co.za   
 If no reply after 14 days of closing date your RFQ was unsuccessfully  

-Orders above 30K will be BEE evaluated

-Please indicate if you are unable to quote and state the reason why

-Please note that fluctuations in the exchange rate (where applicable) will not be for the account of OBP.

-Payment terms:  30 days after statement
Bidders must be registered on CSD (Central Supplier Data base National Treasury) and be tax complaint 

I agree that the offer herein shall remain binding upon me and open for acceptance by OBP during the validity period indicated.
Signature                                                                                                     Date




REQUEST FOR QUOTATION FOR GOODS AND SERVICES





� 


























From:  


Date: 31 August 2023


Tel:   012 522 1500


Fax:


Email: purchasing @obpvaccines.co.za





To:   


Supplier:


Tel:  


Fax:


Email: 








� the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.








� Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.





PAGE  
DOC NO.: PM-ME-002-F001 (EDITION 05) Page 3 of 1

