| Specifications | Yes (Please explain where necessary) | No |
| --- | --- | --- |
| Do you have a Microbial Fermentation bioreactor |  |  |
| 2-3 L glass benchtop fermentation bioreactor |  |  |
| With heating jacket |  |  |
| Temperature detection |  |  |
| Temperature control |  |  |
| pH detection |  |  |
| With a sparger |  |  |
| Convenient for anaerobic fermentations |  |  |
| Agitator kit |  |  |
| Agitation speed (100-1500 rpm) |  |  |
| Autoclavable |  |  |
| Optional: CO2 detection |  |  |
| 20-30 days delivery |  |  |
| Delivery |  |  |
| One day training for 4 ARC staff members |  |  |
| Local qualified technician for repairs |  |  |
| 3 year warranty |  |  |