TSC – SPECIFICATION

| No. | Item Description | Specifications | Farm | Delivery Address |
| --- | --- | --- | --- | --- |
| 3 | 3 x 150 litres geysers | - Capacity: 150 litres - Height (cm) 133.5 - Depth (cm) 53.8 - Gross weight (kg) 39 - KWIKOT Class B Energy Rating - DSG-150-5 model, - 400 kpa, - Super line dual geyser - Includes installations | Nelspruit | ARC – Nelspruit farm |