#### Number of meters required: 3.

| #### location | #### F1 Central Hub` (EMSS16) |
| --- | --- |
| #### HT | #### Alstom K3 AF |
| #### Transformer Type | #### Alstom |
| #### Transformer KVA | #### 630 KVA |
| #### Transformer Impedance | #### 4.57 % |
| #### Transformer Serial no | #### Not visible |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### CBI Fuchs – K25D – 400 Amp |
| #### Sub Circuit Breaker 1 | #### CBI Fuchs - K25D – 400 Amp |
| #### Sub Circuit Breaker 2 | #### CBI Fuchs - K25D - 400 Amp |

#### Number of meters required: 1.

| #### Location | #### F3 Retail Centre (EMSS15) |
| --- | --- |
| #### HT | #### Alstom K3 AF |
| #### Transformer Type | #### Alstom |
| #### Transformer KVA | #### 630 KVA |
| #### Transformer Impedance | #### 4.57 % |
| #### Transformer Serial no | #### 91011\01\001 |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### CBI- N 50 DEM |

#### Number of meters required: 1.

| #### Location | #### Factory F4 (Adient) (EMSS13) |
| --- | --- |
| #### HT | #### GEC – T3 OF |
| #### Transformer Type | #### Megatron Federal |
| #### Transformer KVA | #### 630 KVA |
| #### Transformer Impedance | #### 4.43 % |
| #### Transformer Serial no | #### 51324 |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### BTICINO MA 1250 |
| #### Sub Circuit Breaker - 1 | #### CHINTNM 225S \ 3300 – 250A |
| #### Sub Circuit Breaker - 2 | #### CHINTNM 225S \ 3300 – 250A |
| #### Sub Circuit Breaker - 3 | #### CHINTNM 225S \ 3300 – 250A |
| #### Sub Circuit Breaker - 4 | #### CHINTNM 225S \ 3300 – 250A |

#### Number of meters required: 1.

| #### Location | #### Factory F5 (Adient) (EMSS14) |
| --- | --- |
| #### HT | #### GEC – T3 - OF |
| #### Transformer Type | #### Crause and Malcolm |
| #### Transformer KVA | #### 630 KVA |
| #### Transformer Impedance | #### 4..94 % |
| #### Transformer Serial no | #### 50074 |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### CBI 1000 A - M 50 DCM |

#### Number of meters required: 4.

|  | #### Factory C 1a- (D&B-Tappo) (EMSS09)5 |
| --- | --- |
| #### HT | #### Hawker Siddeley |
| #### Transformer Type | #### Hawker Siddeley |
| #### Transformer KVA | #### 500 KVA |
| #### Transformer Impedance | #### 4.27 % |
| #### Transformer Serial no | #### M 6177\1 |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### Chint 1000 Amp |
| #### Sub Circuit Breaker - 1 | #### CBI 250 |
| #### Sub Circuit Breaker - 2 | #### HI – MAG 125 |
| #### Sub Circuit Breaker - 3 | #### HI – MAG 125 |
| #### Sub Circuit Breaker - 4 | #### HI – MAG 125 |
| #### Sub Circuit Breaker - 5 | #### ABB SACE 5S |

#### Number of meters required: 3.

| #### Location | #### Factory C 1b- (Yanfeng) Minisub (EMSS08) |
| --- | --- |
| #### HT | #### Alstom K3 AF |
| #### Transformer Type | #### Alstom |
| #### Transformer KVA | #### 800 KVA |
| #### Transformer Impedance | #### 5.33 % |
| #### Transformer Serial no | #### 90741\01\001 |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### HY-MAG M25B 830 Amp |
| #### Sub Circuit Breaker - 1 | #### Merlin Gerlin NS 250 N |
| #### Sub Circuit Breaker - 2 | #### Merlin Gerlin NS 250 N |
| #### Sub Circuit Breaker - 3 | #### CBI L25 DEM 400-800 Amp |

#### Number of meters required: 2.

| #### Location | #### Factory C2b- (EMSS11) |
| --- | --- |
| #### HT | #### Alstom K3 AF |
| #### Transformer Type | #### Alstom |
| #### Transformer KVA | #### 630 KVA |
| #### Transformer Impedance | #### 4.79 % |
| #### Transformer Serial no | #### 95721\01\001 |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### Merlin Gerlin – 250 Amp |
| #### Sub Circuit Breaker - 1 | #### Merlin Gerlin – 250 Amp |
| #### Sub Circuit Breaker - 2 | #### Merlin Gerlin – 200 Amp |
| #### Sub Circuit Breaker - 3 | #### Merlin Gerlin – 200 Amp |
| #### Sub Circuit Breaker - 4 | #### Merlin Gerlin – 160 Amp |
| #### Sub Circuit Breaker - 5 | #### Merlin Gerlin – 160 Amp |
| #### Sub Circuit Breaker - 6 | #### Merlin Gerlin – 80 Amp |

#### Number of meters required: 2.

| #### Location | #### Factory C2a- (EMSS10) |
| --- | --- |
| #### HT | #### Alstom K3 AF |
| #### Transformer Type | #### Alstom |
| #### Transformer KVA | #### 630 KVA |
| #### Transformer Impedance | #### 4.56 % |
| #### Transformer Serial no | #### 93921\01\001 |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### Merlin Gerlin NS 1000 N |
| #### Sub Circuit Breaker - 1 | #### Merlin Gerlin NS 250 N |
| #### Sub Circuit Breaker - 2 | #### Merlin Gerlin NS 250 N |
| #### Sub Circuit Breaker - 3 | #### CBI L 25 DEM 400 – 800 Amp |

#### Number of meters required: 1.

| #### Location | #### Factory C3- (DSV) (EMSS12) |
| --- | --- |
| #### HT | #### Alstom K3 AF |
| #### Transformer Type | #### Alstom |
| #### Transformer KVA | #### 630 KVA |
| #### Transformer Impedance | #### 4.59 % |
| #### Transformer Serial no | #### 91081\01\001 |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### Merlin Gerlin NS – 1000 N |
| #### Sub Circuit Breaker - 1 | #### CBI FUCHS – K25D – 400 AMP |
| #### Sub Circuit Breaker - 2 | #### CBI FUCHS – K25D – 225 AMP |
| #### Sub Circuit Breaker - 3 | #### CBI FUCHS – K25D – 200 AMP |
| #### Sub Circuit Breaker - 4 | #### CBI FUCHS – K25D – 200 AMP |

#### Number of meters required: 2.

| #### Location | #### Factory A5 – (EMSS03) |
| --- | --- |
| #### HT | #### K3AF (04\6770) |
| #### Transformer Type | #### Alstom |
| #### Transformer KVA | #### 1000 KVA |
| #### Transformer Impedance | #### 5.44 % |
| #### Transformer Serial no | #### 93921\02\001 |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### Merlin Gerlin 1600 Amp |
| #### Sub Circuit Breaker - 1 | #### Merlin Gerlin 1600 Amp |

#### Number of meters required: 2.

| #### Location | #### Factory A7- (EMSS05) |
| --- | --- |
| #### HT | #### Alstom K3 AF |
| #### Transformer Type | #### Reliable Transformers |
| #### Transformer KVA | #### 630 KVA |
| #### Transformer Impedance | #### 5 % |
| #### Transformer Serial no | #### 788913 |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### Federal F92E 1250 Amp |
| #### Sub Circuit Breaker - 1 | #### CBI Fuchs – K25D – 250 Amp |
| #### Sub Circuit Breaker - 2 | #### CBI Fuchs – K25D – 250 Amp |
| #### Sub Circuit Breaker - 3 | #### CBI Fuchs – K25D – 250 Amp |
| #### Sub Circuit Breaker - 4 | #### CBI Fuchs – K25D – 250 Amp |

#### Number of meters required: 6.

| #### Location | #### Factory A8- (EMSS06) |
| --- | --- |
| #### HT | #### Alstom K3 AF |
| #### Transformer Type | #### Reliable Transformers |
| #### Transformer KVA | #### 630 KVA |
| #### Transformer Impedance | #### 5 % |
| #### Transformer Serial no | #### 783911 |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### Federal F92E 1250 Amp |
| #### Sub Circuit Breaker - 1 | #### CBI Fuchs – K25D – 250 Amp |
| #### Sub Circuit Breaker - 2 | #### CBI Fuchs – K25D – 150 Amp |
| #### Sub Circuit Breaker - 3 | #### CBI Fuchs – K25D – 150 Amp |
| #### Sub Circuit Breaker - 4 | #### CBI Fuchs – K25D – 150 Amp |
| #### Sub Circuit Breaker - 5 | #### CBI Fuchs – K25D – 150 Amp |

#### Number of meters required: 2.

| #### Location | #### Factory A9- (Feltex) |
| --- | --- |
| #### Transformer Type | #### DPM (Desta Power Matla) + 2 |
| #### Transformer KVA | #### 1000 KVA + 2 |
| #### Transformer Impedance | #### 5 % |
| #### Transformer Serial no | #### - T3256 \ 1 (2) - T3256 \ 2 |
| #### Transformer Volts | #### 11000 \ 400 V |

#### Number of meters required: 1.

| #### Location | #### Factory A10 |
| --- | --- |
| #### HT | #### ABB Type - C |
| #### Transformer Type | #### ACTOM |
| #### Transformer KVA | #### 1 – MVA |
| #### Transformer Impedance | #### 5.33 |
| #### Transformer Serial no | #### 13911\01\001 |
| #### Transformer Volts | #### 11000 v \ 400 v |
| #### Main Circuit Breaker | #### ABB (Sage T max) 1600 amp \ 400 v |

#### Number of meters required: 1.

| #### Location | #### Motherson - T4 (EMSS07) |
| --- | --- |
| #### HT | #### Knight Works OCB |
| #### Transformer Type | #### Not Visible |
| #### Transformer KVA | #### Not Visible |
| #### Transformer Impedance | #### Not Visible |
| #### Transformer Serial no | #### Not Visible |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### Korlen KNM 3 -1600 Amp |
| #### Sub Circuit Breaker - 1 | #### CBI - 100 Amp |
| #### Sub Circuit Breaker - 2 |  |
| #### Sub Circuit Breaker - 3 |  |
| #### Sub Circuit Breaker - 4 |  |

#### Number of meters required: 1.

| #### Location | #### Main Gate -Helium rd. – E3 (EMSS18) |
| --- | --- |
| #### HT | #### Knights Work OCB |
| #### Transformer Type | #### ASEA Electric SA |
| #### Transformer KVA | #### 200 KVA |
| #### Transformer Impedance | #### 4.32 % |
| #### Transformer Serial no | #### 72739 |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### HY – MAG LY 603 - 350 Amp |
| #### Sub Circuit Breaker - 1 | #### HY – MAG L 207 - 300 Amp |

#### Number of meters required: 1.

| #### Location | #### Logistics Gate -Helium \ Fosfor rd. - A1 (EMSS1) |
| --- | --- |
| #### HT | #### Schneider Electric |
| #### Transformer Type | #### Revive |
| #### Transformer KVA | #### 315 KVA |
| #### Transformer Impedance | #### 3.92 % |
| #### Transformer Serial no | #### RET 84622 |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### Schneider NSX 630 N - 630 Amp |
| #### Sub Circuit Breaker - 1 | #### HY – MAG - LY 603 – 350 Amp |

#### Number of meters required: 1.

| #### Location | #### Logistics Boulevard – F2 (EMSS17) |
| --- | --- |
| #### HT | #### Tiger |
| #### Transformer Type | #### MEI Transformers |
| #### Transformer KVA | #### 200 KVA |
| #### Transformer Impedance | #### 4.20 % |
| #### Transformer Serial no | #### 20417001\01 |
| #### Transformer Volts | #### 11000 \ 400 V |
| #### Main Circuit Breaker | #### HY – MAG 350 Amp |
| #### Sub Circuit Breaker - 1 | #### HY – MAG 300Amp |

#### Number of meters required: 1.

| #### Location | #### Factory B1- Yanfeng – Outside |
| --- | --- |
| #### Feeder 1 - Supply | #### Rayrolle Switchgear |
| #### Feeder 2 + 3 - Ring | #### Rayrolle Switchgear |
| #### Protection x 3 | #### Rayrolle Type AMS ( O\L < E\F ) |
| #### Charging Panel | #### Static Power 400 v 2 amp \ 110 v \ 32 v |

#### Number of meters required: 6.

| #### H T | #### MAIN SUBSTASION | #### Protection3 |
| --- | --- | --- |
| #### Main Circuit Breaker | #### Actom ( SBV 4E\800\25\S1M ) | #### Vamp – 50 (o\c-F\F Protection) |
| #### Incomer X 4 |  | #### Vamp – 221 (Arc Protection) |
|  | #### UR - 12 KV | #### M HOR (Diff Protection) |
|  | #### FR - 50 Hz |  |
|  | #### IK - 26 KA |  |
|  | #### UD - 28 KV |  |
| #### Main Circuit Breaker | #### Actom ( SBV 4E\800\25\S1M ) | #### Vamp – 50 (O\L-F\F Protection) |
| #### Feeder X 9 |  |  |
|  | #### UR - 12 KV |  |
|  | #### FR - 50 Hz |  |
|  | #### IK - 26 KA |  |
|  | #### UD - 28 KV |  |
| #### Battery DC | #### Alcad Type L-39 P ( 85 Batt ) |  |
| #### Mimic Panel | #### 400 V AC \ 110 V DC |  |
|  | #### 8 Amp \ 10 Amp |  |
|  | #### 50 Hz \ Duty C |  |

#### Number of meters required: 2.

| #### H T | #### Motherson Substation | #### Protection2 |
| --- | --- | --- |
| #### Incomer – 1 | #### Actom | #### Vamp – 50 (o\c-F\F Protection) |
| #### ( PILC To T4 – A9 ) |  | #### Vamp – 221 (Arc Protection) |
| #### Incomer - 2 |  |  |
| #### ( XLP From MAIN Sub ) | #### Actom | #### Vamp – 50 (o\c-F\F Protection) |
| #### Feeder - 1 | #### Actom(1600 KVA \ TFR 1 ) | #### Vamp – 245 (O\C-E\F-S\B ) |
| #### ( TFR – 1 ) |  |  |
| #### Feeder - 2 | #### Actom(1600 KVA \ TFR 2 ) | #### Vamp – 245 (O\C-E\F-S\B ) |
| #### ( TFR – 2 ) |  |  |
| #### Transformer - 1 | #### Free state Transformers | #### 1600 KVA 11000 \ 400 V |
| #### Transformer 1 Impedance |  | #### 5.7 % |
| #### Serial No - 1 |  | #### TB 110324 |
| #### Transformer - 2 | #### Free state Transformers | #### 1600 KVA 11000 \ 400 V |
| #### Transformer 2 Impedance |  | #### 5.7 % |
| #### Serial No - 2 |  | #### TB 110323 |
| #### Battery DC | #### KPZ 18 Duty C ( 85 Bat ) |  |
| #### Mimic Panel | #### 400 V AC \ 110 V DC | #### 8 amp-10 amp |

#### Number of meters required: 2.

| #### H T | #### FAURECIA SUBSTASION | #### Protection |
| --- | --- | --- |
| #### Incomer – 1 | #### Actom ( SBV 4E\800\25\S1M ) | #### Vamp –50 (O\C+E\F Protection) |
| #### ( Helium \ Fosfor rd. Mini Sub) |  | #### Vamp – 221 (Arc Protection) |
| #### Incomer – 2 | #### Actom ( SBV 4E\800\25\S1M ) | #### Vamp –50 (O\C+E\F Protection) |
| #### ( F3 Mini Sub ) |  | #### Vamp – 221 (Arc Protection) |
| #### Feeder - 1 | #### Actom ( SBV 4E\800\25\S1M ) | #### Vamp – 245 (O\C+E\F+S\B ) |
| #### ( TRF – 1 ) | #### UR – 12 IK - 25 |  |
|  | #### FR – 50 UP - 28 |  |
| #### Feeder - 2 | #### Actom ( SBV 4E\800\25\S1M ) | #### Vamp – 245 (O\C+E\F+S\B ) |
| #### ( TRF - 2 ) | #### UR – 12 IK - 25 |  |
|  | #### FR – 50 UP - 28 |  |
| #### Transformer - 1 | #### Free state Transformers | #### 1600 – KVA 11000 \ 400 V |
| #### Transformer – 1 Impedance |  | #### 5.36 % |
| #### Current |  | #### 84 Amp 1804.2 Amp |
| #### Serial - no |  | #### A19084 |
| #### Transformer - 2 | #### Free state Transformers | #### 1600 – KVA 11000 \ 400 V |
| #### Transformer – 1 Impedance |  | #### 5.36 % |
| #### Current |  | #### 84 Amp 1804.2 Amp |
| #### Serial - no |  | #### A19017 |
| #### Battery DC | #### KPZ –18 Duty C ( 86 Bat ) |  |
| #### Mimic Panel | #### 400 V AC \ 110 V DC |  |
|  | #### 4 Amp \ 5 Amp |  |

#### Number of meters required: 3.

|  | #### Factory B1- Yanfeng seating-Inside |  |
| --- | --- | --- |
| #### H T |  | #### Protection |
| #### Incomer Feeder | #### Rayrolle Type AMS | #### DCC Protection IDMDL(O\C , E\F) |
| #### Feeder - 1 | #### Rayrolle Type AMS | #### DCC Protection IDMDL(O\C , E\F) |
| #### Feeder – 2 | #### Rayrolle Type AMS | #### DCC Protection IDMDL(O\C , E\F) |
|  | #### TYPE |  |
| #### Transformer - 1 | #### Desta Power Matla |  |
| #### Transformer – 1 Impedance | #### 5.4% |  |
| #### KVA | #### 800 KVA |  |
| #### Serial - no | #### T-3047\2 |  |
| #### Transformer - 2 | #### Desta Power Matla |  |
| #### Transformer – 2 Impedance | #### 5.4% |  |
| #### KVA | #### 800 KVA |  |
| #### Serial - no | #### T-3047\1 |  |
| #### Battery DC | #### 32 Volt \ 3 Amp | #### Static Power |
| #### AC | #### 400 Volt \ 110 Volt 3 Amp |  |

#### Number of meters required: 1.

| #### Location | #### Factory A11 |
| --- | --- |
| #### HT | #### ABB Type - C |
| #### Transformer Type | #### ACTOM |
| #### Transformer KVA | #### 1 – MVA |
| #### Transformer Impedance | #### 5.33 |
| #### Transformer Serial no | #### 13911\01\001 |
| #### Transformer Volts | #### 11000 v \ 400 v |
| #### Main Circuit Breaker | #### ABB (Sage T max) 1600 amp \ 400 v |

#### SUMMARY

| #### NO | #### NAME OF BUILDING | #### NUMBER OF METERS REQUIRED |
| --- | --- | --- |
| #### 1 | #### F1 Central Hub` (EMSS16) | #### 3 |
| #### 2 | #### F3 Retail Centre (EMSS15) | #### 1 |
| #### 3 | #### Factory F4 (Adient) (EMSS13) | #### 1 |
| #### 4 | #### Factory F5 (Adient) (EMSS14) | #### 1 |
| #### 5 | #### Factory C 1a- (D&B-Tappo) (EMSS09) | #### 4 |
| #### 6 | #### Factory C 1b- (Yanfeng) Minisub (EMSS08) | #### 2 |
| #### 7 | #### Factory C2a-(Quantum) (EMSS10) | #### 2 |
| #### 8 | #### Factory C2b- (Quantum) (EMSS11) | #### 2 |
| #### 9 | #### Factory C3- (DSV) (EMSS12) | #### 1 |
| #### 10 | #### Factory A5 – (AIDC Training) (EMSS03) | #### 2 |
| #### 11 | #### Factory A7- (Ramsey) (EMSS05) | #### 2 |
| #### 12 | #### Factory A8- (Ramsey) (EMSS06) | #### 6 |
| #### 13 | #### Factory A9- (Feltex) | #### 2 |
| #### 14 | #### Motherson - T4 (EMSS07) | #### 1 |
| #### 15 | #### Main Gate -Helium rd. – E3 (EMSS18) | #### 1 |
| #### 16 | #### Logistics Gate -Helium \ Fosfor rd. - A1 (EMSS1) | #### 1 |
| #### 17 | #### Logistics Boulevard – F2 (EMSS17) | #### 1 |
| #### 18 | #### MAIN SUBSTASION | #### 6 |
| #### 19 | #### Motherson Substation | #### 2 |
| #### 20 | #### A – 9 Substation | #### 2 |
| #### 21 | #### Factory - LEAR - Outside | #### 1 |
| #### 22 | #### LEAR Substation Inside | #### 3 |
| #### 23 | #### Factory A10 (BMW) | #### 1 |
| #### 24 | #### Factory A11 (Faurecia Store) | #### 1 |
| #### 25 |  |  |
| #### TOTAL: 49 |