Dry block incubator

Sample capacity: two standard blocks,

Each block should hold 24 x 2.0 mL tubes, 1/cs.

Set different temperatures at a time.

Built-in temperature calibration function, automatic fault detection and buzzer alarm function

Temp.Setting Range 5°C ~150°C

Time Range 1min~99h59min