{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["BOQ per site","Overall BOQ"],"read":"whole","date_system":"1900"}

{"sheet":"BOQ per site","index":0,"n_rows":32,"n_cols":6,"rows_kept":32}
["BOQ - Cabling Contract",null,"per site"]
[]
[null,"Cable Type","QTY","UoM","Rate per 100m","Total"]
[null,"Supply Cables:"]
[null,"BVX4QCV",1000,"m",null,{"$f":"C5*E5/100","v":0}]
[null,"BVX4NCV",500,"m",null,{"$f":"C6*E6/100","v":0}]
[null,"BVX4LCV",4000,"m",null,0]
[null,"BVX4KCV",1000,"m",null,0]
[null,"BVX4HCV",18000,"m",null,0]
[null,"BVX2HCV",2000,"m",null,0]
[null,"BVX4FCV",1000,"m",null,0]
[null,"BVX4ECV",18000,"m",null,0]
[null,"BVX2ECV",10000,"m",null,0]
[null,"Control Cables:"]
[null,"BVX37DCV",20000,"m",null,0]
[null,"BVX19DCV",18000,"m",null,0]
[null,"BVX12ECV",10000,"m",null,0]
[null,"BVX12DCV",19000,"m",null,0]
[null,"BVX7ECV",3000,"m",null,0]
[null,"BVX7DCV",18000,"m",null,0]
[null,"BVX4DCV",22000,"m",null,0]
[null,"Telecomms Cables"]
[null,"TPH50AX",1000,"m",null,0]
[null,"TPH25AX",4000,"m",null,0]
[null,"TPH20AX",2000,"m",null,0]
[null,"TPH10AX",4000,"m",null,0]
[null,"TPH25AV",1000,"m",null,0]
[null,"TPH20AV",1000,"m",null,0]
[null,"TPH10AV",1000,"m",null,0]
[null,"X21",1000,"m",null,0]
[null,"18Z",1000,"m",null,0]
[null,"Total",{"$f":"SUM(C5:C31)","v":181500},"m",null,{"$f":"SUM(F5:F31)","v":0}]

{"sheet":"Overall BOQ","index":1,"n_rows":32,"n_cols":6,"rows_kept":32}
["BOQ - Cabling Contract"]
[]
[null,"Cable Type","QTY","UoM","Rate per 100m","Total"]
[null,"Supply Cables:"]
[null,"BVX4QCV",{"$f":"'BOQ per site'!C5*8","v":8000},"m",null,{"$f":"C5*E5/100","v":0}]
[null,"BVX4NCV",{"$f":"'BOQ per site'!C6*8","v":4000},"m",null,{"$f":"C6*E6/100","v":0}]
[null,"BVX4LCV",{"$f":"'BOQ per site'!C7*8","v":32000},"m",null,0]
[null,"BVX4KCV",{"$f":"'BOQ per site'!C8*8","v":8000},"m",null,0]
[null,"BVX4HCV",{"$f":"'BOQ per site'!C9*8","v":144000},"m",null,0]
[null,"BVX2HCV",{"$f":"'BOQ per site'!C10*8","v":16000},"m",null,0]
[null,"BVX4FCV",{"$f":"'BOQ per site'!C11*8","v":8000},"m",null,0]
[null,"BVX4ECV",{"$f":"'BOQ per site'!C12*8","v":144000},"m",null,0]
[null,"BVX2ECV",{"$f":"'BOQ per site'!C13*8","v":80000},"m",null,0]
[null,"Control Cables:"]
[null,"BVX37DCV",{"$f":"'BOQ per site'!C15*8","v":160000},"m",null,0]
[null,"BVX19DCV",{"$f":"'BOQ per site'!C16*8","v":144000},"m",null,0]
[null,"BVX12ECV",{"$f":"'BOQ per site'!C17*8","v":80000},"m",null,0]
[null,"BVX12DCV",{"$f":"'BOQ per site'!C18*8","v":152000},"m",null,0]
[null,"BVX7ECV",{"$f":"'BOQ per site'!C19*8","v":24000},"m",null,0]
[null,"BVX7DCV",{"$f":"'BOQ per site'!C20*8","v":144000},"m",null,0]
[null,"BVX4DCV",{"$f":"'BOQ per site'!C21*8","v":176000},"m",null,0]
[null,"Telecomms Cables"]
[null,"TPH50AX",{"$f":"'BOQ per site'!C23*8","v":8000},"m",null,0]
[null,"TPH25AX",{"$f":"'BOQ per site'!C24*8","v":32000},"m",null,0]
[null,"TPH20AX",{"$f":"'BOQ per site'!C25*8","v":16000},"m",null,0]
[null,"TPH10AX",{"$f":"'BOQ per site'!C26*8","v":32000},"m",null,0]
[null,"TPH25AV",{"$f":"'BOQ per site'!C27*8","v":8000},"m",null,0]
[null,"TPH20AV",{"$f":"'BOQ per site'!C28*8","v":8000},"m",null,0]
[null,"TPH10AV",{"$f":"'BOQ per site'!C29*8","v":8000},"m",null,0]
[null,"X21",{"$f":"'BOQ per site'!C30*8","v":8000},"m",null,0]
[null,"18Z",{"$f":"'BOQ per site'!C31*8","v":8000},"m",null,0]
[null,"Total",{"$f":"SUM(C5:C31)","v":1452000},"m",null,{"$f":"SUM(F5:F31)","v":0}]