# ANNEXURE B - TERMS OF REFERENCE

BID NUMBER: ITVET-INFRA003/11/2023

### PROJECT DESCRIPTION

APPOINTMENT OF A SUITABLE CONTRACTOR FOR THE SUPPLY AND INSTALLATION OF  CCTV CAMERAS AT IKHALA TVET COLLEGE CAMPUSES

- PURPOSE OF THIS BID/ TERMS OF REFERENCE

The purpose of this bid is to invite service providers for the APPOINTMENT OF A SUITABLE CONTRACTOR FOR THE SUPPLY AND INSTALLATION OF  CCTV CAMERAS AT IKHALA TVET COLLEGE CAMPUSES

- PROJECT OBJECTIVES

The objective of this bid is to appoint a suitably qualified service provider/contractor to install a CCTV cameras systems at all campuses

- EVALUATION CRITERIA & REQUIREMENTS

  - Bidders must have a minimum of 3 years’ experience in the installation of CCTV systems

  - The appointed company must have an office in the Eastern Cape, CHDM preferably

  - Bidders to submit reference letters or attach purchase orders for previous work.

- SCOPE OF WORK

The successful bidder is expected to render the following services as per specifications:

  - Supply and install CCTV cameras.

  - Ensure campuses are under total surveillance and able to record and to be monitored 24/7

  - The service provider shall be responsible for installing points to all locations, including fibre optic converters, network switches, cabinets and UPS protection

  - All outside cabling to run in galvanized bosal piping (prevents damage and vandalism)

  - Outside cameras to be mounted in weatherproof enclosures

  - Cabling to be clearly marked – yellow CAT6 cable for CCTV

  - Service provider to ensure no damage to infrastructure when mounting with minimal drilling

  - A camera layout diagram with a list of IP addresses, logins and passwords of all cameras and network equipment should be provided to IT.

  - Inspection will be done after completion before signing off on the installation.

  - Maintain CCTV Cameras for 6 months after the lapse of warranty period. Maintenance will entail fixing of defects and     replacement

  - of faulty equipment.

  - Provide training to identified officials on how to operate the system, extract  CCTV footages and draw access reports.

  - The system must be able to provide on and off site monitoring.

### DELIVERABLES

The appointed Service Provider will be required to deliver as follows:

Ikhala TVET College seeks to implement an IP Security Surveillance System. This system must consist of IP cameras and a Network Video Recording System.

The implementation must cover all campuses. Internal and   External cameras will be utilized to cover the indoor and outdoor areas.  A camera layout design should be provided after completion of the project. Below is a breakdown of the areas and the IP Surveillance System specification:

The total number of required cameras are 500

  - Queenstown Campus – 72

  - Ezibeleni - 64

  - Nonesi – 20

  - Aliwal North – 50

  - Aliwal North New Engineering Campus – 132

  - Sterkspruit – 30

  - Sterkspruit New Engineering Campus – 132 (Identical layout to Aliwal)

- PRODUCT REQUIREMENTS

6.1 Products/devices should be sourced in locally (South Africa), and should be SABS and     ICASA approved

- COMPANY REQUIREMENT:

The successful bidder must meet the following minimum requirements:

  - Be appropriately qualified and must have at least completed a minimum of 3 projects in the installation of CCTV Cameras (submit written and signed testimonials with contactable references of completed projects).

  - The appointed company must have an office in the Eastern Cape, CHDM preferably

  - Be in a position to assume work as soon as possible.

  - Bidders to submit reference letters or attach purchase orders for previous work

### DETAILED TECHNICAL SPECIFICATIONS

### CAMERA – INDOOR TYPE - 4MP FIXED DOME NETWORK CAMERA

SIMILAR TO HIKVISION 4MP 30m AcuSense FIXED DOME NETWORK CAMERA

### H.265+/H.265/H.264+/H.264/MJPEG

### Onboard low light enhancement software

### Colour: 0.005 lux

### VCA functions 4 streams

### 3D DNR; BLC; ICR; EXIR 2.0

### C12V & PoE

### Built-in micro SD slot

### Cloud service

### Audio/Alarm I/O

### CAMERA – OUTDOOR - 4MP IR FIXED BULLET NETWORK CAMERA

### SIMILAR TO HIKVISION 4MP 30m AcuSense/ColorVu

### 1/2.5” Progressive Scan CMOS

### 2688 x 150 @30fps

### 2.8 mm/4 mm/6 mm/8 mm/12 mm fixed lens

### H.265, H.265+, H.264+, H.264

### 120dB WDR

### Onboard low light enhancement software

### 4Behavior analyses

### BLC/3D DNR/ROI/HLC

### IR range: 50m, 80m, optional

### Bulit-in microSD/SDHC/SDXC card slot, up to 128 GB

### IP67

### Network Video Recorder

### 16 Channel IP Video Input Network Video Recorder (NVR)

### Up to 16 channel IP cameras can be connected

### Support decoding H.265+/H.265/H.264+/H.264 video formats

### Up to 4K high definition live view, storage and playback

### Up to 8-channel @ 1080p decoding capacity

### Up to 160 Mbps high incoming bandwidth ensures IP cameras can be connected

### 1 HDMI and 1 VGA interfaces – both interfaces support independent video output

### 2 HDDs for continuous video recording

### Compatible with third party network cameras

### Supports various specific function cameras, incl. thermal/fisheye/people counting/heatmap/Automatic number plate recognition

### Channel-zero function ensures smooth remote live view and playback in low bandwidth environments

### 32 Channel IP Video Input Network Video Recorder (NVR)

### Up to 32 channel IP cameras can be connected

### Support decoding H.265+/H.265/H.264+/H.264 video formats

### Up to 12K high definition live view, storage and playback

### Up to 8-channel @ 1080p decoding capacity

### Up to 320 Mbps (or 200 Mbps when RAID is enabled) high incoming bandwidth ensures IP cameras

### can be connected

### 2 HDMI and 2 VGA interfaces – both interfaces support independent video output

### 8 HDDs for continuous video recording

### Compatible with third party network cameras

### Supports various specific function cameras, incl. thermal/fisheye/people counting/heatmap/Automatic number plate recognition

### Supports RAID 0, 1, 5, 6, 10 and N+1 hot spare for even more reliable data storage, effectively avoids data loss

### PERIPHERALS

It shall be the appointed contractor’s responsibility to load software onto review computers to identified staff and IT and ensure initial configuration to suit the installation as specified.

The contractor shall be responsible for the supply and installation of Monitors and Video

Management Software with the following specifications:

#### Monitors

    - LED 24” FULL HD monitor with mounting brakets and HDMI cables

    - 42” Full HD LED display with mounting brackets and all cables

Resolution 1920x1080 (FHD)

#### Recording System

    - There will be no Central Monitoring System initially as there are no dedicated staff to do monitoring full-time. This will be addressed in due course

    - The playback and viewing of live video or video archiving shall have no impact on the recording of images or the normal recording frame rate. The system shall be stand-alone solution in terms of its hardware, software and networking requirements

    - All necessary hardware and accessories, including cabling that is required for the effective operation of the system, shall be included by the tenderer

    - The system shall include the necessary software required for performing the following operations :

Digital Recording:

|  | Viewing of Live Images |  |
| --- | --- | --- |
|  | Playback of Recorded Images |  |
|  | The system shall allow the pre-programming of various recording configurations, and shall be capable of operating in the following modes : |  |
|  | 1.2.5 Continuous minimum recording rate of 4mega pixels |  |
|  | 1.2.6 Start and stopping of recording according to a pre - programmed schedule |  |
|  | Automatic recording upon motion detection |  |
|  | Recording upon operator request. Continuous recording shall allow the automatic recording of images without the need for operator intervention. For as long as the cameras are powered they shall continue to record 1.2.7 The recorded video shall retain information relating to the recording process such as time, date, and video source. This data shall be used by the search mechanism for efficient search and playback functionality. 1.2.8 The capture date, start time and stop time shall be stored for each clip, whilst the source of the video (camera ID information as generated internally within the server) shall be stored for each stream. 1.2.9 The server system shall provide sufficient storage capacity to ensure a minimum of 30 days of continuous recording per input channel without the need for archiving. Storage capacity shall be expandable. (The memory required shall be calculated on worse case conditions allowing movement for all cameras |  |
|  | - Detailed drawings of the entire installation, including the network cabling layout and IP addresses of devices and equipment must be submitted on completion of the works. - The contractor shall supply documentation in the form of a technical manuals and operating instructions. Original disks of the software installed by the contractor, as well as the relevant original software licence certificates must be submitted with the documentation. - The contractor shall be responsible for the training of members of staff on the entire system; who will be identified by IT. All features of the system, whether required by this specification or not, must be covered in An operator-training document . - This shall cover all aspects of the Management system so as to provide first line local support to staff members both operational and managerial. The training shall include the following topics as a minimum: #### Software - System and operational overview - Retrieving and viewing of footage Any specification related enquiries may be directed to Mr M. Sampson at 072 315 8066 and email@cyberboss.co.za |  |  |

## APPOINTMENT OF A CONTRACTOR FOR THE SUPPLY AND INSTALLATION OF CCTV CAMERAS AT IKHALA TVET COLLEGE CAMPUSES

BID EVALUATION CRITERIA

This bid will be evaluated in three (3) phases:

Phase 1: Administrative Compliance Phase 2: Functionality Phase 3: Bidders passing phase 2 will thereafter be evaluated on PPPFA

Phase 1: Administrative Compliance

- The purpose of this evaluation phase is to determine which bid responses are responsive to the minimum bid specifications and the minimum bid requirements. Bid proposals that do not meet the minimum bid specifications and or minimum bid requirements will be regarded as “non-responsive” and will not be considered for further evaluation.

- Bidders’ must meet the following minimum requirements and the required supporting documents must be submitted with the completed bid document in a sealed envelope in the bid box at the closing date and time. Failure to comply will automatically eliminate the bid for further consideration.

  - Bids must be submitted on the original documents and bids which are late, incomplete, unsigned or submitted by facsimile or electronically, will not be accepted.

  - The following Declarations must be completed and signed: (SBD4, SBD 8 and SBD 9).

  - The form SBD 1 must be properly completed and signed.

  - Bidder’s proposals that do not meet the specifications will be eliminated.

  - If the offer is “Vat Inclusive”, the VAT registration number of service provider must be indicated.

  - The following Annexures must be completed:

    - Annexure A - Company Details

    - Annexure B - Company Composition

    - Annexure C - Declaration: Validity of Information Provided

    - Annexure D - Resolution to Sign (if applicable)

    - Annexure E – Details of Tenderers nearest Office

  - SBD 3.1- Pricing Schedule- Firm Prices – must be completed.

  - If the Bid Sum (amount in words) as per the SBD.1 differs from the SBD 3.1, it will automatically invalidate the offer submitted.

  - If the Bid Sum (amount in words) is not completed, the bid will be eliminated

  - Only one offer per bidder is allowed. Bidders are also not allowed to submit a bid whilst they are in agreements with other bidders in the form of joint ventures or consortiums.

  - Bidders must be a legal entity or partnership. In the event of a consortia/joint ventures a signed agreement by all parties must be submitted with the bid. Also see notes to the “Authority to Sign”. Failure to submit with the bid will automatically eliminate the bid for further consideration.

  - Bidder must submit a preventative maintenance plan for a period of 12 months after expiration of warranty period with the bid.

#### Phase 2: Functionality

- Bidders must submit at least three (3) reference letters with contactable references of completed projects.

- Bidders must have a minimum of 3 years’ experience in the installation of CCTV systems

- Competency and experience: CV of at least one (1) technician.

- Bidders must have an operational office in the Eastern Cape.

#### Process of Functionality evaluation

- The functionality criteria and maximum score in respect of each of the criteria are as follows:

| Functionality criteria | Maximum Points Score |
| --- | --- |
| A. Company Experience | 50 |
| B. Methodology | 20 |
| C. Local Office in the Eastern Cape | 30 |
| Maximum possible score for Functionality | 100 |

- For further evaluation, the minimum number of evaluation points to be scored for Functionality is 70 points.

- Only those bidders who achieved at least the minimum number of functionality evaluation points will be eligible to have their tenders further evaluated.

| FUNCTIONALITY & EVALUATION CRITERIA |  |  |  |  |
| --- | --- | --- | --- | --- |
| CRITERIA |  |  | MAX SCORE | SOURCE OF EVIDENCE |
| A | Experience | Proof of relevant working experience in CCTV installations. 5 reference letters = 50 points 3-4 reference letters = 30 points 1-2 reference letters = 20 points No reference letters - Bidder will be eliminated. | 50 | Written and signed contactable testimonials or Purchase Orders of completed projects |
| B | Methodology | Methodology and approach in completing similar projects. Methodology should address the three Project Management dimensions of Scope, Quality and Time. | 20 | Methodology structure addressing Scope, Quality and Time |
| C | Locality | Operational Office in the Eastern Cape Province = 30 Location not in the Eastern Cape Province = 5 Bidders will also be eliminated if they fail to submit evidence that they have an operational Office | 30 | Proof of physical address of the Service Provider (municipal account, electricity account or lease agreement). |
| Total |  |  | 100 |  |

Phase 3:

EVALUATION ON NEW PPPFA/ BBBEE 2017

THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT WILL BE APPLIED AND 80/20 BBBEE POINTS SYSTEM WILL BE APPLICABLE

POINTS FOR PRICE	- 80 POINTS

MAXIMUM POINTS FOR BBBEE	- 20 POINTS

TOTAL POINTS	- 100 POINTS

PRICING SCHEDULE:

- QUEENSTOWN CAMPUS (72).

Supply and install:

2x Hikvision 32 Channel AcuSense NVR (DS-9632NXI-I8/S or similar)

1x Hikvision 16 Channel AcuSense NVR (DS-7716NXI-I4/S or similar)

35x Hikvision 4MP AcuSense Fixed Dome Network Camera (DS-2CD2146G2-ISU or similar)

37x Hikvision 4MP AcuSense Strobe Light & Audible Warning Fixed Bullet Network Camera (DS-2CD2046G2-IU/SL4MM or similar)

5x 8TB Surveillance HDD

1x Hikvision 24 Port Fast Ethernet PoE Switch (DS-3E1326P -E or similar)

3x Hikvision 16 Port Fast Ethernet PoE Switch (DS-3E0318P-E or similar)

1x Hikvision 8 Port Fast Ethernet PoE Switch (DS-3E0109P-E or similar)

1x Hikvision 4 Port Fast Ethernet PoE Switch (DS-3E0105P-E or similar)

2x 42” Full HD LED Monitor with mounting brackets & HDMI Cable (Campus Manager’s office)

2x 24” PC HD LED Monitor (Guard house and Main Server room)

| Item | Description | Qty | Rate | Total | Combined Total |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply and Install CCTV cameras | 72 | R……………………… | R…………………... | R……………………… |
| 2 | Supply and install 32ch AcuSense NVR | 2 | R……………………… | R…………………... | R……………………… |
| 3 | Supply and install 16ch AcuSense NVR | 1 | R……………………… | R…………………... | R……………………… |
| 3 | Supply and install 8TB Surveillance HDD | 5 | R……………………… | R…………………... | R……………………… |
| 4 | Supply and install 42” Full HD Monitor with mounting bracket & HDMI Cable (Main reception & IT office) | 2 | R……………………… | R…………………... | R……………………… |
| 5 | Supply and install 24” PC LED Screen with mounting bracket | 2 | R……………………… | R…………………... | R……………………… |
| 6 | Supply and install 24 Port POE Switch | 1 | R……………………… | R…………………... | R……………………… |
| 7 | Supply and install 16 Port POE Switch | 3 | R……………………… | R…………………... | R……………………… |
| 8 | Supply and install 8 Port POE Switch | 1 | R……………………… | R…………………... | R……………………… |
| 9 | Supply and install 4 Port POE Switch | 1 | R……………………… | R…………………... | R……………………… |
| SUB TOTAL |  |  |  |  | R……………………… |
| Maintenance of system for period of 6 months after warranty expired |  |  | R……………………… | R…………………... | R……………………… |
| VAT at 15% (if Applicable) |  |  |  |  | R……………………… |
| GRAND TOTAL - A |  |  | R……………………… | R…………………... | R……………………… |

- EZIBELENI (64)

Supply and install:

2x Hikvision 32 Channel AcuSense NVR (DS-9632NXI-I8/S or similar)

20x Hikvision 4MP AcuSense Fixed Dome Network Camera (DS-2CD2146G2-I(SU or similar)

44x Hikvision 4MP AcuSense Strobe Light & Audible Warning Fixed Bullet Network Camera (DS-2CD2046G2-IU/SL4MM or similar)

5x 8TB SURVEILLANCE HDD

3x Hikvision 16 Port Fast Ethernet PoE Switch (DS-3E0318P-E or similar)

2x Hikvision 8 Port Fast Ethernet PoE Switch (DS-3E0109P-E or similar)

1x Hikvision 4 Port Fast Ethernet PoE Switch (DS-3E0105P-E or similar)

1x 9U Swing Frame Wall Box

2x 42” Full HD LED Monitor with mounting bracket & HDMI Cable (Main reception & IT office)

2x 24” PC HD LED Monitor (Guard house and Main Server room)

| Item | Description | Qty | Rate | Total | Combined Total |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply and Install CCTV cameras | 64 | R……………………… | R…………………... | R……………………… |
| 2 | Supply and install 32ch AcuSense NVR | 2 | R……………………… | R…………………... | R……………………… |
| 3 | Supply and install 16ch AcuSense NVR | 1 | R……………………… | R…………………... | R……………………… |
| 3 | Supply and install 8TB Surveillance HDD | 5 | R……………………… | R…………………... | R……………………… |
| 4 | Supply and install 42” Full HD Monitor with mounting bracket & HDMI Cable (Main reception & IT office) | 2 | R……………………… | R…………………... | R……………………… |
| 5 | Supply and install 24” PC LED Screen with mounting bracket | 2 | R……………………… | R…………………... | R……………………… |
| 6 | Supply and install 9U Swing Frame Wall Box | 1 | R……………………… | R…………………... | R……………………… |
| 7 | Supply and install 16 Port POE Switch | 3 | R……………………… | R…………………... | R……………………… |
| 8 | Supply and install 8 Port POE Switch | 2 | R……………………… | R…………………... | R……………………… |
| 9 | Supply and install 4 Port POE Switch | 1 | R……………………… | R…………………... | R……………………… |
| SUB TOTAL |  |  |  |  | R……………………… |
| Maintenance of system for period of 6 months after warranty expired |  |  | R……………………… | R…………………... | R……………………… |
| VAT at 15% (if Applicable) |  |  |  |  | R……………………… |
| GRAND TOTAL - B |  |  | R……………………… | R…………………... | R……………………… |

- NONESI (20).

Supply and install:

1x Hikvision 32 Channel AcuSense NVR (DS-9632NXI-I8/S or similar)

3x Hikvision 4MP AcuSense Fixed Dome Network Camera (DS-2CD2146G2-I(SU or similar)

17x Hikvision 4MP AcuSense Strobe Light & Audible Warning Fixed Bullet Network Camera (DS-2CD2046G2-IU/SL4MM or similar)

2x 4TB Surveillance HDD

1x Hikvision 16 Port Fast Ethernet PoE Switch (DS-3E0318P-E or similar)

1x Hikvision 8 Port Fast Ethernet PoE Switch (DS-3E0109P-E or similar)

1x Hikvision 4 Port Fast Ethernet PoE Switch (DS-3E0105P-E or similar)

1x 42” Full HD LED Monitor with mounting bracket & HDMI Cable (Campus Manager’s office)

2x 24” PC HD LED Monitor (Guard house and Main Server room)

1x 2kVA Rackmount UPS

| Item | Description | Qty | Rate | Total | Combined Total |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply and Install CCTV cameras | 20 | R……………………… | R…………………... | R……………………… |
| 2 | Supply and install 32ch AcuSense NVR | 1 | R……………………… | R…………………... | R……………………… |
| 3 | Supply and install 4TB Surveillance HDD | 2 | R……………………… | R…………………... | R……………………… |
| 4 | Supply and install 42” Full HD Monitor with mounting bracket & HDMI Cable (Centre Manager’s office) | 1 | R……………………… | R…………………... | R……………………… |
| 5 | Supply and install 24” PC LED Screen with mounting bracket | 2 | R……………………… | R…………………... | R……………………… |
| 6 | Supply and install 16 Port POE Switch | 1 | R……………………… | R…………………... | R……………………… |
| 7 | Supply and install 8 Port POE Switch | 1 | R……………………… | R…………………... | R……………………… |
| 8 | Supply and install 4 Port POE Switch | 1 | R……………………… | R…………………... | R……………………… |
| 9 | Supply and install 2kVA Rackmount UPS | 1 | R……………………… | R…………………... | R……………………… |
| SUB TOTAL |  |  |  |  | R……………………… |
| Maintenance of system for period of 6 months after warranty expired |  |  | R……………………… | R…………………... | R……………………… |
| VAT at 15% (if Applicable) |  |  |  |  | R……………………… |
| GRAND TOTAL - C |  |  | R……………………… | R…………………... | R……………………… |

- ALIWAL MAIN (50).

Supply and install:

2x Hikvision 32 Channel AcuSense NVR (DS-9632NXI-I8/S or similar)

20x Hikvision 4MP AcuSense Fixed Dome Network Camera (DS-2CD2146G2-I(SU or similar)

30x Hikvision 4MP AcuSense Strobe Light & Audible Warning Fixed Bullet Network Camera (DS-2CD2046G2-IU/SL4MM or similar)

4x Hikvision 16 Port Fast Ethernet PoE Switch (DS-3E0318P-E or similar)

5x 4TB Surveillance HDD

4x Hikvision 16 Port Fast Ethernet PoE Switch (DS-3E0318P-E or similar)

2x 42” Full HD LED Monitor with mounting bracket & HDMI Cable (Main reception, IT office)

2x 24” PC HD LED Monitor (Guard house and Main Server room)

1x 9U Swing Frame Wall Box (Hospitality reception)

1x 1kVA Rackmount UPS

| Item | Description | Qty | Rate | Total | Combined Total |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply and Install CCTV cameras | 50 | R……………………… | R…………………... | R……………………… |
| 2 | Supply and install 32ch AcuSense NVR | 2 | R……………………… | R…………………... | R……………………… |
| 3 | Supply and install 4TB Surveillance HDD | 5 | R……………………… | R…………………... | R……………………… |
| 4 | Supply and install 16 Port PoE Switch | 4 | R……………………… | R…………………... | R……………………… |
| 5 | Supply and install 42” Full HD Monitor with mounting bracket & HDMI Cable (Main reception & IT office) | 2 | R……………………… | R…………………... | R……………………… |
| 6 | Supply and install 24” PC LED Screen with mounting bracket at Guard house | 2 | R……………………… | R…………………... | R……………………… |
| 7 | Supply and install 16 Port PoE Switch | 4 | R……………………… | R…………………... | R……………………… |
| 8 | Supply and install 9U Swing Frame Wall Box (Hospitality reception) | 1 | R……………………… | R…………………... | R……………………… |
| 9 | Supply and install 1kVA UPS | 1 | R……………………… | R…………………... | R……………………… |
| SUB TOTAL |  |  |  |  | R……………………… |
| Maintenance of system for period of 6 months after warranty expired |  |  | R……………………… | R…………………... | R……………………… |
| VAT at 15% (if Applicable) |  |  |  |  | R……………………… |
| GRAND TOTAL - D |  |  | R……………………… | R…………………... | R……………………… |

- ALIWAL NEW ENGINEERING CAMPUS (132).

Supply and install:

1x Hikvision 64 Channel AcuSense NVR (DS-9664NXI-I8/S or similar)

2x Hikvision 32 Channel AcuSense NVR (DS-9632NXI-I8/S or similar)

2x Hikvision 16 Channel AcuSense NVR with PoE (DS-7716NXI-I4/16P/4S or similar)

42x Hikvision 4MP AcuSense Fixed Dome Network Camera (DS-2CD2146G2-I(SU or similar)

90x Hikvision 4MP AcuSense Strobe Light & Audible Warning Fixed Bullet Network Camera (DS-2CD2046G2-IU/SL4MM or similar)

9x 8TB Surveillance HDD

4x Hikvision 16 Port Fast Ethernet PoE Switch (DS-3E0318P-E or similar)

1x Hikvision 8 Port Fast Ethernet PoE Switch (DS-3E0105P-E or similar)

2x 42” Full HD LED Monitor with mounting brackets & HDMI Cable (Campus Manager’s office)

2x 24” PC HD LED Monitor (Guard house and Main Server room)

| Item | Description | Qty | Rate | Total | Combined Total |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply and Install CCTV cameras | 132 | R……………………… | R…………………... | R……………………… |
| 2 | Supply and install 64ch AcuSense NVR | 1 | R……………………… | R…………………... | R……………………… |
| 3 | Supply and install 32ch AcuSense NVR | 2 | R……………………… | R…………………... | R……………………… |
| 4 | Supply and install 16ch AcuSense NVR | 2 | R……………………… | R…………………... | R……………………… |
| 5 | Supply and install 8TB Surveillance HDD | 9 | R……………………… | R…………………... | R……………………… |
| 6 | Supply and install 16 Port PoE Switch | 4 | R……………………… | R…………………... | R……………………… |
| 7 | Supply and install 8 Port PoE Switch | 1 | R……………………… | R…………………... | R……………………… |
| 8 | Supply and install 42” Full HD Monitor with mounting bracket & HDMI Cable (Campus Manager’s office) | 2 | R……………………… | R…………………... | R……………………… |
| 9 | Supply and install 24” PC LED Screen with mounting bracket at Guard house and server room | 2 | R……………………… | R…………………... | R……………………… |
| SUB TOTAL |  |  |  |  | R……………………… |
| Maintenance of system for period of 6 months after warranty expired |  |  | R……………………… | R…………………... | R……………………… |
| VAT at 15% (if Applicable) |  |  |  |  | R……………………… |
| GRAND TOTAL - E |  |  | R……………………… | R…………………... | R……………………… |

- STERKSPRUIT (30)

Supply and install:

1x Hikvision 32 Channel AcuSense NVR (DS-9632NXI-I8/Sor similar)

12x Hikvision 4MP AcuSense Fixed Dome Network Camera 2.8mm (DS-2CD2146G2 or similar)

18x Hikvision 4MP ColorVu Fixed Bullet Network Camera 2.8mm (DS-2CD2047G2H-LI or similar)

2x 8TB Surveillance HDD

1x Hikvision 16 Port Fast Ethernet PoE Switch (DS-3E0318P-E or similar)

2x Hikvision 8 Port Fast Ethernet PoE Switch (DS-3E0109P-E or similar)

1x Hikvision 4 Port Fast Ethernet PoE Switch (DS-3E0105P-E or similar)

1x 9U Swing Frame Wall Box

1x 2kVA Rackmount UPS (LAB 1 existing cabinet)

1x 42” Full HD LED Monitor with mounting brackets & HDMI Cable (Campus Manager’s office)

2x 24” PC HD LED Monitor (Guard house and Main Server room)

1x HDMI over CAT6 converter to 49” TV in reception

| Item | Description | Qty | Rate | Total | Combined Total |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply and Install CCTV cameras | 30 | R……………………… | R…………………... | R……………………… |
| 2 | Supply and install 32ch AcuSense NVR | 1 | R……………………… | R…………………... | R……………………… |
| 3 | Supply and install 8TB Surveillance HDD | 2 | R……………………… | R…………………... | R……………………… |
| 4 | Supply and install 42” Full HD Monitor with mounting bracket & HDMI Cable (Campus Manager’s office) | 1 | R……………………… | R…………………... | R……………………… |
| 5 | Supply and install 24” PC LED Screen with mounting bracket at Guard house and server room | 2 | R……………………… | R…………………... | R……………………… |
| 6 | Supply and install 16 Port PoE Switch | 1 | R……………………… | R…………………... | R……………………… |
| 7 | Supply and install 8 Port PoE Switch | 2 | R……………………… | R…………………... | R……………………… |
| 8 | Supply and install 4 Port PoE Switch | 1 | R……………………… | R…………………... | R……………………… |
| 9 | Supply and install 2kVA Rackmount UPS | 1 | R……………………… | R…………………... | R……………………… |
| 10 | Install HDMI over CAT6 converter to 49” TV in reception | 1 | R……………………… | R…………………... | R……………………… |
| SUB TOTAL |  |  |  |  | R……………………… |
| Maintenance of system for period of 6 months after warranty expired |  |  | R……………………… | R…………………... | R……………………… |
| VAT at 15% (if Applicable) |  |  |  |  | R……………………… |
| GRAND TOTAL - F |  |  | R……………………… | R…………………... | R……………………… |

- STERKSPRUIT NEW ENGINEERING CAMPUS (132).

Supply and install:

1x Hikvision 64 Channel AcuSense NVR (DS-9664NXI-I8/S or similar)

2x Hikvision 32 Channel AcuSense NVR (DS-9632NXI-I8/S or similar)

2x Hikvision 16 Channel AcuSense NVR with PoE (DS-7716NXI-I4/16P/4S or similar)

42x Hikvision 4MP AcuSense Fixed Dome Network Camera (DS-2CD2146G2-I(SU or similar)

90x Hikvision 4MP AcuSense Strobe Light & Audible Warning Fixed Bullet Network Camera (DS-2CD2046G2-IU/SL4MM or similar)

9x 8TB Surveillance HDD

4x Hikvision 16 Port Fast Ethernet PoE Switch (DS-3E0318P-E or similar)

1x Hikvision 8 Port Fast Ethernet PoE Switch (DS-3E0105P-E or similar)

2x 42” Full HD LED Monitor with mounting brackets & HDMI Cable (Campus Manager’s office)

2x 24” PC HD LED Monitor (Guard house and Main Server room)

| Item | Description | Qty | Rate | Total | Combined Total |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply and Install CCTV cameras | 132 | R……………………… | R…………………... | R……………………… |
| 2 | Supply and install 64ch AcuSense NVR | 1 | R……………………… | R…………………... | R……………………… |
| 3 | Supply and install 32ch AcuSense NVR | 2 | R……………………… | R…………………... | R……………………… |
| 4 | Supply and install 16ch AcuSense NVR | 2 | R……………………… | R…………………... | R……………………… |
| 5 | Supply and install 8TB Surveillance HDD | 9 | R……………………… | R…………………... | R……………………… |
| 6 | Supply and install 16 Port PoE Switch | 4 | R……………………… | R…………………... | R……………………… |
| 7 | Supply and install 8 Port PoE Switch | 1 | R……………………… | R…………………... | R……………………… |
| 8 | Supply and install 42” Full HD Monitor with mounting bracket & HDMI Cable (Campus Manager’s office) | 2 | R……………………… | R…………………... | R……………………… |
| 9 | Supply and install 24” PC LED Screen with mounting bracket at Guard house and server room | 2 | R……………………… | R…………………... | R……………………… |
| SUB TOTAL |  |  |  |  | R……………………… |
| Maintenance of system for period of 6 months after warranty expired |  |  | R……………………… | R…………………... | R……………………… |
| VAT at 15% (if Applicable) |  |  |  |  | R……………………… |
| GRAND TOTAL - E |  |  | R……………………… | R…………………... | R……………………… |

CONSOLIDATED PRICING

| GRAND TOTAL – A | R……………………… |
| --- | --- |
| GRAND TOTAL – B | R……………………… |
| GRAND TOTAL – C | R……………………… |
| GRAND TOTAL – D | R……………………… |
| GRAND TOTAL – E | R……………………… |
| GRAND TOTAL – F | R……………………… |
| GRAND TOTAL - G | R……………………… |
| TOTAL TENDER AMOUNT | R……………………… |