# 04 July 2022

# DEAR SERVICE PROVIDER

Please quote us on the following: 10 carports

SPECIFICATIONS AND SCOPE OF WORK

Materials to be used for construction of carports:

WIDTH: HIGHT LENGHT

100x100x2mm square tubing  concreted into ground

125 x75mm x 2mmLip channel

Ibr roof sheeting 0.57mm gauge

Screwed down with  tex screws with washers 60 to 80Mm

Width: 5.100mm

Height: : 2.550 mm

Length: : 3.300mm

Gutters : Longspan half round

Finish : Painted Grey same as existing

When removing paving it is required to be made good and relay paving

Compulsory site brief meetings

08 July 2022 , Friday at  09:00 at the Auditorium

Mandatory Requirements to accompany a quotation

- A valid B-BBEE certificate

- Proof of tax clearance certificate (Tax status pin to be provided)

- Copy of Central Supplier Database registration (CSD)

- All quotations MUST be in company letterheads with contact details of the company and breakdown on work quoted on to be clear.

- Service providers to provide three traceable/contactable references (names and contact details as the museum will verify information provided)

- Submit proof of registration and letter of good standing from compensation commissioner in compliance with COID Act.

- The Museum will conduct a detailed risk assessment prior to the award.

- UMsunduzi Museum reserves the rights not to award to the lowest bidder.

- Qualifying service providers must have minimum of 3-5 years’ experience in the similar projects

- Quotations received after the closing date will not be accepted.

Closing date for quotations - 15 July 2022, Friday, 12h00

All quotations to be emailed to all three officials listed below:

Ms Thembelihle Ndebele tndebele@msunduzimuseum.org.za

Mr. Msizi Mfeka – mmfeka@msunduzimuseum.org.za,

Mr Phumlani Mvubu - pmvubu@msunduzimuseum.org.za

Technical enquiries can be directed to

Mr Bongumusa Mdluli - HOD Exhibition and Maintenance or Mr. Moodley – Exhibitions Officer

Contact No: 033 394 6834