Soil dispersion mixer specification (RFQ-TSC-079234)

| RFQ-TSC-079234 |  | - Motor-1/3hp - Revolutions per Minute-18,000rpm speeds - Electrical-230V/50-60Hz, 1.3 Amps - Product Dimensions-6.5 x 6.75 x 20.5in (165 x 171 x 521mm) WxDxH - Estimated Shipping Weight-17.0lb (7.71kg) | 1 | Each | ARC – Levubu Research Farm Main Street Next to the Post Office Limpopo Province |
| --- | --- | --- | --- | --- | --- |