Glassware for essential oils testing

Specifications:

6 x volumetric flasks

25mL,50mL, 100mL, 250mL, 500mL and 1000ml

3 x Test tubes

5mL, 10mL, and 20mL, fitted with ground glass stoppers

3 x Erlenmeyer flask

100 mL, 250mL and 500mL, with ground neck and ground glass stopper

3 x conical flasks

100 mL, 200mL and 500mL

3 x Burette

10mL with 0,02ml intervals, 25mL and 50mL graduated in 0, 05 and 0, 1 intervals respectively.

1 x Micro burette

2mL, graduated in 0, 01 ml intervals, conforming to the requirements for ISO 385

7 x Measuring cylinders

5mL, 10mL 20mL, 50mL, 100mL, 500mL and 1000mL

5 x Beakers

50mL, 100ml, 250mL 500mL and 1000mL

4x Separating funnels

50mL, 100mL, 250mL and 500mL

4 x Round-bottomed flasks

100mL, 200mL, 250ml, and 500mL (complying with ISO1773)

1 x Glass pycnometer

A pycnometer of suitable capacity, at least 100mL, 500mL and 1000mL, conforming to IS0 3507.

2 x glass stirring rod.