eskom holdings soc ltd

Contract number _____________

contract title: THE SUPPLY AND DELIVERY OF DUST HANDLING PLANT SPARES ON AN "AS AND WHEN" REQUIRED BASIS FOR A PERIOD OF FIVE (5) YEARS AT KRIEL POWER STATION.




Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Purchaser’s Goods Information
	16

	C3.2
	Supplier’s Goods Information
(insert at award stage or delete if not applicable)
	1

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	23


C3.1: Purchaser’s Goods Information
Contents

1Part 3: Scope of Work


2C3.1: Purchaser’s Goods Information


41
Overview and purpose of the goods and services


42
Specification and description of the goods


172.1
Purchaser’s design


172.2
Procedure for submission and acceptance of Supplier’s design


172.3
Other requirements of the Supplier’s design


172.4
Use of Supplier’s design


172.5
Manufacture & fabrication


172.6
Factory acceptance testing (FAT)


172.7
Other tests and inspections and commissioning in place of use


182.8
Operating manuals and maintenance schedules


183
Supply Requirements


184
Specification of the services to be provided


185
Constraints on how the Supplier Provides the Goods


185.1
Programming constraints


185.2
Work to be done by the Delivery Date


185.3
Marking the goods


195.4
Constraints at the delivery place and place of use


195.5
Cooperating with Others


195.6
Services & other things to be provided by the Purchaser or Supplier


195.7
Management meetings


205.8
Documentation control


205.9
Health and safety risk management


205.10
Environmental constraints and management


205.11
Quality


215.12
Invoicing and payment


215.13
Insurance provided by the Purchaser


215.14
Contract change management


215.15
Provision of bonds and guarantees.


215.16
Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier


216
Procurement


216.1
Subcontracting


216.1.1
Preferred subcontractors


216.1.2
Limitations on subcontracting


226.1.3
Other requirements related to procurement


226.1.4
Cataloguing requirements by the Supplier


227
List of drawings


227.1
Drawings issued by the Purchaser


23C3.2
Supplier’s Goods Information




1 Overview and purpose of the goods and services
The current Atmospheric Emission License for Kriel Power Station requires that the station should comply with a limit of 100mg/Nm3 on continuous basis. It is required then for licence holder to ensure that these conditions are always adhered to through a continuous focus on the operating, optimization, and maintenance of the plant. 
2 Specification and description of the goods
The Supplier is responsible for the supply and delivery of the following goods
	SUPPLY AND DELIVERY OF DUST HANDLING PLANT SPARES ON AN "AS AND WHEN" REQUIRED BASIS AT KRIEL POWER STATION FOR A PERIOD OF FIVE YEARS

	Item No
	Description
	Stock No
	Unit
	Qty

	MACAWBER PLANT

	1
	CASTING: TYPE: DOME; DIMENSIONS: ID 100 X OD 250 X THK 115 MM; MATERIAL: CI; SUPPL P/N: P16789A-00; REFERENCE NO: SC 3291-0233-101; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	69376
	Each 
	25

	2
	JOINT, EXPANSION: SIZE: 300 MM; LENGTH: 130 MM; CONNECTION: FLANGE FF; MATERIAL: RUBBER; SUPPL P/N: 10-16; DUST HANDLING PLANT; ELEFLEX RED BAND COMPENSATOR; COMPLETE WITH FLOATING MS FLANGES TO BS4504 TABLE 10/3; HOLES TO BE TAP M20; MOVEMENT FLEXIBLE
	54503
	Each 
	200

	3
	VALVE, BALL: VALVE SIZE: 1 IN; CONNECTION: BSP; BODY MATERIAL: STAINLESS STEEL; GRADE: 316; TYPE: DLM ONE PIECE BAR STOCK
	179544
	Each 
	360

	4
	VALVE, BALL: VALVE SIZE: 40 MM; DESIGN RATING: 5; TEMPERATURE RATING: 10-80 DEG C; CONNECTION: 1-1/2 IN-NPT; BODY MATERIAL: CI; FACE TO FACE LENGTH: 164 MM; OPERATED: MANUAL; APPLICATION: BLOWPOTS
	622607
	Each 
	360

	5
	VALVE, CHECK: VALVE SIZE: 4 IN; DESIGN RATING: 25 BAR; TEMPERATURE RATING: 12 BAR AT 110 DEG C; CONNECTION: BSP; BODY MATERIAL: BRASS; FACE TO FACE LENGTH: 160 MM; OPERATED: SPRING; TRIM: DISC BRS; SEAT RUBBER; SPRING SS; SUPPL P/N: EUR0PA4; TYPE ITAP; FOR DRY DUST PLANT
	69894
	Each 
	250

	6
	VALVE, CHECK: VALVE SIZE: 2 IN; DESIGN RATING: 25 BAR; TEMPERATURE RATING: 110 DEG C; CONNECTION: BSP; BODY MATERIAL: BRASS; FACE TO FACE LENGTH: 100 MM; OPERATED: SPRING; TRIM: DISC BRS; SPRING SS; SOFTGOODS: SEAT RUBBER; SUPPL P/N: EUR0PA2; ITAP; FOR DRY DUST PLANT
	69893
	Each 
	200

	7
	LUBRICATOR: TYPE: AIR FILTER IN LINE; CONNECTION: THD; CAPACITY: 37 DM3/S; MATERIAL: STL; PRESSURE RATING: 17 BAR; TYPE 64 SERIES SET WITH A BL64-408 BOX SET WHICH INCLUDE DOUBLE YOKE, AUTO DRAIN METAL BOWL, MICRO FOG, BRACKET KIT AND SHUT OFF VALVE, OPERATIONAL TEMPERATURE -20 TO 80 DEG C AND MAXIMUM FLOW AT 10BAR, TO BE USED AT DRY DUST PRECIPITATORS
	229243
	Each 
	200

	8
	ACTUATOR, PNEUMATIC: PRESSURE RATING: 7 BAR; COMPLETE WITH LIMIT SWITCH ASSEMBLY; FOR DUST INLET VALVE; TYPE KINETROL 140-100; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	66552
	Each 
	150

	9
	KIT, ACTUATOR REPAIR: TYPE: SOFTGOODS; APPLICATION: ACTUATOR PNEUMATIC; COMPRISING: LIP SEAL; MODEL NO: 140-104
	97768
	Each 
	150

	10
	VALVE: TYPE: CHANGE OVER; DESIGN RATING: 0.7-10 BAR; TEMPERATURE RATING: 5-75 DEG C; CONNECTION: 1/4 IN-FBSP; OPERATED: AIR; BODY MATERIAL: BRASS; STYLE: 3 PORT; 2 POSITION; SUPPL P/N: S/1340/14
	70731
	Each 
	100

	11
	VALVE, BUTTERFLY: TYPE: WAFER; VALVE SIZE: 50 MM; DESIGN RATING: 980 PA; TEMPERATURE RATING: -10 TO 80 DEG C; CONNECTION: FLANGE; BODY MATERIAL: CI; OPERATED: HANDWHEEL; TRIM: DISC CR GR 45 HF; SEAT SS GR 403 NBR LINED; STEM SS; FIG NO: TOMOE 700K; REFERENCE NO: 700K; LEVER OPERATED; 12 MM SQ DRIVE
	66548
	Each 
	360

	12
	VALVE, BUTTERFLY: TYPE: WAFER; VALVE SIZE: 80 MM; DESIGN RATING: 980 KPA; TEMPERATURE RATING: -10 TO 80 DEG C; BODY MATERIAL: CI; OPERATED: HANDWHEEL; TRIM: DISC SS; SEAT NBR; SUPPL P/N: 700KNBR; NOTE TOMOE BRAND ONLY
	66556
	Each 
	250

	13
	VALVE, BUTTERFLY: TYPE: WAFER; VALVE SIZE: 150 MM; DESIGN RATING: 1 MPA; TEMPERATURE RATING: -10 TO 100 DEG C; CONNECTION: CLAMP; BODY MATERIAL: FCD450; OPERATED: LEVER; TRIM: DISC SS GR 316; SOFTGOODS: EPDM; MODEL NO: 615X; REFERENCE NO: 150615X6S
	70596
	Each 
	150

	14
	VALVE, DIAPHRAGM: VALVE SIZE: 25 MM; DESIGN RATING: 16 BAR; TEMPERATURE RATING: 225 LB AT 80 DEG F; CONNECTION: THD; BODY MATERIAL: BRZ; DIAPHRAGM MATERIAL: EPDM; NON RETURN; NORVAL; STAINLESS STEEL CONE
	70251
	Each 
	500

	15
	VALVE: TYPE: BLOW; VALVE SIZE: 4 IN; CONNECTION: FLANGE; OPERATED: PRESSURE, SPRING; BODY MATERIAL: STL; STYLE: 2 WAY; TRIM: SHAFT/SPRING STL; SUPPL P/N: P16583B-0; FOR DRY DUST
	69385
	Each 
	100

	16
	KIT, VALVE REPAIR: REFERENCE NO: P16581P; FOR BLOW SIZE 4 INCH, TYPE SC3291/0233/89, CONSIST OF: 2 X ALUMINIUM SEALING RINGS 138MM OD X 5.5MM WIDE X 0.3MM THICK; 1 X O RING 107MM OD X 10MM THICK; 1 X O RING 128MM OD X 3.5MM THICK; 1 X CILINDER SEAL SQUARE 127MM OD X 113MM ID X 7MM WIDE; 2 X SHAFT SEALS 40MM OD X 30MM ID X 5MM WIDE; 5 X NYLOC NUTS M16 X 2MM PITCH; 1 X COMPRESSION SPRING 95MM OD X 150MM HIGH X 9MM WIRE DIAMETER
	69387
	Each 
	100

	17
	VALVE: TYPE: BLOW; VALVE SIZE: 2 IN; CONNECTION: FLANGE; OPERATED: SPRING; BODY MATERIAL: STL; STYLE: CAP BOLTED; TRIM: DISC BRS; SPINDLE SS; SUPPL P/N: P4348B; REFERENCE NO: P4239A-2; X789; FOR MACAWBER PLANT; FLANGE DIA 155MM; 4 X 20MM HOLES DRILLED; 115MM PCD
	69384
	Each 
	100

	18
	KIT, VALVE REPAIR: REFERENCE NO: SC3291/0233/91; P4348B; 2 INCH BLOW, CONSIST OF: 1 X O RING 93MM OD X 3.4MM THICK, 1 X O RING 80MM OD X 3.5MM THICK, 1 X O RING 70MM X OD 6.0MM THICK, 1 X O RING 54.5MM X 5.2MM THICK, 2 X SHAFT SEALS 33MM OD X 25MM ID X 5.7MM WIDE, 1 X COMPRESSION SPRING 26.6MM OD X 166MM HIGH X 2.6MM WIRE DIAMETER, 1 X COMPRESSION SPRING 10MM OD X 162.5MM HIGH X 1.7MM WIRE DIAMETER
	69386
	Each 
	200

	19
	VALVE: TYPE: DOME; VALVE SIZE: 300 MM; DESIGN RATING: 400 KPA; TEMPERATURE RATING: 0-250 DEG C; CONNECTION: FLANGE; OPERATED: ACTUATOR; BODY MATERIAL: CI; STYLE: SPLIT BODY; SUPPL P/N: P16612A; REFERENCE NO: SC3291-0233-81; OPARATED: ACTUATOR KINETROL COMPLETED WITH BRACKED
	69382
	Each 
	450

	20
	KIT, VALVE REPAIR: SUPPL P/N: M1298; REFERENCE NO: M1202; M1299; P3721C; P8013D; 300MM DOME CONSISTING OF: 2 BEARINGS; 4 VARI SEALS; 2 O RINGS; 2 V SEALS; 4 SEAL RETAING RINGS; NOTE - MUST BE PACKED AND SEALED PER KIT
	100113
	Each 
	200

	21
	DOME: TYPE: VALVE; DIMENSIONS: DIA 300 MM; MATERIAL: STL; REFERENCE NO: P2401A00; TO BE POLISHED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	69363
	Each 
	150

	22
	RING: TYPE: INSERT; INSIDE DIAMETER: 335 MM; OUTSIDE DIAMETER: 378 MM; WIDTH: 20 MM; MATERIAL: STL; REFERENCE NO: P1825C-00; FOR 300MM DOME VALVE; TYPE SIMON CARVES
	113200
	Each 
	150

	23
	RING: TYPE: SPIGOT; INSIDE DIAMETER: 363 MM; OUTSIDE DIAMETER: 440 MM; WIDTH: 30 MM; MATERIAL: STL; REFERENCE NO: P1824B-00; FOR 300MM DOME VALVE SIMON CARVES
	113196
	Each 
	150

	24
	VALVE, CHECK: TYPE: DIAPHRAGM; VALVE SIZE: 50 MM; DESIGN RATING: 16 BAR; TEMPERATURE RATING: 50 DEG C; CONNECTION: FLANGE; BODY MATERIAL: DI; FACE TO FACE LENGTH: 218 MM; OPERATED: NON OPERATED; SOFTGOODS: DIAPHRAGM EPDM; APPLICATION: DHP BLOWTANK NRV; GRADE: ASTM A126 CL B; NON RETURN VALVE.
	608642
	Each 
	50

	25
	VALVE, CHECK: TYPE: DIAPHRAGM; NON RETURN; VALVE SIZE: 80 MM; DESIGN RATING: 16 BAR; TEMPERATURE RATING: 50 DEG C; CONNECTION: FLANGE; BODY MATERIAL: DUCTILE IRON ASTMA 126 CLASS B; FACE TO FACE LENGTH: 280 MM; OPERATED: NON OPERATED; SOFTGOODS: DIAPHRAG
	608641
	Each 
	15

	26
	SEAL: TYPE: INSERT; DIMENSIONS: ID 315 X OD 405 X THK 44 MM; MATERIAL: RUBBER; SUPPL P/N: 1826C-2; REFERENCE NO: 3291/0233/103; FOR 300MM DOME VALVE, FOR NEW DRY DUST PLANT
	100102
	Each 
	750

	27
	PLATE: TYPE: TOP; DIMENSIONS: ID 295 X OD 555 X THK 60 MM; MATERIAL: STL; REFERENCE NO: P1823B; FOR 300MM DOME VALVE
	70259
	Each 
	150

	28
	VALVE: TYPE: DOME; VALVE SIZE: 200 MM; DESIGN RATING: 400 KPA; TEMPERATURE RATING: 0-250 DEG C; CONNECTION: FLANGE; OPERATED: ACTUATOR; BODY MATERIAL: CI; STYLE: SPLIT BODY; TRIM: DOME SS; SUPPL P/N: P16613A; REFERENCE NO: SC3291/0233/82; ASSEMBLY; TYPE SIMON CARVES
	69381
	Each 
	200

	29
	VALVE, RELIEF: VALVE SIZE: 200 MM; SET PRESSURE: 16 BAR; TEMPERATURE RATING: -20 TO 100 DEG C; CONNECTION: FLANGE; BODY MATERIAL: CI; TRIM: BODY-CI; SEALS-NEOPRENE; FACE TO FACE LENGTH: 206 MM; OPERATED: PNEUMATIC ACTUATOR; SPECIFICATION: DV200; APPLICATION: DRY DUST BLOW TANK; GRADE: BS4504; TABLE 6; SOFTGOODS: NEOPRENE SEAL; DESIGN RATING: 60 MPA; PRESSURE RANGE: 30-400 BAR; MANUF P/N: 001.9112; MODEL NO: TOCO; TYPE: DOME ASSEMBLY; MEDIUM: AIR; COMPLETE WITH ACTUATOR AND TOP ADAPTOR
	578892
	Each 
	75

	30
	SHAFT: TYPE: MAIN; LENGTH: 285 MM; MATERIAL: STL; APPLICATION: DUST HANDLING; SPECIFICATION: BS 970; END 1 SIZE: 70 MM; END 2 SIZE: 70 MM; MANUF P/N: ST1406-00-010; DRAWING NO: 001.0138 REV 0; DV300; 431529; END 1 SIZE TOLERANCE H6; END 2 SIZE TOLERANCE H7
	611833
	Each 
	110

	31
	KIT, VALVE REPAIR: REFERENCE NO: M1171M1008P8011D; 200MM DOME CONSISTING OF: 2 BEARINGS PART NUMBER P8011D; 4 VARI SEALS PART NUMBER M1171; 2 O RINGS PART NUMBER M1162; 2 V SEALS PART NUMBER M1008; 4 SEAL RETAING RINGS PART NUMBER P2147C; NOTE - MUST BE PACKED AND SEALED
	100101
	Each 
	200

	32
	RING: TYPE: VALVE INSERT; INSIDE DIAMETER: 226 MM; OUTSIDE DIAMETER: 258 MM; WIDTH: 15 MM; MATERIAL: STL; REFERENCE NO: P1643AA; FOR 200MM DOME VALVE, SIMON CARVES
	113195
	Each 
	300

	33
	RING: TYPE: SPIGOT; INSIDE DIAMETER: 248 MM; OUTSIDE DIAMETER: 330 MM; WIDTH: 21 MM; MATERIAL: STL; SUPPL P/N: P1643A-B; FOR 200MM DOME VALVE
	113199
	Each 
	150

	34
	CASTING: TYPE: DOME VALVE; DIMENSIONS: 250 MM; MATERIAL: CI; REFERENCE NO: P1158B-00; 3291/0233/115; FOR 200 MM VALVE; NOTE: TO BE POLISHED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	69364
	Each 
	150

	35
	SEAL: TYPE: INSERT; DIMENSIONS: ID 235 X OD 275 X THK 32 MM; MATERIAL: RUBBER; SUPPL P/N: P5524C-01; REFERENCE NO: 3291/0233/112; FOR 200MM DOME VALVE, FOR NEW DRY DUST PLANT
	100110
	Each 
	300

	36
	CASTING: TYPE: DOME; DIMENSIONS: DIA 200 X HT 130 MM; MATERIAL: CI; SUPPL P/N: P16793B; INLINE WITHOUT SEAL; FOR VALVE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	69378
	Each 
	200

	37
	VALVE: TYPE: DOME; VALVE SIZE: 150 MM; DESIGN RATING: 400 KPA; TEMPERATURE RATING: 0-250 DEG C; CONNECTION: FLANGE; OPERATED: ACTUATOR; BODY MATERIAL: CI; STYLE: SPLIT BODY; REFERENCE NO: P16614A; SC3291/0233/83; ASSEMBLY; SIMON CARVES
	69380
	Each 
	80

	38
	KIT, VALVE REPAIR: REFERENCE NO: M1365M1346P4673E; 150MM DOME CONSISTING OF: 2 BEARINGS PART NUMBER P8010D; 4 VARI SEALS PART NUMBER M1365; 2 O RINGS PART NUMBER M2085; 2 V SEALS PART NUMBER M1346; 4 SEAL RETAING RINGS PART NUMBER P5406D-02; NOTE - MUST BE PACKED AND SEALED
	100114
	Each 
	200

	39
	RING: TYPE: INSERT; INSIDE DIAMETER: 178 MM; OUTSIDE DIAMETER: 208 MM; WIDTH: 15.5 MM; MATERIAL: STL; REFERENCE NO: P4676AB; FOR 150MM DOME VALVE
	113194
	Each 
	200

	40
	RING: TYPE: SPIGOT; INSIDE DIAMETER: 198 MM; OUTSIDE DIAMETER: 255.8 MM; WIDTH: 21 MM; MATERIAL: STL; REFERENCE NO: P4676A-C; FOR 150MM DOME VALVE, TYPE SIMON CARVES
	113198
	Each 
	200

	41
	CASTING: TYPE: DOME; DIMENSIONS: DIA 200 MM; MATERIAL: STL; REFERENCE NO: P4677B-00; FOR 150MM VALVE, NOTE TO BE POLISHED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	69365
	Each 
	150

	42
	SEAL, RING: TYPE: DOME VALVE INSERT; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 225 MM; THICKNESS: 30 MM; MATERIAL: RUBBER; SUPPL P/N: P4665B; REFERENCE NO: SC 3291/0233/122; FOR 150MM DOME VALVE, NEW DRY DUST PLANT
	100111
	Each 
	300

	43
	CASTING: TYPE: DOME; DIMENSIONS: DIA 150 X WD 120 MM; MATERIAL: CI; SUPPL P/N: P16791A-00; REFERENCE NO: SC 3291-023399; TYPE: TOP ADAPTOR; SIZE: 150 MM DIA X 120 MM WD; FOR VALVE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	69377
	Each 
	100

	44
	VALVE: TYPE: DOME; VALVE SIZE: 100 MM; DESIGN RATING: 400 KPA; TEMPERATURE RATING: 0-250 DEG C; CONNECTION: FLANGE; OPERATED: ACTUATOR; BODY MATERIAL: CI; STYLE: SPLIT BODY; TRIM: BONNET CI; DOME STL; REFERENCE NO: SC3291/0233/84; P16615A; ASSEMBLY
	69379
	Each 
	100

	45
	KIT, VALVE REPAIR: REFERENCE NO: M1243M1006P3884E; 100MM DOME, CONSISTING OF: 2 BEARINGS PART NUMBER P3884E, 4 VARI SEALS PART NUMBER M1243, 2 O RINGS PART NUMBER M1242, 2 V SEAL PART NUMBER M1006, 4 SEAL RETAING RINGS PART NUMBER P2728C, NOTE - MUST BE PACKED AND SEAL
	100115
	Each 
	200

	46
	RING: TYPE: INSERT; INSIDE DIAMETER: 126.5 MM; OUTSIDE DIAMETER: 156 MM; WIDTH: 25 MM; MATERIAL: STL; REFERENCE NO: P1644BA; FOR 100MM DOME VALVE, SIMON CARVES
	113193
	Each 
	200

	47
	RING: TYPE: SPIGOT; INSIDE DIAMETER: 146 MM; OUTSIDE DIAMETER: 198 MM; WIDTH: 21 MM; MATERIAL: STL; REFERENCE NO: P1644BB; FOR 100MM DOME VALVE, SIMON CARVES
	113197
	Each 
	200

	48
	CASTING: DIMENSIONS: DIA 155 MM; MATERIAL: STL; REFERENCE NO: P1165C; FOR 100MM DOME VALVE, NOTE DOME TO BE POLISHED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	69366
	Each 
	200

	49
	SEAL: TYPE: INSERT; DIMENSIONS: ID 112 X OD 175 X THK 32 MM; MATERIAL: RUBBER; SUPPL P/N: P1586C-01; FOR 100MM DOME VALVE, SIMON CARVE
	100112
	Each 
	200

	50
	VESSEL: TYPE: ASH; MATERIAL: STL; REFERENCE NO: P16571A; 3291/0233/80; SIZE 1-5/12; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	38851
	Each 
	50

	51
	VESSEL: TYPE: ASH; MATERIAL: STL; SUPPL P/N: P16570A; REFERENCE NO: 3291/0233/79; TYPE SIMON CARVES; SIZE: 7/12; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	38850
	Each 
	50

	52
	CONTAINER: TYPE: ASH; DIMENSIONS: 12/12; MATERIAL: STL; REFERENCE NO: 3291/0233/78; P16569A; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	38849
	Each 
	50

	53
	BEND, PIPE: OUTSIDE DIAMETER: 100 MM; CONNECTION: FLANGE; MATERIAL: CS; DEGREE: 45 DEG; REFERENCE NO: P16768C; S.C.NO:-3291/0233/87 FOR NEW DRY DUST PLANT
	58985
	Each 
	300

	54
	BEND, PIPE: OUTSIDE DIAMETER: 150 MM; CONNECTION: FLANGE; MATERIAL: CS; DEGREE: 45 DEG; REFERENCE NO: P16768C; SC NO:- 3291/0233/86 FOR NEW DRY DUST PLANT
	58986
	Each 
	300

	55
	BEND, PIPE: OUTSIDE DIAMETER: 200 MM; CONNECTION: FLANGE; MATERIAL: CS; DEGREE: 45 DEG; SUPPL P/N: P16568C; SC NUMBER 3291/0233/85; FOR NEW DRY DUST PLANT
	58987
	Each 
	240

	56
	SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: CORK/NEOPRENE; REFERENCE NO: GR53; IMPREGNATED; NEOLONGITE GRADE 53 COMPOSITION
	94320
	Each 
	300

	57
	SHEET, GASKET: THICKNESS: 6.5 MM; LENGTH: 1.27 M; WIDTH: 660 MM; MATERIAL: CORK NEOPRENE IMPREGNATED; GRADE: 53
	94322
	Each 
	300

	TRANSFER SILO

	58
	FAN: TYPE: REVERSED; DIMENSIONS: WD 980 MM X LG 1.125 M X HT 960 MM; VOLUME RATING: 120 M3/MIN; REFERENCE NO: 14313; TOTAL PRESSURE 2.1 PA; ABSORBED POWER 6.15KW; EFFICIENCY 73%; BOLTED INSPECTION DOOR; BASE IN CARBON STEEL SECTION BARS WITH VIBRATORS
	611875
	Each 
	15

	59
	V BELT SET: NUMBER OF BELTS: 3; TOP WIDTH: 13 MM; OUTSIDE CIRCUMFERENCE: 1.9 M; SUPPL P/N: SPA13NX1900; TO BE BUNDLED AND MARKED, THICKNESS: 10MM, MATCHED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	28677
	Each 
	200

	60
	VALVE, RELIEF: VALVE SIZE: 250 MM; SET PRESSURE: -33 TO 33 MBAR; TEMPERATURE RATING: 100 DEG C; CONNECTION: FLANGE; BODY MATERIAL: CS; FACE TO FACE LENGTH: FLAP; OPERATED: PRESSURE SWING; ORIFICE SIZE: 10 MM; SPECIFICATION: PROTEGO VD/SV-250; DESIGN RATING: 33 MBAR; PRESSURE RANGE: -33 TO 33 MBAR; FLOW CAPACITY AT DESIGN PRESSURE: 800 M3/HR; ALL FLOW RATES EXPRESSED IN 20 DEG C AIR; SUPPLY WITH 3.1 CERTIFICATE AND WITH CALIBRATION CERTIFICATE; DIN EN 1092-1; PN10 FORM B1; TRIM: HOUSING MODULE: 1.0619; SEAT: 316 SS/1.4571; COVER: 1.0425; GASKET: PTFE; WEATHER HOOD: SS; PROTECTIVE SCREEN: SS; BOLTS/NUTS: A4; THREADED PIN: A4; VALVE PALLET HOOD: 316 SS/1.4571; VALVE PALLET: 316 SS/1.4571; PIPE GUIDE: 316 SS/1.4571; PIN: 316 SS/1.4571; HEXAGON NUT: A4; SPINDLE GUIDE: 316 SS/1.4571; TRIM: HOUSING MODULE: 1.0619; SEAT: 316 SS/1.4571; COVER: 1.0425; GASKET: PTFE; WEATHER HOOD: SS; PROTECTIVE SCREEN: SS; BOLTS/NUTS: A4; THREADED PIN: A4; VALVE PALLET HOOD: 316 SS/1.4571; VALVE PALLET: 316 SS/1.4571; PIPE GUIDE: 316 SS/1.4571; PIN: 316 SS/1.4571; HEXAGON NUT: A4; SPINDLE GUIDE: 316 SS/1.4571; TRIM: HOUSING MODULE: 1.0619; SEAT: 316 SS/1.4571; COVER: 1.0425; GASKET: PTFE; WEATHER HOOD: SS; PROTECTIVE SCREEN: SS; BOLTS/NUTS: A4; THREADED PIN: A4; VALVE PALLET HOOD: 316 SS/1.4571; VALVE PALLET: 316 SS/1.4571; PIPE GUIDE: 316 SS/1.4571; PIN: 316 SS/1.4571; HEXAGON NUT: A4; SPINDLE GUIDE: 316 SS/1.4571
	622612
	Each 
	60

	61
	STRAINER, PIPING: TYPE: Y; DIMENSIONS: DIA 51 X LG 70 MM; PRESSURE RATING: 12 BAR; MATERIAL: SS GR 316; CONNECTION: NPT 1/4 IN; MICRON: 800; MESH: 100 MM; SPECIFICATION: BS 4504; SUPPL P/N: 16HP
	622610
	Each 
	200

	62
	DRYER: TYPE: COMPRESSED; MANUF P/N: A-DRY-60; HEATLESS ADSORPTION COMPRESSED AIR DRYER; FOR USE ON THE TRANSFER SILO; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	611928
	Each 
	5

	63
	ACTUATOR, PNEUMATIC: PRESSURE RATING: 10 BAR; MODEL NO: AT05DA - F04-11; REFERENCE NO: E29-409; DOUBLE ACTION TTV; DN02-40-50MM COMPLETE WITH 50MM TTV BUTTERFLY VALVE; AIR TORQUE; FOR INLET ON DRY DUST BLOW TANK; TTV 50MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	66549
	Each 
	50

	64
	HOUSING, BEARING UNIT: TYPE: PLUMMER BLOCK; BORE: 150 MM; MATERIAL: CI; SUPPL P/N: SD3140; PLUMMER BLOCK WITHOUT BEARING; PART NO: SD3134; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	34576
	Each 
	50

	65
	PLUG, FUSIBLE: CORE MATERIAL: STEEL; SIZE: 18 MM; TEMPERATURE RATING: 160 DEG C; TYPE: UNIVERSAL; HEXAGON AND ALLEN KEY HEAD COMBINED; WITH SEALING RING FOR VOITH COUPLING 422.; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	39247
	Each
	80

	66
	ACTUATOR, PNEUMATIC: PRESSURE RATING: 1-10 BAR; TRAVEL: 1/4 TURN; MODEL NO: C 60 DA; FOR DRY DUST PLANT AT TRANSFER SILO OUTLET VALVE; SIZE 300MM OKUMURA BUTTERFLY VALVE; SUPPLY MOUNTING KIDS STAINLESS STEEL TO FIT ON VALVE; TYPE: DOUBLE ACTING; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	220838
	Each 
	50

	67
	VALVE, BUTTERFLY: TYPE: WAFER; VALVE SIZE: 300 MM; DESIGN RATING: 980 KPA; TEMPERATURE RATING: 0-120 DEG C; CONNECTION: FLANGE; OPERATED: HANDWHEEL, GEARBOX; TRIM: SCS13; DISC SS; SEAT EPDM; GRADE: FC250; MODEL NO: 615X; REFERENCE NO: 300615XGO4S
	66374
	Each 
	50

	68
	DEFLECTOR: TYPE: PLATE; DIMENSIONS: WD 300 X LG 590 X HT 335 MM; MATERIAL: CI; APPLICATION: DOME VALVE 200 MM; SUPPL P/N: P16633A; REFERENCE NO: SC3291/0233/94; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	36270
	Each 
	50

	69
	DEFLECTOR: TYPE: PLATE; DIMENSIONS: WD 185 X LG 270 X HT 175 MM; MATERIAL: CI; SUPPL P/N: P2183A; REFERENCE NO: 3291/0233/96; SIZE 100MM; FOR NEW DRY DUST PLANT; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	36269
	Each 
	200

	BLOW TANK

	70
	DISC: TYPE: BOTTOM FLUIDIZING; DIMENSIONS: DIA 1.245 M; MATERIAL: STL; DRAWING NO: 190384 REV 1; 190384 REV C REV 1; FOR DRY DUST PNEUMATIC PLANT, TO ESKOM
	38537
	Each 
	50

	71
	JOINT, EXPANSION: TYPE: BELLOWS; SIZE: 17 MM; LENGTH: 18 MM; CONNECTION: FLANGE; MATERIAL: EPDM; DESIGN RATING: 10 BAR; APPLICATION: DUST HANDLING PLANT; FACE TO FACE LENGTH: 130 MM; PCD: 160 MM; HOLE: 8; HOLE DIA: M12; FLANGE MATERIAL: MS
	576017
	Each 
	100

	72
	COMPENSATOR: TYPE: AXIAL; REFERENCE NO: 307-221; NB 200; ND 16; LG 400MM; COMPRISING CONVOLUTION 11.212; INTERNAL SLEEVE MATERIAL SS 321; PIPE ENDS AND FLANGES TO BS 4504 TABLE 10/3 MS
	54504
	Each 
	100

	73
	DIAPHRAGM, VALVE: MATERIAL: EPDM; VALVE SIZE: 80 MM; FIG NO: 516; FOR RIENZI NON RETURN VALVE
	68012
	Each 
	70

	74
	DIAPHRAGM, VALVE: MATERIAL: EPDM; VALVE SIZE: 50 MM; FIG NO: 516; FOR RIENZI NON RETURN VALVE
	68013
	Each 
	50

	75
	VALVE, CHECK: TYPE: NON RETURN WAFER ,DUEL PLATE; VALVE SIZE: NB 100; DESIGN RATING: 16 BAR; TEMPERATURE RATING: -10 TO 100 DEG C; CONNECTION: FLANGE BS 4504, PN10 WAFER; BODY MATERIAL: DI; FACE TO FACE LENGTH: 64 MM; OPERATED: SPRING LOADED; SOFTGOODS: SEAL EPDM
	629433
	Each 
	150

	76
	NOZZLE: TYPE: REDUCER; SIZE: 500 MM; CONNECTION: FLANGE; MATERIAL: STEEL; DRAWING NO: WS0001 REV 1; BLOW TANK VENT PIPE, ROTEK
	58505
	Each 
	50

	77
	VALVE, RELIEF: VALVE SIZE: 50 MM; SET PRESSURE: 5 BAR; TEMPERATURE RATING: 232 DEG C; CONNECTION: BSP X FBSP; BODY MATERIAL: BRZ; TRIM: BRZ; OPERATED: AIR PRESSURE; DESIGN RATING: 24 BAR; PRESSURE RANGE: 0-5 BAR; REFERENCE NO: RA 2583; DLM-BAILEY BURKET POP TYPE SAFETY; COMPLETE WITH LIFTING LEVER; TO BE USED AT DRY DUST BLOW TANK UNIT 1 TO 6
	224691
	Each 
	80

	78
	VALVE, RELIEF: VALVE SIZE: 50 MM; SET PRESSURE: 4.8 BAR; TEMPERATURE RATING: 232 DEG C; CONNECTION: BSP X FBSP; BODY MATERIAL: BRZ; TRIM: BRZ; OPERATED: AIR PRESSURE; DESIGN RATING: 24 BAR; PRESSURE RANGE: 0-4.8 BAR; REFERENCE NO: RA 2585; DLM-BAILEY BURKET POP TYPE SAFETY VALVE, COMPLETE WITH LIFTING LEVER, TO BE USED AT DRY DUST BLOW TANK UNIT 1 TO 6
	224692
	Each 
	80

	79
	VALVE, GATE: VALVE SIZE: 200 MM; TYPE: KNIFE; CONNECTION: WAFER FLANGELESS; FACE TO FACE LENGTH: 68 MM; BODY MATERIAL: CI; TRIM: BLADE SS GR 316L; OPERATED: CYLINDER PNEUMATIC, DOUBLE ACTING; SOFTGOODS: VITON; STEM DESIGN: RISING SPINDLE; STYLE: PILLAR; TEMPERATURE RATING: 95 DEG C; DESIGN RATING: 600 KPA; SUPPL P/N: LDCCINWR; REFERENCE NO: LDC-CI-NWR; STAINLESS STEEL 304 L; TRIM NI-HARD WEAR RING; WITH 4 HOLES ON BOTH SIDE OF FLANGE TO BE TAPPED SIZE 20 MM; RUBBER LINED BORE; VITON MOULDED BODY SEAL; COMBINATION STUFFINGBOX AND TRANVERSE SEAL ARRANGEMENT; MOUTNING BETWEEN FLANGES TO BS450T10/3; PNEUMATIC; CYLINDER BARREL OF FIBER GLASS WITH END PLATES; TIE RODS; ADJUSTABLE CLEVIS OF 4PILLAR CONSTRUCTION OF MILD STEEL ELECTRO GALVANIZED; CYLINDER PROTECTION COVER OF PVC; CYLINDER SEAL OF NITRILE RUBBER; COMPLETE WITH 2 MOUNTING BRACKETS; WITH STRIKER ARM FOR PROXIMITY SWITCHES
	66546
	Each 
	70

	80
	DIVERTER: TYPE: DRY DUST; DRAWING NO: AA241 REV 0; BRANCH BALL: 200MM; 8BAR; FLANGE BS 4504; TABLE 10; 8INCH; 270 DEGREE CELCIUS; MATERIAL: ALLOY STEEL; BS 3100-BW2; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	571082
	Each 
	50

	81
	BEND, PIPE: OUTSIDE DIAMETER: 227 MM; CONNECTION: FLANGE; MATERIAL: STL; DEGREE: 90; RADIUS: 247 MM; SPECIFICATION: BS3100-BW2; FOR DRY DUST PLANT; ID 200MM; FLANGE BS 4504
	571081
	Each 
	50

	82
	BEND, PIPE: OUTSIDE DIAMETER: 107 MM; CONNECTION: FLANGE; MATERIAL: BS3100-BW2; DEGREE: 90; RADIUS: 200 MM; MEDIA FOR WHICH DESIGNED: DRY DUST; DRAWING NO: AA298 REV 0; FLANGE BS4504 TABLE 10; ID: 80MM
	576010
	Each 
	25

	MAIN SILO COMPLEX

	83
	RING, RETAINING: DIMENSIONS: ID 241 X OD 251 X THK 5 MM; TYPE: INTERNAL; MATERIAL: ALUMINIUM; REFERENCE NO: FRB10-290; LOCATING
	32088
	Each 
	50

	84
	SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 150 MM; LENGTH: 122 MM; MATERIAL: STEEL; SUPPL P/N: H3134; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PACKED AND MARKED; SIZE 220 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	30138
	Each 
	100

	85
	COLLAR: DIMENSIONS: ID 241 X OD 251 X THK 10 MM; MATERIAL: ALUMINIUM; TYPE: SEALING; SUPPL P/N: TS 34
	34932
	Each 
	50

	86
	OIL, INDUSTRIAL: CONTAINER: DRUM 210 L; FLASH POINT: 232 DEG C; TYPE: GEAR; TRADE NAME: GENGEAR 320; VISCOSITY RATING: 305 AT 40 DEG C; GRADE: ISO VG320; SUPPL P/N: GENGEAR 320; ESKOM SPECIFICATION GGSS 0862; LUBE CODE OGI-320; GENGEAR 320
	161550
	Each 
	50

	87
	COUPLING: TYPE: INPUT DRIVE; SIZE: OD 230 MM; SUPPL P/N: 422TVB; REFERENCE NO: VTK; ROUGH BORE; FOR VOITH TURBO FLUID
	26434
	Each 
	120

	88
	PADDLE: TYPE: ASH CONDITIONER; DIMENSIONS: WD 550 X LG 410 X THK 28 MM; MATERIAL: TIVAR CERAM P; DRAWING NO: 28-45/55240 REV 0; APPLICATION: ASH PLANT; HOLE: 4; HOLE DIA: 20MM; PADDLE CUT AND DRILLED IN ACCORDANCE TO KRIEL DRAWING NUMBER AND SHOULD BE CLEARLY MARKED ON THE MATERIAL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	576016
	Each 
	500

	89
	IMPELLER, FAN: DIAMETER: 700 MM; BORE: 320 MM; MATERIAL: STL; MODEL NO: HBC315-1.0; FOR USE WITH EVACUATING FAN ACE, CLASS 1V, VOLUME 100M3/MIN STATIC PRESSURE, MAX 3500PA, STATIC PRESSURE OPERATING 3000PA, ABSORBED POWER 5.9KW AT 20DEGREES CELSIUS, 2100RPM; WD 66.5MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	44489
	Each 
	25

	90
	BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: DOUBLE; MODEL NO: 22211 CCK; NOTE - ITEM MUST BE ORIGINAL PACKED
	30059
	Each 
	50

	91
	SHAFT: TYPE: IMPELLER; LENGTH: 720 MM; MATERIAL HBC315-1 CLASS 1V, FOR USE WITH FAN TYPE ACE, 2100 RPM, AIR VOLUME 100 M3/MIN, 3500 KPA MAX STATIC PRESSURE, 5.9KW ABSORBED POWER AT 20 DEG C, NOTE: SIZE 50MM OD, ONLY ONE KEY WAY REQUIRE ON SHAFT, KEY WAY SIZE 14MM WD X 9MM THK X 100MM LG, TO BE SUPPLY WITH KEY
	29170
	Each 
	50

	92
	SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 50 MM; LENGTH: 45 MM; MATERIAL: STEEL; SUPPL P/N: H311; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	30043
	Each 
	72

	93
	HOUSING, BEARING UNIT: TYPE: PILLOW; BORE: ID 67 MM; MATERIAL: CI; SUPPL P/N: SNL511-609; SUPPLIER NOTE: THE ITEM MUST BE COMPLETE WITH A GREASE NIPPLE INSTALLED AND SHAFT SEALS.; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	34581
	Each 
	72

	94
	VALVE, BUTTERFLY: VALVE SIZE: 300 MM; SOFTGOODS: LINER VITON; MANUF P/N: 300KTVPN16OK33N/300; TO FIT ACTUATOR KTV
	172944
	Each 
	30

	95
	RING: TYPE: FLEXIBLE; INSIDE DIAMETER: 115 MM; OUTSIDE DIAMETER: 202.6 MM; MATERIAL: RUBBER; SUPPL P/N: SC-07-230-0000; REFERENCE NO: SV230; FOR VOITH TURBO COUPLING
	104548
	Each 
	70

	96
	CARTRIDGE: TYPE: COOPER BEARING MAINTENANCE; MATERIAL: STL; DIMENSIONS: 150 MM; APPLICATION: ASH CONDITIONER; REFERENCE NO: 01 C 150; SERIES 01; WITH 150MM SHAFT SIZE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	230241
	Each 
	50

	97
	HOUSING, BEARING UNIT: TYPE: PEDESTAL; MATERIAL: STL; SIZE 181MM HT, P10 TYPE AND SERIES 01, SUITABLE FOR ASH CONDITIONERS, WITH 150MM SHAFT SIZE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	230239
	Each 
	50

	98
	PAD: TYPE: AERATION; DIMENSIONS: WD 270 X LG 800 X THK 4.5 MM; REFERENCE NO: E300; FLUITEX MEMBRANE CLOTH; 27 METRE LONG IN ROLL
	52910
	Each 
	50

	99
	DISTRIBUTOR: TYPE: ROTARY AIR; SUPPL P/N: 285249; 4 PART; TYPE MA; 10 VOLT; ITEM 26; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	177760
	Each 
	25

	100
	V BELT SET: NUMBER OF BELTS: 3; SUPPL P/N: VB17X11X2200; TO BE BUNDLED AND MARKED AS A SET, MATCHED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	28772
	Each 
	50

	101
	PUMP, CENTRIFUGAL: NPSH: 4 M; CAPACITY: 19-35 CM/HR; TOTAL HEAD: 39-163 M; SIZE: 65 X 50 MM; SPEED: 1450 RPM; STAGE: 5; DRIVER: ELECTRIC MOTOR 30 KW; REFERENCE NO: 64584-431; MAIN SILO HIGH PRESSURE
	232761
	Each 
	15

	102
	IMPELLER, PUMP: DIAMETER: 165 MM; INLET: SINGLE; MATERIAL: CI; THICKNESS: 33 MM; SHAFT SIZE: 35 MM; SUPPL P/N: WKLN 50/5; SUPPLIER NOTE: THE ITEM MUST BE PROTECTIVE PACKED, SEALED AND CLEARLY MARKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	185371
	Each 
	10

	103
	SLEEVE, SHAFT: TYPE: PROTECTION; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 45 MM; LENGTH: 93 MM; MATERIAL: STL; SUPPL P/N: 524-2; MODEL NO: WKLN 50-5; FOR KSB PUMP
	44211
	Each 
	50

	104
	SLEEVE, SHAFT: TYPE: PROTECTIVE; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 45 MM; LENGTH: 118 MM; MATERIAL: STL; SUPPL P/N: 524-1; MODEL NO: WKLN 50-5; FOR KSB PUMP
	44210
	Each 
	50

	105
	SLEEVE, SHAFT: TYPE: STAGE; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 45.7 MM; MATERIAL: STL; SUPPL P/N: 521; MODEL NO: WKLM50/5; FOR KSB PUMP WKLN 40/5,TO BE USED ON ASH PUMP SEAL WATER PUMP; 22MM WD
	44212
	Each 
	50

	106
	COVER: TYPE: DE; DIMENSIONS: ID 49 X OD 100 X THK 15 MM; MATERIAL: GG25; APPLICATION: BEARING; MANUF P/N: 20232; BUILD REF:360
	571087
	Each 
	50

	107
	COVER: TYPE: NON DRIVE END; DIMENSIONS: ID 95 X OD 95 X THK 28 MM; MATERIAL: GG55; APPLICATION: BEARING; BUILD REF:361
	571086
	Each 
	50

	108
	SHAFT, PUMP: LENGTH: 790 MM; MATERIAL: 080M40Q; NOMINAL DIAMETER: 35 MM; END STYLE 1: KEYWAY; END STYLE 2: THREADED; APPLICATION: PUMP; TYPE: MULTI STG; SUPPL P/N: ZA024310; KSB.WKIN; HORIZONTAL; HIGH PRESSURE; CENTRIFUGAL; SHAFT COMPLETE WITH KEYS; NUT WITH TWO FLATS 920.4, CIRCLIPS ½ AND KEYS 940.1/.3/.4/.5/.6; BUILD:210
	571084
	Each 
	25

	109
	CASING, PUMP: TYPE: SUCTION; PUMP SIZE: 50 MM; MATERIAL: GG25; PUMP TYPE: KSB WKLN 50/5; MANUF P/N: 20102; APPLICATION: MAIN SILO PUMPS; BUILD REF:106; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	576009
	Each 
	25

	110
	CASING, PUMP: TYPE: DISCHARGE; PUMP SIZE: 50 MM; MATERIAL: GG25; PUMP TYPE: KSB WKLN 50/5; MANUF P/N: 20132; APPLICATION: MAIN SILO PUMPS; BUILD REF:107; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	576008
	Each 
	50

	111
	DIFFUSER: TYPE: INTERMEDIATE STG; DIMENSIONS: ID 46 X OD 215 X LG 44 MM; MATERIAL: STL; SUPPL P/N: 171-1; MODEL NO: WKLN 50/5; FOR KSB PUMP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	44209
	Each 
	50

	112
	KIT, PUMP REPAIR: TYPE: SEAL WATER; APPLICATION: PUMP; COMPRISING: GASKET; O-RING; MODEL NO: WKLN 65/3
	100258
	Each 
	50

	113
	RING, WEAR: INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 105 MM; THICKNESS: 8 MM; MATERIAL: STL; SUPPL P/N: 502; MODEL NO: WKLN 50/5; FOR KSB PUMP
	44206
	Each 
	50

	114
	HOUSING, BEARING UNIT: TYPE: MAIN SILO PUMP; BORE: ID 80 MM; MATERIAL: STL; BLOCK SIZE: ID 100 X OD 165 MM; BOLT MOUNTINGS: 4; BOLT DIAMETER: M12; MANUF P/N: 20211; BUILD REF 350.1/2; GG-25; KSB WKLN 50/5 PUMP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	571083
	Each 
	50

	115
	GASKET SET: TYPE: PUMP; MANUF P/N: 24802; WKLN 50/5 PUMP; BUKD REF 400; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	572224
	Each 
	50


2.1 Purchaser’s design

Not applicable to this contract

2.2 Procedure for submission and acceptance of Supplier’s design

Not applicable to this contract
2.3 Other requirements of the Supplier’s design

Not applicable to this contract
2.4 Use of Supplier’s design

Not applicable to this contract

2.5 Manufacture & fabrication

Not applicable to this contract
2.6 Factory acceptance testing (FAT)

Not applicable to this contract
2.7 Other tests and inspections and commissioning in place of use

Not applicable to this contract
2.8 Operating manuals and maintenance schedules

a) The data book of goods supplied includes maintenance procedures and proposed quality control procedures for future maintenance efforts.
b) Maintenance manuals and storage procedure to be submitted upon delivery of the goods.
3 Supply Requirements

a) Supplier shall confirm delivery lead time of items upon receipt of order.

b) All purchased goods shall be delivered at Kriel Power Station stores.

c) The Supplier shall ensures the goods are delivered during working hours and reasonable time must be allocated for gate access, off-loading, paperwork processing. Working Hours for Kriel Power Station are as follows: Monday to Thursday – 07h00 to 16h15 and Friday 07h00 to 12h00. 
d) Where deliveries are to be made outside the working ours, the Supplier shall confirm the availability of Kriel Power Station Stores Receiving personnel before dispatching the items.

e) The Supplier shall be prepared to provide goods within an acceptable delivery period when urgently required. 
4 Specification of the services to be provided
Not applicable to this contract

5 Constraints on how the Supplier Provides the Goods
5.1 Programming constraints 

a) The Supplier shall submit a program to the Supply Manager as per the agreed lead times during negotiations which covers all milestones of the manufacturing process up to delivery to site. 
b) The Supplier shall shares the program two (2) days after placement of each order to the Supply Manager for acceptance.
c) The early warning as per clause 16.1 is used to communicate the changes on agreed delivery schedule/ programme.
5.2 Work to be done by the Delivery Date
a) The supply of the goods shall include technical datasheets.

b) All goods shall be packaged in a way that prohibits mechanical damage to components. 

c) Damaged goods as a result of Supplier’s fault shall be corrected at the Supplier’s cost.

5.3 Marking the goods 
As a minimum, all material shall have a permanent markings that indicates the following information:
a) Name of the manufacturer

b) Year of manufacture

c) Manufacture reference of figure number

d) Unique spare serial number per item

e) Design standard (code of construction)

5.4 Constraints at the delivery place and place of use

a) All deliveries shall be arranged within Kriel Power Station normal working hours as stipulated in section 3 of this document.

b) The Supplier applies for temporary access permits (Contractor’s Permit) at the Security gate, prior to the Possession Date.  

c) The Supplier’s personnel are required to be in possession of Permit at all times.

d) All Supplier’s personnel are issued with a temporary access permit which contains the following information:

-
Name

-
ID Number

-
Company

-
Validity date

d) No unauthorised vehicles are allowed on site. 

5.5 Cooperating with Others

. 
a) The Supplier cooperates with the stores personnel during delivery. 
b) The Supplier cooperates with the Purchasers team in ensuring that the goods are delivered in accordance to all requirements
5.6 Services & other things to be provided by the Purchaser or Supplier
The availability of rigging equipment, cranes or forklift and the relevant operators must be confirmed with the Kriel Power Station (Supply manager) before dispatching the goods. 
5.7 Management meetings

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Overall contract progress and feedback
	Quarterly or as and when urgent need arises 
	either face to face or virtual at a convenient venue 
	Purchaser, Supplier, and Cross functional team members

	Overall contract progress and feedback
	Quarterly
	TBC
	Purchaser, Supplier, and CFT

	Contractor partnership SHEQ meeting
	Monthly
	TBC
	Statutory meeting, Supplier to attend


Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.  
All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

5.8 Documentation control

All contractual communications will be in the form of properly compiled letters or forms attached to e-mails and not as a message in the email itself.
5.9 Health and safety risk management

a) The Supplier complies with Section 10 of Occupational Health and Safety Act (Act No.85 of 1993) when manufacturing any goods for this contract. 
b) The Supplier shall comply with site health and safety requirements for Kriel Power Station when delivering goods.
c)  Site delivery safety requirements to be adhered to - And can be obtained through the Purchaser’s Manager In line with the SHE specification
d) The Supplier submits safety file for approval before access is granted

e) The Supplier maintains the safety file validity in line with site requirements
f)     The mode of transport for delivery should comply with site requirement in line with issued SHE specification

The Supplier shall comply with the health and safety requirements contained in Annexure A of the Invitation to Tender
5.10 Environmental constraints and management

The Supplier shall comply with the environmental criteria and constraints when doing deliveries at Kriel Power Station premises regarding: 

a) The vehicle used for delivery; by ensuring that there are no oil spillages, and the vehicle emission is not emitting beyond limits. 
b) The material used for supporting the goods being delivered are correctly disposed and are without harm to environment. The Supplier must comply with site Environmental management plan (EMP) and other requirement.

c) The Supplier complies with Environmental aspect and impact register

d) The Supplier complies with all site environmental management procedures, especially the waste management and oil spillages

The Supplier shall comply with the environmental criteria and constraints contained in Annexure B of the Invitation to Tender

5.11 Quality

. 
a) Quality Control Plan (QCP) must be approved by both the Suppliers, Eskom engineer and QC inspector before commencing with manufacturing of the ordered items. Material certificates, mechanical testing certificate and NDT certificates should be part of the data package accompanying the QCPs.

b) The Supplier must comply with Eskom’s Supply Quality Management Specification (Document No: 240-105658000) and ISO 9001:2015 requirements
c) The Employer will on frequent basis conduct the Supplier’s performance/ compliance  in accordance to QM 58 and ISO 9001 and NCR will be raised for non-compliance
The Supplier shall comply with the quality criteria and constraints contained in Annexure C of the Invitation to Tender

5.12 Invoicing and payment
Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.  
The Supplier shall address the tax invoice to Purchaser Invoiceseskomlocal@eskom.co.za

and include on each invoice the following information:

· Name and address of the Contractor and the Service Manager; 

· The contract number and title;

· Contractor’s VAT registration number;

· The Employer’s VAT registration number 4740101508;

· Description of service provided for each item invoiced based on the Price List;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

· Purchase order number

· Invoice number

· GR Number

· Supplier’s Banking details

5.13 Insurance provided by the Purchaser
Not applicable to this contract
5.14 Contract change management 
a) The change management process to be followed as per the core clause 16.1. 

b) Any verbal instruction/communication must be backed with a written instruction; the use of minutes, letters or emails is accepted. 

c) Any change in management by the Supplier must be communicated with the Supply manager.
d) If the Purchaser’s Supply Manager change, the Supplier shall be notified by the Purchaser as soon as possible to ensure that the Supplier follows the correct communication channel.

5.15 Provision of bonds and guarantees.
Not applicable to this contract
5.16 Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier
Early warning to be given by any of the parties as soon either becomes aware of matters that could increase the total of total prices, delay completion etc. All the compensation events will be implemented through the raising of an early warning. See NEC Core clause 16.1 and 63.1 and 63.2
6 Procurement

6.1 Subcontracting
6.1.1 Preferred subcontractors
Not applicable to this contract
6.1.2 Limitations on subcontracting

Not applicable to this Contract
6.1.3 Other requirements related to procurement
a) The Supplier shall adhere to the agreed 2% Corporate Social Investment (CSI) per amount paid involving this contract/agreement.
b) Supplier to provide a planned program to execute the committed SCI. 

6.1.4 Cataloguing requirements by the Supplier
Not Applicable to this Contract (Supplier shall provide spares/goods as per the Specification and description of the goods by the Purchaser)

7 List of drawings

7.1 Drawings issued by the Purchaser
Not applicable to this Contract 
C3.2
Supplier’s Goods Information

	This section of the Goods Information will always be contract specific depending on the nature of the goods and services.
It is most likely to be required for supply contracts where the tendering Supplier will have proposed specifications and schedules for the goods and services, which once accepted by the Purchaser prior to award of contract now become obligations of the Supplier per core clause 20.1.



This section could also be compiled as a separate file.


�To be completed by Health and safety officer


�To be completed by Environmental officer


�To be completed by Quality officer


�To be completed by the Procurement officer







Part C3: Scope of Work
1
C3 sc3 Cover page


