{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Phase a - Functional evaluation"],"not_rendered":{"images":1,"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Phase a - Functional evaluation","index":0,"n_rows":38,"n_cols":25,"rows_kept":38,"merged":[[6,2,6,15],[7,2,7,3],[8,2,11,3],[11,4,11,8],[12,2,13,3],[13,4,13,8],[14,2,17,3],[17,4,17,8],[18,2,19,3],[19,4,19,8],[20,2,22,3],[22,4,22,8],[24,2,24,6],[24,9,24,12],[25,2,25,7],[25,9,25,12],[25,14,25,15],[26,2,26,7],[26,9,26,12],[26,14,26,15],[27,2,27,7],[27,9,27,12],[27,14,27,15],[28,2,28,7],[28,9,28,12],[28,14,28,15],[29,2,29,7],[29,9,29,12],[29,14,29,15],[30,2,30,6],[30,9,30,13],[30,14,30,15],[35,2,37,8],[35,9,35,12],[35,14,35,15],[36,10,36,11],[36,14,36,15],[37,10,37,11],[37,14,37,15]],"flags":["formulas_cached_only"]}
[{"$nulls":3},0,"Do Not Meet",{"$nulls":13},"MAX",null,"Not applicable",{"v":0,"d":"0%"},{"v":0.69,"d":"69%"},"NOT MEET","0-69"]
[{"$nulls":3},1,"Partial Meet (large gap) ",{"$nulls":13},{"v":0,"d":"0%"},0,"Do Not Meet",{"v":0.7,"d":"70%"},{"v":0.79,"d":"79%"},"PARTIAL MEET","70-79"]
[{"$nulls":3},2,"Partial Meet (small gap)",{"$nulls":13},{"v":0.75,"d":"75%"},1,"Partial Meet",{"v":0.8,"d":"80%"},{"v":1,"d":"100%"},"MEET","80-100"]
[{"$nulls":3},3,"Meet",{"$nulls":13},{"v":1,"d":"100%"},2,"Meet",{"v":1.01,"d":"101%"},110,"EXCEED","101-110"]
[{"$nulls":18},{"v":1.1,"d":"110%"},3,"Exceed"]
[{"$nulls":18},{"v":1,"d":"100%"},"X","Not applicable"]
[null,null,"Functional Evaluation Criteria for Enquiry No: KBG XXXX. The servicing of fire extinguishers at Koeberg Operating Unit and Fire system cylinders  "]
[{"$nulls":4},"Requirements",null,null,"Criteria ","Deliverables","Weighting"," Rating","% Rating","% Score",null,"Supplier's Response","Eskom Comments"]
[null,null,"COMPANY PROFILE AND EXPERIENCE OF KEY PERSONNEL",null,"Well balanced organisational structure",null,null,"Provide organisational structure highlighting key positions and how they will interface with Employer","The structure needs to show the function areas for the entire organisation and the roles each member plays in delivering the specific required services, inlcuding the interface with the Employer",{"v":0.2,"d":"20%"},null,{"v":0,"d":"0%"},{"v":0,"d":"0.0%"}]
[{"$nulls":4},"Quantitative & practical experience of Company",null,null,"< 2 years experience = Not meet\n> 2 – 3 years experience = Partial Meet\n> 3 years experience = Meet\n","Submit a portfolio that demonstrates where the experience was involved in previous contracts or projects. Submit a list of contactable references that the Employer can contact during tender evaluations. A list of referrals will be useful.",{"v":0.4,"d":"40%"},null,{"v":0,"d":"0%"},{"v":0,"d":"0.0%"}]
[{"$nulls":4},"Appropriately skillled & qualified personnel at all operational levels",null,null,"< 2 years experience = Not meet\n> 2 – 3 years experience + relevant qualifications = Partial Meet\n> 3 years experience + relevant qualifications= Meet\n","Detailed CVs of all accredited service technicians and learner technicians (if applicable) including relevant qualifications and references of past experience. ",{"v":0.4,"d":"40%"},null,{"v":0,"d":"0%"},{"v":0,"d":"0.0%"}]
[{"$nulls":4},"TOTAL WEIGHTING",{"$nulls":4},{"v":1,"d":"100%"},false,{"v":0,"d":"0%"},{"v":0,"d":"0%"}]
[null,null,"PRESERVATION & STORAGE",null,"The supplier shall ensure that the premises \nwhere Koeberg fire extinguishers are serviced is secured at all times and that unauthorized persons will not gain access to any of the fire extinguishers.",null,null,"No locked secure storage area + no locked delivery vehicle = Not Meet\nLocked secure storage area + no locked delivery vehicle = Partial Meet\nNo locked secure storage area + locked delivery vehicle = Partial Meet\nLocked secure storage area + locked delivery vehicle = Meet\n","Submit a process for preservation and storage. Site visit of premises to be conducted as well.",{"v":1,"d":"100%"},null,{"v":0,"d":"0%"},{"v":0,"d":"0.0%"}]
[{"$nulls":4},"TOTAL WEIGHTING",{"$nulls":4},{"v":1,"d":"100%"},false,{"v":0,"d":"0%"},{"v":0,"d":"0%"}]
[null,null,"CERTIFICATION",null,"Current certificates of registration in \naccordance with SANS 1475. (If no Certificate, immediate disqualification as this is a legal requirement)",null,null,"SANS-1475 makes it compulsory for all fire \nextinguisher service providers to be registered with the registering body. ","Submit certificates of registration in \naccordance with SANS 1475",{"v":0.4,"d":"40%"},null,{"v":0,"d":"0%"},{"v":0,"d":"0.0%"}]
[{"$nulls":4},"Certification of competence for all technicians in accordance with SANS 1475. (If no Certificate, immediate disqualification as this is a legal requirement)\n",null,null,"SANS-1475 makes it compulsory for all \nservice personnel to be trained and to be in posession of a Certificate of Competency.","Submit Certification of competence for all technicians in accordance with SANS 1475",{"v":0.2,"d":"20%"},null,{"v":0,"d":"0%"},{"v":0,"d":"0.0%"}]
[{"$nulls":4},"Certificate of registration of all service personal in terms of SAQA. (If no Certificate, immediate disqualification as this is a legal requirement)\n",null,null,"SANS-1475 makes it compulsory for all \nservice personnel to be registered with the registering body.","Submit Certificate of registration of all service personal in terms of SAQA.",{"v":0.4,"d":"40%"},null,{"v":0,"d":"0%"},{"v":0,"d":"0.0%"}]
[{"$nulls":4},"TOTAL WEIGHTING",{"$nulls":4},{"v":1,"d":"100%"},false,{"v":0,"d":"0%"},{"v":0,"d":"0%"}]
[null,null,"TECHNICAL",null,"Conformance to approved international, \nnational codes, standards and specifications. Review the supplier’s certification of compliance with the relevant codes and standards for the unit in service at Koeberg.",null,null,"Copies of the varius OEM's standards and \nrequirements for servicing to be available. \nCopies of all thre relevant SANS Standards, calibration certificates, materials and equipment check list to be available and on hand.","Submit evidence of comformance",{"v":1,"d":"100%"},null,{"v":0,"d":"0%"},{"v":0,"d":"0.0%"}]
[{"$nulls":4},"TOTAL WEIGHTING",{"$nulls":4},{"v":1,"d":"100%"},false,{"v":0,"d":"0%"},{"v":0,"d":"0%"}]
[]
[]
[{"$nulls":4},"TOTAL WEIGHTING",{"$nulls":4},{"v":0,"d":"0%"},false,{"v":0,"d":"0%"},{"v":0,"d":"0%"}]
[]
[null,null,"Final Analysis"]
[null,null,"COMPANY PROFILE AND EXPERIENCE OF KEY PERSONNEL",{"$nulls":5},{"v":0.25,"d":"25%"},{"v":0,"d":"0.0%"}]
[null,null,"PRESERVATION & STORAGE",{"$nulls":5},{"v":0.05,"d":"5%"},{"v":0,"d":"0.0%"}]
[null,null,"CERTIFICATION",{"$nulls":5},{"v":0.3,"d":"30%"},{"v":0,"d":"0.0%"}]
[null,null,"TECHNICAL",{"$nulls":5},{"v":0.1,"d":"10%"},{"v":0,"d":"0.0%"}]
[null,null,0,{"$nulls":6},{"v":0,"d":"0.0%"}]
[null,null,"TOTAL",{"$nulls":5},{"v":0.7,"d":"70%"},{"v":0,"d":"0.0%"}]
[{"$nulls":3},"RECOMMENDED"]
[{"$nulls":3},"NOT RECOMMENDED"]
[{"$nulls":3},"RE-EVALUATE",{"$nulls":6},{"$error":"#REF!"},{"$error":"#REF!"},null,null,{"$error":"#REF!"},{"$error":"#REF!"}]
[null,null,"SUPPLIERS MUST OBTAIN A SCORE OF 80% OR MORE TO MEET FUNCTIONALITY AND BE EVALUATED FURTHER"]
[null,null,"The scoring of the Quality Evaluation is conducted as follows:\nA supplier is given a score in each of the sub-categories. These sub-categories are requirements detailed in the specification or contract. Scores are allocated as follows:\n0 - 0% -    Does not meet \n1 - 75% -  Partial meet  \n2 -100% - Meet \n",{"$nulls":11},"COMPILED BY: A  VAN ROOYEN               2026/01/30"]
[{"$nulls":14},"COMPILED BY:              "]
[{"$nulls":14},"APPROVED BY: "]