APPOINTMENT OF A CONTRACTOR FOR THE SUPPLY AND INSTALLATION OF SOLAR LIGHTING HIGH MASTS AT EZIBELENI ENGINEERING CAMPUS

- BACKGROUND

The College is looking to contract the services of a competent contractor to supply and install solar lighting high masts at Ezibeleni Campus as a way to enhance security and to protect the property from potential intruders.

SCOPE OF WORK

The BOQ has been provided giving a detailed breakdown of what needs to be undertaken. The works involves the following:

- Excavation for pole foundations 1.7m x 1.7m x 1.1m.

- Pole to be a galvanized graded steel, 20m high.

- Key features:

- Lithium-ion based battery storage.

- Solar

- Mast position to be confirmed by client upon appointment.

- PROJECT LOCATION

This project is located at Ikhala TVET College: Ezibeleni Engineering Campus.

- PROJECT DURATION

The project expected duration is 1 month from date of award.

- PROJECT TEAM STRUCTURE

The project team will consist of the Client (Ikhala TVET College) represented by Facilities Management.

- METHODOLOGY

Completion of the works in due time and to the specification.

- SKILLS TRANSFER

Subject to negotiation with the successful bidder.

- TIME FRAMES

| PROCESS | CONCLUDED BY: |
| --- | --- |
| SITE BRIEFING (Ikhala TVET College: Ezibeleni Engineering Campus) |  |
| IKHALA COLLEGE: RFQ |  |

- PREFERENCE POINT SYSTEM

The tender will be evaluated on the 80/20 Preference Points system as prescribed by the Preferential Procurement Policy Framework Act 5 of 2000, and Points will be awarded to a bidder for attaining the B-BBEE status level of contribution in accordance with legislation.

- EVALUATION PROCESS TO BE FOLLOWED

Evaluation of proposals – All proposals will be evaluated by a team for functionality, price and B-BBEE. Based on the results of the evaluation process, Ikhala College will approve the awarding of the contract to successful tenderers.

A two-phase evaluation process will be followed.

- The first phase, Technical Proposal, includes functionality, local presence and experience relevant to the nature of the project.

- The functionality evaluation will be based on the criteria as listed underneath.

- Pricing Proposals will only be considered after functionality phase has been adjudicated and accepted. Only proposals that achieved a minimum qualification score of 60% for functionality will be evaluated further using the preference points system.

- The 80/20 preference point system will be used where 80 points will be dedicated to price and 20 points to B-BBEE status.

- Proposals with functionality points of less than the pre-determined minimum overall percentage of 60% and less than 50% on any of the individual criteria will be eliminated from further evaluation.

- COST OF PROPOSAL

- Tenderers are expected to fully acquaint themselves with the conditions, requirements and specifications of this Request for Quotation (RFQ) before submitting proposals.

- Each tenderer assumes all risks for resource commitment and expenses, direct or indirect, of proposal preparation and participation throughout the RFQ process.

- Ikhala College will not be responsible directly or indirectly for any costs incurred by tenderers.

13.	PRICING PROPOSAL

Price needs to be provided in South African Rand (excl. VAT), with details on price elements that are subject to escalation and exchange rate fluctuations, if any, clearly indicated.

Only firm prices* will be accepted during the tender validity period. Non–firm prices** (including prices subject to rates of exchange variations) will not be considered.

*Firm price is the price that is only subject to adjustments in accordance with the actual increase or decrease resulting from the change, imposition, or abolition of customs or excise duty and any other duty, levy, or tax which, in terms of a law or regulation is binding on the contractor and demonstrably has an influence on the price of any supplies, or the rendering costs of any service, for the execution of the contract;

**Non-firm price is all prices other than “firm” prices.

- VALIDITY PERIOD OF PROPOSAL

Each proposal shall be valid for a minimum period of One (1) month calculated from the closing date.

- COMPULSORY BRIEFING SESSION

Compulsory site briefing is scheduled for the February 2024 as follows.

| SITE | DATE | TIME |
| --- | --- | --- |
| Ezibeleni Engineering Campus | February 2024 | 10H00am |

- CLOSING DATE

March 2024, 11h00 am.

- TECHNICAL SPECIFICATIONS

See Scope of Works and BOQ.