Eskom Holdings SOC Ltd

Contract number _____________
project or contract title




Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Employer’s Scope
	

	C3.2
	Consultant’s Scope

	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	24


C3.1: Employer’s scope
Contents

1Part 3: Scope of Work


2C3.1: Employer’s scope


41
Description of the Services


41.1
Executive Overview


41.2
Interpretation and Terminology


52
Specification and Description of the Services


52.1
QUALITY MANAGEMENT


52.1.1
System requirements


62.2
HEALTH, SAFETY, ENVIRONMENTAL


62.3
Life Saving Rules


72.4
Security management requirements


73
SECONDARY PLANT ENGINEERING AND TECHNOLOGY MANAGEMENT


73.1
Protection, Telecommunications, Metering, Telecontrol, DC, Physical Perimeter Security and Physical Access Control Systems Application Design / Project Engineering


83.2
Protection, Telecommunications, Metering, Telecontrol, DC, Physical Perimeter Security, Physical Access Control Systems and Associated Cyber Security Technology Management / Engineering


94
POWERLINE ENGINEERING


115
SUBSTATION ENGINEERING


115.1
ELECTRICAL


125.2
CIVIL AND STRUCTURAL


136
INTEGRATION ENGINEERING


147
DESIGN DRAUGHTING


148
Constraints on how the Consultant Provides the Services.


148.1
Management meetings Constraints on how the Service Provider Provides the Services


148.2
Progress Meetings


158.3
Service Provider’s key persons


168.4
Provision of bonds and guarantees


168.5
Documentation control and retention


168.5.1
Identification and communication


168.5.2
Retention of documents


168.6
Records and forecasting of expenses


168.7
Records and forecasting of the Time Charge


178.8
Invoicing and payment


178.9
Contract change management


178.10
Inclusions in the programme


178.11
The Parties use of material provided by the Consultant


178.11.1
Employer’s purpose for the material


178.11.2
Restrictions on the Consultant’s use of the material for other work


188.11.3
Transfer of rights if Option X 9 applies


188.12
Management of work done by Task Order


188.13
Health and safety


198.13.1
Medical Surveillance Programme


198.14
Procurement


198.14.1
BBBEE and preferencing scheme


228.14.2
Other constraints


238.14.3
Preferred subconsultants


238.14.4
Subcontract documentation, and assessment of subcontract tenders


238.14.5
Limitations on subcontracting


238.14.6
Attendance on Subconsultants


238.15
Working on the Employer’s property


238.15.1
Employer’s entry and security control, permits, and site regulations


238.15.2
People restrictions, hours of work, conduct and records


248.16
Things provided by the Employer


248.17
Cataloguing requirements by the Consultant




1 Description of the Services
1.1 Executive Overview 
The external engineering Service Providers are required to augment Transmission Engineering, resources when the need arises, through the provision of specialised engineering services. The scope of services encompasses the engineering disciplines in areas which lack sufficient specialised skills and capabilities. The Service Providers will work with Transmission resources to support the business when Eskom does not have adequate internal resources with the required skills and competencies.

The Employer will from time to time depending on services required appoint the Service Providers (as and when required). Resources requisitions will be issued to the Service Provider with defined scopes and / or expertise required. Once CVs are received, resources will be evaluated on their qualifications, experience, and expertise and if successful be appointed for the services through the issuing of a Task Order (Budget Estimate).
For each of the services required, a short description of the service has been included on the listed job profiles (Addendum E: Engineering Job Profiles) where more details are also provided. Please ensure that each resource is accompanied by a fully signed budget estimate or task order request form, confirming the project, service, and duration required. It's important to note that the provided scope is an estimate only. Services will be rendered on an as-needed basis.
NB: The standard place of work is Eskom Megawatt Park, Johannesburg unless otherwise agreed with the Service Provider.
1.2 Interpretation and Terminology
The following abbreviations are used in this Scope:
	Abbreviation
	Meaning given to the abbreviation

	APS
	Accounts Payable Services

	BBBEE
	Broad-Based Black Economic Empowerment

	CIPC
	Companies and Intellectual Property Commission

	ECC
	Engineering and Construction Contract

	EME
	Exempted Micro-Enterprise

	GR
	Goods Receipt

	IEC
	International Electrotechnical Commission

	IPP
	Independent Power Producer

	ISO
	International Organization for Standardization

	NEC
	New Engineering Contract

	NRS
	National Regulatory Standards

	OHS
	Occupational Health and Safety

	PC
	Personal Computer

	PPPFA
	Preferential Procurement Policy Framework Act

	QMS
	Quality Management System

	QSE
	Qualifying Small Enterprise

	RDP
	Reconstruction and Development Programme

	SABS
	South Africa Bureau of Standards

	SC
	Supply Contract

	SDL&I
	Supplier Development, Localisation, and Industrialisation

	SETA
	Sector Education and Training Authority

	SHE
	Safety, Health, and Environment

	SOC
	State-Owned Company

	VAT
	Value Added Tax


2 Specification and Description of the Services
2.1 QUALITY MANAGEMENT

2.1.1 System requirements

The Service Provider shall have a fully documented, implemented and maintained Quality Management System which complies with the requirements of the ISO 9001 or their quality management system shall carry valid certification from an acceptable QMS Certification body. The Service Provider to provide a quality plan within 30 days of contract signing, and once accepted will form part of the contract documentation. 

Performance evaluation templates will be discussed after contract award by both Employer and the Service Provider. Performance will be measured twice a year by the Service Provider and feedback will be provided to the Employer.
A non-conformance report will be issued if the Service Provider does not meet Employer quality requirements. If there are any defects as per technical specifications, the non-conformance report will be issued and monitored until closure. 

HEALTH, SAFETY, ENVIRONMENTAL 

The Service Provider shall always comply with the health and safety requirements prescribed by law and the Employer as they apply to the services. Failure to comply shall result in the Employer suspending the execution of services and removing the Service Provider from site until compliance is achieved. The Employer may cancel a Task Order and/or terminate the contract depending on the situation and risks to people, plant and equipment, reputation, and the Employer’s business of electricity supply. 

The Service Provider shall comply with the health and safety requirements contained on the Task Order. The relevant Site / Project Manager shall require the Service Provider to attend SHE Induction training provided by the Employer. It is essential that the Service Provider is conversant with Eskom safety procedures training prior commencing any work on site.

If the Service Provider may be required to work on Eskom premises, where health and safety requirements additional to those prescribed by law apply.
2.2 Life Saving Rules

In the interest of promoting a safe and healthy working environment, the Eskom Executive Committee has approved the implementation of life saving rules, to improve safety in the organisation. These rules will also be applicable to all contracting staff.

The business is concerned about the emotional, social as well as economic effect of all these unnecessary incidents, and would like to correct behaviour pro-actively.

These rules are determined beforehand to enable the organisation to clearly communicate the established Life Saving Rules and how to deal with non-compliance to the workforce prior to the implementation of such rules. 

Failure by any person or Service Providers/Contractors engaged in doing business with Eskom to adhere to these rules, will lead to serious action being taken with serious consequences (including being refused access to site). These actions include termination of service of an individual and even blacklisting of Service Provider/Contractors not taking the rules seriously. It is therefore strongly advised that these rules be taken seriously, communicated to all your staff, ensure that they all understand the rules, understand the consequences of violating a rule and sign a document stating that they understand and acknowledge the implications of these rules.
ESKOM LIFE SAVING RULES ARE:
Rule 1: Open, Isolate, Test, Earth, Bond and/or Insulate before touch (above 1 000 V)

Rule 2: Hook up at heights

Rule 3: Buckle up

Rule 4: Be sober

Rule 5: Ensure that you have a permit to work
2.3 Security management requirements

The Consultant shall follow all site entry requirements established by the Employer, particularly those outlined in the Critical Infrastructure Protection Act 8 of 2019.
3  SECONDARY PLANT ENGINEERING AND TECHNOLOGY MANAGEMENT 
The provision of engineering services to be contracted on a time basis to contribute to Eskom’s outputs in terms of the disciplines and outputs listed below.
3.1 Protection, Telecommunications, Metering, Telecontrol, DC, Physical Perimeter Security and Physical Access Control Systems Application Design / Project Engineering

Application design refers to the engineering activities associated with the design of power network infrastructure; utilising standard developed products which are typically available off Supply Contracts that Eskom has established with third party vendors. Engineering activities and design outputs include:

· Design drawings (to-build and as-built), 

· Telecontrol datapoint definitions, 

· Substation / IED IEC 61850 CID, SCD, ICD database file design / creation

· Substation IP network design

· Interlocking rule design / definition / creation

· Protection design

· DC system sizing and design

· DC and AC board reticulation design, 

· Control Room Layout in terms of panel placement, emergency evacuation requirements, lightning, access and overhead racking load calculations

· Telecommunication specific Voice, Videoconference, IP router, Radio and Fibre Optic Network designs

· CCTV, Volumetric Alarm, Perimeter Intrusion detection and Electric fence designs

Engineering processes and deliverables must comply with statutory regulations and Eskom Transmission governance, philosophies, standards, and accepted practices. They should be delivered to Eskom in a specified format and on designated media for each task order. Additionally, all designs require approval from a competent ECSA registered professional.
3.2 Protection, Telecommunications, Metering, Telecontrol, DC, Physical Perimeter Security, Physical Access Control Systems and Associated Cyber Security Technology Management / Engineering
Technology management refers to engineering activities to establish technology direction / goals, planning to achieve these goals, concept, basic and detailed designs for the establishment of new technologies, sourcing strategies and mechanisms, new technology change management, support activities to sustain and achieve best value from technologies and end of life planning.  Engineering activities and design outputs include:

· Compilation of user requirements, philosophies, specifications and / or technical input to commercial documentation against which tenders can be issued for the design, development, manufacture, testing and subsequent supply.

· NEC ECC and SC project and contract management.

· Technology change management including the development of Settings, Maintenance and Operating Documentation.

· Development / Population of Configuration Management Systems and PC based Product Configuration Tools.

· Compilation of Engineering Instructions and / or associated product configurations for changes to the installed design base.

· Development and / or presentation of training courses associated with the introduction of new technology, maintenance and operating thereof.
· Cybersecurity risk, penetration, and vulnerability assessment as well as architecture standards and frameworks development and / or design reviews

· Incident investigations

· Specialised studies / analysis relating to existing infrastructure or to facilitate the creation of new infra-structure.

Engineering processes and deliverables must comply with statutory regulations and Eskom Transmission governance, philosophies, standards, and accepted practices. They should be delivered to Eskom in a specified format and on designated media for each task order. Additionally, all designs require approval from a competent ECSA registered professional.
4 POWERLINE ENGINEERING

The design scope is covered in the sections below. There may be other specialised studies not mentioned here that will be needed at times for specialised and complex projects. All designs will follow the Eskom governance process with respect to the formal line design process.

ELECTRICAL

· Conductor Optimization:

· Insulator selection: 

· Earthing design: 

· Line performance studies:

· Ground wire selection

· Telecommunications designs 

STRUCTURAL

· Tower selection  

· Tower loading analysis (wind and weight spans)

· Telecommunication tower and related infrastructure design, analysis, detailing, testing if needed, and prototyping.

· Tower design 

HARDWARE SELECTION

· Selection and design of relevant hardware for the selected tower, conductor, and    insulator combination.

· Development of outline drawings for selected hardware 

· Drawings for new hardware designs
FOUNDATIONS

· Geotechnical studies

· Foundation designs

· Soil nominations and analysis of nominations

· Foundations refurbishment methods

LINE PROFILING

· Tower spotting and line optimisation on PLSCADD

· Creation and review of method 1 and method 4 seed files

· Preliminary and detailed visual inspections (ground and aerial)

ENVIRONMENTAL CONSIDERATIONS
· Electromagnetic interference (fences, water pipes, Telkom lines etc)

· Lightning prevalence analysis

· Prevalent pollution levels

· Optimal routing of the line and land/ servitude use

CORROSION PROTECTION

· Steel poles

· Hardware

· Phase conductor and Earthwire

· Identification of corrosion levels on components

SPECIALISED STUDIES AND SERVICES (NOT LIMITED TO)

· Corona measurements 

· Wayleave application analysis (Not limited to design related impacts emanating from landowner, environmental and community issues)

· Line impedance measurements

· Insulation coordination

· Ferranti and voltage unbalance studies

· Uprating and upgrading of existing lines

· Electromagnetic field measurements and analysis (Desktop and field)

· Tower detailing (Draughting)

· Coupling studies (fences – electrified and non-electrified, railway lines, other powerlines, pipelines etc.)

· Cathodic protection studies (pipelines and railway lines)

· Specialised geotechnical studies (undermining, landfill etc.)

· Surveying (including, but not limited to digitizing and spatial information analysis)

· Engineering quality assurance at construction sites

· Project lead designer skills 
5 SUBSTATION ENGINEERING 

5.1 ELECTRICAL 

·  Produce electrical designs (AIS/GIS/HVDC) on Transmission projects for Concept, Definition & Execution Phases on varying projects.
· Technical specifications reviews 

· Application and adherence to Eskom Design Standards, Specifications, best practises, NRS standards, SABS and IEC standards, Occupation Health, and Safety (OHS) act, Construction regulations, etc.

· Knowledge and application of different Technologies used for design

· Knowledge and application of the different busbar philosophies

· Produced CAD based design drawings (Microstation)

· Participation in Project life cycle technical hold points such as:

· Substation design reviews, 

· PDRA (Project Development Readiness Assessments) and 

· Stakeholder and site meetings

· Technical Tender Evaluations

·  Specialized studies

· Earthing studies in CDEGS

· Insulation co-ordination

· Lightning protection studies

· Harmonic studies

· NER optimization studies

· Floodlights and security lighting studies

· Life cycle costing

· Heating/ventilation and air conditioning

· Lighting studies using Relux

·  Design verification (Field measurements)

· Corona and Radio Interference

· Field measurements

· Electric & Magnetic field measurements

· Audible noise measurements

· Soil Resistivity Measurements

· Grid Resistance Measurements

· Earthing Continuity Measurements

· Lighting (lux) measurements
· Earthing systems

· Grid Resistance Measurements

· Earthing Continuity Measurements

· Lighting measurements

· Site Assurance/Investigations/Inspections during construction

· Post-construction

· Design verifications (Designed vs As built)

· Drawing mark-ups

· Audits

· Insulators

· Hardware

· Conductors

· HV cable systems
· Electrical Design

· HV cable selection and specification (Conductor, Sheath, outer layer, Insulation, etc.).

· HV Cable systems design. 

· Construction, maintenance, and related activities

5.2 CIVIL AND STRUCTURAL

Civil designs for project development on transmission schemes associated with the network integration of power from Power Stations, IPP projects, network strengthening, expansion schemes and refurbishment projects

· Site Plan/Terrace

· Cut & Fill

· Application of the geotechnical report 

· Drainage

· Foundation

· Steel Works (Structural)

· Concrete Works (Foundations, Roofs, Plinths and Trenches)

· Embankments

· Infrastructure tunnel designs

· Passive and Active Fire Protection

· Construction Regulations

· Architectural design

· Roads (Site access roads and terrace roads)

· Fencing

· Buildings e.g., Control Room, Switch Rooms, Access Control Building, Cladded Stores, Workshops, Consumable Stores etc.

· Substation Security

· Produce required  Civil design Drawings.
· Participate in :

· Substation design reviews

· Technical specifications reviews

· Technical Tender Evaluations

· Civil Investigations and Studies

· Specialized studies

· Geotechnical Studies

· Structural analysis and design

· Concrete design

· Life cycle costing

· Internal Arc pressure and other pressure related calculations for buildings

· Compaction design

· Road and river crossing designs

· HV, MV and LV tunnel design

·  Site Assurance/Investigations/Inspections during construction

·  Post-construction design verifications (as-designed vs as-built)

·  Post-construction design drawing mark-ups

·  Audits

· Structures

· Foundations

· Quantity surveying services

· Construction Regulations

· Development of RAM

· Hydrological Studies

6 INTEGRATION ENGINEERING

Fulfil the roles below for project development on transmission schemes associated with the network integration of power from Power Stations, IPP projects, network strengthening, expansion schemes and refurbishment projects.

· Customer Interface for Engineering work requests.

· Representation and liaison with Project Departments 

· Co-ordinate a multidisciplinary design team to produce integrated designs.

· Negotiate and contract with all stakeholders including internal and external departments.

· Manage handshake documents between Engineering disciplines.

· Track, manage and report on progress including time, cost and quality related to all project portfolios.

· Technical governance approval for major project schemes.

· Manage and co-ordinate workflow / design process 

· Manage / report design changes during construction

7 DESIGN DRAUGHTING

· Provide Engineering Drafting (Substations: Electrical and Civil, PTM&C, Line Engineering) using Bentley Microstation
· Create drawing master files 

· Produce project design drawings (Electrical, Secondary plant and Civil)

· Update marked up drawings

· Check in/out drawings using Eskom approved configuration management systems

· Print drawings as per requirements

· Prepare hard copies of drawings for issue

· All soft copies to be in Microstation V8i format 

· Steel detailing
8 Constraints on how the Consultant Provides the Services.
8.1 Management meetings Constraints on how the Service Provider Provides the Services
a) The Service Provider and the Employer will review the Deliverables in meetings organized and scheduled by the Employer. 
b) The Service Providers ensure that all follow-up actions are carried out within the time stipulated.

c) The Employer may, in addition to the scheduled review meetings indicated, request additional reviews. 

d) The Employer may involve independent third parties in any of the review meetings.

e) The requesting manager will assess the performance of their resources based on the duration of the assignment. Assignment over 6 months resource to be assessed for performance on a bi-annual basis and below 6 months the Managers will use their discretion.

8.2 Progress Meetings

a) Regular meetings are held between the Employer and Service Providers to review progress according to the Accepted Programme and to discuss early warnings.

b) The frequency and venue of progress meetings are agreed upon by the Service Providers and the Employer.

c) A schedule for progress meetings is agreed upon between the Service Providers and the Employer.

d) Minutes of these meetings are maintained by the Employer.

e) NB: Communication mandated by the contract follows the Conditions of the Contract.
f) Regular meetings of a general nature may be convened and chaired by the Employer as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Overall contract progress and feedback to Steering Committee
	Quarterly 
	Eskom Megawatt Park or other venue as advised
	The Employer and Service Provider representatives and any other members as specified in terms of reference. 

	Overall task order progress and feedback to applicable business unit, to be managed within contractual and process limitations
	Monthly 
	Eskom Megawatt Park or other venue as advised 
	Eskom Section representatives and Service Provider representatives

	Overall task order progress and feedback to applicable business unit, to be managed within contractual and process limitations
	Weekly or as and when required
	Eskom Megawatt Park or other venue as advised
	Eskom Section representatives and Service Provider representatives


Attendees shall have the necessary delegated authority to make decisions in respect of matters discussed at such meetings and this is to be managed within contractual and process limitations. 

The Meetings of a specialist nature may be convened as specified elsewhere in this Scope or if not so specified by persons and at times and locations to suit the Parties, the nature, and the progress of the services.  Records of these meetings shall be submitted to the Employer by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.  Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

8.3 Service Provider’s key persons

An organogram from the Service Provider showing key persons and their lines of authority / communication shall be submitted to the Employer within 4 (four) weeks of the Contract Date. The Service Provider shall be required to notify the Employer of the contact details, leave and alternative where applicable in respect of each key person. Any changes in this regard shall be notified in writing in advance or within 1 (one) week of occurring and measures taken to avoid negative impacts on the Service Provider’s ability to deliver the services.
8.4 Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Consultant is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.

The Employer may withhold payment of amounts due to the Consultant until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Consultant by the Employer’s Agent to receive and accept such bond or guarantee.  Such withholding of payment due to the Consultant does not affect the Employer’s right to termination stated in this contract. 

8.5 Documentation control and retention
8.5.1 Identification and communication
All contractual communication will be in the form properly compiled letter, forms attached to emails and as a message in the email itself. All letters must have company overhead. The phone call communication is allowed in case of emergency; however, it must be followed by written communication. Correspondence on a day-to-day basis may be directed to other parties within the Employer’s organisation bur care must be taken not to violate contract conditions and other provision in terms of the contract.
8.5.2 Retention of documents
N/A
8.6 Records and forecasting of expenses
Clear records of expenses shall be maintained by the Consultant and submitted on request to the Employer for verification. Only invoices from Service Providers (e.g., hotel or car hire company) showing actual expenses incurred in the case of T&S expenses shall be accepted for processing by the Employer.
8.7 Records and forecasting of the Time Charge

The Consultant shall submit forecast of time charges for each assessment period and maintain records thereof. Clear records of hours worked or timesheets in respect of all time charges shall be kept by the Consultant and shall indicate the resource utilised, location, duration, and times, associated expenses incurred, and a summary of the services rendered which shall be cross-referenced to deliverables rendered. The records of hours shall indicate the Requesting Manager to whom services were delivered. The Requesting Manager shall review all time sheets during assessment and the Consultant shall obtain signed timesheets and assessment documentation from Requesting Manager and submit the assessment package to the Employer’s Agent for processing. The Consultant shall maintain records of all documentation and make available to the Employer any or all such documentation on request.
Invoicing and payment
The Consultants will invoice a month in arrears; however, the Consultants will submit invoices to the  relevant Engineering representative five (5) working days before submitting final Tax invoices to Accounts Payable Services (APS) to allow Goods receipt (GR’s) to be done timeously and avoid invoices being parked in the system. The process can be amended as required from time to time per mutual agreement between both parties. The invoice should be accompanied by relevant supporting documents and calculations supporting the amount invoiced.

The Consultant shall address the tax invoice to Eskom Holdings SOC Limited and include on it the following information:

· Name and address of the Consultants and the Employer.

· The contract number and title.

· Consultant’s VAT registration number.

· The Employer’s VAT registration number 4740101508.

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT. 

· Date of the invoice 

· Task Order number.

· Description of the services and quantities

· Period invoiced

· Name of the employee and project/site

· Purchase Order number
8.8 Contract change management 
N/A
8.9 Inclusions in the programme
N/A
8.10 The Parties use of material provided by the Consultant
8.10.1 Employer’s purpose for the material
All rights to material belong to Employer for purposes stated in the Scope.
8.10.2 Restrictions on the Consultant’s use of the material for other work
As per the Task Order.
8.10.3 Transfer of rights if Option X 9 applies
The Employer owns the Consultant’s rights over material prepared for this contract by the Consultants. The Consultant provides to the Employer the documents which transfer these rights to the Employer.
8.11 Management of work done by Task Order
Refer to Addendum B for the format of a Task Order which shall be used by the Employer as the means of instructing the Consultant to deliver services. No work shall be carried out without a signed Task Order issued by the Employer and a subsequent approved and fully signed budget estimate and a purchase order for each service request.

The Task Order shall specify the scope of services, deliverables, starting and completion dates and the cost allocation. The Consultant shall deliver services within the constraints stipulated on the Task Order and engage the Employer as soon as the Consultant becomes aware of any risk in this regard. Any work executed outside the parameters stipulated on the Task Order, including cost, shall be for the Consultant’s account notwithstanding delivery and acceptance of services that may be made by the Employer or people in the Employer’s organisation.

All Expenses shall be paid for by the Consultant and reimbursed at cost after assessment. The Consultant shall include itemised estimated expenses in all proposals in response to Requests for Proposals issued by the Employer. Forecasts of estimated Expenses shall be submitted to the Employer’s Requesting Manager for acceptance at the Assessment meeting. Expenses that are incurred without the Employer’s prior acceptance in writing shall not be reimbursed by the Employer.

The Consultant shall handover to the Requesting Manager all the documents for the services rendered and a Requesting Manager shall sign a transmittal form as a proof of acceptance of all the documents handed over to them.
8.12 Health and safety
The Consultant shall always comply with the health and safety requirements prescribed by law and the Employer as they apply to the services. Failure to comply shall result in the Employer suspending the execution of services and removing the Consultant from site until compliance is achieved. The Employer may cancel a Task Order and/or terminate the contract depending on the situation and risks to people, plant and equipment, reputation, and the Employer’s business of electricity supply.

The Consultant shall comply with the health and safety requirements contained on the Task Order. The relevant Site / Project Manager shall require the Consultant to attend SHE Induction training provided by the Employer. It is essential that the Consultant is conversant with Eskom safety procedures training prior commencing any work on site.

If the Consultant may be required to work on Eskom premises, where health and safety requirements additional to those prescribed by law apply, refer to Section 2.2 of this document for applicable SHEQ policies and procedures.

8.12.1 Medical Surveillance Programme

The Consultant shall ensure that the employees are registered on a medical surveillance programme and are in possession of a valid medical fitness certificate, completed in South Africa. The certificate of fitness should be relevant to the type of work (risk based) that the employee will be exposed to. This will require each employee to have a risk-based person job specification that will be used as a basis for medical examination.

The Consultant must ensure that their resources (employees) have undergone pre-entry medical examination before starting work on site, no employee will access site without a valid medical fitness certificate. During the progress of the contract, the resources shall undergo the periodic medical examination over a period recommended based on the exposure. Upon completion or as and when employees’ leave the project, an exit medical examination must be done for all employees involved in the project.
8.13 Procurement
8.13.1 BBBEE and preferencing scheme

8.13.1.1 Section 1: Objective Criteria 

The inclusion of objective criteria in an enquiry is not mandatory but a condition for contract award, and if included, this must align with the requirements of the PPPFA [clause 2(1)(f)] and be clearly stated in the enquiry together with the consequence of such objective criteria (i.e., if the tenderer does not meet objective criteria; it may lead to the second-ranked tenderer being recommended for award).

8.13.1.2 Subcontracting

Mandatory subcontracting on contracts above R30 million as a condition for contract award If feasible to subcontract for a contract above R30 million, Eskom:

a) must apply subcontracting to previously designated groups.

b) must advertise the tender with a specific condition for contract award that the successful

tenderer must subcontract a minimum of 30% of the value of the contract to:

a) An EME or QSE which is at least 51% owned by black people.

b) An EME or QSE which is at least 51% owned by black people who are youth.

c) An EME or QSE which is at least 51% owned by black people who are women.

d) An EME or QSE which is at least 51% owned by black people with Disabilities.

e) An EME or QSE which is 51% owned by black people living in rural or underdeveloped areas or townships.

f) A cooperative which is at least 51% owned by black people.

g) An EME or QSE which is at least 51% owned by black people who are military veterans. 

Tender Returnable if the above element is a requirement.

· Proof of a sub-contract agreement/s must be submitted.

· CSD report of subcontractors

· Sub-contractor/s B-BBEE certificate / sworn affidavit must be submitted.

Subcontracting, in this instance, will be treated as a condition for contract award. A supplier awarded a contract may not subcontract more than 25% of the value of the contract to any other entity that does not have an equal or higher B-BBEE status level of a contributor than the supplier concerned unless the contract is subcontracted to an EME that has the capability and ability to execute the subcontract.

Note:  The above stated will be applicable at task order level in instances where there is a task order that exceeds R30 million rands where feasible. 

8.13.1.3 Section 2: Other SDL&I Objectives in line with RDP Goals
Tenderers who complete and submit the undertaking as required, but who do not meet Eskom’s targets, will not be disqualified. SDL&I undertakings do not form part of scoring but commitments will form part of contractual obligations.
1.

BBBEE  requirements:  All  tenderers  must  at  a  minimum  maintain  their  B-BBEE  status throughout the contract period.
2.   Tenderers are required to propose against the following training initiatives
	Category
	Eskom Target
	Tenderers Proposal

	Trainee engineers (Electrical/QS/Mechanical)
	10
	

	Engineering Bursaries (Electrical/QS/Mechanical)
	10
	


The successful supplier shall develop/sponsor Engineers, over the duration of the contract which is

five years. One skill shall be developed through sponsoring bursaries or internal training, for every

thirteen million Rands (R13 000 000.00) that will be spent by Eskom to the company, to achieve the

maximum number of (20) twenty. Therefore, the supplier may develop the candidates directly or

through their supplier network. The supplier may also utilize the services of the relevant SETA

accredited training providers.
3. Job Opportunities
Suppliers should propose the number of jobs to be created and retained as a direct result of this contract. This proposal must be done in the table below.
	Category
	Jobs to be retained
	Jobs to be created
Target
	Jobs to be created
Proposal

	Management
	
	
	

	Expert Skills
	
	
	

	Skilled workers
	
	
	

	Semi-skilled
	
	
	

	Unskilled
	
	
	

	Total
	
	
	


Section 3: SDL&I Penalty and Performance Security
Eskom will apply a penalty of 2.5% of the invoice amount for failure to meet SDL&I obligations.
As security for the fulfilment of all SDL&I obligations, Eskom will apply a penalty of 2.5% of every

invoice amount (excluding VAT) for failure to submit SDL&I performance reports every quarter; or

failure to meet the SDL&I obligations in a contract.
	Section 4: Reporting and Monitoring
• The suppliers shall submit a report to Eskom in accordance with Data Collection Template on their compliance with the SDL&I obligations described above on a monthly basis.

• Eskom shall review the SDL&I reports submitted by the suppliers within 60 (sixty) days of receipt of the reports and notify the suppliers in writing if their SDL&I obligations have not been met.

• Upon notification by Eskom that the suppliers have not met their SDL&I obligations, the suppliers shall be required to implement corrective measures to meet those SDL&I obligations before the commencement of the following report, failing which Retention clauses shall be invoked.

•

Every contract shall be accompanied by the SDL&I Implementation Schedule which must be completed by the suppliers and returned to SDL&I representative for acceptance 28 days after contract award.

Section 5: General Information on Validity of Sworn Affidavits

	
	The following must be considered when it comes to validity of Affidavits;
	

	
	Tenderers submitting B-BBEE Sworn Affidavits must ensure that the affidavits meet the following key pointers to ensure their validity:
	

	
	•    Name/s of deponent as they appear in the identity document and the identity number.

•
Designation of the deponent as the director, owner or member must be indicated in order to know that person is duly authorised to depose of an affidavit. (Mark the applicable option).
•
Name of enterprise as per enterprise registration documents issued by the CIPC, where applicable, and enterprise business address.

•
Percentage of black ownership, black female ownership and designated group. In the case of specialised enterprises as per Statement 004, the percentage of black beneficiaries must be reflected. (No blank spaces to be left).
•    Indicate total revenue for the year under review and whether it is based on audited financial statements or
management account. (Mark the applicable option).
•
Financial year end as per the enterprise’s registration documents, which was used to determine the total revenue. (Financial year end to be stipulated by day/month/year).
•    B-BBEE Status level. An enterprise can only have one status level. (Tick applicable level)
•
Empowering supplier status must be indicated. For QSEs, the deponent must select the basis for the empowering supplier status.

•
Date deponent signed and date of Commissioner of Oath must be the same. (The sworn affidavit must be signed in the presence of the Commissioner of Oath. Furthermore the Commissioner must also sign and stamp)
•
Commissioner of Oath cannot be an employee or ex officio of the enterprise because, a person cannot by law, commission a sworn affidavit in which they have an interest.
	


8.13.2 Other constraints

The following additional constraints regarding the task orders apply:

· The Employer has the right to instruct the Consultant to remove any employee due to non- performance. The Employer must provide reasons to the Consultant for his/her instruction to remove an employee.  The Consultant is required to arrange that, after one day, the employee has been removed from site.

· For early termination of the task order (prior to the due date) that is not performance related, a calendar month notice will be provided by the Employer.

· No notice from the Employer is required where the term of the task order / purchase order /budget estimate is not changed.
8.13.3 Preferred subconsultants
None.
8.13.4 Subcontract documentation, and assessment of subcontract tenders

N/A
8.13.5 Limitations on subcontracting

N/A
8.13.6 Attendance on Subconsultants
N/A
8.14 Working on the Employer’s property
8.14.1 Employer’s entry and security control, permits, and site regulations
The Employer’s sites are classified as National Key Points and access is controlled and regulated by law. Sites such as Koeberg Nuclear Power Station have very strict entrance requirements and allowances for security clearance checks and processes of about two hours need to be made by consultants requiring access at the sites. The taking of photographs is prohibited at all sites and special permission shall be required, if necessary, for the provision of Services. Persons under the influence of intoxicating substances and alcohol are strictly not permitted to enter the Employer’s premises. All persons entering or leaving the Employer’s premises may be subjected to physical security checks including alcohol tests.

In addition to the above there may be other restrictions applicable on sites and Consultants shall always be required to comply. Temporary Access Permits may be arranged for a limited number of the Consultant’s Key Persons who require frequent access to the Employer’s premises for purposes of delivering the Services which may include the attendance of regular meetings.
8.14.2 People restrictions, hours of work, conduct and records

It is very important that the Consultant keeps records of his people working on the Employer’s property, including those of his Subcontractors.  The Employer shall have access to these records at any time. These records may be required by the Employer at any given time for the following:

a) assessing compensation events

b) Emergency (evacuation/drill) and investigations
c) Labour unrest

d) Absenteeism
e) Sick leave

f) Assessments (labour hours timesheets)

The restrictions on hours worked shall be specified on the Task Order.
8.15 Things provided by the Employer
The Employer shall provide special software and access to systems, training, and guidance on requirements specific to the Employer that are not common in the industry to enable the Consultant to deliver the services as required by the Employer.
8.16 Cataloguing requirements by the Consultant
N/A[image: image1.png]





Part C3: Scope of Work
1
C3 Psc3 Cover page

