6 place analytical balance specification

- Analytical balance (micro balance)

- Six decimal places, 0.000001 g to approx.

-10 g, capacity, 0.000001 g readability