ARC Infruitec-Nietvoorbij

Private Bag X5026, Stellenbosch, 7599, South Africa

Tel: (021) 809 3172

Fax: (021) 809 3400/3592

26 May 2022

OFFICE OF SUPPLY CHAIN MANAGEMENT

DESCRIPTION OF SERVICE: SUPPLY AND DELIVERY REVERSE PHASE C18 LC COLUMN

Scope of Work, Conditions for Supply and deliver of Reverse phase C18 LC column

| Reverse phase C18 LC column |  | Quantity | If No, Please Indicate Deviation |
| --- | --- | --- | --- |
| 1. Specific Description | Compliance to Specification (Yes/No) *Describe If Specification Differs |  |  |
| Reverse Phase C18 LC Column or similar to Phenomenex 00F-4453-Y0: Gemini-NX C18 3u 110A (150 x 3 mm) |  | 2 |  |
| Dimensions: 150 x 3mm Particle size: 3 µm dp 90/10: <= 1.7 carbon: 13.10-15.10 % |  |  |  |
| Silica surface characteristics Surface area: 360-420 m2/g Pore diameter (size): 110 Å Pore volume: 1.00-1.20 cm3/g |  |  |  |
| Operating range Pressure: 0-240 bar pH: 1-12 Temperature: 0-60 °C |  |  |  |
| 2. General |  |  |  |
| 2.2 The supplier must deliver to Infruitec research Farm, Stellenbosch |  |  |  |

- PRICING SCHEDULE FOR SUPPLY AND DELIVERY REVERSE PHASE C18 LC COLUMN

| Item description | Quantity | Unit price | Total Price |  |
| --- | --- | --- | --- | --- |
| Reverse Phase C18 LC Column | 2 |  |  |  |
| SUBTOTAL |  |  |  |  |  |
| VAT |  |  |  |  |  |
| GRANDTOTAL |  |  |  |  |  |

Company name:……………………………………………………………………………………………….

Contact person:………………………………………………………………………………………………..

Contact number:……………………………………………………………………………………………….

Date and signature:…………………………………………………………………………………………

Contact: Chantelle C. Human - HumanC@arc.agric.za or 021 909 3100

NB: Bidders must complete the table below as per the commitment of the RFQ.

AGREE WITH THE ABOVE SPECIFICATION: We the undersigned submit this RFQ in accordance with the conditions contained in the referenced above RFQ document and attach the documents required:

Bidders representative:…………………………………………………………………….

Capacity:………………………………………………………………………………………

Date and signature:…………………………………………………………………………

| DISAGREE WITH THE ABOVE SPECIFICATION: |  |  |
| --- | --- | --- |
| PAGE NUMBER | CLAUSE NUMBER | DEVIATION |
| Bidders representative and capacity ……………………………………………………………………….. |  |  |
| Date and signature………………………………………………………………………………………………………….. |  |  |

- EVALUATION PROCESS & CRITERIA STAGE ONE FOR SUPPLY AND DELIVER REVERSE PHASE C18 LC COLUMN

ADMINISTRATIVE COMPLIANCE EVALUATION OF ALL PROPOSALS

|  | Comply with specification. Please indicate Yes or No |  |  |
| --- | --- | --- | --- |
|  | Yes | No | If no, indicate deviation |
| EVALUATION PROCESS: NB: It must be noted that ARC reserve the rights to request for clarification if all the below questions are not answered properly. |  |  |  |
| STAGE ONE: ADMINISTRATION COMPLIANCE |  |  |  |
| All suppliers are duly lodged will be examined to determine compliance with quoting requirements and conditions. Quotes with obvious deviations from the requirements/conditions, will be eliminated or disqualified from further adjudication. - Mandatory Quotes will only be compliant if supplier has submitted the following documents: |  |  |  |
| Administrative documents - According to National Treasury SCM Instruction number 4 of 2016/2017, only suppliers who are registered on Central Supplier Database (CSD) may be appointed. Suppliers is therefore encouraged to register their entities on CSD, www.csd.gov.za and such information will be verified through Central Supplier Database (CSD); |  |  |  |
| - All SBD documents must be submitted and completed; |  |  |  |
| - Non-Mandatory - Valid B-BBEE certificate or sworn affidavit certify by commissioner of oaths. |  |  |  |