Laboratory mill specification

- Analytical mill IKA, A11 BASIC

Incl. all accessories

(A11.1 (beater 1.4034), A11.2 (cutting blade), A11.3 (beater 1.4112), A11.4 (grinding container 250 ml), A11.5 (grinding container 80 ml), A11.6 (double beater), A11.6 (filling funnel)