eskom holdings soc ltd

Contract number _____________

contract title: The SUPPLY AND DELIVERY OF ELECTROSTATIC PRECIPITATOR (ESP) PLANT MECHANICAL SPARES “AS AND WHEN REQUIRED” FOR A PERIOD OF FIVE YEARS AT KRIEL POWER STATION.




Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Purchaser’s Goods Information
	12

	C3.2
	Supplier’s Goods Information
(insert at award stage or delete if not applicable)
	1

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	10


C3.1: Purchaser’s Goods Information
Contents

1Part 3: Scope of Work


2C3.1: Purchaser’s Goods Information


41
Overview and purpose of the goods and services


42
Specification and description of the goods


42.1
Purchaser’s design


42.2
Procedure for submission and acceptance of Supplier’s design


42.3
Other requirements of the Supplier’s design


42.4
Use of Supplier’s design


42.5
Manufacture & fabrication


42.6
Factory acceptance testing (FAT)


42.7
Other tests and inspections and commissioning in place of use


52.8
Operating manuals and maintenance schedules


52.9
Specification of the Goods to be provided


83
Supply Requirements


84
Specification of the services to be provided


85
Constraints on how the Supplier Provides the Goods


85.1
Programming constraints


95.2
Work to be done by the Delivery Date


95.3
Marking the goods


95.4
Constraints at the delivery place and place of use


95.5
Cooperating with Others


95.6
Services & other things to be provided by the Purchaser or Supplier


105.7
Management meetings


105.8
Documentation control


105.9
Health and safety risk management


115.10
Environmental constraints and management


115.11
Quality


115.12
Invoicing and payment


115.13
Insurance provided by the Purchaser


115.14
Contract change management


125.15
Provision of bonds and guarantees.


125.16
Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier


136
Procurement


136.1
Subcontracting


136.1.1
Preferred subcontractors


136.1.2
Limitations on subcontracting


136.1.3
Other requirements related to procurement


136.1.4
Cataloguing requirements by the Supplier


136.1.5
Supplier Development Localisation and Industrialisation


147
List of drawings


147.1
Drawings issued by the Purchaser


15C3.2
Supplier’s Goods Information




1 Overview and purpose of the goods and services
The purpose of this contract is to secure a reliable and responsive supply of Electrostatic Precipitator (ESP) plant mechanical spares on an "as and when required" basis over a period of five (5) years for Kriel Power Station. 

Electrostatic Precipitators are critical components in the plant's environmental control systems, designed to remove fine particulate matter from flue gas before it is released into the atmosphere. Ensuring the optimal performance and availability of these systems is essential for maintaining environmental compliance, operational efficiency, and plant reliability.

This contract aims to:

· Ensure timely and efficient supply of high-quality mechanical spares required for ESP systems.

· Minimize downtime by supporting planned maintenance and emergency repairs.

· Support continuous operation of emission control equipment, thus ensuring compliance with environmental regulations.

· Establish a strategic sourcing relationship with qualified suppliers to streamline the procurement process and improve cost-effectiveness over the contract period.
The scope of the contract includes the supply and delivery support for mechanical spares associated with the ESP systems, in accordance with the technical specifications and operational requirements of Kriel Power Station.

2 Specification and description of the goods
2.1 Purchaser’s design

Not applicable to this contract

2.2 Procedure for submission and acceptance of Supplier’s design

Not applicable to this contract
2.3 Other requirements of the Supplier’s design

Not applicable to this contract
2.4 Use of Supplier’s design

Not applicable to this contract

2.5 Manufacture & fabrication

Not applicable to this contract
2.6 Factory acceptance testing (FAT)

Not applicable to this contract
2.7 Other tests and inspections and commissioning in place of use

Not applicable to this contract
2.8 Operating manuals and maintenance schedules

a) The data book of goods supplied includes maintenance procedures and proposed quality control procedures for future maintenance efforts.
b) Maintenance manuals and storage procedure to be submitted upon delivery of the goods.
2.9 Specification of the Goods to be provided
	ITEM NO
	STOCK NUMBER
	DESCRIPTION
	UNIT of Measure
	QTY

	1
	53211
	HAMMER: TYPE: COLLECTOR; HEAD WEIGHT: 4; HEAD MATERIAL: STL; HANDLE: STL; COMPLETE  WITH  LEVER,  FULLCRUM  BOLT,  HARDENED  BUSHES,  FOR  BRANDT PRECIPITATORS; 270MM
	EA
	15 600

	2
	53414
	INSULATOR:   TYPE:   TORQUE;   DIMENSIONS:   DIA   70   X   LG   380   MM;   MATERIAL: PORCELAIN; POTENTIAL: 660 V; WITHOUT UNIVERSALS, FOR PRECIPITATOR
	EA
	2500

	3
	222892
	ANVIL:   TYPE:   DISCHARGE   ELECTRODE;   DRAWING   NO:   28-45-54005   REV   1; PRECIPITATOR;  ALL  BOLT  CONNECTIONS  TO  BE  WELDED;  FOR  COMPLETE  UNIT; VENDORS  ARE  RESPONSIBLE  FOR  ENSURING  THAT  THEY  ARE  PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	10 000

	4
	226361
	HAMMER:  TYPE:  PRECIPITATOR;  HEAD  WEIGHT:  5.8  KG;  HEAD  MATERIAL:  MS; HANDLE:  STL;  SUPPL  P/N:  583-6-4-01;  DRAWING  NO:  28.45-54319  REV  1;  NEW PRECIP'S;    FOR   DISCHARGE    RAPPING   SYSTEM;    TYPE:    ROTHEMUHLE,    FOR DISCHARGE FRAMES, FOR UNIT 1,2,3 AND 6.
	EA
	12 000

	5
	53416
	HOOD: SIZE: WD 280 X LG 265 X THK 4 MM; MATERIAL: PTFE; REFERENCE NO: H00D; TEFLON; FOR ELECTROSTATIC PRECIPITATORS; VENDORS ARE RESPONSIBLE FOR ENSURING  THAT  THEY  ARE  PERFORMING  AGAINST  THE  CORRECT  DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	3000

	6
	719708
	COUPLING: TYPE: NEUPEX A; SIZE: 160 MM; MATERIAL: CAST IRON; CONNECTION 1 SIZE: 108 MM; CONNECTION 2 SIZE: 160 MM; PART1:
	EA
	600

	7
	621330
	ROLLER, BEARING: OUTSIDE DIAMETER: 60 MM; LENGTH: 230 MM; MATERIAL: EN9; ALIGNMENT  TYPE:  AXIAL/LINEAR;  INSIDE  DIAMETER:  20  MM;  TYPE:  CE  RAPPER SHAFT PEDESTAL; DRAWING NO: 045.57218 REV 0; MANUFACTURE ACCORDING TO ESKOM STANDARDS; MATERIAL CERTIFICATE REQUIRED FOR THE ROLLERS AND BUSHES;    VENDORS   ARE   RESPONSIBLE   FOR   ENSURING    THAT    THEY   ARE PERFORMING    AGAINST    THE    CORRECT    DRAWING    REVISION    NUMBER    (IF APPLICABLE).
	EA
	2000

	8
	90551
	WASHER:        TYPE:ELECTROSTATIC        PRECIPITATOR;THICKNESS:        5        MM; MATERIAL:TEFLON;SHIELD; 688X688X5MM SQUARE; TEMPERATURE RESISTANT TO 180 DEGREE CELSIUS; FOR PRECIPITATORS.
	EA
	4000

	9
	53452
	SCREEN: TYPE: PRECIPITATOR INLET; DIMENSIONS: WD 698 MM X LG 2.295 M X THK 3  MM;  MESH  SIZE:  35 MM;  MATERIAL: MS;  DRAWING  NO:  ROTEK B920/75C  REV  1; B920/75C  REV  1;  EDGE  30MM  HIGH  X  90 DEG;  VENDORS  ARE  RESPONSIBLE  FOR ENSURING  THAT  THEY  ARE  PERFORMING  AGAINST  THE  CORRECT  DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	2000

	10
	53121
	PAD,  BEARING:  SUPPL  P/N:  KVB3/123/D;  REFERENCE  NO:  KVB/123/D;  SLIDING  V; LOCATING; FOR BRANDT PRECIPITATORS V TYPE DISCHARGE BEARING; VENDORS ARE  RESPONSIBLE  FOR  ENSURING  THAT  THEY  ARE  PERFORMING  AGAINST  THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	680

	11
	53442
	PAD, BEARING: DIMENSIONS: WD 50 X LG 100 X THK 20 MM; MATERIAL: STL; SUPPL P/N:  KVB-123-D;  KVB2-123-D;  SLIDING  V;  FOR  BRANDT  PRECIPITATORS  V;  TYPE DISCHARGE  BEARING;  VENDORS  ARE  RESPONSIBLE  FOR  ENSURING  THAT  THEY ARE  PERFORMING  AGAINST  THE  CORRECT  DRAWING   REVISION  NUMBER  (IF APPLICABLE).
	EA
	1600

	12
	667266
	COUPLING, SHAFT FLEXIBLE: TYPE: DRIVE UNIT; BORE DIAMETER: 160 MM; TORQUE: 560  NM;  MATERIAL:  STL;  SPEED:  4250  RPM;  REFERENCE  NO:  N-UEPEX/B160;  CE SHAFT  TO  CE  GEAR  DRIVE  COUPLING  UNIT;  AMBIENT  TEMP:  -30  TO  80  DEG  C; FATIGUE TORQUE: 84NM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE  PERFORMING  AGAINST  THE  CORRECT  DRAWING   REVISION  NUMBER  (IF APPLICABLE).
	EA
	300

	13
	162244
	BAR,  ROUND:  NOMINAL  DIAMETER:  60  MM;  LENGTH:  6 M;  MATERIAL:  MS  BRIGHT; PROCESS:  MACHINED;  GRADE:  EN3A;  WEIGHT:  22  KG/M;  SPECIFICATION:  BS  970 (070M20);   DRAWING   NO:   0.45/23544   REV   0;   FABRICATE   SLOTTED   KEYWAYS ACCORDING TO ESKOM DRAWING NUMBER; SHAFT TO BE CUT AND TRIMMED ON SITE DURING INSTALLATION.
	KG
	79 200

	14
	29942
	BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 40 MM; OUTSIDE  DIAMETER: 90  MM;  WIDTH:  23 MM;  ROW:  SINGLE;  SUPPL  P/N:  6308-2RS; VENDORS  ARE  RESPONSIBLE  FOR  ENSURING  THAT  THEY  ARE  PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	1200

	15
	226357
	SPROCKET: TEETH: 32; OUTSIDE DIAMETER: 200 MM; BORE: 60 MM; PITCH: 20 MM; ROOT DIAMETER: 170 MM; MATERIAL: STL; SUPPL P/N: 583-6-0-07 3/4"; FOR THE NEW PRECIPITORS DRIVES, FOR UNIT 1, 2, 3 AND 6 OF THE DRIVE MOTOR.
	EA
	240

	16
	161921
	ROPE:  MATERIAL:  COTTON  FIBER  BRAIDED;  DIMENSIONS:  DIA  20  MM  X  LG  30  M; STRUCTURE: 125 STRAND; NON-ASBESTOS, SOFT WHITE.
	KG
	200

	17
	621331
	COLLAR:  DIMENSIONS:  ID  61  X  OD  85  X  THK  20  MM;  MATERIAL:  ST52;  TYPE: LOCATING;  APPLICATIOIN:  COLLECTING  ELECTRODE  SHAFT  ALLIGNMENT  INSIDE PRECIPS.
	EA
	800

	18
	85146
	BOLT, U: NOMINAL SIZE: 60 MM; DIAMETER: M10; INSIDE LENGTH: 110 MM; THREAD LENGTH:  45  MM;  THREAD:  1.5  MM;  MATERIAL:  GMS;  INSIDE  WIDTH:  62  MM;  WITH WASHER INSIDE LENGTH: 110MM; INSIDE WIDTH: 62MM; NOMINAL SIZE: 60MM
	EA
	14 600

	19
	30582
	BEARING,  ROLLER:  TYPE:  SELF  ALIGNING;  INSIDE  DIAMETER:  65  MM;  OUTSIDE DIAMETER: 120 MM; WIDTH: 31 MM; ROW: DOUBLE; SUPPL P/N: 22213 AKE 4C3; NOTE: THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON BEARING AND ORIGINAL PACKED
	EA
	700

	20
	621329
	DOOR,   HATCH:   TYPE:   PRECIP   INSPECTION;   MATERIAL:   AL   GR   LM4   ALLOY; DIMENSIONS:   DIA  570   X   THK   17   MM;   APPLICATION:   PRECIPS;   DRAWING   NO: 0.45/57035  REV  0;  ITEM  TO  BE  MANUFACTURED  AS  PER  ESKOM  REQUIREMENT STANDARD;  HANDLES  INCLUDED; MATERIAL CERTIFICATE REQUIRED  WITH EACH ITEM ON DELIVERY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING    AGAINST    THE    CORRECT    DRAWING    REVISION    NUMBER    (IF APPLICABLE).
	EA
	260

	21
	124020
	COUPLING, SHAFT: TYPE: UNIVERSAL; BORE: 60 MM; OUTSIDE DIAMETER: 92 MM; LENGTH: 65 MM; MATERIAL: STL; SUPPL P/N: KTQ2-456D; KTQ2-123D; PRECIPITATOR TORQUE INSULATOR
	EA
	1460

	22
	226358
	SPROCKET: TEETH: 32; OUTSIDE DIAMETER: 200 MM; BORE: 40 MM; PITCH: 20 MM; ROOT DIAMETER: 170 MM; MATERIAL: STL; SUPPL P/N: 583-6-0-06 3/4"; FOR THE NEW PRECIPITORS DRIVES, FOR UNIT 1, 2, 3 AND 6 OF THE DRIVE SHAFTS
	EA
	1200

	23
	84578
	BOLT, ASSEMBLY: TYPE: GENERAL PURPOSE; NOMINAL DIAMETER: M12; LENGTH: 100 MM; HEAD: HEX; GRADE: 4.6; MATERIAL: MS; THREAD LENGTH: 35 MM; THREAD:
1.75 MM; NUT QUANTITY: 1; NUT MATERIAL: MS; NUT GRADE: 4.6; BOLT PROTECTIVE COATING: BLACK; SPECIFICATION: SABS 135
	KG
	80 000

	24
	55254
	PIPE, METALLIC: NOMINAL PIPE SIZE DESIGNATION: NB 100 MM; MATERIAL: B ASTM A106;  LENGTH:  6  M;  WALL  THICKNESS:  6.02  MM;  CONSTRUCTION:  SEAMLESS; MAXIMUM  OPERATING  PRESSURE:  2  MPA;  SCHEDULE:  40;  MAXIMUM  OPERATING TEMP: 150 DEG C; GRADE: B; PIPE TO BE SUPPLIED WITH 3.1 CEDRTIFICATION AS EN 10204
	EA
	4 500

	25
	56085
	PIPE, METALLIC: NOMINAL PIPE SIZE DESIGNATION: 88.9 MM; MATERIAL: STL GR B ASTM A106; LENGTH: 6 M; WALL THICKNESS: 5.49 MM; CONSTRUCTION: SEAMLESS; END TYPE: PLAIN; SCHEDULE: 40; GRADE: B; SAME AS 55583
	M
	25 000

	26
	620414
	BUSH: TYPE: CONICAL RAPPER BAR; INSIDE DIAMETER: 17 MM; OUTSIDE DIAMETER: 80  MM;  LENGTH:  28  MM;  MATERIAL:  MS;  APPLICATION:  PRECIPS;  SPECIFICATION: SABS 3184 GR 300WA; DRAWING NO: 0.45/58907 REV 1; MATERIAL / TECHNICAL DATA SETS TO BE PROVIDED WITH THE ORDER SUPPLIERS TO USE DRAWING NUMBER OR THE LATEST VERSION
	EA
	73 600

	27
	771840
	BEARING, SLEEVE: TYPE: CIRCULAR SPLIT; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; LENGTH: 116 MM; MATERIAL: A48 GREY CAST IRON; BEARING WITH FOUR HOLES: 4 X M8 X 1.25 MM – 6H. TRANSVERSE PCD X 60 MM.
	EA
	6000

	28
	53415
	SUPPORT:  TYPE:  INSULATOR;  DIMENSIONS:  DIA  188  X  LG  485  MM;  MATERIAL: PORCELAIN; REFERENCE NO: MPM 02-2575
	EA
	800

	29
	34045
	BUSH:  TYPE:  COUPLING;  INSIDE  DIAMETER:  40  MM;  OUTSIDE  DIAMETER:  62  MM; LENGTH: 93.5 MM; MATERIAL: STL; REFERENCE NO: E1/974
	EA
	5 000

	30
	84553
	BOLT, ASSEMBLY: TYPE: GENERAL PURPOSE; NOMINAL DIAMETER: M8; LENGTH: 25 MM; HEAD: HEX; GRADE: 4.6; MATERIAL: MS; THREAD LENGTH: 25 MM; THREAD: 1.25 MM;  NUT  QUANTITY:  1;  NUT  MATERIAL:  MS;  NUT  GRADE:  4.6;  BOLT  PROTECTIVE COATING: BLACK; DIN555; SPECIFICATION: SABS 135
	KG
	50 000

	31
	773439
	DE CARRIER BEAM, 140MM X 60MM X 16MM TFC (TAPERED FLANGED CHANNEL)- 850 MM LG, MIDDLE STIFFER- 150MMX 100MM X 10MM, CORNER STIFFENER- 110MM X 100MM X 10MM AND INNER STIFFENER- 127.60MM X 53.30MM X 10MM, MATERIAL: CARBON STEEL,GRADE S355JR OR S275JR.
	EA
	240

	32
	773335
	BAR, SQUARE: WIDTH: 45 MM; LENGTH: 160 MM; MATERIAL: MILD STEEL; GRADE: S355JR; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	8832

	33
	773326
	ELBOW: TYPE: FITTING; SIZE: 1 IN; CONNECTION: THREADED; MATERIAL: GALVANISED MILD STEEL; DEGREE: 90 DEG; RADIUS: SHORT.
	EA
	768

	34
	773333
	ELBOW: TYPE: FITTING; SIZE: 1 IN; CONNECTION: THREADED; MATERIAL: GALVANISED MILD STEEL; DEGREE: 45 DEG
	EA
	768

	35
	773131
	TEE, PIPE TO TUBE: MATERIAL: GALVANISED MILD STEEL; CONNECTION TYPE: THREADED; NOMINAL PIPE SIZE: 25 MM; NOMINAL THREAD SIZE: 1/4 IN; TUBE OUTSIDE DIAMETER: 33.4 MM; MAXIMUM OPERATING PRESSURE: 2 MPA.
	EA
	768

	36
	772733
	NOZZLE: TYPE: FITTING; SIZE: 1/4 IN; CONNECTION SIZE: OD X 20.4 MM; CONNECTION: THREADED; MATERIAL: 316 STAINLESS STEEL; APPLICATION: ATOMISER
	EA
	768

	37
	771896
	REDUCER: TYPE: CONCENTRIC; NOMINAL SIZE: 25 MM; CONNECTION: THREADED; MATERIAL: GALVANIZED MILD STEEL.
	EA
	768

	38
	771794
	FLANGE: TYPE: WELD NECK; DIMENSIONS: ID 116 X OD 220 X THK 12 MM; MATERIAL: MILD STEEL; ID X 18 MM HOLES ON THE FLAT SECTION OF FLANGE, 175 MM PCD.
	EA
	768

	39
	771742
	GATE, VALVE: TYPE: KNIFE; VALVE SIZE: 4 IN; MATERIAL: 316 STAINLESS STEEL; HANDWHEEL OPERATED VALVE, UNIVERSAL DRILLED AND TAPERED ACCORDING TO SABS 1123; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	768

	40
	771894
	REDUCER: TYPE: CONCENTRIC; NOMINAL SIZE: 125 MM; CONNECTION: BUTT WELD; MATERIAL: MILD STEEL; LG X 127 MM, SCHEDULE 40 – NOMINAL SIZE: OD X 125 MM REDUCED TO OD X 100 MM.; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	500

	41
	771793
	PIPE, METALLIC: NOMINAL PIPE SIZE DESIGNATION: 100 MM; MATERIAL: MILD STEEL; LENGTH: 6 M; WALL THICKNESS: 6.02 MM; SCHEDULE 40.
	EA
	150

	42
	732128
	BAR: TYPE: FLAT; DIMENSIONS: WD 90 X LG 6035 X HT 80 X THK 10 MM; MATERIAL: CARBON STEEL; GRADE: 1215; RAPPER BAR CONSIST OF 8 ITEMS; 2 OFF 6M FLAT BAR  BY  10  THK,  1  OFF  DETAILED  HEAD,  2  OFFSIDE  STIFFENERS,  2  OFFSIDE BRACKETS.
	EA
	1000

	43
	773013
	BAR, ROUND: NOMINAL DIAMETER: 40 MM; GRADE: EN10025; MATERIAL: MILD STEEL; LENGTH: 6 M; FLAT SPOT ARE EQUAL SPACED AT 300 M AND SPIRAL AT 22.5 DEGREES BETWEEN FLAT SPOTS
	EA
	200


3 Supply Requirements

a) Supplier shall confirm delivery lead time of items upon receipt of order.

b) All purchased goods shall be delivered at Kriel Power Station stores.

c) The Supplier shall ensure the goods are delivered during working hours and reasonable time must be allocated for gate access, off-loading, paperwork processing. Working Hours for Kriel Power Station are as follows: Monday to Thursday – 07h00 to 16h15 and Friday 07h00 to 12h00. 
d) Where deliveries are to be made outside the working ours, the Supplier shall confirm the availability of Kriel Power Station Stores Receiving personnel before dispatching the items.

e) The Supplier shall be prepared to provide goods within an acceptable delivery period when urgently required. 

f) Supplier shall only deliver goods Stated on the contract, Goods ordered and Quantity Ordered by the Employer.
4 Specification of the services to be provided
Not applicable to this contract
5 Constraints on how the Supplier Provides the Goods
5.1 Programming constraints 
a) The Supplier shall submit a program to the Supply Manager as per the agreed lead times during negotiations which covers all milestones of the manufacturing process up to delivery to site. 
b) The Supplier shall shares the program two (2) days after placement of each order to the Supply Manager for acceptance.
c) The early warning as per clause 16.1 is used to communicate the changes on agreed delivery schedule/ programme.
5.2 Work to be done by the Delivery Date
a) The supply of the goods shall include technical datasheets.

b) All goods shall be packaged in a way that prohibits mechanical damage to components. 

c) Damaged goods as a result of Supplier’s fault shall be corrected at the Supplier’s cost.

5.3 Marking the goods 
As a minimum, all material shall have a permanent marking that indicates the following information:
a) Name of the manufacturer

b) Year of manufacture

c) Manufacture reference of figure number

d) Unique spare serial number per item

e) Design standard (code of construction)
5.4 Constraints at the delivery place and place of use

a) All deliveries shall be arranged within Kriel Power Station normal working hours as stipulated in section 3 of this document.

b) The Supplier applies for temporary access permits (Contractor’s Permit) at the Security gate, prior to the Possession Date.  

c) The Supplier’s personnel are required to be in possession of Permit at all times.

d) All Supplier’s personnel are issued with a temporary access permit which contains the following information:

-
Name

-
ID Number

-
Company

-
Validity date

d) No unauthorised vehicles are allowed on site. 

5.5 Cooperating with Others

. 
a) The Supplier cooperates with the stores personnel during delivery. 
b) The Supplier cooperates with the Purchasers team in ensuring that the goods are delivered in accordance to all requirements
5.6 Services & other things to be provided by the Purchaser or Supplier
The availability of rigging equipment, cranes or forklift and the relevant operators must be confirmed with the Kriel Power Station (Supply manager) before dispatching the goods. 
5.7 Management meetings

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Overall contract progress and feedback
	Quarterly or as and when urgent need arises 
	either face to face or virtual at a convenient venue 
	Purchaser, Supplier, and Cross functional team members

	Overall contract progress and feedback
	Quarterly
	TBC
	Purchaser, Supplier, and CFT

	Contractor partnership SHEQ meeting
	Monthly
	TBC
	Statutory meeting, Supplier to attend


Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.  
All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions. 
5.8 Documentation control

a) The supplier shall establish and maintain effective controls over all documentation related to this contract. 

b) All documents shall be properly prepared, reviewed, approved, issued, revised, and retained in accordance with agreed procedures. 

c) The supplier shall ensure that only current and authorised versions of documents are used, and that records are maintained to demonstrate compliance with contractual and regulatory requirements.
5.9 Health and safety risk
 management
a) The Supplier complies with Section 10 of Occupational Health and Safety Act (Act No.85 of 1993) when manufacturing any goods for this contract. 
b) The Supplier shall comply with site health and safety requirements for Kriel Power Station when delivering goods.
c)  Site delivery safety requirements to be adhered to - And can be obtained through the Purchaser’s Manager In line with the SHE specification
d) The Supplier submits safety file for approval before access is granted

e) The Supplier maintains the safety file validity in line with site requirements
f)     The mode of transport for delivery should comply with site requirement in line with issued SHE specification

The Supplier shall comply with the health and safety requirements contained in Annexure A of the Invitation to Tender
5.10 Environmental constraints and management

The Supplier shall comply with the environmental criteria and constraints when doing deliveries at Kriel Power Station premises regarding: 

a) The vehicle used for delivery; by ensuring that there are no oil spillages, and the vehicle emission is not emitting beyond limits. 
b) The material used for supporting the goods being delivered are correctly disposed and are without harm to environment. The Supplier must comply with site Environmental management plan (EMP) and other requirement.

c) The Supplier complies with Environmental aspect and impact register

d) The Supplier complies with all site environmental management procedures, especially the waste management and oil spillages

The Supplier shall comply with the environmental criteria and constraints contained in Annexure B of the Invitation to Tender

5.11 Quality

. 
a) The Supplier must comply with Eskom’s Supply Quality Management Specification (Document No: 240-105658000) and ISO 9001:2015 requirements
b) The Employer will on frequent basis conduct the Supplier’s performance/ compliance  in accordance to QM 58 and ISO 9001 and NCR will be raised for non-compliance
The Supplier shall comply with the quality criteria and constraints contained in Annexure C of the Invitation to Tender

5.12 Invoicing and payment
Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.  
The Supplier shall address the tax invoice to Purchaser Invoiceseskomlocal@eskom.co.za

and include on each invoice the following information:

· Name and address of the Contractor and the Service Manager; 

· The contract number and title;

· Contractor’s VAT registration number;

· The Employer’s VAT registration number 4740101508;

· Description of service provided for each item invoiced based on the Price List;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

· Purchase order number

· Invoice number

· GR Number

· Supplier’s Banking details

5.13 Insurance provided by the Purchaser
Not applicable to this contract
5.14 Contract change management 
a) The change management process to be followed as per the core clause 16.1. 

b) Any verbal instruction/communication must be backed with a written instruction; the use of minutes, letters or emails is accepted. 

c) Any change in management by the Supplier must be communicated with the Supply manager.
d) If the Purchaser’s Supply Manager change, the Supplier shall be notified by the Purchaser as soon as possible to ensure that the Supplier follows the correct communication channel.

5.15 Provision of bonds and guarantees.
Not applicable to this contract
5.16 Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier
Early warning to be given by any of the parties as soon either becomes aware of matters that could increase the total of total prices, delay completion etc. All the compensation events will be implemented through the raising of an early warning. See NEC Core clause 16.1 and 63.1 and 63.2
6 Procurement

6.1 Subcontracting
6.1.1 Preferred subcontractors
Subcontractors can be used following the Project Manager’s acceptance to any of the below:

-
EME or QSE entities at least 51% owned by Black Youth Owned;

-
EME or QSE entities at least 51% owned by Black People with Disability.

-
EME or QSE entities at least 51% owned by Black People;

-
EME or QSE entities at least 51% owned by Black Women

-
EME or QSE entities at least 51% owned by Black People with Disabilities

The following Sub-contractor will be utilised in terms of this contract. 
	Name of Sub-Contractor
	

	B-BBEE Level
	

	CSD number
	

	Scope
	

	Address
	


6.1.2 Limitations on subcontracting

a) Appointment and managing the sub-contractor is the full responsibility of the Principal Contractor.

b) The Contractor does not subcontract the whole of the service.
c) The Contractor subcontracts only in accordance with this contract.
6.1.3 Other requirements related to procurement
The supplier shall comply with all additional procurement-related requirements applicable to this contract, including but not limited to applicable laws and regulations, procurement policies, ethical standards, delivery conditions, documentation requirements, and any reporting or audit obligations as may be stipulated by the procuring entity
6.1.4 Cataloguing requirements by the Supplier
Supplier shall provide spares/goods as per the Specification and description of the goods by the Purchaser.
6.1.5 Supplier Development Localisation and Industrialisation

The supplier shall support and comply with the procuring entity’s objectives relating to supplier development, localisation, and industrialisation. This includes, where applicable, the use of local content, participation of local suppliers and subcontractors, skills transfer, capacity building, and initiatives that promote sustainable industrial development in accordance with applicable policies, legislation, and contractual requirements.
7 List of drawings

7.1 Drawings issued by the Purchaser
Not applicable to this Contract 
C3.2
Supplier’s Goods Information

	This section of the Goods Information will always be contract specific depending on the nature of the goods and services.
It is most likely to be required for supply contracts where the tendering Supplier will have proposed specifications and schedules for the goods and services, which once accepted by the Purchaser prior to award of contract now become obligations of the Supplier per core clause 20.1.



This section could also be compiled as a separate file.


�To be completed by Environmental Officer


�To be completed by Environmental Officer


�To be completed by Quality Officer


�To be completed By Procurement and SD&L







Part C3: Scope of Work
1
C3 sc3 Cover page


