Supply, installation and commission shade netting and ropes at ARC - Plant Health and Protections glasshouses (Roodeplaat)

Specifications for shade netting:

- High quality shade netting sliver/grey in colour

- 40% Shade factor

- Material HDPE (High-Density Polyethylene)

- UV stabilizer 3%

- Warranty 5 Years

- 90-150gsm

- Agricultural nets

- All netting to be installed on existing glasshouses

- Re-enforcement of netting where the metal overlaps is joined to help prevent tearing

- Includes rings/grommets needed to thread rope

- Similar to the old netting

Specifications for rope:

- Rope Ski 10mm

- Colour black & white or grey

- Breaking Load 880 kg

- Polypropylene.Multi-purpose

- All ropes need to be replaces to work as it currently stands.

- Must be SABS standard and approved.

- Supplier/s must do all full installation

- Supplier/s must be CIDB registered

- All items should have at least 5 year warranties and guarantees

- All suppliers bidding must attend the site inspection

- All removed netting and rope must be removed by supplier when job is completed

- Supplier to follow all current COVID-19 safety regulations and other relevant OHS requirements should be observed by the service provider. In the case of a positive Covid19 case from the service provider during installation, the service provider will be responsible for the sanitation of the affected areas.

Disclaimer: All measurements need to be verified by the supplier to ensure a perfect fit.