
Detailed Specification : WATER TESTING EQUIPMENT

	Items Name 
	Description
	UOM
	Quantity

	1. IBOR51100033 

	BUFFER SOLUTION PH 4,01 250ML NIST CERTIFIED
	Each
	4

	2. IBOR51100043 

	BUFFER SOLUTION PH 7,00 250ML NIST CERTIFIED
	Each
	4

	3. IBOR51100633 
	CONDUCTIVITY SOLUTION 1413 US/CM 500ML NIST CERTIFIED
	Each
	4

	4. BOR51100643 
	CONDUCTIVITY SOLUTION 12.88 MS/CM 500ML NIST CERTIFIED
	Each
	4

	5. IBOR32208053 

	SOLUTION STORAGE XS SENSOR 500ML
	Each
	4

	6. CSCS1366C 

	WATER DEIONISED 2L

	Each
	4
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