Agricultural Research Council-NRE

141 Cresswell Rd

Weavind Park

Pretoria,

0184

Request for quotation: ‪‪‪ RFQ-015882

Closing Date: 	30 June 2023 at 11h00

VAT Registration:	4140125313

Delivery address: Agricultural Research Council-NRE

141 Cresswell Rd

Weavind Park

Pretoria,

0184

COMPULSORY SITE BRIEFING – 23 JUNE 2023 AT 10:00

Request for Quotation for Supply, Delivery, and installation of air conditioners NRE-AE

Good day

- You are kindly requested to submit a written quotation to the Agricultural Research Council per the specifications below.

Quotations with Supporting Documentation must be emailed to:

KubhekaL@arc.agric.za

  - SPECIFICATION IN DETAIL

SPECIFICATION FOR THE SUPPLY, DELIVERY, AND INSTALLATION OF AIR-CONDITIONERS

Note: The Contractor must remove the existing Air-Conditioners and close the holes with steel of 725X545X2mm sheet plate - The old Air-conditioners must be handed over to ARC. Description of Air-Conditioner sizes; Quantity. 1.; 9000 Btu inverter HVAC type Air-conditioners running on R410 gas; 3. 2.; 12000Btu inverter HVAC type Air-Conditioner running on R410 gas; 2. 3.; 14000Btu inverter HVAC type Air-Conditioner running on R410 gas; 2. 4.; 24000Btu inverter HVAC type Air-conditioners running on R410 gas, circuit breaker size and cable lengths must be verified by the Contractor; 1. 5.; CONTINGENCY – The supplier does not a have right to use the contingency amount without ARC approval.; R25000. 6.; Remove the existing Air-Conditioners; 10%. Description of item - Attractive matt-white harmonises with any décor. - Energy-efficient digital inverter technology, which cuts electricity use by up to 40 % and ensures quiet operation - A self-cleaning function and an anti-corrosion fin, to prolong the life of the exchanger and ensure clean, fresh air - A full, high-density (HD) air filter, which removes impurities from the air - Silent operation - A turbo cool feature, for cooling to the desired temperature within seconds - Good sleep mode, which automatically adjusts temperature and humidity for optimal comfort based on natural sleep rhythms. Compulsory Requirements - 2ME CIDB grading - The air-conditioners must be split type unit. - Compulsory Site briefing - Maintenance of all installation and equipment for 12 months guarantee - Proof of electrical trade certificate/ Certificate of Compliance (COC) - Three proof of references (completion letter) from previous similar work must be provided - Compulsory Registration with (SARACCA/SAIRAC/ECSA professional registered) - Insolation must be protected by U-vee protection.

- Request for Quotation Evaluation stages:

The RFQ evaluation process consists of several stages that are applicable according to the merits of the request for quotation, as defined below:

Stage 1: Specification

Stage 2: Evaluation Criteria: National Treasury Procurement Regulations

Stage 3: Agricultural Research Council Preference Points System – See Annexure A

Requirements (Administrative):

(NOTE: Failure to provide the below-listed documents May lead to disqualification)

| Description | Comply | Do Not Comply |
| --- | --- | --- |
| 1. Submission of original valid Tax pin or a Tax Compliance Status letter issued by the South African Revenue Services |  |  |
| 2. Completed and signed Standard Bidding Documents (SBD) forms included in the bid document. (SBD 4) |  |  |
| 3. Local Content Declaration (Annex C, D, E) |  |  |
| 4. Only bidders registered on the Central Supplier Database (CSD) will be considered. Bidders shall include the CSD registration number with the bid proposal. |  |  |
| 5. BBBEE Certificate or Sworn Affidavit |  |  |

- All price quotations that have a rand value of R 2000.00 to below R 50,000,000.00, including VAT, will be evaluated by applying the 80/20 principle as prescribed by the Preferential Procurement Policy Framework Act 5 of 2000 and its Regulations of 2022, and the Agricultural Research Council Preference Points System – See Annexure A

- Administrative Requirements:

  - Valid Tax Pin issued by the South African Revenue Services (SARS).

  - Only bidders registered on the Central Supplier Database (CSD) will be considered.  Bidders shall include the CSD registration number with the bid proposal.

  - Completed and signed Standard Bidding Documents (SBD) forms included in the bid document.

  - The above-specified goods/services should be delivered/rendered to the at above-mentioned delivery address.

  - The particulars of the guarantee that will apply to the goods quoted for, with regards to the period and extent of the warranty must be clearly stated.  Where services are required, service providers must submit documentation pertaining to the relevant experience.

  - Your written quotation must be emailed to   KubhekaL@arc.agric.za

  - Standard conditions:

  - The validity of the quotations must be indicated.

  - Prices quoted should be in South African Rand and inclusive of VAT costs such as delivery, insurance, taxes, etc.

  - No price adjustments or amendments of the delivery particulars contained in paragraph 2 will be considered by the ARC.

  - The supplier accepts full responsibility for the proper execution and fulfilment of the goods/services quoted.

  - ARC reserves the right to accept or reject any special terms and conditions that may qualify the goods/services to be provided.

  - Quotes should be submitted on official letterhead and duly signed.

  - Goods and services should be supplied/rendered upon receipt of a purchase order from the ARC.

  - The General Conditions of Contract issued by the National Treasury are applicable.

  - The ARC supply chain management code of conduct is applicable.

  - Standard Bidding Documents (SBD) forms must be signed and returned together with the quotation Failure to comply will result in the disqualification of your quotation.

  - Your quotation must indicate the delivery date.

  - The ARC reserves the right to do due diligence on the quotations.

  - The ARC reserves the right to benchmark prices quoted.

Thank you in anticipation.

Ms. Lungile Kubheka

Tel: +27 (0)12 842- 4078

Email: KubhekaL@arc.agric.za

Supply Chain Management: ARC