REQUEST FOR QUOTATION FORM FOR GOODS

AND SERVICES

AGRICULTURAL RESEARCH COUNCIL (ARC)

RFQ No:		‪‪‪ RFQ-055354

Enquiries: 		Sello Sako (Administrative queries_

Contact:		018 299 6437

Schalk Du Plessis (Technical queries)

018 299 6283

RFQ Closing Date:   02 August 2022 11: 00 AM

Compulsory Site inspection: 29 July 2022 11: 00 AM

1.	You are kindly requested to submit a written quotation to Agricultural

Research Council as per below or attached terms of reference (TOR’s).

| Description | Quantity | UOM |
| --- | --- | --- |
| Cowpea Coldroom Block F: Upgrade or replacement of the cooling system to accommodate the active collection of the genebank at normal cooling 4°C and 30% RH.Coldroom. Size of the Coldroom (7m x 3m x 2.4m) Supply and install: a) Condensing unit b) Evaporator unit c) Electrical control panel d) Digital control with temperature display | 1 | Ea |

2.	The above specified goods/services should be delivered/rendered to:

Name of Institute	: ARC- GRAIN CROPS INSTITUTE

Address		: Grain Crops Institute (ARC-GCI)

114 Chris Hanistreet

Agricultural Research Centre Potchefstroom

Hendrik Schoeman & JPF Sellshop Buildings

Potchefstroom

2520

3.	The particulars of the guarantee that will apply to the goods quoted for,

with particular regard to the period and extent of the warranty must be

clearly stated. Where services are required, service providers must submit

documentation pertaining the relevant experience.

4.	Your written quotation must be emailed to:SakoSA@arc.agric.za

5.	All price quotations that have a rand value of R30,000-00 to R1 000 000.00

including VAT, will be evaluated by applying the 80/20 principle as

prescribed by the Preferential Procurement Policy Framework Act 5 of

2000 and its Regulations. The lowest acceptable price will score

80 points, the 20 BBBEE points will be allocated as follows:

| B-BBEE Status Level of Contributor | 80/20 |
| --- | --- |
| 1 | 20 |
| 2 | 18 |
| 3 | 16 |
| 4 | 12 |
| 5 | 8 |
| 6 | 6 |
| 7 | 4 |
| 8 | 2 |
| Non-compliant Contributor | 0 |

6.	Standard conditions:

6.1	The validity of the quotations must be indicated.

6.2	Prices quoted should be in South African Rand and inclusive of VAT costs

such as delivery, insurance, taxes, etc.

6.3	No price adjustments or amendment of the delivery particulars contained

in paragraph 2 will be considered by the ARC.

6.4	The supplier accepts full responsibility for the proper execution and

fulfilment of the goods/services quoted for.

6.5	ARC reserves the right to accept or reject any special terms and

conditions that may qualify the goods/services to be provided.

6.6	Quotes should be submitted on an official letterhead and duly signed

6.7	Goods and services should be supplied/rendered upon receipt of a

purchase order from the ARC

6.8	The General Conditions of Contract issued by National Treasury are

applicable.

6.9	The ARC supply chain management code of conduct is applicable.

6.10	SBD Forms must be signed and returned together with the quotation if

your price is above R10 000.00, failure to comply will result to

disqualification of your quotation.

6.11	Only quotation received from suppliers registered with CSD shall be evaluated and considered

6.12	Your quotation must indicate the delivery date.

6.13	The ARC reserve the right to do due diligence on the quotations.

6.14	The ARC reserve the right to benchmark prices quoted.

6.15 	ARC reserves the right to do due diligence on the quotations.

6.16    Should you not receive response from ARC within 30 days of the closing date of		 please regard your quotation as unsuccessful.

6.17	 When submitting your quotation please attach the following documents

- Quotation (RFQ number should reflect).

- CSD Report (Date of the quotation).

- SBD 4 – Declaration of Interest.

- Tax Pin.

- BEE certification.

Thank you in anticipation

Supply Chain Management:ARC