Bidders are hereby invited to quote for the supply, delivery, and installation of a ceiling and its accessories at HSRC Pretoria situated at HSRC Building, 134 Pretorius Street

- Background

The Human Sciences Research Council (HSRC) is a research organisation that advances social sciences and humanities for public use. The HSRC subscribes to the values of good governance, accountable public administration and sound management of the resources as reflected in the Public Financial Management Act of 1999 (PFMA as amended by Act 29 of 1999) and other laws and regulations applicable to public administration.

Established in 1968 as South Africa’s statutory research agency and has grown to become the largest dedicated research institute in the social sciences and humanities on the African continent, doing cutting-edge public research in areas that are crucial to development.

Our mandate is to inform the effective formulation and monitoring of government policy; to evaluate policy implementation; to stimulate public debate through the effective dissemination of research-based data and fact-based research results; to foster research collaboration; and to help build research capacity and infrastructure for the human sciences.

- Service requirement

The HSRC wishes to appoint an experienced service provider to supply, deliver, and install a Ceiling as detailed below at HSRC Building.

- Scope of Work

- 320x520 Ceiling install

- Aircon ducting Reinstall

- Ceiling Tiles install

- 2 X Light fixture reinstall

- Install Ceiling Supports/rods between Ceiling and Slab

- Remove all existing ceiling tiles and frame work including disposal.

- Make good / prepare surfaces for the new suspended ceiling installation.

- Install new framework and ceiling tiles (320x520m estimated

- ensure sprinkler nozzles are refitted to the newly installed ceiling

- Paint the ceiling with like paint .

- Reinstall all existing lighting fittings

- Reinstall  Aircon ducting and vents

- Provide a COC for new lighting installation.

NB: Service providers to confirm the estimated size (Please bring tape measure)

- Quality of Materials

- All material must meet the South African National Standards (SABS) and Occupation

Health and Safety Act minimum standards and requirements.

- The HSRC has a final say in quality of material delivered.

- To be delivered in accordance with manufacturer`s specification.

- Only SABS approved quality requirements items where applicable must be delivered

- during this contract.

- Mandatory Requirements

- Compulsory site visit (Service providers to sign attendance register)

- A copy of the Letter of Good Standing with the Compensation Commissioner as prescribed by section 89 of the Compensation for Occupational Injuries and Diseases Act 1993.

- CIDB Grading for this bid is 1GB (suppliers to submit a proof).

- Three contactable reference letters where similar services were conducted on client letterhead