NEC3 Term Service Contract (TSC3)

| Between | Eskom Holdings SOC Ltd (Reg No: 2002/015527/30), |  |
| --- | --- | --- |
| and |  |  |
| for | Provision of Rubber lining & sand-blasting for Ash Silo Tanks & Water Treatment Plant Vessels “As And When” Required Basis to Kriel Power Station for period of 3 Years. |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data |  |
| Part C2 | Pricing Data |  |
| Part C3 | Scope of Work |  |
| CONTRACT No. |  |  |

| Documentation prepared by: |  |  |
| --- | --- | --- |

# PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance |  |
| C1.2a | Contract Data provided by the Employer |  |
| C1.2b | Contract Data provided by the Contractor |  |

C1.1 Form of Offer & Acceptance

## Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Provision of Rubber lining & sand-blasting for Ash Silo Tanks & Water Treatment Plant Vessels “As And When” Required Basis to Kriel Power Station for period of 3 Years.

The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

| Option A | The offered total of the Prices exclusive of VAT is |  |
| --- | --- | --- |
|  | Sub total |  |
|  | Value Added Tax @ 14% is |  |
|  | The offered total of the amount due inclusive of VAT is |  |

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |
| Tenderer’s CIDB registration number: |  |  |  |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work: Service Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| for the Employer |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Employer prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
| 6 |  |  |
| 7 |  |  |

By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Employer |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  |  |
| On behalf of | (Insert name and address of organisation) |  | (Insert name and address of organisation) |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 TSC3 Contract Data

# Part one - Data provided by the Employer

| Clause |  | ## Statement | ## Data |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  | ## General |  |  |  |  |
|  |  | The conditions of contract are the core clauses and the clauses for main Option: |  |  |  |  |
|  |  |  | A: Priced contract with price list |  |  |  |
|  |  | dispute resolution Option | W1: Dispute resolution procedure |  |  |  |
|  |  | and secondary Options |  |  |  |  |
|  |  |  | X1: Price adjustment for inflation |  |  |  |
|  |  |  | X2: Changes in the law |  |  |  |
|  |  |  | X17: Low service damages |  |  |  |
|  |  |  | X18: Limitation of liability |  |  |  |
|  |  |  | X19: Task Order |  |  |  |
|  |  |  | Z: Additional conditions of contract |  |  |  |
|  |  | of the NEC3 Term Service Contract (June 2005) |  |  |  |  |
| 10.1 |  | The Employer is (name): | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |
|  |  | Address | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |
|  |  | Tel No. |  |  |  |  |
|  |  | Fax No. | -- |  |  |  |
| 10.1 |  | The Service Manager is (name): | SIBUSISO RICHBOY NGWENYA |  |  |  |
|  |  | Address | Kriel Power Station, Private Bag X5009, Kriel 2271 |  |  |  |
|  |  | Tel |  |  |  |  |
|  |  | Fax |  |  |  |  |
|  |  | e-mail |  |  |  |  |
| 11.2(2) |  | The Affected Property is | Kriel Power Station Stores |  |  |  |
| 11.2(13) |  | The service is | Provision of Rubber lining & sand-blasting for Ash Silo Tanks & Water Treatment Plant Vessels “As And When” Required Basis to Kriel Power Station for period of 3 Years. |  |  |  |
| 11.2(14) |  | The following matters will be included in the Risk Register | - Unprotected Strikes - Local content not met which may lead to unrest |  |  |  |
| 11.2(15) |  | The Service Information is in | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |  |
| 12.2 |  | The law of the contract is the law of | the Republic of South Africa |  |  |  |
| 13.1 |  | The language of this contract is | English |  |  |  |
| 13.3 |  | The period for reply is | - Within 2 working days non outage periods - During Outages within 12 hours including weekends and public holidays |  |  |  |
| ## 2 |  | ## The Contractor’s main responsibilities | Data required by this section of the core clauses is also provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data |  |  |  |
| 21.1 |  | The Contractor submits a first plan for acceptance within | Level 3 within two weeks after Contract Date |  |  |  |
| ## 3 |  | ## Time |  |  |  |  |
| 30.1 |  | The starting date is. |  |  |  |  |
| 30.1 |  | The service period is | Three years |  |  |  |
| ## 4 |  | ## Testing and defects | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data |  |  |  |
| ## 5 |  | ## Payment |  |  |  |  |
| 50.1 |  | The assessment interval is | - between the 25th day of each successive month - Service manager may when deemed necessary request Bi-Weekly payment assessments or on the completion of work |  |  |  |
| 51.1 |  | The currency of this contract is the | South African Rand |  |  |  |
| 51.2 |  | The period within which payments are made is | 30 days as per Eskom Finance Procedures. |  |  |  |
| 51.4 |  | The interest rate is | the publicly quoted prime rate of interest (calculated on a 365 day year) charged by from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter (and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |
| ## 6 |  | ## Compensation events | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data |  |  |  |
| ## 7 |  | ## Use of Equipment Plant and Materials | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data |  |  |  |
| ## 8 |  | ## Risks and insurance |  |  |  |  |
| 80.1 |  | These are additional Employer's risks | 1. |  |  |  |
|  |  |  | 2. |  |  |  |
|  |  |  | 3. |  |  |  |
| 83.1 |  | The Employer provides these insurances from the Insurance Table | as stated for “Format TSC3” available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx (See Annexure A for basic guidance). |  |  |  |
| 83.1 |  | The Employer provides these additional insurances | as stated for “Format TSC3” available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx (See Annexure A for basic guidance) |  |  |  |
| 83.1 |  | The Contractor provides these additional insurances: | None |  |  |
| 83.1 |  | The minimum amount of cover for insurance against loss and damage caused by the Contractor to the Employer’s property is | the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx |  |  |  |
| 83.1 |  | The insurance against loss of or damage to the works, Plant and Materials is to include cover for Plant and Materials provided by the Employer for an amount of |  |  |  |
| 83.1 |  | The minimum amount of cover for insurance in respect of loss of or damage to property (except the Employer’s property, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Service for any one event is: | whatever the Contractor deems necessary in addition to that provided by the Employer. |  |  |  |
| 83.1 |  | The minimum limit of indemnity for insurance in respect of death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract for any one event is: | As prescribed by the Compensation for Occupational Injuries and Diseases Act No. 130 of 1993 and the Contractor’s common law liability for people falling outside the scope of the Act with a limit of Indemnity of not less than R500 000 (Five hundred thousand Rands). |  |  |  |
| ## 9 |  | ## Termination | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |
| ## 10 |  | ## Data for main Option clause |  |  |  |  |
| A |  | Priced contract with price list |  |  |  |  |
| 20.5 |  | The Contractor prepares forecasts of the final total of the Prices for the whole of the service at intervals no longer than | - Total Contract financial forecast on a monthly basis - Cost to completion during Outages |  |  |  |
| ## 11 |  | ## Data for Option W1 |  |  |  |  |
| W1.1 |  | The Adjudicator | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |
| W1.2(3) |  | The Adjudicator nominating body is: | the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the Institution of Civil Engineers (London) (see www.ice-sa.org.za ) or its successor body. |  |  |  |
| W1.4(2) |  | The tribunal is: | arbitration |  |  |  |
| W1.4(5) |  | The arbitration procedure is | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |
|  |  | The place where arbitration is to be held is | Republic of South Africa |  |  |  |
|  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |
| ## 12 |  | ## Data for secondary Option clauses |  |  |  |  |
| X1 |  | Price adjustment for inflation |  |  |  |  |
| X1.1 |  | The base date for indices is | Month before the contract award date. |  |  |  |
|  |  | The proportions used to calculate the Price Adjustment Factor are: | proportion | linked to index for | Index prepared by |  |
|  |  | CPA will only account for after the first year of the contract period, prices are fixed and firm throughout the contract period Month before the contract award date |  |  |  |  |
|  |  |  | 0.10 | Transport | SIFSA Table L2 |  |
|  |  |  | 0.65 | Labour | [SEIFSA Table C3 |  |
|  |  |  | 0.10 | CPI | SEIFSA Table D |  |
|  |  |  | 0.15 | non-adjustable |  |  |
|  |  |  | 1.00 |  |  |  |
| X2 |  | Changes in the law | There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data. |  |  |  |
| X17 |  | Low service damages |  |  |  |  |
| X17.1 |  | The service level table is in | As per Annexure “B” |  |  |  |
| X18 |  | Limitation of liability |  |  |  |  |
| X18.1 |  | The Contractor’s liability to the Employer for indirect or consequential loss is limited to | R0.0 (zero Rand) |  |  |  |
| X18.2 |  | For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to | the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx |  |  |  |
| X18.3 |  | The Contractor’s liability for Defects due to his design of an item of Equipment is limited to | The greater of the total of the Prices at the Contract Date and the amounts excluded and unrecoverable from the Employer’s insurance (other than the resulting physical damage to the Employer’s property which is not excluded) plus the applicable deductibles in the Employer’s assets and works / maintenance policies available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ - From_1_April_2014_To_31_March_2015.aspx |  |  |  |
| X18.4 |  | The Contractor’s total liability to the Employer, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to | the total of the Prices other than for the additional excluded matters. The Contractor’s total liability for the additional excluded matters is not limited. The additional excluded matters are amounts for which the Contractor is liable under this contract for Defects due to his design, plan and specification, Defects due to manufacture and fabrication outside the Affected Property, loss of or damage to property (other than the Employer’s property, Plant and Materials), death of or injury to a person and infringement of an intellectual property right. |  |  |  |
| X18.5 |  | The end of liability date is | 12 months after the end of the service period. |  |  |  |
| X19 |  | Task Order |  |  |  |  |
| X19.5 |  | The Contractor submits a Task Order programme to the Service Manager within | - 5 days of receiving an outage notification - Additional Emergency Conditions Apply as per 2.13 in the Service Information |  |  |  |
| Z |  | The additional conditions of contract are | Z1 to Z12 always apply. |  |  |  |
| Z1 | Cession delegation and assignment |  |  |  |  |
| Z1.1 | The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer. |  |  |  |  |
| Z1.2 | Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |
| Z2 | Joint ventures |  |  |  |  |
| Z2.1 | If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract. |  |  |  |  |
| Z2.2 | Unless already notified to the Employer, the persons or organisations notify the Service Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf. |  |  |  |  |
| Z2.3 | The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing. |  |  |  |  |
| Z3 |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |
| Z3.1 |  | Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change. |  |  |  |
| Z3.2 |  | The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Service Manager within thirty days of the notification or as otherwise instructed by the Service Manager. |  |  |  |
| Z3.3 |  | Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Service. |  |  |  |
| Z3.4 |  | Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P4 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |
| Z4 | Ethics |  |  |  |  |
| Z4.1 | Any offer, payment, consideration, or benefit of any kind made by the Contractor, which constitutes or could be construed either directly or indirectly as an illegal or corrupt practice, as an inducement or reward for the award or in execution of this contract constitutes grounds for terminating the Contractor’s obligation to Provide the Service or taking any other action as appropriate against the Contractor (including civil or criminal action). |  |  |  |  |
| Z4.2 | The Employer may terminate the Contractor’s obligation to Provide the Service if the Contractor (or any member of the Contractor where the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations) is found guilty by a competent court, administrative or regulatory body of participating in illegal or corrupt practices. Such practices include making of offers, payments, considerations, or benefits of any kind or otherwise, whether in connection with any procurement process or contract with the Employer or other people or organisations and including in circumstances where the Contractor or any such member is removed from the an approved vendor data base of the Employer as a consequence of such practice. |  |  |  |  |
| Z4.3 | Notwithstanding the provisions of core clause 90.2, the procedures on termination in terms of this clause are P1, P2 and P4 as stated in the core clause 92 and the amount due is A1 and A3 as stated in core clause 93. |  |  |  |  |
| Z5 | Confidentiality |  |  |  |  |
| Z5.1 | The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time). Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |
| Z5.2 | If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Service Manager. |  |  |  |  |
| Z5.3 | In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |
| Z5.4 | The taking of images (whether photographs, video footage or otherwise) of the Affected Property or any portion thereof, in the course of Providing the Service and after the end of the service period, requires the prior written consent of the Service Manager. All rights in and to all such images vests exclusively in the Employer. |  |  |  |  |
| Z5.5 | The Contractor ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |
| Z6 | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |
| Z6.1 | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Service Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |
| Z7 |  | Health, safety and the environment: Add to core clause 27.4 |  |  |  |
| Z7.1 |  | The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor: accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property; warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |
| Z7.2 |  | The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |
| Z8 | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |
| Z8.1 | Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Service Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |
| Z8.2 | If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |
| Z8.3 | The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |
| Z9 | Notifying compensation events |  |  |  |  |
| Z9.1 | Delete the last paragraph of core clause 61.3 and replace with: If the Contractor does not notify a compensation event within eight weeks of becoming aware of the event, he is not entitled to a change in the Prices. |  |  |  |  |
| 10 | Employer’s limitation of liability |  |  |  |  |
| Z10.1 | The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |
| Z10.2 | The Contractor’s entitlement under the indemnity in 82.1 is provided for in 60.1(12) and the Employer’s liability under the indemnity is limited to compensation as provided for in core clause 63 and X19.11 if Option X19 Task Order applies to this contract. |  |  |  |  |
| Z11 | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |
| Z11.1 | or had a business rescue order granted against it. |  |  |  |  |

Z12             Contract Financial Commitments

| Z12.1 | Task orders will be issued by the Service Manager on an “as and when” required basis. The liability of the Employer is limited to the total of the Prices stated in the specific Task Order and not the total Price stated in the Service Information. The Employer is not obliged to issue any Task Order to the Contractor despite the Contractor being awarded the contract. |
| --- | --- |

Annexure A:	Insurance provided by the Employer

These notes are provided as guidance to tendering contractors and the Contractor about the insurance provided by the Employer. The Contractor must obtain its own advice. Details of the insurance itself are available from the internet web link given below.

1.	Services provided in a TSC3 contract could include some element of construction or refurbishment as well as a continuous maintenance or operational service activity.  If an event occurs which causes loss or damage, a claim could be made either against the Employer’s “works” type policy which may be in place for the Employer’s portion of the Affected Property concerned or against the Employer’s assets policy which may be in place for the Employer’s portion of the Affected Property concerned, or both.

2.	The cover provided and the deductibles under the works policy are different to those under the assets policy.   Each policy has a range of applicable deductibles depending on the location of the Affected Property and the nature of the insurable event.

3.	The Contractor is required in terms of Contract Data for clause 83 to provide cover for the deductibles in the insurance provided by the Employer.  This can be provided from his own resources on a ‘self insured’ basis or obtained by him from his own insurers.   In order to assess the extent of this cover, tendering contractors and their brokers should consult the internet web link given below and scroll to ‘Format TSC3’ to establish both the cover and the deductibles in relation to the service provided in terms of this contract.

4.	Tendering contractors should note that cover provided by the Employer is only per the policies available on the internet web link listed below and may not be the cover required by the tendering contractor or as intended by each of the listed insurances in the left hand column of the Insurance Table in clause 83.2.  In terms of clause 83.1 “the Contractor provides the insurances stated in the Insurance Table except any insurance which the Employer is to provide”.  Hence the Contractor provides insurance which the Employer does not provide and in cases where the Employer does provide insurance the Contractor insures for the difference between what the Insurance Table requires and what the Employer provides.

5.	If Marine Insurance is required the Contractor needs to obtain a copy of the latest edition of Eskom’s Marine Policies Procedures found at internet website given below.

6.	Further information and full details of all Eskom provided policies and procedures may be obtained from:

http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx

Annexure B:  Table of low service damages (X17)

| Low Service Damage Description | Value of Low Service Damages | Limit of Low Service Damage |
| --- | --- | --- |
| Service delaying production of water treatment plant due to late delivery | 5% of Task Order per day | Limited to 10% of the Task Order value |
| Service delays not finishing as per agreed upon schedule submitted to the Service Manger | 2.5% of Task Order per day | Limited to 10% of the Task Order value |
| Submission of documents as per agreed upon CDSS in this service agreement | 1.5% of Task Order per day | Limited to 10% of the Task Order value |
| Rework due to poor workmanship. | 2% of Task Order per day | Limited to 10% of the Task Order value |
| Daily Progress Updated Schedule | 2% of Task Order per day | Limited to 10% of Task Order Value |
| Response of NCR within 3 days | 2% of Task Order per day | Limited to 10% of Task Order Value |

C1.2 Contract Data

# Part two - Data provided by the Contractor

| Clause | Statement | Data |
| --- | --- | --- |
| 10.1 | The Contractor is (Name): |  |
|  | Address |  |
|  | Tel No. |  |
|  | Fax No. |  |
| 11.2(8) | The direct fee percentage is | % |
|  | The subcontracted fee percentage is | % |
| 11.2(14) | The following matters will be included in the Risk Register |  |
| 11.2(15) | The Service Information for the Contractor’s plan is in: |  |
| 21.1 | The plan identified in the Contract Data is contained in: |  |
| 24.1 | The key people are: |  |
|  | 1 Name: |  |
|  | Job: |  |
|  | Responsibilities: |  |
|  | Qualifications: |  |
|  | Experience: |  |
|  | 2 Name: |  |
|  | Job |  |
|  | Responsibilities: |  |
|  | Qualifications: |  |
|  | Experience: |  |
|  |  | CV's (and further key person's data including CVs) are in . |
| A | Priced contract with price list |  |
| 11.2(12) | The price list is in |  |
| 11.2(19) | The tendered total of the Prices is | R |

# Part 2: Pricing Data

TSC3 Option A

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions: Option A | 2 |
| C2.2 | The price list | [●] |

C2.1 Pricing assumptions: Option A

# How work is priced and assessed for payment

Clause 11 in NEC3 Term Service Contract (TSC3) core clauses and Option A states:

| Identified and defined terms | 11 11.2 | (12) The Price List is the price list unless later changed in accordance with this contract. |
| --- | --- | --- |
|  |  | (17) The Price for Services Provided to Date is the total of the Price for each lump sum item in the Price List which the Contractor has completed and where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate. |
|  |  | (19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate. |

This confirms that Option A is a priced contract where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both.

Function of the Price List

Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not Provide the Service in accordance with the Price List.   The Price List is only a pricing document.

Link to the Contractor’s plan

Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17).

Preparing the price list

Before preparing the price list, both the Employer and tendering contractors should read the TSC3 Guidance Notes pages 14 and 15.  In an Option A contract, either Party may have entered items into the price list either as a process of offer and acceptance (tendering) or by negotiation depending on the nature of the service to be provided.  Alternatively the Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in the price list to be prepared and priced by him.

It is assumed that in preparing or finalising the price list the Contractor:

- Has taken account of the guidance given in the TSC3 Guidance Notes relevant to Option A;

- Understands the function of the Price List and how work is priced and paid for;

- Is aware of the need to link operations shown in his plan to items shown in the Price List;

- Has listed and priced items in the price list which are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;

- Has priced work he decides not to show as a separate item within the Prices or rates of other listed items in order to fulfil the obligation to complete the service for the tendered total of the Prices.

- Understands there is no adjustment to items priced as lump sums if the amount, or quantity, of work within that item later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the (lump sum) Prices is as a result of a compensation event.

Format of the price list

(From the example given in an Appendix within the TSC3 Guidance Notes)

Entries in the first four columns in the price list in section C2.2 are made either by the Employer or the tendering contractor.

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering contractor enters the amount in the Price column only, the Unit, Expected Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for an item of work which is the rate for the work multiplied by the quantity completed, the tendering contractor enters the rate which is then multiplied by the Expected Quantity to produce the Price, which is also entered.

If the Contractor is to be paid a Price for an item proportional to the length of time for which a service is provided, a unit of time is stated in the Unit column and the expected length of time (as a quantity of the stated units of time) is stated in the Expected Quantity column.

C2.2 the price list

| CORROSION PROTECTION & SANDBLASTING OF FLY ASH SILOS , WTP VESSELS AND ASSOCIATED PIPING ON AS AND WHEN REQUIRED AT KRIEL POWER STATION FOR A PERIOD OF THREE YEARS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Item | Description | Unit | Quantity | Rate | Amount |
|  |  | SECTION NO: 1 |  |  |  |  |
|  | 100 | PRELIMINARY AND GENERAL |  |  |  |  |
|  | 101 | Site Establishment | Sum | 1 |  |  |
|  | 102 | Transport | km | 1 |  |  |
|  | 103 | Health and Safety Requirements(PPE, Safety File, Medicals etc) | Yearly | 5 |  |  |
|  | 104 | Project Management/Supervision & Quality Requirements | Sum | 1 |  |  |
|  | 105 | Site De-Establishment | Sum | 1 |  |  |
|  |  | Total P & G's |  |  |  |  |
|  |  | SECTION NO. 2 : WORKS INFORMATION |  |  |  |  |
|  |  | VESSELS |  |  |  |  |
|  | 200 | REMOVAL |  |  |  |  |
|  | 201 | Strip and remove old rubber lining and prepare surface to receive new lining | Sum | 1 |  |  |
|  |  | ASSESSMENTS |  |  |  |  |
|  | 202 | Identify defects and determine the magnitude of repairs required on the vessels | Sum | 1 |  |  |
|  |  | Documentation |  |  |  |  |
|  | 203 | Carrying out a detailed assessment of the rubberlining defects and submit a detailed inspection report to the employer | Sum | 1 |  |  |
|  | 300 | SANDBLASTING |  |  |  |  |
|  |  | Sandblast on |  |  |  |  |
|  | 301 | WTP Ion vessel | m2 | 240 |  |  |
|  | 302 | CPP regeneration vessel | m2 | 240 |  |  |
|  | 303 | Ash main silo | m2 | 231 |  |  |
|  | 304 | Ash transfer silo | m2 | 123 |  |  |
|  | 305 | 80NB flanged pipe | m2 |  |  |  |
|  | 306 | 100NB flanged pipe | m2 |  |  |  |
|  | 307 | 150NB flanged pipe | m2 |  |  |  |
|  | 308 | 200NB flanged pipe | m2 |  |  |  |
|  | 309 | 300NB flanged pipe | m2 |  |  |  |
|  | 400 | RUBBER LINING ON |  |  |  |  |
|  |  | DENIM VESSELS (ANION, CATION AND MIXED STORAGE) |  |  |  |  |
|  | 401 | 4,8mm thick rubber lining on the vessel (19.78m3) | No | 9 |  |  |
|  | 402 | 6mm thick rubber lining on the vessel base (4m3) | No | 9 |  |  |
|  |  | CPP VESSELS(ANION, CATION AND STORAGE |  |  |  |  |
|  | 403 | 4,8mm thick rubber lining on the vessel (19.78m3 ) | No | 9 |  |  |
|  | 404 | 6mm thick rubber lining on the vessel base (4m3) | No | 9 |  |  |
|  |  | TOTAL |  |  |  |  |
|  | 300 | ASH SILOS |  |  |  |  |
|  | 301 | REMOVAL |  |  |  |  |
|  | 302 | Strip and remove old rubber lining and prepare surface to receive new lining (new lining measured elsewhere) | Sum | 1 |  |  |
|  |  | ASSESSMENTS |  |  |  |  |
|  | 303 | Identify defects and determine the magnitude of repairs required on the vessels | Sum | 1 |  |  |
|  |  | Documentation |  |  |  |  |
|  | 304 | Carrying out a detailed assessment of the rubberlining defects and submit a detailed inspection report to the employer | Sum | 1 |  |  |
|  |  | RUBBER LINING ON |  |  |  |  |
|  | 305 | Ash main silo | m2 | 231 |  |  |
|  | 306 | Ash transfer silo | m2 | 123 |  |  |
|  |  | TOTAL |  |  |  |  |
|  | 400 | SULPHIRIC ACID SYSTEM DISTRIBUTION PIPEWORK |  |  |  |  |
|  | 401 | Strip and remove old lining where applicable and prepare surface for new lining | Sum | 1 |  |  |
|  |  | ASSESSMENTS |  |  |  |  |
|  | 402 | Clean the pipework and inspect for any damages | Sum | 1 |  |  |
|  | 403 | Identify defects and determine the magnitude of repairs required | Sum | 1 |  |  |
|  |  | Rubberlining on pipes |  |  |  |  |
|  | 405 | 80NB flanged pipe | m | 30 |  |  |
|  | 406 | 100NB flanged pipe | m | 30 |  |  |
|  | 407 | 150NB flanged pipe | m | 30 |  |  |
|  | 408 | 200NB flanged pipe | m | 30 |  |  |
|  | 409 | 300NB flanged pipe | m | 30 |  |  |
|  |  | TOTAL |  |  |  |  |
|  | 500 | TESTS |  |  |  |  |
|  | 501 | Perform spark testing (18-20KV) on the vessels and ash silos and issue a certificate | Sum | 1 |  |  |
|  | 502 | Perform Shore A hardness tests on the vessels and ash silos and issue a certificatee | Sum | 1 |  |  |
|  |  | TOTAL |  |  |  |  |
|  | 600 | FINAL INSPECTION WITH ESKOM/COMMISIONING |  |  |  |  |
|  | 601 | Remove all debris from area worked on and ensure that pipes and other accessories are put back on plant. | Sum | 1 |  |  |
|  | 602 | Issue a commissioning report to client | Sum | 1 |  |  |
|  |  | TOTAL |  |  |  |  |
|  |  | Summary |  |  |  |  |
|  |  | Preliminary & General |  |  |  |  |
|  |  | Vessels |  |  |  |  |
|  |  | Ash Silos |  |  |  |  |
|  |  | Rubberlining on pipes |  |  |  |  |
|  |  | Tests |  |  |  |  |
|  |  | Final Inspection |  |  |  |  |
|  |  | Estimated Cost |  |  |  |  |
|  |  | Summary |  |  |  |  |
|  |  | P & G's |  |  |  |  |
|  |  | Works Information |  |  |  |  |
|  |  | Total |  |  |  |  |

# Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Employer’s Service Information |  |
| C3.2 | Contractor’s Service Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

# C3.1: Employer’s service Information

Contents

Part 3: Scope of Work	21

C3.1: Employer’s service Information	23

1	Description of the service	25

1.1	Executive overview	25

1.2	Employer’s requirements for the service	26

1.3	Interpretation and terminology	26

2	Management strategy and start up.	26

2.1	The Contractor’s plan for the service	26

2.2	Management meetings	27

2.3	Contractor’s management, supervision and key people	27

2.4	Provision of bonds and guarantees	27

2.5	Documentation control	27

2.6	Invoicing and payment	28

2.7	Contract change management	30

2.8	Records of Defined Cost to be kept by the Contractor	30

2.9	Insurance provided by the Employer	30

2.10	Training workshops and technology transfer	31

2.11	Design and supply of Equipment	31

2.12	Things provided at the end of the service period for the Employer’s use	31

2.12.1	Equipment	31

2.12.2	Information and other things	31

2.13	Management of work done by Task Order	31

3	Health and safety, the environment and quality assurance	33

3.1	Health and safety risk management	33

3.2	Environmental constraints and management	33

3.3	Quality assurance requirements	34

4	Procurement	37

4.1	People	37

4.1.1	Minimum requirements of people employed	37

4.1.2	BBBEE and preferencing scheme	37

4.1.3	Accelerated Shared Growth Initiative – South Africa (ASGI-SA)	37

4.2	Subcontracting	37

4.2.1	Preferred subcontractors	37

4.2.2	Subcontract documentation, and assessment of subcontract tenders	38

4.2.3	Limitations on subcontracting	38

4.2.4	Attendance on subcontractors	38

4.3	Plant and Materials	38

4.3.1	Specifications	38

4.3.2	Correction of defects	38

4.3.3	Contractor’s procurement of Plant and Materials	38

4.3.4	Tests and inspections before delivery	38

4.3.5	Plant & Materials provided “free issue” by the Employer	38

5	Working on the Affected Property	39

5.1	Employer’s site entry and security control, permits, and site regulations	39

5.2	People restrictions, hours of work, conduct and records	41

5.3	Health and safety facilities on the Affected Property	41

5.4	Environmental controls, fauna & flora	41

5.5	Cooperating with and obtaining acceptance of Others	41

5.6	Records of Contractor’s Equipment	41

5.7	Equipment provided by the Employer	41

5.8	Site services and facilities	41

5.8.1	Provided by the Employer	41

5.8.2	Provided by the Contractor	42

5.9	Control of noise, dust, water and waste	43

5.10	Hook ups to existing works	43

5.11	Tests and inspections	43

5.11.1	Description of tests and inspections	43

5.11.2	Materials facilities and samples for tests and inspections	44

6	List of drawings	44

6.1	Drawings issued by the Employer	44

- Description of the service

  - Executive overview

The scope comprises the following but is not limited to:

Provision of Rubber lining & sand-blasting for Ash Silo Tanks & Water Treatment Plant Vessels “As And When” Required Basis to Kriel Power Station for period of 3 Years.

Works Overview

The following scope applies to 6x main silos, 6x transfer silos, 9x Demin vessels, 9x CPP vessels and their associated pipework.

The scope shall include internal inspections, repairs or relining on the Demin and CPP vessels depending on nature of the defects per vessel. The scope includes offsite rubber lining of associated steel plates and pipework as per the Employer’s representative’s instructions on each task order.

Requirements on ash silos are external inspections and repair work as per the defects. The works includes cleaning to remove excess ash, stripping the rubber floor and removal of any loose equipment’s at ash silo top to make the area safe for work.

Scope breakdown for vessels:

- WTP Operating manpower to take out resin with the side nozzle using chemical injection pumps to push it out

- Operating issues a permit for manhole opening to maintenance,

- Operating conducts a gas test for vessel entry i.e. minimum 21 ppm oxygen required,

- Operating issues a permit for vessel entry and maintenance work,

- Maintenance and engineering conducts inspections respectively within the vessel to determine a thorough scope of work

- Employer’s representative informs and notifies the Contractor about scope of work required to be done thru a task order,

- Contractor submits QCP, MSDS, product data sheets, work method statements and any other information on material and process that he/she will be using for approval before coming onsite

- No work shall be performed until the Quality Control Plan is approved by Eskom

- After approval the Contractor reports to site, performs risk assessment and obtain permit to work

- The Contractor conducts his/her own inspections within the vessel to confirm the scope of work after task order issuing

- The Contractor’s safety officer shall prepare a Safety File for the area to be worked on. This Safety file shall address hazardous activities of abrasive blast cleaning and spray painting

- The site supervisor shall verify that the personnel carrying out these activities are suitably qualified and safely protected

- The Contractor performs the work as specified following the guideline conditions below

- The Contractor apply chemical resistant corrosion protection as requested by the Employer Representative on the vessel internal and external surface and piping.

Scope breakdown for ash silos:

The Contractor caters and makes provision for fly ash contamination during rubber lining process in his pricing and work method. All the ash silos are not at ground level and the Contractor familiarise themselves with the plant areas and make provision for any other additional requirements for the purpose of performing work. The following scenarios are examples of what should be done to perform rubber lining replacement at ash silos plants:

1. Perform risk assessment and obtain permit to work

2. Perform pre-inspection of the plant and plan accordingly

3. Clean the fly ash

4. Stripping and removal of old rubber

5. Abrasive blast cleaning is the only acceptable method for surface preparation

6. Abrasive blast cleaning shall be carried out in accordance with Clause 5.3 of SANS 10064 (ISO 8504) and the degree of cleanliness achieved shall be Sa 3 in accordance with ISO 8501/1.

7. Surface preparation inspection

8. The primer coat shall be applied as soon as possible after the surface preparation operation not exceeding 4hours or as deemed acceptable by the rubber applicator taking into consideration the dry dust environment which could compromise or contaminate the primers.

9. Application of metal primer, the Contractor shall ensure that all paints/primer are mixed in accordance with the manufacturer’s instructions

10. Application of primers first coat allowing to dry

11. Application of primers second coat allowing to dry

12. Rubber lining as per the MSDS using natural rubber SANS 1201 and SANS 1198

13. Contractor provides curing time prior of rubber lining according to MSDS specifications

14. Perform spark and Shore A hardness tests measurement, (45-55)

15. Final inspections and permit to work clearance if all stakeholders have signed-off QCP’s

Note: The spark test and shore hardness measuring instruments valid calibration certificates to be provided as part of QCP, otherwise the results cannot be deemed valid.

# Demineralised trains and CPP regeneration vessels

The demineralised WTP consists of three trains, and each train comprises of the following process units:

- 1 x Cation vessel;

- 1 x Anion vessel; and

- 1 x Mixed bed vessel.

The CPP regeneration vessels consists of three trains, and each train comprises of the following process units:

- 1 x Cation vessel;

- 1 x Anion vessel; and

- 1 x storage vessel.

Each vessel is a steel pressure vessel in which resin is contained. The unit is cylindrical in section and stands vertically. The vessel has dished ends. An access manholes to the vessels is provided.

The vessels are rubberlined internally. The contractor needs to make allowance for rubberlining of the entire shell, manholes, supports structures, inlet and outlet pipelines, etc.

The cation and anion vessels have a concrete base which has been cast into the bottom of the vessels. The contractor must make allowance for the rubberlining of this concrete floor as well.

The mixed bed vessels have a nozzle plate. The contractor must make allowance to rubberline the dome below the nozzle plate, as well as the top and bottom of the nozzle plate itself.

Once the vessels are inspected, the employer’s representative will determine if patch repairs are required or full rubbelining of the entire vessel. The vessels must be rubber lined using 6mm Grade B Butyl rubber. Sandblast the whole vessel with silica free sand blasting grit. The Contractor must ensure that there is a system installed which will remove the dust created during sandblasting and must be exhausted outside the building in a designated area. Please take note that this is a demineralisation plant and hence the cleanliness during blasting operations is of outmost importance to prevent contamination during production.

Refer to section 6 for more details on the rubberlining requirement. The design specifications for the vessels are as per Table 2 below, and the dimensions can be used as a guide to determine the rubber lining requirements for the vessel. Surface preparation and rubberlining will be done as per the following specification

- GAM/MAT/22/072: Corrosion Protection Specification for Kriel Power Station WTP Vessels Either by Rubber Lining Patch Repair or Complete Relining

The supports must be straightened before rubber lining is done.

Table 2: WTP Ion vessel design specification

| Parameter | Unit | Cation | Anion | Mixed bed |
| --- | --- | --- | --- | --- |
| Height | m | 4.7 | 4.7 | 3.05 |
| Inside Diameter | m | 2.44 | 2.44 | 1.98 |
| Design P/T | kPa/˚C | 690 @ 50 | 690 @ 50 | 690 @ 50 |
| Operating P/T | kPa/˚C | 690 @ 20 | 690 @ 20 | 690 @ 20 |
| Material of Construction | - | Rubber lined mild steel |  |  |
| Estimated area for rubberlining | m2 | 240 | 240 | 240 |

Table 3: CPP regeneration vessel design specification

| Parameter | Unit | Cation | Anion | Storage |
| --- | --- | --- | --- | --- |
| Height | m | 3.5 | 4.5 | 4.5 |
| Inside Diameter | m | 2.13 | 1.37 | 2.13 |
| Design P/T | kPa/˚C | 500 @ 50 | 500 @ 50 | 500 @ 50 |
| Operating P/T | kPa/˚C | 516 @ 40 | 516 @ 40 | 516 @ 40 |
| Material of Construction | - | Rubber lined mild steel |  |  |
| Estimated area for rubberlining | m2 | 240 | 240 | 240 |

Applicable drawings to this section of the scope is:

- 0.45-25496: Details of Cation vessel

- 0.45-25497: Details of Anion vessel

- 0.45/25538: Kriel Power Station Anion and Cation vessels for Demin Plant

# Demin plant and CPR piping refurbishment

The water treatment plant pipework consists out of multiple areas that require lining replacement. The pipework is constructed out of mild steel. Inspection of the pipework will be done by the Employers representative to decide what is required and the work will be issued as a task order. The lining of the supplied pipework must be done out-situ. The Contractor must allow for full replacement and re-rubberlining of all the pipes.

The Contractor applies the necessary corrosion protection layers on all pipes, as per

- GAM/MAT/22/073: Corrosion Protection Specification for Kriel Power Station Water Treatment Plant Piping

All pipe supports will be corrosion protected, as per Eskom Standard 240-106365693 (Standard for the External Corrosion Protection of Plant, Equipment and Associated Piping with Coatings).

Proper planning of the replacement of pipework must be done to ensure work is done when the plant is not required.

Table 4: Demin, CPP and diluted acid pipework

| Description | Value | Unit |
| --- | --- | --- |
| 300NB | 30 | m |
| 200NB | 30 | m |
| 150NB | 30 | m |
| 100NB | 30 | m |
| 80NB | 30 | m |

# Corrosion protection Specifications

All corrosion protection done in this project must be done in accordance to the following standards and specifications:

- 240-101712128 - Eskom Standard for the Internal Corrosion Protection of Water Systems, Chemical Tanks and Vessels and Associated Piping with Linings.

- 240-106365693 – Eskom Standard for the External Corrosion Protection of Plant, Equipment and Associated Piping with Coatings

- ESKSCAAC6 - Specification for the Identification of the Contents of Pipelines and Vessels

- SANS 10140 (Identification of Colour Markings).

- GAM/MAT/22/072: Corrosion Protection Specification for Kriel Power Station WTP Vessels Either by Rubber Lining Patch Repair or Complete Relining

- GAM/MAT/22/073: Corrosion Protection Specification for Kriel Power Station Water Treatment Plant Piping

- ISO 9001: Quality Management Systems – Requirements.

- SANS 1198: The manufacture of rubber sheeting for rubber lining.

- SANS 1201: The application of rubber linings to pipes, pipe fittings and vessels

Employer’s requirements for the service

The contractor to provide a service report after each and every outage.

Service Information

Task orders will be issued by the Service Manager on an “as and when” required basis. The liability of the Employer is limited to the total of the Prices stated in the specific Task Order and not the total Price stated in the Service Information. The Employer is not obliged to issue any Task Order to the Contractor despite the Contractor being awarded the contract.

The Contractor will be notified by the Service Manager a minimum a month in advance if he becomes aware of any Outage dates that is delayed with 2months or brought forward.

Emergency Task Orders may be given at any time by the Service Manager and different conditions needs to be adhered to as per 2.13 Management of work done by Task Order

Contractor to adhere to the following documentation within the Service Information:

- ORHVS – Regulations – EPC – 32-846

- 36-681 Rev01 – Plant Safety Regulations

- RLR0037 – Management and control of the Declared Outage Permit

- Driven Machinery Regulations 1988

- Project Controls Requirements – 240-85065548

- RSR0001

Electrical Installation Regulations to be adhered to, all electrical boards must be inspected and tested before connecting to a power supply and then a CoC must be issued

  - Interpretation and terminology

The following abbreviations are used in this Service Information:

| Abbreviation | Meaning given to the abbreviation |
| --- | --- |
| NEC | New Engineering Contract |
| TSC | Term Service Contract |
| CDSS | Contractor Document Submission Schedule |

- Management strategy and start up.

  - The Contractor’s plan for the service

The Contractor will submit a plan to the Service Manager for acceptance within the period stated in the service agreement.

Requirements which are to be incorporated into the Contractor’s plan:

- Document 240-85065548 requirements

- Level 4 plan when Task Order is provided to the Contractor

  - Management meetings

Contractors yard visit will be conducted as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Damage spares verification | visit to take place as soon as the pump is taken from site | Contractors Yard | Quality Inspector and End-user |
| Repair progress and feedback | Weekly basis during ( will be confirmed by end-user and contractor) | MS Team/ Email or Telephonically | Quality Inspector and End-user |
| Final Quality Check/Approval | visit to take place as soon as the pump is repaired The visit will require pump operational testing, Certification of tests, balancing, shaft straightness and colour coding | Contractors Yard/ Test Bay | Quality Inspector and End-user |

If the Contractor can’t attend any meeting his feedback should be formally communicated through to the Stores Manager/End-user.

The Contractor will provide a detailed feedback report (QCP) on a daily basis during Repairs providing accurate feedback on the status of service carried out by the Contractor. This report should indicate accurate progress of service and if any constraints are experienced, the Contractor to communicate with the Service Manager and mitigate the risks with action plans.

Meetings of a specialist nature may be convened as specified elsewhere in this Service Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the service.  Records of these meetings shall be submitted to the Service Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

  - Contractor’s management, supervision and key people

The Contractor to provide a key list of personnel who will carry out the work with their qualifications attached. A company organogram will be needed by the Service Manager to communicate accordingly to comply with the NEC3 Term Service Contract communication structures. Contractor to refer to Kriel Power Station Contractor SHE Requirements RSR0001

  - Provision of bonds and guarantees

Not Applicable

  - Documentation control

Documentation requirements covers the life cycle of the project from the initial engineering stages through to installation and commissioning including operating, maintenance and the training stages of the project. Not only must these documents be comprehensive and complete but comply with strict document control and revision procedures.

The Contractor is responsible to plan the supply of the documentation during the various project stages and to provide the documentation in accordance with the Contractor Document Submission Schedule (CDSS). A document is thus any written or pictorial information describing, defining, specifying or certifying activities, requirements, procedures or results.

All the drawings issued by the Employer for this contract is copyright protected and are not to be copied by the Contractor.

It is the responsibility of the Contractor to update any drawings that may have changed due to modifications on the plant. These drawings should be submitted and registered correctly by the Contractor to the drawing office at Kriel Power Station.

The Contractor submits all documentation on a formal transmittal form to the Service Manager.

All manuals, documents, drawings and engineering documentation shall be presented in British English in both software and hardware.

All Communications will be filed and kept on site at all times as it is crucial to have the correct communication structures. These communication documents should at all times adhere to the NEC 3 Term Service Contract communication requirements.

Contractor Document Submission Schedule (CDSS)

| Document Name/Description | Date/Time documents to be submitted |
| --- | --- |
| A programme in Primavera format as referred to document number (240-85065548) | One week after receipt of Task Order |
| Baseline risk assessment | One week after receipt of Task Order |
| QCP’s | One week after receipt of Task Order |
| Contractor’s Safety file | Two weeks before start of work |
| Inspection report | 24 hours after stripping activity |
| Daily progress report | After Every Shift |
| Technical report and data pack | Within 14 days of completion of the services |

  - Invoicing and payment

Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Service Manager’s payment certificate.

The Contractor shall address the tax invoice to:

Eskom Holdings SOC Ltd

Reg. No. 2002/015527/30

Accounts Payable

Kriel Power Station

Private Bag X5009

Kriel 2271

The Contractor keeps records of all invoices submitted and paid up to the end of the project, as well as details of Actual Costs.

All invoices are hand delivered to the Kriel Finance Department (Account payables) and include on each invoice the following information:

Name and address of the Contractor and the Service Manager;

The contract number and title;

Contractor’s VAT registration number;

The Employer’s VAT registration number 4740101508;

Description of service provided for each item invoiced based on the Price List;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT

Contractor is required to follow the correct process to ensure the payment is effected in accordance with contractual payment terms.

Contractor is required to follow the correct process to ensure payment is effected in accordance with contractual payment terms:

2.6.1 Service related invoices

- Once the service have been delivered/completed both parties have to agree that the service has been delivered/completed successfully prior to invoicing

- An assessment payment certificate must be completed between the Contractor and Service Manager according to the service performed. Both parties have to sign the assessment/certificate

- A copy of assessment/payment certificate must be obtained by the Contractor to enable the creation of an invoice and to prevent any discrepancies. A copy of the assessment/payment certificate must be attached to the original invoice

- Service Manager performs a service entry and Goods Receipt on the SAP system. (Assessment/Payment Certificate issued as a source document for Service Entry Goods Receipt)

- Service Manager will the forward the Service entry and Goods Receipt Note number to the Contractor within 3 working days after the service has been rendered and the Assessment/Payment certificate signed

- Contractor must forward the original invoices together with a copy of the Assessment/Payment certificate to the Eskom Documentation Centre.

2.6.2 Goods Delivered Invoices

- Once the Goods are delivered, the Service Manager preforms a Goods Receipt on the SAP system. (The delivery note is used as source document for Goods Receipt. The invoice should not be used as a delivery note)

- Service Manager will then forward the Goods Receipt note to the Vendor immediately or within 3 working days after the Goods are delivered.

- Vendors must then forward the Invoices together with a copy of the Assessment/Payment certificate to the Eskom Documentation Centre

2.6.3 Retention Invoices

Not Applicable

2.6.4 Foreign exchange Invoices

Not Applicable

2.6.5 General Information related to Eskom Invoices

- Contractor must ensure that the Service Entry and Goods Receipt Note number appears on the invoice.  (It can be printed or hand written on the invoice).

- Eskom Purchase Order number must appear on invoice.

- Invoices must be VAT compliant in line with the VAT Act requirements.

- Invoices submitted must reflect the bank account details.  A once off copy of the banking details may be forwarded to the Documentation Centre and it will be attached to each scanned invoice.

- Invoices must be original or certified as an original in line with the VAT Act.  No electronic invoices will be accepted.

- Eskom’s correct name “Eskom Holdings SOC Limited” must appear on the invoice.

- The Eskom VAT registration number: 4740 101 508 must appear on the invoice.

- No pro-forma invoices will be accepted.

- Contractor cannot be utilized by Eskom for more than 3 times without a contract being established.

Note:

- Invoices must be delivered to the Eskom Documentation Centre, as this will speed up the payment process and ensure that invoices are not lost and payments delayed.  There is no need for Service Manager to sign invoices as they perform Goods Receipt in the system.  The assessment certificate and Goods Receipt serves as the approval of payment.

- Eskom Documentation Centre will review invoices according to a checklist and on completion scan the documentation into Accounts Payable processing system (Documentation can only be scanned where the Purchase order no. and Goods Receipt Note no. is reflected on the invoice, and the invoice complies with the VAT Act).

Invoices are processed and released for payment by Accounts Payable Section only where the source documentation is 100% correct

  - Contract change management

Any change of the Contractor’s company ownership should be communicated through to the Service Manager. Failing to do this may lead to contract termination.

If the Employer’s Service Manager authority change the Contractor will be notified by the Employer as soon as possible to ensure that the Contractor follow the correct communication channels.

  - Records of Defined Cost to be kept by the Contractor

In order to substantiate the Defined Cost of Compensation Events, the Employer may require the Contractor to keep records of amounts paid by him for people employed by the Contractor, Plant and Materials, work subcontracted by the Contractor and Equipment.

The Contractor’s Site Manager will complete the site daily log and this will be submitted to the Service Manager for his signature at the end of shift. The log will include but not be limited to the following:

- Date and day

- Weather

- Site Conditions

- People who are employed by the Contractor

- Work sub-contracted by the Contractor

- Any incidents during that period

Any communication and documentation during this service agreement to be filed in the contract file. This file is in the possession of the Service Manager at all times.

  - Insurance provided by the Employer

As stated in Contract Data and as per Annexure A within this Service Agreement.

  - Training workshops and technology transfer

The Service Manager may request a detailed workshop or bar charts which fit into the logic and time span of the Accepted Programme, and reflect the required manufacturing completion dates.

The Contractor should create a schedule for training on the plant for the Employer’s nominated employees if required from the Service Manager.

This training should be relevant for the Employer’s employees to perform front line fault finding or maintenance.

  - Design and supply of Equipment

Details of the design of Equipment is shared with the Service Manager, not necessarily for his acceptance but, as an assurance that the Equipment will be able to allow the Contractor to Provide the Service efficiently and without delay.

Also the Employer may wish to exercise constraints or include witness and hold points during manufacture, assembly or delivery of such Equipment.

The Contractor submits particulars of the design of an item of equipment to the Service Manager for acceptance when the Service Manager instructs him to. A reason for not accepting is that the design of the item will not allow the Contractor to provide the service in accordance with the Service Information, accepted plan or the applicable law.

  - Things provided at the end of the service period for the Employer’s use

    - Equipment

### None

    - Information and other things

The Contractor has the right to use Equipment, Plant, and Materials as stated in this Service Information provided by the Employer to provide the service.

At the end of the service period the Contractor returns all Equipment and surplus materials to the Employer. Provides items of equipment for the Employer’s use as stated in the Service Information and provides information and other things as stated in the Service Information.

  - Management of work done by Task Order

A Task is work within the service which the Service Manger may instruct the Contractor to carry out within a stated period of time.

A signed Task Order is the Service Manager’s instruction to carry out a Task.

Task Completion is when the Contractor has done all the work in the Task and corrected Defects which would have prevented the Employer or Others from using the Affected Property and Others from doing their work.

Task Completion Date is the date for completion stated in the Task Order unless later changed in accordance with this contract.

A Task Order includes:

- A detailed description of the work in the Task

- A priced list of items of work in the Task in which items taken from the Price List are identified.

- The starting and completion dates for the Task

- Conditions of the service agreement is in accordance with the Task Order issued

The Service Manager consults the Contractor about the contents of a Task Order before he issues it.

The Prices for items in the Task price list which are not taken from the Price List are assessed in the same way as compensation events.

No Task Order is issued after the end of the service period.

Work will not commence on site without the Contractor receiving a signed detailed task order that has been agreed upon by the Service Manager and the Contractor.

It is the Contractors responsibility to provide the Service Manager a detailed Task Order programme for acceptance within the period stated in the Contract Data.

Only when the Task Order programme is accepted and agreed upon by the Service Manager and the Contractor will any work commence on site.

When any emergencies do arise, it is required from the Contractor to adhere to the following terms:

- The Contractor will be informed of emergencies when the Service Manager first becomes aware of it.

- Response time within 2 hours for any communication when the Contractor acknowledges the emergency.

- Provide a schedule within 8 hours after Task Order provided to the Contractor

- Mobilise within 5 hours after Task Order have been accepted by both parties.

- Health and safety, the environment and quality assurance

  - Health and safety risk management

The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor:

accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2003 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property;

warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and

undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

  - Environmental constraints and management

All service providers appointed to render any services within Eskom Kriel Power Station are required to comply with the station’s Environmental Management System requirements.

NB: Before commencing with any work, the service providers are required to visit the station’s environmental section for evaluation. The station’s environmental practitioner will evaluate the services to be rendered by the service provider and therefore allocate relevant legal and other requirements documents which the Contractor shall comply with during the service. The service provider together with Eskom’s Environmental practitioner shall sign in the Environmental Agreement Register to indicate that the agreement is reached.

The service provider shall then commence with the service but paying inordinate attention towards implementing the relevant legal and other requirements measures as agreed in the register. Failure to comply with this agreement may ultimately lead to the termination of this contract. This requirement shall also be clearly stipulated in the NEC contracts between Eskom Kriel Power Station and any service providers.

It should always be noted that Kriel Power Station is ISO14001 certified and therefore promotes Integrated Environmental Management (IEM) philosophy which aims to achieve a desirable balance between conservation and development. All activities taking place within Kriel Power Station must consider section 28 of the National Environmental Management Act (107 of 1998) which makes provision for the duty of care approach. The contractor’s team must commit to review and to continually improve environmental management, with the objective of improving overall environmental performance. The Contractor must consult with Kriel Environmental section on a regular basis for on-going assistance and advices.

The EMS shall clearly cover the following areas as per ISO 14001;

- Environmental policy

- Environmental legal and other requirements

- Risk Assessments/Aspects & Impacts Register

- Improved management of monitoring and measurement documentation( e.g. devices calibration certificates)

- Provision of necessary resources (e.g. computers, adequate human resource) and allocation of roles and responsibility (through clear appointments) to achieve effective implementation of the EMS.

- Continuous commitment towards complying with operational controls such as work instructions, operational procedures, etc. (either provided by the Contractor or by Service Manager) as well as emergency preparedness and response procedures/plans.

- The contractor shall continually evaluate the compliance to legal requirements (e.g. sewage treatment plant permits and other applicable legislation); this should also be documented within the monthly environmental site inspections reports.

- Kriel Power Station’s procedure for non-conformity, corrective action and preventive actions shall be followed in case of the environmental incidents.

- Contingency plans.

Environmental Management Programmes

- Environmental Management Programmes shall be established and maintained to ensure that objectives and targets are achieved.

Audits

Audits covering various Environmental aspects, Safety, Operational, IBI and Maintenance Management at the plant shall be carried out within an acceptable interval to ensure compliance with statutory requirements and Eskom’s policies, Directives, procedures etc.

  - Quality assurance requirements

The Contractor shall be required to demonstrate by means of a Contract Quality Plan (CQP) that this organisation is so structured that all the requirements of the specification will be properly monitored and controlled. The Contract Quality Plan (CQP), which must include the Quality Control Plan (QCP), is to be drafted in accordance with QM-58 and the Supplier Contract Quality Requirement Specification (QM58). The Quality documents are to be submitted for approval to the Service Manger within thirty (30) days after a contract has been awarded to the Contractor.

No work may commence unless the Contract Quality Plan and Quality Control Plan documents have been approved in writing and a copy submitted to the Project Manager. The Contractor, in conjunction with the Service Manger must sign off all Quality Control documents after completing all work as per the agreed scope. The Contractor to submit a copy of the final signed off documents/data packages to the Service Manger within one (1) week after completion of work.

The Contractor shall be required to read and fully understand the contents of the Supplier Contract Quality Requirement Specification (QM58) and a copy is to be kept in possession or on premises.

The Contractor shall comply with all Employer’s requirements as set out in QM-58 (Supplier Contract Quality Specification).  .

The Contractor further ensures that the subcontractor’s programmes comply with the requirements of the Service Information.

The Contractor notifies the Service Manager of any changes to the Quality System and obtains agreement prior to implementation on existing orders and contracts, or sub orders and sub contracts.

The Supplier Contract Quality Requirement Specification (QM58) shall remain applicable in the event of the contract being extended or modified for reasons permitted.

By signature and acceptance of this contract the Contractor acknowledges and agrees to comply with and adhere to Eskom’s policies and procedures (current and/or latest revisions) including the Supplier Contract Quality Requirement Specification (QM58).

## 3.3.1 Contract Quality Management Plan Requirement

The Contractor prepares a contract quality management plan that, where appropriate, indicates the following:

- Indicates the interface with the Contractors quality system and applicable documents such as procedures and work instructions

- Establishes communication channels between the Contractor and the Service Manager in respect of quality and the integration of such with the prescribed contract communication channels

- Indicates how specific subcontractors will be monitored

- Identifies items or activities for which quality control plans will be prepared

- Identifies the specifications, drawings and acceptance criteria for material for which quality control plans are not required

- Identifies the areas or processes requiring special controls

- Identifies the Contractor’s Management Representative and personnel responsible for the control of quality activities and their relationship to the Contractor’s management structure

- Identifies the documents which are to be submitted to the Service Manager

- Indicates the Contractor’s quality monitoring programme

The Contractor periodically updates the contract quality management plan to reflect changes in any of the above details. The frequency of such updates is determined by the Service Manager but will not be greater than one year.

## 3.3.2 Quality Control Plan

The Contractor’s or Subcontractor’s quality control plans cover inspection and test proposals for items or activities to be supplied as part of the service.

The quality control plan indicates the following as appropriate:

- The identification of the item.

- A list of the sequence of operations including inspections and tests.

- The identification of the specification, drawings or procedures for each operation.

- The acceptance criteria with reference to the appropriate technical specification, in-house, national or international standard and relevant clause number.

- The inspections and tests the Contractor has nominated for hold and witness points.

- Provision for inspections and tests nominated by the Service Manager.

- Provision for inspection status indication.

- Inspection and test records which are generated by the Contractor.

- Competence of the people-Level II welding inspector, Coded welders, N3 Fitters /Boiler makers

- Personnel qualifications from approved training and accredited institute

- ITPs and welding procedures

- Material certificates

- Organogram indicating the quality person and his/her duties

- Adhere to the QM58

- Follow the Eskom welding  rule book

The quality control plans are reviewed by the Service Manager to allow for insertion of his specific requirements, including hold and witness points, prior to commencement of work. The Contractor does not commence work until the Service Manager accepts.

The Contractor shall comply with:

a)	 The Occupational Health and Safety Act, 1993, and all Regulations made there under.

b)   All Employer Safety and Operating Procedures, which are attached hereto.

The Contractor acknowledges that he is fully aware of the requirements of all the above and undertakes to employ only people who have been duly authorised in terms thereof and who have received sufficient safety training to ensure that they can comply therewith.

The Contractor undertakes not to do, or not to allow anything to be done which will contravene any of the provisions of the Act, Regulations or Safety and Operating Procedures.

The Contractor shall appoint a person who will liaise with the Employer Safety Officer responsible for the premises relevant to this contract.  The person so appointed shall on request:

a) Supply the Employer Safety Officer with copies of minutes of all Health and Safety Committee meetings, whenever he is required to do so.

b) 	Supply the Employer Safety Officer with copies of all appointments in respect of employees employed on this contract, in terms of the Act and Regulations and shall advise the Employer Safety Officer of any changes thereto.

Employer may, at any stage during the currency of this agreement be entitled to:

a)  Do safety audits at the Contractor's premises, its work places and on its employees.

b)	Refuse any employees, sub-Contractor or agent of the Contractor access to its premises if such person has been found to commit any unlawful act or any unsafe working practice or is found to be not authorised or qualified in terms of the Act.

c) Issue the Contractor with a work stoppage order or a compliance order should Employer become aware of any unsafe working procedures or conditions or any non-compliance with the Act, Regulations and Procedures by the Contractor or any of its Employees, sub-Contractors or agents. Stoppages of this nature will not constitute a compensation event.

List of minimum statutory appointments required (where applicable), as required by the OHS Act:

OHS Act, Section 16(2) - Employer

OHS Act, GMR 2(1) - Supervision of Machinery

OHS Act, GMR 2(7) - Assist the designated person

OHS Act, CR 6(1) – Construction Supervisor (Authorised Supervisors and Responsible Persons must be appointed as Construction Supervisor)

OHS Act, CR 6(2) – Assistant Construction Supervisor

OHS Act, Section 17 - Health and Safety Rep

OHS Act, GAR 9 – Incident investigation

OHS Act, CR 12 – Demolition work

OHS Act, CR 19 – Explosive Powered Tools

OHS Act, CR 22 – Electrical installations and machinery

OHS Act, GSR 3 – First Aiders

- Procurement

  - People

    - Minimum requirements of people employed

As per the accepted resource plan submitted to the Service Manager.

KRIEL PERMIT to Work System

The Contractor will ensure that he/she is informed of all the requirements of Eskom’s Plant Safety Regulations and ORHVS and that he/she at all times comply to the requirements of these Regulations.

The Contractor will ensure that all his supervisors who are directly involved with Eskom’s Permit to Work System, shall be trained and on successful completion of Kriel’s authorization / evaluation process will be authorized as “Responsible Persons”.

The Responsible Person shall ensure that:

- The conditions of permits and cautionary notices are strictly adhered to

- The lockout procedures, mechanical as well as electrical, are strictly adhered to and any deviations shall be corrected immediately

- The safe work procedures as laid down by Kriel Power Station and as determined by the Risk Assessment, shall be followed

- The workers register and cautionary notices are discussed daily with workers

    - BBBEE and preferencing scheme

Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Employer within thirty days of the notification or as otherwise instructed by the Employer.

Where, as a result, the Contractor’s B-BBEE status has decreased since the starting date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to provide the service.

Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination will be dealt with according to the NEC3 TSC penalty/termination clauses

    - Accelerated Shared Growth Initiative – South Africa (ASGI-SA)

Not Applicable

  - Subcontracting

    - Preferred subcontractors

The Employer may list which subcontractors or suppliers the Contractor is required to enter into subcontracts with.

If the Contractor subcontracts work, he is responsible for providing the Service as if he had not subcontracted. This contract applies as if a Subcontractor’s employees and equipment where the Contractor’s.

    - Subcontract documentation, and assessment of subcontract tenders

When the Contractor uses a Subcontractor he needs to engage with him on a NEC basis. The Subcontractor needs adhere to all processes, policies and procedures of Eskom as service should be provided as if not subcontracted to Eskom.

All reporting will happen based on the NEC standard forms or as agreed upon in the kick off meeting.

    - Limitations on subcontracting

The Contractor submits the name of each proposed Subcontractor to the Service Manager for acceptance. A reason for not accepting the Subcontractor is that the appointment will not allow the Contractor to Provide the Service.

The Contractor does not appoint a Subcontractor until the Service Manager accepted them.

    - Attendance on subcontractors

The Subcontractor should attend all morning feedback Outage meetings to provide accurate feedback on the progress of service. Assessment meetings between Service Manager and the Contractor should be avoided by the Subcontractor.

  - Plant and Materials

    - Specifications

Plant and Materials are defined as items intended to be included in the Affected Property.  This will refer to replacement of worn or defective parts, routine replacement as part of regular preventative maintenance and supply of spare parts.

    - Correction of defects

The Contractor needs to correct a Defect within 24 hours.

    - Contractor’s procurement of Plant and Materials

Meeting prior to Outages taking place between the Parties to establish lead times for required items.

The Contractor to have at least a minimum of two units critical spares at any given time during the service agreement.

The Service Manager will indicate to the Contractor what spares to be purchased prior to an Outage.

The Contractor will create a program based on lead times of spares.

    - Tests and inspections before delivery

The Contractor does not deliver those Plant and Materials which the Service Information states are to be tested or inspected before delivery until the Service Manager has notified the Contractor that they have passes the test or inspection.

All holding points on QCP should have been adhered to and signed off by both parties before accepting any material or goods on site.

    - Plant & Materials provided “free issue” by the Employer

Spares will be provided by the Employer, the Contractor to procure spares on the instruction of the Service Manager

- Working on the Affected Property

  - Employer’s site entry and security control, permits, and site regulations

- The Contractor applies for temporary access permits (Contractor’s Permit) at the Security gate, prior to the Possession Date.

- The Contractor provides all PPE to his employees’ overalls and hard hats should have the Contractor’s company logo clearly displayed.

- The Contractor personnel are required to be in possession of a Contractor’s Permit at all times.

- All Contractor personnel are issued with a temporary access permit (Contractor’s Permit) which contains the following information:

- Name

- ID Number

- Company

- Validity date

- All Contractors’ permits are submitted to Protective Services when the workers leave the site after completion of the service.

- In order to assist Protective Services with the issuing of permits and the identification of personnel on site, the Contractor supplies a list of all personnel that he intends using on site, at least 24 hours prior to entry of the Security Area.

- This list is delivered to Protective Services, or is faxed to (017) 615 2602

- The list, identified with the Contractor’s name, contains the following information:

- Employee Name

- Employee ID Number

- Eskom Safety Co-ordinator signature

- Service Manager signature

- Copy of the first page of the ID book of every employee of the 	Contractor, photocopied to reduce the size to 65%.

- To speed up the process of gaining access to the site, the Contractor compiles detailed lists of all tools and equipment to be taken on site before arriving at the Power Station Security gate.

- A special Tool List form is available at Protective Services.

- An authorised copy of this list is retained to be used again when the tools and equipment is removed from site after the completion of the service.

- The Contractor's visitors and all personnel conform at all times to the security arrangements in force at the site.

- Application forms for visitors are filled in by the Contractor's Site Manager and approved by the Employers Representative, one day before the visit and submitted to the Employer’s Protective Services office.

- Visitors are not allowed on site if the necessary forms are not in the possession of security staff.

- The Chief of Protective Services may, with valid cause, remove any of the Contractor's personnel from the site, either temporarily or permanently,	without any prejudice. He may deny access to the site to any person whom, in the opinion of the said Chief of Protective Services, constitutes a security risk.

- No unauthorised vehicles are allowed on site.

- Only Contractor’s vehicles with displayed Contract Vehicle Permits disks  are allowed on site.

- Contract Vehicle Applications are directed to the Employers Representative.

- The Contractor is restricted to the working areas associated with his place of work.

- The Contractor is forbidden to enter any other areas, and must ensure that his employees abide by these regulations.

- Parking inside the power station is strictly forbidden, except for loading purposes.

- No recruiting of casual labour is done on Eskom premises, including the area outside the Power Station Security Gate.

## 5.1.2 Eskom Life Saving Rules:

Five Life Saving Rules have been developed that will apply to all Eskom employees, agents, consultants and contractors.

Rule 1:   Open, Isolate, Test, Earth, Bond, And / Or Insulate before touch - that is any plant operating above   1 000 V.

Rule 2:	Hook up at heights - no person may work at height where there is a risk of falling.

Rule 3:	Buckle up – no person may drive any vehicle on Eskom business and/or on Eskom premises: unless the driver and all passengers are wearing seat belts.

Rule 4:	Be sober (no person is allowed to work under the influence of drugs and alcohol.)

Rule 5:	Use a permit to work – where an authorization limitation exists, no person shall work without the required permit to work.

- Kriel Power Station Health and Safety Standards

- Specifications for Contractors attached to the Invitation to Tender. This procedure will be handed over during tender enquiry and will enable the successful Tenderer to compile a Health & Safety plan that has to be approved by the Employer prior to commencement of work.

- Compliance with Eskom & Kriel No Smoking Policy

- Adhere to the OHS Act 85 of 1993

- All staff will undergo Safety Induction, presented by Kriel Risk Management Department

- Employer’s site regulations, covering the following:

- Clean lines

- Storage of material

- Safety precautions and fire prevention

- Permits to work

- Other Contractor's work

- Representation of sub-contractors

- Constant Supervision for hot work

- Handing over of service

- Contractor's Site

- Disposal of waste, oil residue and sludge

- Hot Work permit for welding

- Working at heights

- Working in and around an area that contains flammable substances

- Testing for combustible gases

- Availability of fire extinguishers when working in an area that contains flammable

- Substances

  - People restrictions, hours of work, conduct and records

The Contractor provides the necessary resources to carry out the service as stated in the Service Information.

The Contractor provides everything to carry out the Service Information provided by the Employer is stated in this Service Agreement. Anything not stated in the Service Agreement should be provided by the Contractor to execute the work.

It is very important that the Contractor keeps records of his people working on the Affected Property, including those of his Subcontractors.  The Service Manager shall have access to all records of the Contractor and Subcontractor at any time when deemed necessary.

The Contractor provides all PPE to his employees’ overalls and hard hats should have the Contractor’s company logo clearly displayed.

  - Health and safety facilities on the Affected Property

Please refer to SHE Requirements for Contractors – Refer to RSR0001

  - Environmental controls, fauna & flora

General environmental requirements referred to in section 3 above, Kriel Power Station ISO14001

  - Cooperating with and obtaining acceptance of Others

Work will be carried out as per Outage Integrated schedule.

  - Records of Contractor’s Equipment

The Contractor will at all times keep record of his equipment and hired equipment on site with relevant inspections carried out. Inspection reports should be accessible by the Service Manager at any given time when he deems necessary.

All Equipment including hired should be inspected and approved before accepted on site.

All equipment or tools signed in by the Contractor should strictly adhere to the gate access rules and procedures.

  - Equipment provided by the Employer

It is the responsibility of the Contractor to provide his Equipment list to the Service Manager with all calibration certificates etc.

The Employer provides Equipment as stated in the Service Information, anything not stated in the Service Information the Contractor have to provide and already accounted for in the Price List.

  - Site services and facilities

    - Provided by the Employer

Power will be provided by the Employer the Contractor needs to ensure his own cabling, connections, DB Boards and CoC certificates of installations and connections.

Refuse Disposal

The Employer provides special colour coded bins for refuse disposal. These bins are emptied by the Employer free of charge. Bins that do not accommodate waste of the Contractor should be disposed by the Contractor himself.

The Contractor ensures that all workers under his control strictly adhere to the correct use of refuse bins as stated in the Plant.

Supply of Electricity

- Employer will make available to the Contractor 220/230-volt electrical supply free of charge from the closest existing point of supply.

- The Contractor is to make provision for the necessary extensions and plug points.

- All Electrical boards must be inspected and tested before connecting to a power supply and a CoC must be issued by the Contractor

- The Contractor will adhere to the Electrical Installation Regulations of 1992

    - Provided by the Contractor

- The Contractor shall provide, for his own use adequate size offices.

- A cleaning service must also be provided.

- The Contractor shall dismantle and clear off site all such infrastructure at the discretion of the Service Manager on completion of the contract.

- No such dismantling and clearance work shall be carried out without prior approval by the Service Manager.

- Any electrical equipment or appliances used by the Contractor shall conform to the applicable South African Safety Standards and Kriel standard PSR 010, and shall be maintained in safe and proper working condition.

- The Employer shall have the right to stop the Contractor’s use of any electrical equipment or appliance, which in the Employer’s opinion does not conform to the foregoing.

Medical Facilities

- The Contractor provides a First Aid service to his employees and subcontractor.  In the case where these prove to be inadequate, like in the event of a serious injury, the Employer’s Medical Centre and facilities are available.

- Outside the Employer’s office hours, the Employer’s First Aid Services are only available for serious injuries and life threatening situations.

- The Employer is entitled, however, to recover the costs incurred, in the use of the above Employer’s facilities, from the Contractor.

Site Location

- The Contractor need to request site establishment space from the Service Manager. (The exact position and space will be determined at Contract Date).

- The boundary of the site is within the Power Station boundary fences.

- The Contractor is to mark the boundaries of his site clearly.

- The Contractor is to ensure that all his material and equipment is always within the boundaries of his site.

- The Contractor will ensure further treatment of the yard area to keep all neat and tidy at all times.

- The Contractor shall also include for such items as security, watch and access arrangements to his yard area.

- The Contractor shall not occupy any site area other than that located to him

- On completion of the service on Site, all areas allocated to the Contractor shall be re-instated to their former condition to the satisfaction of Employer

- If the Contractor’s site is untidy the Employer may request another contractor to clean the Contractor’s yard. The Contractor will be liable for the cost incurred to clean his yard.

Contractor’s site requirements

- The Contractor supplies, installs, properly maintains and removes all temporary construction facilities and utilities necessary for the complete duration of the service

Including the following:

- The Contractor’s yard should adhere to sound housekeeping,

- Any damage to installed lighting is repaired at the Contractor’s expense.

- The reticulation of electricity, water and any other services required by the Contractor from a supplied central distribution point.

- Hazardous Substances to be contained as per Eskom requirements.

- Transportation on and off site

- Communications to be provided by the Contractor

- Compressed air and gases

- Maintenance of lay-down and storage areas

- Electric panels and distribution wiring for erection and within Contractor's yard

- Security of Contractor's yard

Accommodation

The provision of accommodation for Contractor's personnel is the responsibility of the Contractor.

Designated eating area for the Contractors will be provided on site, Service Manager will advise where this space is at Contract Date.

  - Control of noise, dust, water and waste

All waste introduced to and/or produced on Employer's Premises by the Contractor for this order, must be handled in accordance with the minimum requirements for the Handling and Disposal of hazardous waste in terms of Government Legislation as proclaimed by the Department of Water Affairs and Forestry 1994 Ref.: BN0621-16296-5. (A copy of this document is available at the Power Station for reference purposes).

Provide sufficient storage containers, labelled depicting general or hazardous waste and store in a designated storage area

No hazardous waste may be stored for a period of more than 90 days on the Kriel Power Station’s premises

Ensure that all hazardous waste is disposed of at a licensed Class H disposal site. A copy of the hazardous waste disposal certificate must be submitted to the Service Manager.

Ensure that the Contractor’s site does comply with the general good housekeeping practices. Redundant material will be removed to allocated sites. No scrap shall be stored in the Contractor’s yard. Scrap is to be cleared from Site daily.

  - Hook ups to existing works

Any work performed at heights, must adhere to the correct safety standards, procedures and specifications stated in the Health and safety risk management of Kriel Power Station. Refer to RSR0001 heading 5.7

  - Tests and inspections

    - Description of tests and inspections

The Contractor gives at least 48 hours in advance notification to the Supervisor or the Authority for inspection/test and hold or witness points, which require their attendance. The Contractor confirms readiness for inspection at least 24 hours prior to the test.

The Contractor ensures that all work has been fully inspected, accepted and documented prior to requesting any inspection by the Supervisor.

    - Materials facilities and samples for tests and inspections

The Contractor shall ensure that surfaces to be protected are inspected in order to evaluate extent of surface preparation for which he will be responsible. All inspection arrangements with Kriel Power Station Engineering Department will be made 24 hours in advance.

- List of drawings

  - Drawings issued by the Employer

This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

| Drawing number | Revision | Title |
| --- | --- | --- |

C4:  Site Information

# Part 4: Site Information

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C4 | Site Information |  |
|  | Total number of pages |  |

# Part 4: Site Information

# General description

The Kriel Power Station is situated approximately half way between Bethal and Ogies on the R545, being just over 30 km from each town and 10 km north-west of Kriel town.

Kriel Power Station is situated in a summer rainfall area with an average annual precipitation of about 750 mm falling almost entirely during the months of October to April.  The average rainfall per month generally exceeds 40 mm during this period, although drought periods do occur which can last for 20 days or longer.  Drought periods occur most frequently during the months of October/November and March/April.  January is statistically the highest rainfall month with an average monthly rainfall of about 130 mm.  June has the lowest rainfall with an average monthly rainfall of about 7 mm.

Approximately 85% of the annual rainfall occurs in the summer months and heavy falls of 125 to 150 mm occasionally occur in a single day.  The annual average number of thunderstorms is about 75.  These storms are often violent with severe lightning and strong (but short-lived) gusty winds and are sometimes accompanied by hail.  This region has among the highest hail frequencies in South Africa; about 4 to 7 occurrences (depending mainly on altitude) may be expected annually.

January is normally the hottest month with an average daily maximum temperature of 27°C with a mean daily temperature in winter being about 16°C.  Winter average daily temperatures vary from 18, 5°C maximum to -1°C minimum.  The extreme temperatures recorded range from 34, 7°C to minus 12, 4°C for the period 1920 - 1984.  (Source: Weather Bureau, Pretoria)

Winds are generally light to moderate except during thunderstorms.  Generally the prevailing wind directions are from the North West during the day and from the east at night.  During daytime, the prevailing winds are from the north-western direction.  During night-time, the prevailing winds are from the north-eastern direction.  The highest recorded average wind speed is 17, 6 km/hour.  The average wind velocity over the year is 14, 5 km/hour.

(Source: Brewer & Conlin, 1996, Reference 4, page 2.5.)

# Existing buildings, structures, and plant & machinery on the Site

Not applicable. The Contractor to specify any information required if necessary.

# Subsoil information

Not applicable. The Contractor to specify any information required if necessary.

# Hidden services

All known services will be brought to the attention of the Contractor by Employers Representative. Should the Contractor encounter any other services in the work area, he will immediately bring them to the attention of the Employers Representative who will issue instructions as to what actions are to be taken.

The protection of all pipes, gauges and plant is of extreme importance. Should any damage take place, which is due to the Contractors negligence, another Contractor will be brought onto site to affect repairs.  All costs will be to the account of the Contractor who caused damage.

# Other reports and publicly available information

The assumed 1 in 10 year rainfall figures are:

| ## Month | Cumulative rain (mm) | No of days with rainfall > 10mm |
| --- | --- | --- |
| January | 200 | 6 |
| February | 150 | 6 |
| March | 120 | 5 |
| April | 110 | 4 |
| May | 40 | 3 |
| June | 20 | 2 |
| July | 30 | 2 |
| August | 30 | 2 |
| September | 60 | 3 |
| October | 140 | 6 |
| November | 160 | 7 |
| December | 170 | 6 |

This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 011 803 3009