|  | TECHNICAL EVALUATION CRITERIA ASBESTOS WORKS AT SUBSTATION |
| --- | --- |

# INTRODUCTION

This document establishes the standard technical evaluation strategy for the Commercial enquiry to establish a prequalified list of contractors demonstrating the competency and capacity for the execution of works involving Asbestos at substation

# TECHNICAL SCOPE

The contractor will be required to perform the following:

- Visit various substations to take the measurement of the cable trenches covered with asbestos.

- Manufacture the concrete trench covers as per the Eskom specification.

- Transport the manufactured trench covers to above identified substations.

- Remove asbestos trench covers and replace with new concrete trench covers

- Contractor shall carefully remove, transport and dispose of the existing asbestos cable trench covers at a registered asbestos disposal site. A copy of the disposal certificate is to be sent to the project manager

# DEFINITIONS

| Definition | Explanation |
| --- | --- |
| Mandatory Criteria | Mandatory criteria (gatekeepers) are ‘must meet’ criteria. These criteria shall not be weighted, or point scored but shall be assessed on a Yes/No basis as to whether or not the criteria are met. An assessment of ‘No’ against any criterion shall technically disqualify the tenderer and shall not be further evaluated against Functional Criteria. |
| Functional Criteria | Bids meeting the Mandatory Evaluation Criteria will be evaluated against the Functional Evaluation Criteria to allocate an evaluation result (score). Only those submissions achieving a score meeting or exceeding the defined threshold will be considered for further processing. |
| Enquiry Returnable | Items stipulated in the Tender Enquiry, defined as mandatory and functional, to be submitted as part of the tender submission. Also known as evidence. |
| Non-scoring /Informational Evidence | Additional evidence required either during tender stage or contract award stage which is not scored and will not affect the final score allocated to the submission. |

# TECHNICAL STRATEGY

The evaluation strategy and supporting criteria described in the following sections will be used to evaluate qualifying bids.

The technical evaluation process will follow a chronological order which will start with Stage 1, namely mandatory requirements. If all Stage 1 requirements have been satisfied then the evaluation will proceed to Stage 2, which is the evaluation of the predefined functional requirements.

All functional criteria will be scored, and a threshold will be set for stage 2. If the stage 2 threshold is met, then the qualifying bids will be processed further for selection.

# STAGE 1: MANDATORY CRITERIA AND RETURNABLE

If the Mandatory requirements ARE NOT MET, then the evaluation will NOT PROCEED further.

If the Mandatory requirements ARE MET, then the evidence will be used for scoring in the Functional Evaluation.

Note 1: STAGE 1: MANDATORY CRITERIA AND RETURNABLE

The Tenderer shall comply with the Mandatory requirements are stated in TABLE 1, below.

The following evidence must be submitted by the tender closing date.

| TABLE 1: MANDATORY CRITERIA AND RETURNABLE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | Criteria | Returnable | Further Notes | Minimum Requirements | Compliance |
| 1 | Contractors Experience & Workload Registers | Completed and signed Contractor’s Experience Registers for (see templates in Annexure B) Signed by the Managing Director/CEO/Owner The required evidence must be contained in the Contractor’s Experience Registers. No supplementary documentation will be considered. “Completed” means that the company name and other relevant information are filled in, AND relevant tables in the Contractor’s Experience Registers contain information and are not left blank. | Refer to Note 2: item no: 1 below. | 1 Substation Construction Works involving removal and disposal of Asbestos products. Contractor’s Experience Register record minimum of 2 related Substation Projects Required AND 1 Civil Construction Works, Contractor’s Experience Register – Minimum 1 related Substation Cable Trenches construction | Yes |
| 2 | Company Organogram – Technical Team | 1 x Complete and signed Organogram of the Technical Team signed by the Managing Director/CEO/Owner “Completed” means that the company name and other relevant information as per Note 2 item no 2 below are filled in, AND the Organogram is not left blank. | Refer to Note 2: item no: 2 below. | 1 x Complete and signed Organogram of the Technical Team 6x Resources with Asbestos Handling training 1x AIA Representative | Yes |
| 3 | Compliance to Eskom Method Statements | Submission of Letter to acknowledge Eskom specifications and standards – Annex A | Refer to Note 2: item no: 3 below | Signed Annex A – Acknowledgement of Method Statements | Yes |
| 4 | Vehicle and Plant Register | Completed and signed Vehicle Register in the required template (see template in Annexure F) Signed by the Managing Director/CEO/Owner “Completed” means that the company name and other relevant information are filled in, AND relevant tables in the Vehicle List contain information and are not left blank. | Refer to Note 2: item no: 4 below | 1 x Vehicle approved by Labour Department to transport Asbestos. Hazchem placards properly fitted to the Hazardous waste collection vehicle. AND 1 x Vehicle to transport the personnel | Yes |

Note 2:  MANDATORY CRITERIA AND RETURNABLE

- Contractors Experience & Workload Registers:

  - Contractors Experience & Workload Registers: Shall demonstrate compliance with the requirements of STAGE 2: FUNCTIONAL CRITERIA AND RETURNABLE.

  - If the Contractors Experience and Workload registers are not signed, they will not be accepted as valid evidence.

  - If the Contractors Experience Registers do not comply with the minimum number of related substation construction projects, they will not be accepted as valid evidence.

  - Refer to Annexure B for the Contractors Experience & Workload Register Templates.

  - The required evidence must be contained in the Contractor’s Experience Registers. No supplementary documentation will be considered.

  - “Completed” means that the company name and other relevant information are filled in, AND relevant tables in the Contractor’s Experience Registers contain information and are not left blank.

- Company Organogram – Technical team:

  - The organogram shall include names and /or ID numbers of the company owner(s), vehicle owner(s), substation construction staff (primary plant and building construction works) as listed in TABLE 4, for Skills and Training requirements.

  - The Technical team listed in the Company Organogram shall only be for the personnel which shall be available for this panel Contract.

  - Details of the personnel listed in the Company Organogram – Technical Team, shall match those of the various Training certificates submitted per resource listed in STAGE 2: FUNCTIONAL CRITERIA AND RETURNABLE, as well as every Affidavit provided for each resource.

  - Should the detailed information NOT MATCH, as required in item 2.3 above, the tender submission SHALL BE DEEMED TO NOT COMPLY with the mandatory criteria 1 of TABLE 1: MANDATORY CRITERIA AND RETURNABLE.

  - Important note: If the organogram is not signed by the required signatories as stated in TABLE 1: MANDATORY CRITERIA AND RETURNABLE, it will not be accepted as valid evidence.

  - “Completed” means that the company name and relevant information are filled in, AND the Organogram contains relevant information and is not left blank.

- Compliance to Eskom Method Statements: The acknowledgement waives the requirement for the contractor to write generic safe work procedures at tendering stage. Refer to Annex A: Acknowledgement of Method Statements for the letter template.

- Vehicle and Plant Register:

  - Vehicle and Plant Register: Shall demonstrate compliance with the requirements of STAGE 2: FUNCTIONAL CRITERIA AND RETURNABLE.

  - If the Vehicle and Plant Registers are not signed or no vehicles or plant are stated, they will not be accepted as valid evidence.

  - Refer to Annexure F Vehicle Register Template.

  - “Completed” means that the company name and other relevant information are filled in, AND relevant tables in the Vehicle and Plant List contain information and are not left blank.

- Tenderers shall not modify the template forms / tables in any manner. Only the relevant data is to be populated in the template forms / tables (refer to templates provided in the various Annexures at the end of this document. Modification of the forms / tables will lead to exclusion of the data which will impact final scoring.

- Submissions that contain suspected fraudulent evidence will be referred to the appropriate forensic departments for further investigation.

# STAGE 2: FUNCTIONAL CRITERIA AND RETURNABLE

The evidence will be assessed, and scores will be allocated accordingly. There are no part marks allowed.

The minimum threshold is set at 75%.

Copies of all training certificates and affidavits shall be submitted. The copies shall be certified by a Commissioner of Oaths clearly legible and not older than three months from the date of tender close. The Commissioner’s details, with signature and date must be clearly visible. The functional criteria will consist of 4 main sections and each section will be weighted as per the TABLE 2, below.

| TABLE 2: SUMMARY OF FUNCTIONAL CRITERIA SECTIONS AND WEIGHTING |  |  |
| --- | --- | --- |
| No. | Description | Weights |
| 1 | Related Work Experience | 40% |
| 2 | Skills and Training | 40% |
| 3 | Vehicles | 20% |

The following evidence must be submitted by tender closing date.

# RELATED WORK EXPERINCE

The tenderer is required to demonstrate that they have the following related work experience.

TABLE 4, below, lists required experience requirements that will be evaluated.

| TABLE 3: FUNCTIONAL CRITERIA AND RETURNABLE – RELATED WORK EXPERIENCE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No | Criteria | Returnable | Evidence Notes | Quantity | Weight and Scoring |
| 1 | Company Experience with execution of Substation Construction Projects where asbestos handling was involved. | Completed project experience template (see Annexure B), showing a minimum of 2 projects completed. | Refer to Note 3 below. | Minimum = 2 Projects Maximum = 5 Projects | Total = 80% 16.0% per project |
| 2 | Company Experience with execution of Civil Construction Works Projects related to cable trenchs | Completed project experience register template (see Annexure B), showing a minimum of 1 project completed. | Refer to Note 3 below. | Minimum = 1 Projects Maximum = 5 Projects | Total = 20% 4.0% per project |

Note 3: RELATED WORK EXPEREINCE

- Company Experience – Competed Projects

  - Completed project experience template (see Annexure B), showing a minimum of 3 projects completed and / or current projects for Primary Plant - Substation Construction projects.

  - Completed project experience template (see Annexure B), showing a minimum of 1 project completed and / or current projects for Building Construction projects.

  - The projects listed in the registers must demonstrate the completion of current and / or  ongoing projects which align with the scope and definitions as listed in 2 TECHNICAL SCOPE above.

  - Tenderers are to ensure that all details, contact number and contact person/s of the listed projects are correct. Should the contact persons or Organizations not be reachable to verify information, the project/s listed will not be accepted as valid evidence and will be excluded from the scoring.

# SKILLS AND TRAINING REQUIREMENTS

Note 4: SKILLS AND TRAINING REQUIREMENTS

The tenderer is required to demonstrate that they have the following skills and training as well as the following resources

- A minimum of 6 (six) Asbestos Handling trained and Approved Inspector Authority, employed by Tenderer or Sub-Contracted.

- A minimum of 1 (one) Accredited Builder trained resource, employed by Tenderer or Sub-Contracted.

TABLE 4, below, lists further required skills and training requirements that will be evaluated.

| TABLE 4: FUNCTIONAL CRITERIA AND RETURNABLE – SKILLS AND TRAINING |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No | Criteria | Returnable | Evidence Notes | Quantity | Weight and Scoring |
| 1 | HV/MV Authorisation | 1 x “Responsible Person” for Substation Works AND Training Certificates for the “Responsible Person” 1 x Complete set per resource | Refer to Note 5 item 1 below | Minimum = 1 | Total = 10% No “part marks” will be allocated for this item. The Tenderers must comply with the minimum quantity of resources to achieve the score indicated. |
| 2 | Asbestos Handling | 6x Resources AND Training Certificates for the Asbestos Handling and Disposal 1 x Complete set per resource |  | Minimum = 6 | Total = 60% |
| 3 | Building Construction Works Resources and Training Building Construction Works Resources and Training (Continued) | 1 x Accredited builder Resource with a certificate (NHBRC); AND Building Construction training certificate per resource. AND Curriculum Vitae of the following resources: - Curriculum Vitae (CV): Site Foreman (Building) AND Affidavit AND (if required) Contractual Agreement | Refer to Note 5 item 3 below. | Minimum = 1 | Total = 10% No “part marks” will be allocated for this item. The Tenderers must comply with the minimum quantity of resources to achieve the score indicated. |
| 6 | Truck Mounted Crane Operators | Training certificates or Operating Permit 1x Driver of Asbestos dispolal truck must be in possession of a dangerous goods operator card AND Affidavit | Refer to Note 5 item 4 below. | Minimum = 1 Maximum = 2 | Total = 20% 20% per resource |

Note 5: SKILLS AND TRAINING REQUIREMENTS

- HV/MV Authorization:

  - Tenderers shall submit current HV/MV Authorizations for a “Responsible Person”.

  - Tenderers’ Authorizations and Relevant Training Data shall be reviewed and evaluated after the Technical Evaluation has been completed. This will be a separate process for only those successful Tenderers who have passed the technical evaluation stages.

- Primary Plant Construction Works Resources refers strictly to resources employed in the tendering company, or sub-contracted by the tendering company, that have achieved the required, accredited training on the subject.

  - Primary Plant Construction Works Resources and Training Primary Plant Construction Works Training refers to a Substation Construction training certificate per resource which shall be required.

  - The resources shall have minimum 2 years’ experience in work which aligns with the scope and definitions as listed in 2 TECHNICAL SCOPE above.

  - The Construction Manager shall be in possession of a “Professional Construction Manager” (PrCM) registration, issued by the South African Council for the Project and Construction Management Professions (SACPCMP).

  - The training curriculum will be evaluated against the following requirements:

    - Equipment and related installations.

    - Structure foundations and assembly.

    - Equipment installation/erection.

    - Overhead conductor and Tubular Busbar installation.

    - Power Cable general installation, jointing and terminations

  - Curriculum Vitae (CV):

    - The Curriculum Vitae are to be submitted in a 2-page condensed format as per the template in Annexure C. No other CV formats will be accepted. CV’s submitted in formats other than the template in Annexure C, will not be evaluated.

    - Only the first 2 pages of the submitted CV’s will be evaluated. CV’s longer than stated 2 pages will not count in favour of the Tenderer’s submission.

    - No part marks will be allocated. Thus, only CV submissions which comply with the required experience will be scored. Submissions with less than the required experience will not be scored.

    - The CV’s are to only include relevant information which aligns with the scope and definitions as listed in 2 TECHNICAL SCOPE above.

    - Contact details for references listed in the CV should be valid and the reference “reachable”, should verification be required.

    - Curriculum Vitae of the following resources shall be required:

      - Curriculum Vitae (CV): Construction Manager (Electrical) with “Professional Construction Manager” registration

      - Curriculum Vitae (CV): Site Supervisor / Foreman (Electrical)

  - Training Certificates: Training certificates for the provided training shall be submitted as evidence. A complete set of certificates for each resource shall be provided.

- Building Construction Works Resources & Training: “Building Construction Works“ resources refers strictly to resources employed in the tendering company, or sub-contracted by the tendering company, that have achieved the required, accredited training on the subject.

  - The resource shall have minimum 2 years’ experience in work which aligns with the scope and definitions as listed in 2 TECHNICAL SCOPE above.

  - The training curriculum will be evaluated against the following requirements:

    - Bricklaying;

    - Plastering;

    - Health and Safety;

  - Curriculum Vitae (CV):

    - The Curriculum Vitae are to be submitted in a 2 page condensed format as per the template in Annexure C. No other CV formats will be accepted. CV’s submitted in formats other than the template in Annexure C, will not be evaluated.

    - Only the first 2 pages of the submitted CV’s will be evaluated. CV’s longer than stated 2 pages will not count in favour of the Tenderer’s submission.

    - No part marks will be allocated. Thus, only CV submissions which comply with the required experience will be scored. Submissions with less than the required experience will not be scored.

    - The CV’s are to only include relevant information which aligns with the scope and definitions as listed in 2 TECHNICAL SCOPE above.

    - Contact details for references listed in the CV should be valid and the reference “reachable”, should verification be required.

    - Curriculum Vitae of the following resources shall be required:

      - Curriculum Vitae (CV): Site Foreman (Building)

  - Training Certificates: Training certificates for the provided training shall be submitted as evidence. A complete set of certificates for each resource shall be provided.

  - Should the Tenderer not employ staff with the required building construction works training, then the Tenderer shall submit a contractual agreement with an organization/s or individual/s which meet the required criteria. The tenderer shall, again, be required to demonstrate that they employ or sub-contract the required resources prior to Task Order Award.

- Truck Mounted Crane Operators:

  - Training certificates or permit demonstrating operator training for cranes mounted on a truck (e.g. C32 or F32) or proof of hiring of operator when hiring the crane truck.

- Affidavit: Affidavit submitted must be completed and submitted as confirmation of employment of the resources named on the certificates, at the tendering company, during the tender period. Refer to Annexure D for the Affidavit Template. The affidavit template provided must be used as the returnable.

- Copies of all training certificates and affidavits SHALL BE CERTIFIED by a Commissioner of Oaths CLEARLY LEGIBLE AND CERTIFIED NOT OLDER THAN 3 MONTHS prior to the date of tender close. The Commissioner’s details, with signature and date must be CLEARLY VISIBLE.

- Tenderers are to ensure that all copies of technical returnable/s are clear and legible. Tenderers are to ensure that all copies of technical returnable/s are clear and legible. Copies deemed NOT TO BE CLEARLY LEGIBLE will NOT BE ACCEPTED as evidence and will not be accepted.

- Tenderers shall not modify the template forms / tables in any manner. Only the relevant data is to be populated in the template forms / tables (refer to templates provided in the various Annexures at the end of this document. Modification of the forms / tables will lead to exclusion of the data which will impact final scoring.

- Submissions that contain suspected fraudulent evidence will be referred to the appropriate forensic departments for further investigation.

# VEHICLE REQUIREMENTS

- The criteria (i.e. the list of vehicle requirements) are stated in the TABLE 5, below.

- The requirement is to demonstrate access to the listed vehicles either through ownership or hiring.

- If the vehicle register is not signed, it will not be accepted as valid evidence.

- Company asset registers that are not compliant with the vehicle listing contained in Annexure F, will not be accepted as valid evidence.

- A Double Cab LDV (“Bakkie”) may be used to transport employees, but only to the maximum carrying capacity of four passengers, and tools & equipment up to its load carrying limit may be carried. In such instances, no major construction materials may be carried.

- Tenderers are to take note that no part marks will be allocated. The Tenderers must comply with the vehicle or plant type / description as well as the minimum quantity of vehicles and plant listed to achieve the score indicated in TABLE 5, below.

- The returnable will be as follows:

- Return a COMPLETED AND SIGNED Vehicle and Plant Register in Annexure F which includes all items stated in the table below, indicating on the submission if the vehicle is owned or being hired.

- Vehicles indicated as Owned will need to be further substantiated by providing the Vehicle Owner’s information and position in the tendering company. If the vehicle owner does not hold a position in the company, through company ownership or employment, then the vehicle will not be considered “owned” and points will not be awarded.

- All vehicles and plant listed in the vehicles and plant registers which are indicated as “Owned” shall be fully controlled by the Tenderer and available to the Tenderer for the purposes of this Contract.

- AND if the vehicle is being hired, then the required proof of hiring shall be required. For this proof of hiring, include a letter from a hiring company stating the items that are being hired (i.e., all items in the table or the specific items that are being hired). The letter issued will only be accepted if it is issued from a bona fide vehicle hiring companies or suppliers; letters from Construction Companies will not be accepted. The hiring letter shall be signed by the lessor (hiring company representative). The description / type and quantities of vehicle or plant to be hired shall be clearly stated in the hiring letter and they shall comply with the minimum quantities required as indicated in TABLE 5, below.

- Should the Tenderer hire a Truck with suitable Vehicle Mounted Crane with an operator provided by the hiring company. The Tenderer shall ensure that the required Truck Mounted Crane Operators training certificate or permit issued for the hiring company provided operator, is included in the submission. Refer to 6.2 SKILLS AND TRAINING REQUIREMENTS, Note 4: SKILLS AND TRAINING REQUIREMENTS, item 4 above. The Truck Mounted Crane shall comply with the requirements as listed in TABLE 5, below.

- The Returnable/s shall be signed off by the Company Managing Director / Chief Executive Officer / Owner.

- Tenderers shall not modify the template forms / tables in any manner. Only the relevant data is to be populated in the template forms / tables (refer to Annexure F for the template). Modification of the forms/tables will lead to exclusion of the data which will impact final scoring.

| TABLE 5. FUNCTIONAL CRITERIA AND RETURNABLE – VEHICLES AND PLANT REGISTER |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No | Vehicle / Plant Type & Description | Owned / Hired | Returnable | Quantity | Score |
| 2 | Truck with suitable Vehicle Mounted Crane (with aerial device) - Minimum 18m reach and 3 ton lifting capacity | Indicate whether vehicle / plant is owned or hired | COMPLETED AND SIGNED Vehicles and Plant registers, refer to 6.3 a) - g) above. | Minimum of 1 Maximum of 2 | Maximum Score = 40.00% 20% per vehicle |
| 3 | Suitable Transport for workers (LDV - Double Cab/Minibus) - Minimum 4 person capacity | Indicate whether vehicle / plant is owned or hired | COMPLETED AND SIGNED Vehicles and Plant registers, refer to 6.3 a) - c) and Note 7 above. | Minimum of 1 Maximum of 2 | Maximum Score = 40.00% 20% per vehicle |
| 4 | LDVs (Bakkie) |  |  | Minimum of 1 Maximum of 2 | Maximum Score = 20.00% 10% per vehicle |

|  | Designation and Department | Signature | Date |
| --- | --- | --- | --- |
| Lebo Lephoi | Senior Engineer - Refurbishment |  |  |
| Lesego Letong | Technician – Refurbishment |  |  |

# APPROVAL OF TECHNICAL EVALUATION CRITERIA AND STRATEGY

Annexure B: Primary Plant Construction Works Contractor’s Experience Register Template

Company Name & Company Registration Number: __________________________________________________________________________________________

| No | Project Name | Project Category |  |  |  | Scope |  |  |  | Project Value | Client | Client Contact Details |  | Client Contract Number | Duration |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EG | XXXXXXX | Substation Primary Plant |  |  |  | Construction or new Substation complete, Construction of new Substation Feeder Bay Construction of new Substation Extension, |  |  |  | R3 000 000 | XXXXXXXX | XXXXXXXXX |  | XXXXXXXXXXXX | Start Date and End Date |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DECLARATION: I hereby confirm that the tools and equipment list above is a true reflection of the tools and equipment owned or hired by my Company. I will also ensure that all tools and equipment will be enough to cater for multiple full teams. |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature of Managing Director / Chief Executive Officer / Owner* |  |  | ____________________________________ |  |  |  | Date: | ___________________________________ |  |  |  |  |
| Company Managing Director / Chief Executive Officer / Owner* Name: (*underline which is applicable) |  |  | ____________________________________ |  |  |  | Tendering Company: | ____________________________________ |  |  |  |  |

Annexure B: Building Construction Works Contractor’s Experience Register Template

Company Name: __________________________________________________________________________________________

| No | Project Name | Project Category |  |  |  | Scope |  |  |  | Project Value | Client | Client Contact Details |  | Client Contract Number | Duration |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EG | XXXXXXX | Substation Building Works |  |  |  | Construction of new Substation Building Works, etc. |  |  |  | R3 000 000 | XXXXXXXX | XXXXXXXXX |  | XXXXXXXXXXXX | Start Date and End Date |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DECLARATION: I hereby confirm that the tools and equipment list above is a true reflection of the tools and equipment owned or hired by my Company. I will also ensure that all tools and equipment will be enough to cater for multiple full teams. |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature of Managing Director / Chief Executive Officer / Owner* |  |  | ____________________________________ |  |  |  | Date: | ___________________________________ |  |  |  |  |
| Company Managing Director / Chief Executive Officer / Owner* Name: (*underline which is applicable) |  |  | ____________________________________ |  |  |  | Tendering Company: | ____________________________________ |  |  |  |  |

Annexure C:  Curriculum Vitae Template:

| Curriculum Vitae |  |  |  |
| --- | --- | --- | --- |
| - Name: - ID Number: |  |  |  |
| - Profession: |  |  |  |
| - Education/Qualifications |  |  |  |
| - Nationality |  |  |  |
| - Membership of Professional Organizations |  |  |  |
| - Employment Record: |  |  |  |
| Period: (incl. dates) |  |  |  |
| Employer: |  |  |  |
| Position Held: |  |  |  |
| Summary: |  |  |  |
| Period: (incl. dates) |  |  |  |
| Employer: |  |  |  |
| Position Held: |  |  |  |
| Summary: |  |  |  |
| Period: (incl. dates) |  |  |  |
| Employer: |  |  |  |
| Position Held: |  |  |  |
| Summary: |  |  |  |
| - Experience Record for Work Undertaken related to the Information Indicated in 2 TECHNICAL SCOPE. (Information should clearly state Role, Duration of Involvement, Complexity of Work Undertaken and Core Competencies). |  |  |  |
| Name of Assignment or Project: |  |  |  |
| Year: |  |  |  |
| Location: |  |  |  |
| Client: |  |  |  |
| Main Project Scope: In terms of 2 TECHNICAL SCOPE . |  |  |  |
| Position/s Held: |  |  |  |
| Activities Performed: |  |  |  |
| CV PAGE 1 |  |  |  |
| Name of Assignment or Project: |  |  |  |
| Year: |  |  |  |
| Location: |  |  |  |
| Client: |  |  |  |
| Main Project Scope: In terms of 2 TECHNICAL SCOPE . |  |  |  |
| Position/s Held: |  |  |  |
| Activities Performed: |  |  |  |
| Name of Assignment or Project: |  |  |  |
| Year: |  |  |  |
| Location: |  |  |  |
| Client: |  |  |  |
| Main Project Scope: In terms of 2 TECHNICAL SCOPE . |  |  |  |
| Position/s Held: |  |  |  |
| Activities Performed: |  |  |  |
| Name of Assignment or Project: |  |  |  |
| Year: |  |  |  |
| Location: |  |  |  |
| Client: |  |  |  |
| Main Project Scope: In terms of 2 TECHNICAL SCOPE . |  |  |  |
| Position/s Held: |  |  |  |
| Activities Performed: |  |  |  |
| - References: (only 2 required) Clearly stating name, Employer, and valid contact details |  | Name: |  |
|  |  | Employer: |  |
|  |  | Contact Details: |  |
|  |  | Name: |  |
|  |  | Employer: |  |
|  |  | Contact Details: |  |
| CV PAGE 2 |  |  |  |

Annexure D:  Affidavit Confirming Employment of Resource

I,  ____________________________________________________________  (full names),

ID Number:___________________________________________________________,

hereby confirm that I am currently employed at:

_______________________________________________ (Tendering Company Name).

I solemnly declare that all the information contained herein is true.

Signature of Employee:  ______________________________________

Sworn to/Affirmed before me at ________________________________

on this the ________ day of _____________________(month & year).

Commissioner of Oaths/Justice of Peace:

(Commissioner’s details with signature and date)

Annexure F: Vehicle Register for ______________________________________________________________________ (Company Name & Company Registration No)

| If “Owned”, provide the following required information (A, B, C, D): |  |  |  | A | B | C |
| --- | --- | --- | --- | --- | --- | --- |
| Mandatory Vehicle | Owned (O) or Hired (H) (Y where appropriate) |  | Vehicle Registration Number as per Log Book/License Document |  | Name of Vehicle Owner as per License Document | Vehicle Owner’s Position in the Company (if vehicle is not in the Company’s name) |
|  | O | H |  |  |  |  |
| Truck with suitable Vehicle Mounted Crane (with aerial device) - Minimum 18m reach and 3 ton lifting capacity |  |  |  |  |  |  |
| Suitable Transport for workers (LDV - Double Cab/Minibus) - Minimum 4 person capacity |  |  |  |  |  |  |
| LDVs (Bakkie) |  |  |  |  |  |  |

| DECLARATION: I hereby confirm that the vehicles list above is a true reflection of the vehicles owned or hired by my Company. I will also ensure that all vehicles will be enough to cater for multiple full teams. |  |  |  |
| --- | --- | --- | --- |
| Signature of Managing Director / Chief Executive Officer / Owner* | ____________________________________ | Date: | ___________________________________ |
| Company Managing Director / Chief Executive Officer / Owner* Name: (*underline which is applicable) | ____________________________________ | Tendering Company: | ____________________________________ |