Balance scale specification (RFQ-TSC-079236)

| RFQ-TSC-079236 | Balance scale | - Power: 220V & Built-in rechargeable battery - Capacity: 0g - 3000g & 0g - 5000g - Accuracy: 0,01g - Unit: kg, oz, ct, ozt, dwt, t, g - RS232 interface - Top plate dimensions: 195mm x 195mm | 1 | Each | ARC – Levubu Research Farm Main Street Next to the Post Office Limpopo Province |
| --- | --- | --- | --- | --- | --- |