- EXTRACTION FANS X2

PORTABLE HVF EXTRACTION FAN ON WHEELS

Model - HVF75

Portable propeller type axil fan mounted on a trolley frame

Size – (Height x Width x breadth, see diagram) – 920 x 910 x 290mm

Weight – 28.5kg

3 speeds (750, 850 and 910 RPM)

220V single phase

Fan to be supplied with cord and plug

Including built in thermal protector and closed guard

As in photo;