Table of Contents

1.1	Definitions	2

2.	BACKGROUND	3

3.	SCOPE	3

4.	MAIN OBJECTIVES AND KEY DELIVERABLES	5

5.	TECHNICAL REQUIREMENTS AND SPECIFICATIONS	6

6.	DRAWINGS AND DOCUMENTATION	7

6.1	Tender Stage	7

6.2	Award Stage	7

7.	WARRANTY	7

## Definitions

    - OHTE – Overhead Track Equipment

    - TL –Transmission Line

    - DC- Direct Current

    - AC – Alternative Current

    - KV- Kilo Volt

1.3        TECHNICAL SPECIFICATIONS RELATED TO THIS PROJECT

Specifications and Drawings will be provided as needed and when required due to the nature of the contract (As and When), as the works that may arise are unpredictable.

Below are the Main Specifications and Drawings

| No | Specification, Drawings and Engineering Instruction |  |
| --- | --- | --- |
|  | Specification, Drawing No | Description |
| 1 | Specification for works on, over, under or adjacent to railway lines and near high voltage equipment. | E7/1 |
| 2 | Safety arrangements and procedural compliance with the occupational health and safety Act; Act 85 of 1983 and regulations. | E4E |
| 3 | Electrical Safety Instruction | BBF3690 v3 |
| 4 | Maintenance of 3kV DC Electrification | CEE-0128 |
| 5 | Drawings, catalogues, instruction manuals and spares list for electrical equipment supplied under contract | CEE 0224 |
| 6 | Occupational Health and Safety Specification | MSHERQ-001 |
| 7 | Inspection and handing over of Electrical Equipment | CEE-GI_018 |
| 8 | Work Permits: Administrative Procedures | GI.007 |
| 9 | Procedure for Energising/De -energising | CEE-GI_019 |

Table 2 – Main Specifications

# BACKGROUND

  - STATUS QUO

The 11kV AC, 33kV AC and 3kV DC OHTE in the past has always been up to date and well maintained. This has however changed over the past years, as we have seen a huge increase of assets aging and an increase in theft and vandalism. This has put a huge strain in preventive and corrective maintenance of the assets. Some of these assets have exceeded their life span and require continuous maintenance, renewal, and refurbishment.

  - PROBLEM STATEMENT

11kV AC, 33kV AC and 3kV DC OHTE transmission line has exceeded its life span and is becoming unreliable, unpredictable and contributes to continuous asset failure. The ageing network has resulted on changes in the maintenance regime, resulting in repairs being done more frequently to ensure compliance and asset operation. This contract will therefore ensure that the network is not vulnerable, and maintenance is adhered to.

# SCOPE

  - SCOPE OF THE DESIRED SOLUTION

The scope of work for this project shall entail the following activities:

As and when maintenance, repairs, refurbishment, and installations of the 11kV AC, 33kV AC and 3kV DC OHTE.

## The appointed contractor is expected to attend to the following but not limited to:

- Conduct Maintenance, repairs, refurbishment, and installations of the 11kV AC, 33kV AC and 3kV DC OHTE.

- Perform preventive and predictive maintenance as per PRASA schedule.

- Respond to an emergency within an hour from the time the fault is logged.

- The contractor is to provide their machinery or equipment to perform the necessary

- maintenance.

- Below is the material list in which work will be done on 11kV, 33kV and 3kV OHTE, but not limited to below:

- 33kVAC, 11kV AC and 3kV DC OHTE Concrete Mast Poles

- 33kVAC, 11kV AC and 3kV DC Steel Mast Pole.

- 33kV AC, 11kV AC and 3kV DC Medium Weight Steel Mast

- 33kV AC Heavy Weight Steel Mast

- 33kV AC Steel Tower Masts

- 33kVAC, 11kV AC and 3kV DC Lattice Bridge structures

- 11kV AC and 3kV DC A-Frame tensioning Bridge structure

- 33kVAC, 11kV AC and 3kV DC Boom structure

- 3kV DC Bonding

- 33kVAC, 11kV AC and 3kV DC Small steel Parts

- 33kVAC, 11kV AC and 3kV DC Concrete Foundations

- 33kVAC, 11kV AC and 3kV DC Suspension

- 33kVAC, 11kV AC and 3kV DC Numbering

- 33kVAC, 11kV AC and 3kV DC Spark gaps

- 33kVAC, 11kV AC and 3kV DC Nuts and bolts

- 33kVAC, 11kV AC and 3kV DC Support Structures

- 33kVAC, 11kV AC and 3kV DC Track Switches

- 11kV and 33kV AC Link switches

- MOD’s Motor Operated Device

- 33kVAC, 11kV AC and 3kV DC Lightning protection

- 3kV DC Section Insulators

- 33kVAC, 11kV AC and 3kV DC Insulators

- 3kV Overhead Conductors,

- 33kV AC and 11kV AC transmission line

- 33kV AC and 11kV AC Aerial Bundle Cable

- 33kV AC, 11kV AC and 3kV DC OHTE underground cable

- Earth Wire

# MAIN OBJECTIVES AND KEY DELIVERABLES

The objectives of the proposed project are outlined in detail from the following sections:

- To attend to all the maintenance, repairs, refurbish, supply and installation of the 11kV AC, 33kV AC and 3kV DC OHTE within the infrastructure by having an as and when contract.

- To be able to attend all emergency works that requires the supply and installation of 11kV AC, 33kV AC and 3kV DC OHTE at a quick turnaround time and minimising service disruptions.

- To provide a safe and uninterrupted power supply.

- To eliminate breakdown and train delays.

- Improved compliance with the National Railway Safety Regulator Act, 2002 (Act No. 16 of 2002) and Occupational Health and Safety Act, 13 (Act No. 85 of 1993)

# TECHNICAL REQUIREMENTS AND SPECIFICATIONS

# Specifications and Drawings will be provided as needed and when required due to the nature of the contract (As and When), as the works that may arise are unpredictable.

Below are the Main Specifications and Drawings

| No | Specification, Drawings and Engineering Instruction |  |
| --- | --- | --- |
|  | Specification, Drawing No | Description |
| 1 | Specification for works on, over, under or adjacent to railway lines and near high voltage equipment. | E7/1 |
| 2 | Safety arrangements and procedural compliance with the occupational health and safety Act; Act 85 of 1983 and regulations. | E4E |
| 3 | Electrical Safety Instruction | BBF3690 v3 |
| 4 | Maintenance of 3kV DC Electrification | CEE-0128 |
| 5 | Drawings, catalogues, instruction manuals and spares list for electrical equipment supplied under contract | CEE 0224 |
| 6 | Occupational Health and Safety Specification | MSHERQ-001 |
| 7 | Inspection and handing over of Electrical Equipment | CEE-GI_018 |
| 8 | Work Permits: Administrative Procedures | GI.007 |
| 9 | Procedure for Energising/De -energising | CEE-GI_019 |

Table 3: Main Specifications .

.

# DRAWINGS AND DOCUMENTATION

## Tender Stage

# Specifications and Drawings will be provided as needed and when required due to the nature of the contract (As and When), as the works that may arise are unpredictable.

## Award Stage

Detailed As-Built drawings system functionality will be issued to the awarded bidder as needed and when required due to the nature of the contract (As and When) as the works that may arise are unpredictable.

# WARRANTY

A 12-month support and guarantee period is required, which shall include replacement of parts, labour, consumables, travel and all other associated costs. The 12 months warranty period shall commence once a section or portion of works has been completed and handed over to PRASA for operational use or a system has been commissioned.

Warranties shall apply to workmanship of the installation once installed and commissioned for all material, equipment and components.

Material warranties shall only apply to those components, parts or equipment supplied by the contractor.