{"text_format":"1","workbook":"xls","n_sheets":4,"sheets":["Order Form","CapBankYard Warning Label","Std","Costs"],"not_rendered":{"charts":0,"images":2,"macros":1,"external_links":1,"defined_names":7,"comments":16,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Order Form","index":0,"n_rows":67,"n_cols":20,"rows_kept":67,"cut":false,"hidden":false,"merged":[[59,14,59,15],[59,12,59,13],[43,12,43,13],[48,12,48,13],[55,12,55,13],[58,12,58,13],[58,14,58,15],[51,12,51,13],[51,14,51,15],[52,12,52,13],[5,12,6,12],[57,12,57,13],[57,14,57,15],[56,12,56,13],[56,14,56,15],[53,12,53,13],[53,14,53,15],[54,12,54,13],[55,14,55,15],[54,14,54,15],[9,17,12,17],[9,16,12,16],[34,1,34,2],[31,3,31,4],[33,3,33,4],[34,3,34,4],[32,3,32,4],[31,1,31,2],[31,12,31,13],[31,14,31,15],[36,3,36,4],[36,1,36,2],[35,3,35,4],[35,1,35,2],[54,1,54,2],[55,1,55,2],[51,3,51,4],[52,3,52,4],[53,1,53,2],[48,3,48,4],[66,12,66,13],[66,14,66,15],[1,12,2,15],[64,12,64,13],[64,14,64,15],[65,12,65,13],[65,14,65,15],[62,12,62,13],[62,14,62,15],[63,12,63,13],[52,14,52,15],[49,12,49,13],[49,14,49,15],[50,12,50,13],[50,14,50,15],[63,14,63,15],[61,12,61,13],[61,14,61,15],[60,12,60,13],[60,14,60,15],[43,14,43,15],[48,14,48,15],[45,12,45,13],[45,14,45,15],[47,12,47,13],[47,14,47,15],[46,12,46,13],[46,14,46,15],[39,12,39,13],[39,14,39,15],[40,12,40,13],[40,14,40,15],[44,12,44,13],[44,14,44,15],[41,12,41,13],[41,14,41,15],[42,12,42,13],[42,14,42,15],[36,12,36,13],[36,14,36,15],[38,12,38,13],[38,14,38,15],[37,12,37,13],[37,14,37,15],[32,12,32,13],[32,14,32,15],[35,12,35,13],[35,14,35,15],[33,12,33,13],[33,14,33,15],[34,12,34,13],[34,14,34,15],[28,12,28,13],[28,14,28,15],[29,12,29,13],[29,14,29,15],[30,12,30,13],[30,14,30,15],[25,12,25,13],[25,14,25,15],[26,12,26,13],[26,14,26,15],[27,12,27,13],[27,14,27,15],[24,12,24,13],[24,14,24,15],[23,14,23,15],[21,12,21,13],[21,14,21,15],[22,12,22,13],[22,14,22,15],[23,12,23,13],[20,14,20,15],[17,12,17,13],[17,14,17,15],[18,12,18,13],[18,14,18,15],[20,12,20,13],[19,12,19,13],[19,14,19,15],[13,14,13,15],[14,12,14,13],[14,14,14,15],[15,14,15,15],[16,12,16,13],[16,14,16,15],[15,12,15,13],[39,3,39,4],[40,3,40,4],[12,12,12,13],[12,14,12,15],[54,3,54,4],[55,3,55,4],[41,3,41,4],[29,3,29,4],[30,3,30,4],[13,12,13,13],[41,1,41,2],[42,1,42,2],[44,3,44,4],[46,3,46,4],[47,3,47,4],[45,3,45,4],[53,3,53,4],[49,1,49,2],[50,1,50,2],[51,1,51,2],[52,1,52,2],[49,3,49,4],[50,3,50,4],[22,1,22,4],[48,1,48,2],[47,1,47,2],[44,1,44,2],[45,1,45,2],[46,1,46,2],[42,3,42,4],[43,3,43,4],[37,1,37,2],[40,1,40,2],[43,1,43,2],[23,6,23,10],[23,1,23,2],[23,3,23,4],[38,1,38,2],[39,1,39,2],[37,3,37,4],[38,3,38,4],[22,5,24,5],[26,3,26,4],[1,0,2,1],[2,2,2,9],[25,1,25,2],[8,3,8,4],[9,3,9,4],[8,7,8,8],[12,8,12,10],[25,3,25,4],[4,4,4,5],[11,8,11,10],[27,3,27,4],[28,3,28,4],[33,1,33,2],[26,1,26,2],[29,1,29,2],[30,1,30,2],[32,1,32,2],[27,1,27,2],[28,1,28,2]],"flags":["formulas_cached_only"]}
[null,"Page 1",null,"HV Substation Label Requisition",null,null,null,null,"Ver: 10/11/06",null,null,null,null,null,"Note"]
["Substation / Project Name:",null,null,null,null,null,null,null,null,null,null,null,"Use these example labels to copy, paste into the blank form & then edit them to suite your requirements"]
[null,null,"MAKHATHINI 22kV CAPACITOR BANK ESTABLISH",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Yard type"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2,"245mm x 1000mm"]
[null,"Job No.:","C.DE05363","Due Date:","T.B.A",null,null,null,"Rev:",0,null,null,null,null,null,null,null,null,3,"245mm x 600mm"]
[null,null,null,null,null,null,null,null,null,null,null,null,"Example of Yard Label","1st Line","Panel / Bay","TRFR 1",null,null,4,"245mm x 450mm"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"2nd Line","Voltage & Function","88 kV BKR",null,null,6,"245mm x 300mm"]
["Item"]
[1,null,"S/S Name Board"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Yard type","Aux type"]
[]
[null,null,null,null,null,null,"Qty",null,"Total Cost"]
[2,null,null,null,"Sign ABC",null,10,null,778,null,null,null,"HV Line Bay"]
[3,null,null,null,"Sign DE",null,null,null,null,null,null,null,"RIVERDALE 1",null,"132 kV LINE E/SW",null,3]
[4,null,null,null,"Sign G",null,2,null,null,null,null,null,"RIVERDALE 1",null,"132 kV LINE ISOL",null,3]
[5,null,null,null,"Sign LC",null,10,null,null,null,null,null,"RIVERDALE 1",null,"132 kV CT",null,3]
[6,null,null,null,"Oil sample point label   ",null,null,null,null,null,null,null,"RIVERDALE 1",null,"132 kV CT JB",null,null,"Aux","Fix on JB door"]
[7,null,null,null,"Phase label Sets (RWB)   ",null,null,null,null,null,null,null,"RIVERDALE 1",null,"132 kV BKR",null,3]
[8,null,null,null,"Rackable VT warning label   ",null,null,null,null,null,null,null,"RIVERDALE 1",null,"132 kV B/B 1 ISOL",null,3]
[9,null,null,null,"LOCAL/OFF switch protection warning label   ",null,null,null,null,null,null,null,"HV Busbar Bay"]
[null,null,null,null,null,null,null,null,null,null,null,null,"132 kV B/B 1",null,null,null,3,null,"100mm font"]
[null,null,null,null,null,null,null,null,null,null,null,null,"132 kV B/B 1",null,"BUS SECT ISOL",null,4]
[null,"Inscription on Label",null,null,null,"Yard Type",null,null,null,null,null,null,"132 kV B/B 1",null,"VT",null,4]
[null,"1st Line",null,"2nd Line",null,null,"Qty",null,null,null,null,null,"132 kV B/B 1",null,"VT JB",null,null,"Aux","Fix on JB door"]
[null,null,null,null,null,null,"Yard","Aux","Panel","Box","Key",null,"TRFR Bay"]
[10,"CAP 1",null,"22 kV B/B 1 ISOL",null,null,1,null,null,1,1,null,"TRFR 1",null,"132 kV B/B 1 ISOL",null,6]
[11,"CAP 1",null,"22 kV BKR",null,null,1,null,null,null,null,null,"TRFR 1",null,"132 kV BKR",null,6]
[12,"CAP 1",null,"22 kV RX 1",null,null,1,null,null,null,null,null,"TRFR 1",null,"132 kV CT",null,6]
[13,"CAP 1",null,"22 kV",null,null,1,null,null,null,null,null,"TRFR 1",null,"132 kV CT JB",null,null,"Aux","Fix on JB door"]
[14,null,null,null,null,null,null,null,null,null,null,null,"TRFR 1",null,"132/22 kV",null,6,null,"2 x Labels per TRFR"]
[15,"CAP 2",null,"22 kV B/B 1 ISOL",null,null,1,null,null,1,null,null,"TRFR 1",null,"22 kV/400 V NECRT 1",null,6]
[16,"CAP 2",null,"22 kV BKR",null,null,1,null,null,null,null,null,"TRFR 1",null,"22 kV/400 V AUX TRFR 1",null,6]
[17,"CAP 2",null,"22 kV RX 1",null,null,1,null,null,null,null,null,"TRFR 1",null,"22 kV CT",null,6]
[18,"CAP 2",null,"22 kV",null,null,1,null,null,null,null,null,"TRFR 1",null,"22 kV CT JB",null,null,"Aux","Fix on JB door"]
[19,null,null,null,null,null,null,null,null,null,null,null,"TRFR 1",null,"22 kV BKR",null,6]
[20,"WARNING",null,"WAIT ATLEAST 20 MINUTES ",null,null,2,null,null,null,null,null,"TRFR 1",null,"22 kV B/B 1 ISOL",null,6]
[21,null,null,"FOR CAPACITOR BANK ",null,null,null,null,null,null,null,null,"TRFR 1 AUX TRFR 1",null,"400 V SUPPLY",null,null,"Aux"]
[22,null,null,"TO DISCHARGE BEFORE ",null,null,null,null,null,null,null,null,"MV B/B Bay - Outdoor"]
[23,null,null,"ENTERING LIVE CHAMBER",null,null,null,null,null,null,null,null,"22 kV B/B 1",null,null,null,3,null,"100mm font"]
[24,null,null,null,null,null,null,null,null,null,null,null,"22 kV B/B 1",null,"BUS SECT ISOL",null,4]
[25,null,null,null,null,null,null,null,null,null,null,null,"22kV TRANS B/B 1",null,null,null,"2 or 3",null,"2 = Horizontal or 3 =  Vertical"]
[26,null,null,null,null,null,null,null,null,null,null,null,"22 kV B/B 1",null,"VT",null,4]
[27,null,null,null,null,null,null,null,null,null,null,null,"22 kV B/B 1",null,"VT JB",null,null,"Aux","Fix on JB door"]
[28,null,null,null,null,null,null,null,null,null,null,null,"MV FDR Bay - Outdoor"]
[29,null,null,null,null,null,null,null,null,null,null,null,"NETWK BKR 1",null,"22 kV B/B 1 ISOL",null,4]
[30,null,null,null,null,null,null,null,null,null,null,null,"NETWK BKR 1",null,"22 kV",null,4]
[31,null,null,null,null,null,null,null,null,null,null,null,"NETWK BKR 1",null,"22 kV LINE ISOL",null,4]
[32,null,null,null,null,null,null,null,null,null,null,null,"NETWK BKR 1",null,"22 kV TRANS B/B 1 ISOL",null,4]
[33,null,null,null,null,null,null,null,null,null,null,null,"MV Bays - Indoor Switchgear"]
[34,null,null,null,null,null,null,null,null,null,null,null,"11 kV B/B 1A",null,null,null,null,"Panel"]
[35,null,null,null,null,null,null,null,null,null,null,null,"11 kV B/B 1B",null,null,null,null,"Panel"]
[36,null,null,null,null,null,null,null,null,null,null,null,"11 kV B/B 1",null,"BUS SECT ISOL",null,null,"Panel"]
[37,null,null,null,null,null,null,null,null,null,null,null,"11 kV B/B 1",null,"VT",null,null,"Panel"]
[38,null,null,null,null,null,null,null,null,null,null,null,"NETWK BKR 1",null,"11 kV",null,null,"Panel"]
[39,null,null,null,null,null,null,null,null,null,null,null,"NETWK BKR 2",null,"11 kV",null,null,"Panel"]
[40,null,null,null,null,null,null,null,null,null,null,null,"Aux Supply"]
[null,null,null,null,null,null,null,null,null,null,null,null,"AUX SUPPLY",null,"400 V AUTO CHANGE-OVER",null,null,"Aux"]
[null,null,null,null,null,null,null,null,null,null,null,null,"LIGHTING JB 1",null,"400 V",null,null,"Aux"]
[null,null,null,null,null,null,null,null,null,null,null,null,"SOCKET OUTLET BOX 1",null,"240 V",null,null,"Aux"]
[null,null,null,null,null,null,null,null,null,null,null,null,"Miscelaneous"]
[null,null,null,null,null,null,null,null,null,null,null,null,"L/S BKR",null,"88 kV LINE ISOL",null,6]
[null,null,null,null,null,null,null,null,null,null,null,null,"L/S BKR",null,"88 kV",null,6,null,"Local Supply Breaker"]
[null,null,null,null,null,null,null,null,null,null,null,null,"TRFR 1",null,"88 kV A/T SW",null,6,null,"Used with L/S BKR"]
[null,null,null,null,null,null,null,null,null,null,null,null,"NETWK BKR 1/3",null,"22 kV TRANS ISOL",null,4]
[null,null,null,null,null,null,null,null,null,null,null,null,"TRFR 11",null,"11 kV VT",null,6]
[null,null,null,null,null,null,null,null,null,null,null,null,"TRFR 11",null,"VT JB",null,null,"Aux","Fix on JB door"]
[null,null,null,null,null,null,null,null,null,null,null,null,"TRFR 11",null,"22 kV B/B 1 ISOL",null,6]

{"sheet":"CapBankYard Warning Label","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Std","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Costs","index":3,"n_rows":112,"n_cols":6,"rows_kept":112,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,null,null,"Horizontal TRANS B/B required"]
[null,null,null,"Vertical TRANS B/B required"]
[]
[]
[null,"Labels costs"]
[null,null,null,"No Board required",1,0]
[null,null,null,"Pole mounted",2,1450]
[null,null,null,"Wall mounted",3,1350]
[null,null,null,"Pallasade mounted",4,1200]
["Item",null,null,"Saterlite (small board)",5,250]
[1,0,null,null,1]
[2,370,null,"Sign ABC",null,37]
[3,0,null,"Sign DE",null,100]
[4,64,null,"Sign G",null,32]
[5,320,null,"Sign LC",null,32]
[6,0,null,"Phase Disk Sets",null,156]
[7,0,null,"Oil sample point label",null,12]
[8,0,null,"Rackable VT warning label",null,20]
[9,0,null,"Local Remote switch warning label",null,15]
[null,null,null,"Label 2",2,266]
[null,null,null,"Label 3",3,141]
[null,null,null,"Label 4",4,123]
[null,null,null,"Label 6",6,105]
[null,null,null,"Aux",null,20]
[null,null,null,"Panel",null,17]
[null,null,null,"Box",null,8]
[null,null,null,"Key",null,8]
[10,16,null,"Yard",null,0]
[11,0,null,"Yard",null,0]
[12,0,null,"Yard",null,0]
[13,0,null,"Yard",null,0]
[14,0,null,"Yard",null,0]
[15,8,null,"Yard",null,0]
[16,0,null,"Yard",null,0]
[17,0,null,"Yard",null,0]
[18,0,null,"Yard",null,0]
[19,0,null,"Yard",null,0]
[20,0,null,"Yard",null,0]
[21,0,null,"Yard",null,0]
[22,0,null,"Yard",null,0]
[23,0,null,"Yard",null,0]
[24,0,null,"Yard",null,0]
[25,0,null,"Yard",null,0]
[26,0,null,"Yard",null,0]
[27,0,null,"Yard",null,0]
[28,0,null,"Yard",null,0]
[29,0,null,"Yard",null,0]
[30,0,null,"Yard",null,0]
[31,0,null,"Yard",null,0]
[32,0,null,"Yard",null,0]
[33,0,null,"Yard",null,0]
[34,0,null,"Yard",null,0]
[35,0,null,"Yard",null,0]
[36,0,null,"Yard",null,0]
[37,0,null,"Yard",null,0]
[38,0,null,"Yard",null,0]
[39,0,null,"Yard",null,0]
[40,0,null,"Yard",null,0]
[41,0,null,"Yard",null,0]
[42,0,null,"Yard",null,0]
[43,0,null,"Yard",null,0]
[44,0,null,"Yard",null,0]
[45,0,null,"Yard",null,0]
[46,0,null,"Yard",null,0]
[47,0,null,"Yard",null,0]
[48,0,null,"Yard",null,0]
[49,0,null,"Yard",null,0]
[50,0,null,"Yard",null,0]
[51,0,null,"Yard",null,0]
[52,0,null,"Yard",null,0]
[53,0,null,"Yard",null,0]
[54,0,null,"Yard",null,0]
[55,0,null,"Yard",null,0]
[56,0,null,"Yard",null,0]
[57,0,null,"Yard",null,0]
[58,0,null,"Yard",null,0]
[59,0,null,"Yard",null,0]
[60,0,null,"Yard",null,0]
[61,0,null,"Yard",null,0]
[62,0,null,"Yard",null,0]
[63,0,null,"Yard",null,0]
[64,0,null,"Yard",null,0]
[65,0,null,"Yard",null,0]
[66,0,null,"Yard",null,0]
[67,0,null,"Yard",null,0]
[68,0,null,"Yard",null,0]
[69,0,null,"Yard",null,0]
[70,0,null,"Yard",null,0]
[71,0,null,"Yard",null,0]
[72,0,null,"Yard",null,0]
[73,0,null,"Yard",null,0]
[74,0,null,"Yard",null,0]
[75,0,null,"Yard",null,0]
[76,0,null,"Yard",null,0]
[77,0,null,"Yard",null,0]
[78,0,null,"Yard",null,0]
[79,0,null,"Yard",null,0]
[80,0,null,"Yard",null,0]
[81,0,null,"Yard",null,0]
[82,0,null,"Yard",null,0]
[83,0,null,"Yard",null,0]
[84,0,null,"Yard",null,0]
[85,0,null,"Yard",null,0]
[86,0,null,"Yard",null,0]
[87,0,null,"Yard",null,0]
[88,0,null,"Yard",null,0]
[89,0,null,"Yard",null,0]
[90,0,null,"Yard",null,0]
[null,778,null,"Total"]