| 380v Board A | 380v Board B |
| --- | --- |
| Bulk Silo filter fan 1 | AWR to Mixer supply valve |
| Bulk Silo Filter fan 2 | Conv 22 shuttle |
| Comp House Vent Fan 1 | Conv 24 Shuttle |
| Comp House Vent Fan 2 | Conv 31 Drive |
| CW Circ pump 1 | Settling tank Sludge pump suction valve North 2 |
| CW Circ pump 2 | Settling tank Sludge pump suction valve South 2 |
| Cooling Tower 1 Fan 2 | Settling tank Sludge pump 2 North |
| Cooling Tower 2 Fan 2 | Settling tank Sludge pump 2 South |
| Cooling Tower 3 Fan 2 | AWRSE tank valve to Mixer |
| Cooling Tower Circ pump 1 | Seal water pump B |
| Settling tank Sludge pump 1 North | Seal water pump C |
| Settling tank Sludge pump 1 South | AWRSE tank valve to Mixer |
| RAW Water pump 1 | AWRSE Tank Make-up Supply valve |
| Seal water pump A | Agitator B |
| Floor wash pump | Agitator C |
| Aeration Blower S/By | Agitation pump |
| Aeration Blower 1 | Conv 31 Drive |
| Mixer A Agitator | Primary Airslide fan 2 |
| Primary Airslide Fan 1 | Secondary Airslide fan 2 |
| Primary Airslide Fan 3 | Dust Collecting fan 2 |
| Secondary Airslide Fan 1 | Conv 32 Drive |
| Secondary Airslide Fan 3 | RAW water pump 2 |
| Dust collecting Fan 1 | Aeration Blower fan 2 |
| Dust Collecting Fan 3 | Aeration Blower fan 3 |
| Conv 41 Shuttle | Cooling Tower 1 Fan 1 |
| Conv 41 Drive | Cooling Tower 2 Fan 1 |
| Settling tank Sludge pump suction valve North 1 | Cooling Tower 3 Fan 1 |
| Settling tank Sludge pump suction valve South 1 | Cooling Tower Circ pump 2 |
| AWRSE tank valve to Mixer | Cooling Tower Circ pump 3 |
| AWR to Mixer supply valve | Bulk Silo filter fan 3 |
| AWR to Mixer supply valve | Comp House Vent Fan 3 |
| Conv 21 shuttle | Comp House Vent Fan 4 |
| Conv 23 Shuttle | CW Circ pump 3 |