WATER TREATMENT WORKS

| Scheme /Works | Raw Water Supply |  |  |  |  | Water Treatment |  |  |  |  | Highlift Pumpstations | Distribution Mains | Capacity Ml / d |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Spring | Borehole | Run-off River |  | Dam/ Canal | External Potable | None | Package | Conventional | Design Capacity Ml/d |  |  |  |
|  |  |  |  |  | uMhlabuyalingana Local Municipal Area: |  |  |  |  |  |  |  |  |
| Mseleni WTW |  |  |  |  |  |  |  |  |  | 2.0 |  |  |  |
| Mbazwana WTW |  |  |  |  |  |  |  |  |  | 2.5 |  |  |  |
| Enkanyezini WTW |  |  |  |  |  |  |  |  |  | 1.0 |  |  |  |
| Shemula WTW |  |  |  |  |  |  |  |  |  | 6.0 |  |  |  |
| Manguzi WTW |  |  |  |  |  |  |  |  |  | 1.5 |  |  |  |
| Gezisa WTW |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Manguzi Airfield WTW |  |  |  |  |  |  |  |  |  | 1.0 |  |  |  |
| Mshudu WTW |  |  |  |  |  |  |  |  |  | 1.0 |  |  |  |
| Thengane WTW |  |  |  |  |  |  |  |  |  | 1.0 |  |  |  |
| Mtubatuba Local Municipal Area: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mtubatuba WTW |  |  |  |  |  |  |  |  |  | 2.0 |  |  |  |
| Hlabisa / Big 5 Local Municipal Area: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hluhluwe Ph 1 WTW |  |  |  |  |  |  |  |  |  | 10.0 |  |  |  |

| Scheme /Works | Raw Water Supply |  |  |  | Water Treatment |  |  |  |  | Highlift Pumpstations | Distribution Mains | Capacity Ml / d |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Spring | Borehole | Run-off River | Dam/ Canal | External Potable | None | Package | Conventional | Design Capacity Ml/d |  |  |  |
| Hluhluwe WTW |  |  |  |  |  |  |  |  | 2.5 |  |  |  |
| Hlabisa WTW |  |  |  |  |  |  |  |  | 1.0 |  |  |  |
| Nkolokotho WTW |  |  |  |  |  |  |  |  | 4.5 |  |  |  |
| Mpembeni WTW |  |  |  |  |  |  |  |  | 0.3 |  |  |  |
| Jozini Local Municipal Area |  |  |  |  |  |  |  |  |  |  |  |  |
| Jozini Old WTW |  |  |  |  |  |  |  |  | 3.6 |  |  |  |
| Jozini New WTW |  |  |  |  |  |  |  |  | 5.0 |  |  |  |
| Nondabuya WTW |  |  |  |  |  |  |  |  | 1.0 |  |  |  |
| Mkuze WTW |  |  |  |  |  |  |  |  | 1.5 |  |  |  |
| Malobeni WTW |  |  |  |  |  |  |  |  | 0.8 |  |  |  |
| Block 6 WTW |  |  |  |  |  |  |  |  | 0.8 |  |  |  |
| Mjindini Central WTW |  |  |  |  |  |  |  |  | 0.8 |  |  |  |
| Makhonyeni WTW |  |  |  |  |  |  |  |  | 0.8 |  |  |  |
| Mashabane |  |  |  |  |  |  |  |  | .3 |  |  |  |
| Mzinyeni |  |  |  |  |  |  |  |  | 0.6 |  |  |  |
| New Othothobini WTW |  |  |  |  |  |  |  |  | 8 |  |  |  |

WASTEWATER TREATMENT WORKS

| Scheme | Outfall Sewer | Type of Treatment Plant |  |  |  | Effluent Transfer Pumpstation / Rising Main | Capacity Ml / d |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Oxidation Ponds | Activated Sludge | Biofiltration | Package Treatment |  |  |
| uMhlabuyalingana Local Municipal Area : |  |  |  |  |  |  |  |
| Manguzi WWTW |  |  |  |  |  |  | 1.5 |
| Matubatuba Local Municipal Area: |  |  |  |  |  |  |  |
| Mtubatuba WWTW |  |  |  |  |  |  | 3.5 |
| St Lucia Ponds |  |  |  |  |  |  |  |
| KwaMsane |  |  |  |  |  |  |  |
| Hlabisa Local Municipal Area: |  |  |  |  |  |  |  |
| Hlabisa WWTW |  |  |  |  |  |  | 1.5 |
| Jozini Local Municipal Area |  |  |  |  |  |  |  |
| Jozini WWTW |  |  |  |  |  |  | 2.0 |
| Mkuze WWTW |  |  |  |  |  | 1 | 1.0 |
| Ubombo Bethesda WWTW |  |  |  |  |  |  | 0.8 |
| Ingwavuma WWTW |  |  |  |  |  | 1 | 0.8 |

Boreholes;

There are approximately 100 boreholes within the municipality boundary. Tenderers are to follow for a minimum monthly maintenance visit, as well as delivering diesel where required. Samples for laboratory tests must also be taken by the maintenance staff during their maintenance visits.