{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":60,"n_cols":15,"rows_kept":60,"merged":[[0,0,1,0],[0,1,1,1],[0,2,1,2],[0,3,1,3],[0,4,1,4],[0,5,0,6],[0,7,0,11],[0,12,1,12],[0,13,1,13],[0,14,1,14]]}
["ITEM Number","Description","SAP number","Unit","Estimated Quantities","Local Portion",null,"Imported Portion",{"$nulls":4},"Total Unit Price","Total Price (including Foreign & Local) based on estimated qunatities","Applicable Contract Price Adjustment Formula (CPA)"]
[{"$nulls":5},"Unit Price","Total","Foreign Currncy","Foreign Unit Price","Total in Foreign Currncy","Rate of Exchange","ZAR equivalent of  total foreign portion"]
[1,"mimic enclosure",617938,"each",5]
[2,"Embedded pc",692191,"each",3]
[3,"22\" LCD monitor",692331,"each",15]
[4," 8 way relay ",617932,"each",44]
[5,"BS120 25 way relay",617931,"each",47]
[6,"RS485 - fibre \nconverter",693206,"each",12]
[7,"RS485 - USB \nconverter",693197,"each",8]
[8,"Key switch ",692405,"each",20]
[9,"surge protection unit",617937,"each",14]
[10,"BS 120 energiser",617925,"each",73]
[11,"BS 120 Current \nTransformer unit",692407,"each",48]
[12,"BS120 Compact HT \nTransformer",617939,"each",83]
[13,"BS 120 Charger \nBoards",617930,"each",87]
[14,"BS 120 Monitor \nBoards",617929,"each",46]
[15,"30 micro farad 700 V \nCapacitor",617936,"each",68]
[16,"BS 120 Relay board",617924,"each",9]
[17,"BS120 Synchronizing \nunit",617927,"each",8]
[18,"BS120 Data Cable \nProtection Unit",617928,"each",30]
[19,"BS120 Power Supply \nModule",692356,"each",18]
[20,"500VA 230/110VAC \nTransformer",693582,"each",13]
[21,"IP65 Enclosure",617941,"each",4]
[22,"BS 102 Energizer ",617926,"each",5]
[23,"Ferrules",692222,"each",1500]
[24,"Galvanised 2,24mm \nconductor wire (1000 meter roll)",617940,"each",2]
[25,"Galvanised Line \nClamps ",693586,"each",200]
[26,"Polypropylene \nInsulators",692227,"each",1000]
[27,"Donaldson \ntensioners",692406,"each",50]
[28,"Ceramic strain \ninsulators",692229,"each",50]
[29,"24v dc sliding gate \nmotor",692342,"each",11]
[30,"opto counter",692401,"each",22]
[31,"24v dc power pack",692349,"each",25]
[32,"sliding gate \ncontroller card",692183,"each",8]
[33,"D10 sliding gate \nmotor",692346,"each",26]
[34,"optical sensor",692404,"each",27]
[35,"IR safety beams 12v \n24v, range : => 20m",692375,"each",72]
[36,"12v dc power supply (with a backup)",692353,"each",36]
[37,"4 button remote ( 434 \nMHZ)",692370,"each",144]
[38,"2 button remote \n(434Mhz)",692367,"each",33]
[39,"1 button remote (434 \nMhz) ",692366,"each",36]
[40,"12v 7Ah battery",617942,"each",616]
[41,"12v remote alkaline \nbattery",692088,"each",130]
[42,"vantage 500 motor",693500,"each",5]
[43,"6V Battery",692083,"each",20]
[44,"D10 Control card",692184,"each",3]
[45,"D10 24V DC \nCharger",692186,"each",3]
[46,"JVA Z18 energiser",692199,"each",40]
[47,"line protection unit",692409,"each",40]
[48,"LCD keypad",692230,"each",10]
[49,"lightning & surge \nprotection class 1&2 \n3phase(DANSHIELD)",692408,"each",25]
[50,"63Amp 30mA 2pin \ncircuit breaker",692091,"each",35]
[51,"M28S energiser",692204,"each",53]
[52,"Merlin electric fence \nmimic",692338,"each",2]
[53,"M18 energiser",692206,"each",34]
[54,"D28 (Druid 28 LCD) \nenergiser",692208,"each",30]
[55,"Stealth Master \nM28SM energizer",692210,"each",10]
[56,"Merlin EE\n-M18S PCB",692089,"each",6]
[57,"Equipment repair \nservice ",3000026055,"hour",8320.28]
["Total"]