{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Cover Page","Workstation Schedule"],"not_rendered":{"images":1,"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"Cover Page","index":0,"n_rows":11,"n_cols":4,"rows_kept":11,"merged":[[0,6,0,8],[0,9,0,12],[1,6,1,8],[1,9,1,11],[3,1,3,12],[5,1,8,12],[9,3,9,12],[10,3,10,12],[11,3,11,12],[12,3,12,12],[13,3,13,12],[14,3,14,12],[15,3,15,12],[16,3,16,12],[17,3,17,12],[18,3,18,12],[19,3,19,12],[20,3,20,12],[21,3,21,12],[22,3,22,12]]}
[]
[]
[]
[null,"LETHABO\nAppendix 16: Workstation Schedule"]
[]
[]
[]
[]
[]
[null,"Date","Rev","Comments"]
[null,"2022-05-05",1,"Approved for Tender Issue"]

{"sheet":"Workstation Schedule","index":1,"n_rows":82,"n_cols":12,"rows_kept":82}
["Index","AKZ","DESCRIPTION","ABBREVIATION","FINAL ROOM LOCATION OF SCREEN, KEYBOARD AND MOUSE","ROOM LOCATION OF COMPUTER","DESK LOCATION OF SCREEN, KEYBOARD AND MOUSE","C&I SYSTEM","APPLICABLE WORKSTATION SPECIFICATION","REMOVABLE MEDIA ALLOWED?\n(USB OPEN & DVD WRITER)","SCREENS","KVM MODULE"]
[1,null,"Unit 1 Operator Station 1","UOS101","Unit 1 Control Suite (UCS)","Unit 1 Computer Room","Operator Desk","Unit 1 C&I System","Operator Workstation","No",4,"Yes"]
[2,null,"Unit 1 Operator Station 2","UOS102","Unit 1 Control Suite (UCS)","Unit 1 Computer Room","Operator Desk","Unit 1 C&I System","Operator Workstation","No",4,"Yes"]
[3,null,"Unit 1 Operator Station 3","UOS103","Unit 1 Control Suite (UCS)","Unit 1 Computer Room","Operator Desk","Unit 1 C&I System","Operator Workstation","No",4,"Yes"]
[4,null,"Unit 1 Operator Station 4","UOS104","Unit 1 Control Suite (UCS)","Unit 1 Computer Room","Operator Desk (Overview Screens)","Unit 1 C&I System","Operator Workstation","No",4,"Yes"]
[5,null,"Unit 1 ESP Operator Station","UOS105","Unit 1 Control Suite (UCS)","Unit 1 Computer Room","Operator Desk","Unit 1 C&I System","Existing","Existing",1,"Yes (Existing)"]
[6,null,"Unit 1 Engineering Station 1","UES101","Unit 1 Engineering Room 1","Unit 1 Computer Room","Engineering Desk","Unit 1 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[7,null,"Unit 1 Maintenance Station 1","UES102","Unit 1 Engineering Room 1","Unit 1 Computer Room","Engineering Desk","Unit 1 C&I System","Engineering Workstation ","No",2,"Yes"]
[8,null,"Unit 1 Engineering Station 2","UES103","Unit 1 Engineering Room 1","Unit 1 Computer Room","Engineering Desk","Unit 1 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[9,null,"Unit 1 Maintenance Station 2","UES104","Unit 1 Engineering Room 1","Unit 1 Computer Room","Engineering Desk","Unit 1 C&I System","Engineering Workstation ","No",2,"Yes"]
[10,null,"Unit 1 Engineering Station 3","UES105","Unit 1 Engineering Room 2","Unit 1 Computer Room","Engineering Desk","Unit 1 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[11,null,"Unit 1 Vibration & Condition Monitoring Engineering Station","UVS101","Unit 1 Engineering Room","Unit 1 Computer Room","Engineering Desk","Unit 1 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[12,null,"Unit 2 Operator Station 1","UOS201","Unit 2 Control Suite (UCS)","Unit 2 Computer Room","Operator Desk","Unit 2 C&I System","Operator Workstation","No",4,"Yes"]
[13,null,"Unit 2 Operator Station 2","UOS202","Unit 2 Control Suite (UCS)","Unit 2 Computer Room","Operator Desk","Unit 2 C&I System","Operator Workstation","No",4,"Yes"]
[14,null,"Unit 2 Operator Station 3","UOS203","Unit 2 Control Suite (UCS)","Unit 2 Computer Room","Operator Desk","Unit 2 C&I System","Operator Workstation","No",4,"Yes"]
[15,null,"Unit 2 Operator Station 4","UOS204","Unit 2 Control Suite (UCS)","Unit 2 Computer Room","Operator Desk (Overview Screens)","Unit 2 C&I System","Operator Workstation","No",4,"Yes"]
[16,null,"Unit 2 ESP Operator Station","UOS205","Unit 2 Control Suite (UCS)","Unit 2 Computer Room","Operator Desk","Unit 2 C&I System","Existing","Existing",1,"Yes (Existing)"]
[17,null,"Unit 2 Engineering Station 1","UES201","Unit 2 Engineering Room 1","Unit 2 Computer Room","Engineering Desk","Unit 2 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[18,null,"Unit 2 Maintenance Station 1","UES202","Unit 2 Engineering Room 1","Unit 2 Computer Room","Engineering Desk","Unit 2 C&I System","Engineering Workstation ","No",2,"Yes"]
[19,null,"Unit 2 Engineering Station 2","UES203","Unit 2 Engineering Room 1","Unit 2 Computer Room","Engineering Desk","Unit 2 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[20,null,"Unit 2 Maintenance Station 2","UES204","Unit 2 Engineering Room 1","Unit 2 Computer Room","Engineering Desk","Unit 2 C&I System","Engineering Workstation ","No",2,"Yes"]
[21,null,"Unit 2 Engineering Station 3","UES205","Unit 2 Engineering Room 2","Unit 2 Computer Room","Engineering Desk","Unit 2 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[22,null,"Unit 2 Vibration & Condition Monitoring Engineering Station","UVS201","Unit 2 Engineering Room","Unit 2 Computer Room","Engineering Desk","Unit 2 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[23,null,"Unit 3 Operator Station 1","UOS301","Unit 3 Control Suite (UCS)","Unit 3 Computer Room","Operator Desk","Unit 3 C&I System","Operator Workstation","No",4,"Yes"]
[24,null,"Unit 3 Operator Station 2","UOS302","Unit 3 Control Suite (UCS)","Unit 3 Computer Room","Operator Desk","Unit 3 C&I System","Operator Workstation","No",4,"Yes"]
[25,null,"Unit 3 Operator Station 3","UOS303","Unit 3 Control Suite (UCS)","Unit 3 Computer Room","Operator Desk","Unit 3 C&I System","Operator Workstation","No",4,"Yes"]
[26,null,"Unit 3 Operator Station 4","UOS304","Unit 3 Control Suite (UCS)","Unit 3 Computer Room","Operator Desk (Overview Screens)","Unit 3 C&I System","Operator Workstation","No",4,"Yes"]
[27,null,"Unit 3 ESP Operator Station","UOS305","Unit 3 Control Suite (UCS)","Unit 3 Computer Room","Operator Desk","Unit 3 C&I System","Existing","Existing",1,"Yes (Existing)"]
[28,null,"Unit 3 Engineering Station 1","UES301","Unit 3 Engineering Room 1","Unit 3 Computer Room","Engineering Desk","Unit 3 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[29,null,"Unit 3 Maintenance Station 1","UES302","Unit 3 Engineering Room 1","Unit 3 Computer Room","Engineering Desk","Unit 3 C&I System","Engineering Workstation ","No",2,"Yes"]
[30,null,"Unit 3 Engineering Station 2","UES303","Unit 3 Engineering Room 1","Unit 3 Computer Room","Engineering Desk","Unit 3 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[31,null,"Unit 3 Maintenance Station 2","UES304","Unit 3 Engineering Room 1","Unit 3 Computer Room","Engineering Desk","Unit 3 C&I System","Engineering Workstation ","No",2,"Yes"]
[32,null,"Unit 3 Engineering Station 3","UES305","Unit 3 Engineering Room 2","Unit 3 Computer Room","Engineering Desk","Unit 3 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[33,null,"Unit 3 Vibration & Condition Monitoring Engineering Station","UVS301","Unit 3 Engineering Room","Unit 3 Computer Room","Engineering Desk","Unit 3 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[34,null,"Unit 4 Operator Station 1","UOS401","Unit 4 Control Suite (UCS)","Unit 4 Computer Room","Operator Desk","Unit 4 C&I System","Operator Workstation","No",4,"Yes"]
[35,null,"Unit 4 Operator Station 2","UOS402","Unit 4 Control Suite (UCS)","Unit 4 Computer Room","Operator Desk","Unit 4 C&I System","Operator Workstation","No",4,"Yes"]
[36,null,"Unit 4 Operator Station 3","UOS403","Unit 4 Control Suite (UCS)","Unit 4 Computer Room","Operator Desk","Unit 4 C&I System","Operator Workstation","No",4,"Yes"]
[37,null,"Unit 4 Operator Station 4","UOS404","Unit 4 Control Suite (UCS)","Unit 4 Computer Room","Operator Desk (Overview Screens)","Unit 4 C&I System","Operator Workstation","No",4,"Yes"]
[38,null,"Unit 4 ESP Operator Station","UOS405","Unit 4 Control Suite (UCS)","Unit 4 Computer Room","Operator Desk","Unit 4 C&I System","Existing","Existing",1,"Yes (Existing)"]
[39,null,"Unit 4 Engineering Station 1","UES401","Unit 4 Engineering Room 1","Unit 4 Computer Room","Engineering Desk","Unit 4 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[40,null,"Unit 4 Maintenance Station 1","UES402","Unit 4 Engineering Room 1","Unit 4 Computer Room","Engineering Desk","Unit 4 C&I System","Engineering Workstation ","No",2,"Yes"]
[41,null,"Unit 4 Engineering Station 2","UES403","Unit 4 Engineering Room 1","Unit 4 Computer Room","Engineering Desk","Unit 4 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[42,null,"Unit 4 Maintenance Station 2","UES404","Unit 4 Engineering Room 1","Unit 4 Computer Room","Engineering Desk","Unit 4 C&I System","Engineering Workstation ","No",2,"Yes"]
[43,null,"Unit 4 Engineering Station 3","UES405","Unit 4 Engineering Room 2","Unit 4 Computer Room","Engineering Desk","Unit 4 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[44,null,"Unit 4 Vibration & Condition Monitoring Engineering Station","UVS401","Unit 4 Engineering Room","Unit 4 Computer Room","Engineering Desk","Unit 4 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[45,null,"Unit 5 Operator Station 1","UOS501","Unit 5 Control Suite (UCS)","Unit 5 Computer Room","Operator Desk","Unit 5 C&I System","Operator Workstation","No",4,"Yes"]
[46,null,"Unit 5 Operator Station 2","UOS502","Unit 5 Control Suite (UCS)","Unit 5 Computer Room","Operator Desk","Unit 5 C&I System","Operator Workstation","No",4,"Yes"]
[47,null,"Unit 5 Operator Station 3","UOS503","Unit 5 Control Suite (UCS)","Unit 5 Computer Room","Operator Desk","Unit 5 C&I System","Operator Workstation","No",4,"Yes"]
[48,null,"Unit 5 Operator Station 4","UOS504","Unit 5 Control Suite (UCS)","Unit 5 Computer Room","Operator Desk (Overview Screens)","Unit 5 C&I System","Operator Workstation","No",4,"Yes"]
[49,null,"Unit 5 ESP Operator Station","UOS505","Unit 5 Control Suite (UCS)","Unit 5 Computer Room","Operator Desk","Unit 5 C&I System","Existing","Existing",1,"Yes (Existing)"]
[50,null,"Unit 5 Engineering Station 1","UES501","Unit 5 Engineering Room 1","Unit 5 Computer Room","Engineering Desk","Unit 5 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[51,null,"Unit 5 Maintenance Station 1","UES502","Unit 5 Engineering Room 1","Unit 5 Computer Room","Engineering Desk","Unit 5 C&I System","Engineering Workstation ","No",2,"Yes"]
[52,null,"Unit 5 Engineering Station 2","UES503","Unit 5 Engineering Room 1","Unit 5 Computer Room","Engineering Desk","Unit 5 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[53,null,"Unit 5 Maintenance Station 2","UES504","Unit 5 Engineering Room 1","Unit 5 Computer Room","Engineering Desk","Unit 5 C&I System","Engineering Workstation ","No",2,"Yes"]
[54,null,"Unit 5 Engineering Station 3","UES505","Unit 5 Engineering Room 2","Unit 5 Computer Room","Engineering Desk","Unit 5 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[55,null,"Unit 5 Vibration & Condition Monitoring Engineering Station","UVS501","Unit 5 Engineering Room","Unit 5 Computer Room","Engineering Desk","Unit 5 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[56,null,"Unit 6 Operator Station 1","UOS601","Unit 6 Control Suite (UCS)","Unit 6 Computer Room","Operator Desk","Unit 6 C&I System","Operator Workstation","No",4,"Yes"]
[57,null,"Unit 6 Operator Station 2","UOS602","Unit 6 Control Suite (UCS)","Unit 6 Computer Room","Operator Desk","Unit 6 C&I System","Operator Workstation","No",4,"Yes"]
[58,null,"Unit 6 Operator Station 3","UOS603","Unit 6 Control Suite (UCS)","Unit 6 Computer Room","Operator Desk","Unit 6 C&I System","Operator Workstation","No",4,"Yes"]
[59,null,"Unit 6 Operator Station 4","UOS604","Unit 6 Control Suite (UCS)","Unit 6 Computer Room","Operator Desk (Overview Screens)","Unit 6 C&I System","Operator Workstation","No",4,"Yes"]
[60,null,"Unit 6 ESP Operator Station","UOS605","Unit 6 Control Suite (UCS)","Unit 6 Computer Room","Operator Desk","Unit 6 C&I System","Existing","Existing",1,"Yes (Existing)"]
[61,null,"Unit 6 Engineering Station 1","UES601","Unit 6 Engineering Room 1","Unit 6 Computer Room","Engineering Desk","Unit 6 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[62,null,"Unit 6 Maintenance Station 1","UES602","Unit 6 Engineering Room 1","Unit 6 Computer Room","Engineering Desk","Unit 6 C&I System","Engineering Workstation ","No",2,"Yes"]
[63,null,"Unit 6 Engineering Station 2","UES603","Unit 6 Engineering Room 1","Unit 6 Computer Room","Engineering Desk","Unit 6 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[64,null,"Unit 6 Maintenance Station 2","UES604","Unit 6 Engineering Room 1","Unit 6 Computer Room","Engineering Desk","Unit 6 C&I System","Engineering Workstation ","No",2,"Yes"]
[65,null,"Unit 6 Engineering Station 3","UES605","Unit 6 Engineering Room 2","Unit 6 Computer Room","Engineering Desk","Unit 6 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[66,null,"Unit 6 Vibration & Condition Monitoring Engineering Station","UVS601","Unit 6 Engineering Room","Unit 6 Computer Room","Engineering Desk","Unit 6 C&I System","Engineering Workstation ","Yes",2,"Yes"]
[67,null,"Unit Shift Supervisor Station 1","USS001","Unit 1 & 2 Shift Supervisor Room","Common Computer Room","Unit SS Desk","Common C&I System","Operator Workstation","No",4,"Yes"]
[68,null,"Unit Shift Supervisor Station 2","USS002","Unit 3 & 4 Shift Supervisor Room","Common Computer Room","Unit SS Desk","Common C&I System","Operator Workstation","No",4,"Yes"]
[69,null,"Unit Shift Supervisor Station 3","USS003","Unit 5 & 6 Shift Supervisor Room","Common Computer Room","Unit SS Desk","Common C&I System","Operator Workstation","No",4,"Yes"]
[70,null,"Common Engineering Station 1","CES001","Common Computer Room","Common Computer Room","Engineering Desk","Common C&I System","Engineering Workstation ","Yes",2,"Yes"]
[71,null,"Common Engineering Station 2","CES002","Common Computer Room","Common Computer Room","Engineering Desk","Common C&I System","Engineering Workstation ","Yes",2,"Yes"]
[72,null,"Temporary Commissioning Engineering Station 1","TCES001","Unit * Equipment Room","Unit * Equipment Room","Engineering Desk","Unit * C&I System","Engineering Workstation ","Yes",2,"No"]
[73,null,"Temporary Commissioning Engineering Station 2","TCES002","Unit * Equipment Room","Unit * Equipment Room","Engineering Desk","Unit * C&I System","Engineering Workstation ","Yes",2,"No"]
[74,null,"Temporary Commissioning Engineering Station 3","TCES003","Unit * Equipment Room","Unit * Equipment Room","Engineering Desk","Unit * C&I System","Engineering Workstation ","Yes",2,"No"]
[75,null,"Plantform 1 Simulator Operator Station 1","SOS001","Simulator Suite","Simulator Computer Room","Operator Desk","Simulator","Operator Workstation","No",4,"Yes"]
[76,null,"Plantform 1 Simulator Operator Station 2","SOS002","Simulator Suite","Simulator Computer Room","Operator Desk","Simulator","Operator Workstation","No",4,"Yes"]
[77,null,"Plantform 1 Simulator Operator Station 3","SOS003","Simulator Suite","Simulator Computer Room","Operator Desk","Simulator","Operator Workstation","No",4,"Yes"]
[78,null,"Plantform 1 Simulator Operator Station 4","SOS004","Simulator Suite","Simulator Computer Room","Operator Desk (Overview Screens)","Simulator","Operator Workstation","No",4,"Yes"]
[79,null,"Simulator Engineering Workstation","SES001","Simulator Engineering Room","Simulator Computer Room","Engineering Desk","Simulator","Engineering Workstation ","Yes",2,"Yes"]
[80,null,"Simulator Instructor Station","SIS001","Simulator Instructor Room","Simulator Computer Room","Engineering Desk","Simulator","Engineering Workstation ","No",2,"Yes"]
[81,null,"Platform 2 Engineering Simulator Workstation","ESS001","Simulator Engineering Room","Simulator Computer Room","Engineering Desk","Simulator","Engineering Workstation ","Yes",2,"Yes"]